Determination of polycyclic aromatic hydrocarbons in oil contaminated soil

by

V. Tomos, K. Anifantaki, N. Pasadakis, N. Varotsis

PVT and Core Analysis Laboratory

Department of Mineral Resources Engineering

Technical University of Crete

Chania 73100, GREECE

Abstract

The detailed determination of the composition of multicomponent hydrocarbon mixtures is a quite complex analytical procedure, which becomes even more tedious when Polycyclic Aromatic Hydrocarbons (PAH) are involved. The absence of standardized procedures for the identification and quantitation of the latter is widely recognized.

The objective of this work was to estimate the pollution level in the soil recovered from a Greek Refinery. Different soil pretreatment, drying and extraction procedures were applied. Thermal and chemical drying, sonication, mechanical shaking, liquid–liquid extraction and solid phase extraction were utilised, among others, for the preconcentration of PAH from soil samples.

For the detection of the pollutants, Gas Chromatography–Mass Spectrometry (GC-MS) was used. An improved method for the rapid estimation of the total oil content in the soil sample was developed using an Infrared (IR) detection technique. Experimental results derived from the above methods are presented.

The analytical results which were obtained, indicated that the quantitative determination of the PAH depends strongly on the analytical procedure employed. This procedure should combine information derived from different analytical measurements in order to provide reliable characterization of the samples

Introduction

Petroleum-derived compounds constitute an important potential source of -environmental pollution. The estimation of oil pollution in the soil is a difficult task due to the complexity of the composition of the petroleum fractions and to the different changes that the hydrocarbon components undergo, as a result of weathering. The identification and the accurate quantitative measurement of the pollutants is required for locating the pollution source, for estimating toxicity, biodegradability and for determining the appropriate remediation strategy.

Despite the considerable effort payed towards the enhancement of the analysis of the hydrocarbon components in the environment, the absence of a generally accepted analytical protocol is widely recognized
. Furthermore, the complexity of the matrix of the petroleum fractions, complicates analytical work and often leads to contradictory results when the samples are analysed from different laboratories
. The approach for analysing petroleum-derived components in the environment is twinfold. Either the total hydrocarbon content is globally measured or specific methods for the identification and quantitation of individual components or component groups are applied
.

IR and FT-IR absorption, ultraviolet (UV) and UV-fluoresence sprectrometry methods are used for the global quantification of total hydrocarbons
. They have been utilised as rapid screening tools for the determination of the hydrocarbon content in soil and water. The above methods are considered as semi-quantitative ones as they fail to identify the pollutants. The response of the IR detector can be directly related to the mass of the pollutants present in the soil samples. Furthermore, the selection of the standards for the calibration of the IR detector does not influence the accuracy of the measurements to the same extent as in the UV and UV-fluoresence methods. On the other hand, IR spectrometry is not very accurate at low concentration levels, it can be used only in the adsorption region of the C-H bands (2850-3000 cm-1) and the accuracy of the quantitative results that it provides, varies with the composition of the sample
.

For the identification of the individual hydrocarbon components found in trace levels in the environment, various analytical protocols have been adapted
. They include several sample pretreatment steps for the isolation of the components of interest and for their further analysis by GC or GC-MS
. The applicability of these methods on heavily polluted samples, such as the ones involved in this study, is rather limited
. One of the main difficulties that are encountered, is the rather incomplete separation of the PAH components from the complex matrix that can be achieved by the commonly used clean-up procedures
.

The objective of this study was the determination of the oil content and of the PAH concentration in soil samples. Different analytical procedures were applied for sample pretreatment and analysis and their performances in the analysis of heavily contaminated soil samples were compared.

Experimental Procedures and Results

Samples

Three surficial samples (0-20cm depth), referred as SI, were recovered from an area in the yard of a Greek Refinery where contaminated soil from different places exposed to weathering for several months was disposed. The recovered samples were stored in dark glass bottles at 4oC. Visual inspection indicated poorly graded soil particles and heavy contamination by dark oil compounds.

Solvents, Chemicals

All solvents used in this study were of analytical grade from Merck. A standard mixture of the 16 EPA priority PAHs, 2000 μg/ml each from Supelco was used for the GC-MS calibration and n-dodecane (99 %) from Aldrich as internal standard. Aluminium oxide (90 active neutral), 70-230 mesh from Merck and Silica gel, 100-200 mesh from Aldrich, were also used.

Sample pretreatment

Initially, all samples were thoroughly homogenized by a sieve shaker on a 2mm metal sieve. The water content (10-14% w.) was determined on portions of homogenized samples after 24h drying at 1050C. Different drying procedures, including thermal and chemical drying, were applied. Thermal drying was performed at 400C for five days and at 1050C for 24h. Chemical drying was performed by mixing the samples with activated (6500C for 12 h) anhydrous sodium sulfate (Na2SO4) at a 1:1 (w/w) basis. Both techniques gave similar results of the oil content.

Extraction techniques

Ultrasonic extraction: Samples S1, S2, S3 (2,5g) were subjected to ultrasonic extraction according to the analytical scheme described by Berset et al1. Briefly, the samples were put into glass conic bottles with 25ml of a solvent mixture (hexane/acetone 85/15 v/v) and were left in the ultrasonic bath (300W) for 30 min. The extracts were filtered twice through Whatman paper No 42 (2.5 μm pore size) and stored in the refrigerator in dark amber glass flasks, closed with teflon screw caps for subsequent analysis. The total Hydrocarbon Content (THC) of the samples determined gravimetrically was found to be 13, 10 and 6 %w on dry weight (dw) basis respectively.

Soxhlet extraction: The soil sample S1 was subsequently extracted using the Soxhlet method
. 20g of the sample were extracted over-night with 160 ml of a 10:5:1 hexane/acetone/toluene mixture. After cooling, the solvent was shaken for 30 seconds with 300 ml of distilled water. The lower aqueous layer was discarded and the extract was washed twice with distilled water (300ml). The organic phase was dried using anhydrous sodium sulfate (10g) and the solvent was evaporated under nitrogen. The oil content was found to be 14 %w. In order to investigate the distribution of the oil components between soil particles of different size, the S1 sample was subdivided into five basic fractions according to the ASTM D-422 soil classification system. The grain size analysis gave cobbles, gravel, coarse, medium and fine sand. No silt or clay yield was observed. These fractions are referred as S1F1-5. The Soxhlet extraction procedure, as described above, was subsequently applied to these samples. The first two soil fractions were found to be free of oil components. The determined oil content on dry basis are presented in Table 1.

Clean-up procedures

The concentrates from ultrasonic extraction (samples S1, S2, S3) were separated into component groups following an open column chromatography method
. Firstly, the oil extracts were de-asphalted with 35ml n-heptane. The de-asphalted oil was loaded onto a chromatography column (500mm x 8.5mm), wet packed with 10g of a 2:1 w/w mixture of activated (at 2400C for 12h) silica gel and alumina. The saturates were eluted with 35ml n-pentane and the aromatics with 40ml of a 1:1 (v/v) mixture of n-pentane/dichloromethane. The polar compounds were eluted with 40ml methanol and the asphaltenes with 40ml chloroform. All fractions were gravimetrically measured after solvent evaporation and the obtained results are presented in Table 2.

Table 1. Soil fractions characteristics and oil content

	Soil Fraction
	Grain size (mm)
	Soil Fraction yield (% w)
	Oil Content (% dw)

	S1F1
	>19.00
	4.9
	---

	S1F2
	>4.75
	25.0
	---

	S1F3
	>2.00
	18.0
	10.2

	S1F4
	>0.425
	36.1
	14.3

	S1F5
	>0.075
	16.0
	14.7


The extracts obtained from the samples S1F3-5 using the Soxhlet extraction procedure were also separated into component groups (saturates, aromatics and polars) using a simplified open-column chromatography procedure. Briefly, the extracts were loaded onto a glass column (340 mm x 6mm), wet packed with 2g silica gel on the bottom and 1g alumina. Aliphatic hydrocarbons were eluted with hexane (10ml) and the aromatics using benzene (25ml). The quantitative results are presented in Table 2.

Table 2. Concentration of the component groups in the extracts

	Sample
	Saturates
	Aromatics
	Resins
	Asphaltenes

	
	% w

	S1
	34.0
	34.7
	17.3
	14.0

	S2
	40.3
	35.4
	13.9
	10.4

	S3
	31.3
	40.5
	15.0
	13.2

	S1F3
	22.0
	41.0
	37.0

	S1F4
	23.7
	38.3
	38.0

	S1F5
	30.3
	36.0
	33.7


Determination of Total Hydrocarbon Content in soil by IR spectroscopy

The THC in soil samples was measured using a Foxboro Miran 1ACVF analyzer
. The soil samples S1, S2, S3, S1F3, S1F4 and S1F5 (2g) were extracted with CCl4 (20 ml) in an ultrasonic bath for 2h. The extracts were injected for analysis after filtration (Whatman paper No 42 and Acrodisc PTFE 0.45μm). The calibration of the analyzer was performed successively using (i) a mixture of n-tetradecane, cyclohexane and toluene (38:38:24 %v/v), (ii) a heavy gas oil fraction produced in the refinery and (iii) the oil extract obtained from ultrasonic extraction of the sample S2. The calibration curves are presented in Figure 1. The maximum relative error measured using these curves, for concentrations up to 5g/l, were found to be 5%. Undoubtedly, the proper selection of the calibration standard is essential for obtaining reliable quantitative results using the IR method.


[image: image1.wmf]Absorbance

Concentration (ppm)

Gas Oil  

S2 sample

RH mix

Figure 1. Calibration curves obtained for the IR analyzer

	Sample
	THC (% dw)

	S1
	13.8

	S2
	12.8

	S3
	7.0

	S1F3
	14.5

	S1F4
	14.1

	S1F5
	9.8


Table 3. Total Hydrocarbon Content in soil samples (THC) by IR analysis

GC-MS analysis

The determination of selected polyaromatic components was performed by GC-MS analysis. The oil extracts S1F3, S1F4, S1F5 were analyzed using GC-MS Fisson MD-800 system. The GC was equipped with a Chrompack WCOT column CP-Sil 5 CB/MS column (30m, 0.32mm ID) at He flow rate of 1.1 ml/min. Due to the wide range of the molecular weights of the components of interest (128 for naphthalene to 276 for benzo(a)pyrene) the on-column injection technique was used to avoid discrimination. The oven temperature was programmed from 50oC to 65oC at 15oC/min, from 65oC to 150oC at 8oC/min and from 150oC to 300oC at 3oC/min. Samples were injected in hexane solution (100 ppm) with n-dodecane as internal standard. The ion source was operated at 70eV. The temperature of the transfer line and of the source was set at 300oC and 250oC respectively. The MS was functioning in total ion monitoring mode. A sample chromatogram of a mixture containing the 16 EPA priority polyaromatic hydrocarbons and the aromatic fraction of sample S1F3 are presented in Figure 2. As it is shown in the chromatogram, it is rather impossible to separate and quantify the individual constituents in the complex hydrocarbon mixture. The shape of the obtained chromatogram, which is characteristic for heavy petroleum mixtures, is referred as the Unresolved Complex Mixture (UCM)3. Although using extracted ion chromatograms, specific components of interest can be identified. In this work, the presence of the 16 EPA priority PAH was investigated using selected ions as is presented in Table 4. The quantitation was performed using response factors for each individual PAH with four point calibration curves. The results are presented in Table 4.

Table 4. PAH determination by GC-MS

	
	Name
	Monitored Ions

M/z
	Concentration ppm

	
	
	
	S1F3
	S1F4
	S1F5

	1
	Naphthalene
	128
	129
	127
	
	
	

	2
	Acenaphthylene
	152
	151
	153
	
	
	

	3
	Acenaphthene
	154
	153
	152
	3
	
	

	4
	Fluorene
	166
	165
	167
	2
	
	

	5
	Phenanthrene
	178
	179
	176
	33
	25
	

	6
	Anthracene
	178
	176
	179
	13
	10
	

	7
	Fluoranthene
	202
	101
	203
	53
	44
	39

	8
	Pyrene
	202
	200
	203
	118
	113
	124

	9
	Benzo(a)anthracene
	228
	229
	226
	
	
	

	10
	Chrysene
	228
	226
	229
	117
	127
	143

	11
	Benzo(b)fluoranthene
	252
	253
	125
	87
	90
	74

	12
	Benzo(k)fluoranthene
	252
	253
	125
	
	
	

	13
	Benzo(a)pyrene
	252
	253
	125
	70
	96
	92

	14
	Indeno(1,2,3-cd)pyrene
	276
	138
	227
	
	
	

	15
	Dibenz(a,h)anthracene
	278
	139
	279
	
	
	

	16
	Benzo(ghi)perylene
	276
	138
	277
	64
	55
	71



[image: image2.wmf]5

15

25

35

45

55

65

Retention time (min)

Intensity

C12

`


Figure 2. Total ion chromatograms of the 16 PAH mixture and of the S1F3 aromatics

Discussion

Although the extraction by Soxhlet has been reported as a more effective method than the ultrasonic one due to its more intensive conditions, our results, derived from duplicate analyses, indicate similar recoveries between the two methods due perhaps to the high oil content of the samples. The selection of the appropriate separation scheme for the clean-up procedures is very important as it strongly influences the composition of the component groups.

The analytical results presented in Table 2, show that the measured concentrations of saturates and aromatics in sample S1 depend on the selected solvents and chromatographic conditions. In the case of heavy petroleum fractions, components belonging to the same functional group may be found in more than one chromatographic fraction. Therefore, the analysis of all the derived fractions from the clean-up procedures is necessary for the complete compositional characterization.The oil content determined on soil fractions of different grain size indicates that, the fraction with the finer particles exhibits lower concentration of oil components. This can be possibly explained by the limited exposure of this fraction to the pollutant. The GC-MS results show that the concentration of the individual PAHs in the extracts from soil fractions is independent from their particle size. The determined concentration level of PAHs lies within the reported ranges of heavily polluted samples9.

Acknowledgments

We would like to thank the Applied Geology Laboratory of the Technical University of Crete for assisting with the characterisation of the soil samples and the Greek General Secretariat of Research and Technology for partially financing this work.

References
�.	Berset J.D., Ejem M., Holzer R. and Lischer P. Comparison of different drying, extraction and detection techniques for the determination of priority polycyclic aromatic hydrocarbons in background contaminated soil samples. Analytica Chimica Acta 383, 263,1999.


�.	Zemanek G.M., Pollard J.T.S., Kenefick L.S. and Hrudey S.E. Multi-phase partioning and co-solvent effects for polynuclear aromatic hydrocarbons (PAH) in authentic petroleum- and creosote-contaminated soils. Envir. Pol. 98, No2, 239, 1997.


�.	Albaiges J. and Grimalt J. A Quality Assurance Study for the Analysis of Hydrocarbons in Sediments. Intern. J. Environ. Anal. Chem. 31, 281, 1987.


�.	Morel G., Samhan O., Literathy P., Al-Hashash H., Moulin L., Saeed T., Al-Matrouk K., Martin-Bouyer M., Paturel L., Jarosz J., Vial M., Combet E., Fachinger C. and Suptil J. Evaluation of chromatographic and spectroscopic methods for the analysis of petroleum-derived compounds in the environment. Fresenius J. Anal. Chem. 339, 699, 1991.


�.	Romero T.M. and Ferrer N. Determination of oil and grease by solid phase extraction and infrared spectroscopy. Anal. Chim. Acta 395, 77, 1999.


�.	Pollard J.T.S and Hrudey S.E. Hydrocarbons Wastes at Petroleum and Creosote-Contaminated Sites: Rapid Characterixation of Component Classes by Thin-Layer Chromatography with Flame Ionization Detection. Environ. Sci. Technol. 26, 2528, 1992.


�.	Optimized Polycyclic Aromatic Hydrocarbon (PAH) Separations Using the HP 6890 and 5890 Series GC. Hewlett Packard, Application Note 228, 1998.


�.	Saim N., Dean J.R., Abdullah M. P. and Zuriati Z. An Experimental Design Approach for the determination of Polycyclic Aromatic Hydrocarbons from Highly Contaminated Soil Using Accelerated Solvent Extraction. Anal. Chem. 70, 420, 1998.


�.	Domeno C. and Nerin C. Determination of polyaromatic hydrocarbons and some related compounds in industrial waste oils by GPC-HPLC-UV. Analyst 124, 67, 1999.





�.	Smith J. M., Lethbridge G. and Burns G.R. Fate of phenanthrene, pyrene and benzo[a]pyrene during biodegradation of crude oil added to two soils. Elsevier FEMS Microbiology Letters 173, 445, 1999.


�.	Haeseler F., Blanchet D., Druelle V. and Vandecasteele J.P. Analytical characterization of contaminated soil from former manufactured gas plant Envir. Science & Technol. 33,No6, 825, 1999.


�.	American Petroleum Institute Publication No. 4449. Health and Environmental Sciences Department.





1
2

_1019573187

_1020276316.xls
Chart1

		5.05		5.05

		5.067		5.067

		5.084		5.084

		5.1		5.1

		5.117		5.117

		5.134		5.134

		5.151		5.151

		5.167		5.167

		5.184		5.184

		5.201		5.201

		5.217		5.217

		5.234		5.234

		5.251		5.251

		5.267		5.267

		5.284		5.284

		5.301		5.301

		5.317		5.317

		5.334		5.334

		5.351		5.351

		5.367		5.367

		5.384		5.384

		5.401		5.401

		5.417		5.417

		5.434		5.434

		5.451		5.451

		5.467		5.467

		5.484		5.484

		5.501		5.501

		5.517		5.517

		5.534		5.534

		5.551		5.551

		5.567		5.567

		5.584		5.584

		5.601		5.601

		5.617		5.617

		5.634		5.634

		5.651		5.651

		5.667		5.667

		5.684		5.684

		5.701		5.701

		5.717		5.717

		5.734		5.734

		5.751		5.751

		5.767		5.767

		5.784		5.784

		5.801		5.801

		5.817		5.817

		5.834		5.834

		5.851		5.851

		5.867		5.867

		5.884		5.884

		5.901		5.901

		5.917		5.917

		5.934		5.934

		5.951		5.951

		5.967		5.967

		5.984		5.984

		6.001		6.001

		6.017		6.017

		6.034		6.034

		6.051		6.051

		6.067		6.067

		6.084		6.084

		6.101		6.101

		6.117		6.117

		6.134		6.134

		6.151		6.151

		6.167		6.167

		6.184		6.184

		6.201		6.201

		6.217		6.217

		6.234		6.234

		6.251		6.251

		6.267		6.267

		6.284		6.284

		6.301		6.301

		6.317		6.317

		6.334		6.334

		6.351		6.351

		6.368		6.368

		6.384		6.384

		6.401		6.401

		6.418		6.418

		6.434		6.434

		6.451		6.451

		6.468		6.468

		6.484		6.484

		6.501		6.501

		6.517		6.517

		6.534		6.534

		6.551		6.551

		6.568		6.568

		6.584		6.584

		6.601		6.601

		6.618		6.618

		6.634		6.634

		6.651		6.651

		6.668		6.668

		6.684		6.684

		6.701		6.701

		6.718		6.718

		6.734		6.734

		6.751		6.751

		6.768		6.768

		6.784		6.784

		6.801		6.801

		6.818		6.818

		6.834		6.834

		6.851		6.851

		6.868		6.868

		6.884		6.884

		6.901		6.901

		6.918		6.918

		6.934		6.934

		6.951		6.951

		6.968		6.968

		6.984		6.984

		7.001		7.001

		7.018		7.018

		7.034		7.034

		7.051		7.051

		7.068		7.068

		7.084		7.084

		7.101		7.101

		7.118		7.118

		7.134		7.134

		7.151		7.151

		7.168		7.168

		7.184		7.184

		7.201		7.201

		7.218		7.218

		7.234		7.234

		7.251		7.251

		7.268		7.268

		7.284		7.284

		7.301		7.301

		7.318		7.318

		7.334		7.334

		7.351		7.351

		7.368		7.368

		7.384		7.384

		7.401		7.401

		7.418		7.418

		7.434		7.434

		7.451		7.451

		7.468		7.468

		7.484		7.484

		7.501		7.501

		7.518		7.518

		7.534		7.534

		7.551		7.551

		7.568		7.568

		7.584		7.584

		7.601		7.601

		7.618		7.618

		7.634		7.634

		7.651		7.651

		7.668		7.668

		7.684		7.684

		7.701		7.701

		7.718		7.718

		7.735		7.735

		7.751		7.751

		7.768		7.768

		7.785		7.785

		7.801		7.801

		7.818		7.818

		7.835		7.835

		7.851		7.851

		7.868		7.868

		7.885		7.885

		7.901		7.901

		7.918		7.918

		7.935		7.935

		7.951		7.951

		7.968		7.968

		7.985		7.985

		8.001		8.001

		8.018		8.018

		8.035		8.035

		8.051		8.051

		8.068		8.068

		8.085		8.085

		8.101		8.101

		8.118		8.118

		8.135		8.135

		8.151		8.151

		8.168		8.168

		8.185		8.185

		8.201		8.201

		8.218		8.218

		8.235		8.235

		8.251		8.251

		8.268		8.268

		8.285		8.285

		8.301		8.301

		8.318		8.318

		8.335		8.335

		8.351		8.351

		8.368		8.368

		8.385		8.385

		8.401		8.401

		8.418		8.418

		8.435		8.435

		8.451		8.451

		8.468		8.468

		8.485		8.485

		8.501		8.501

		8.518		8.518

		8.535		8.535

		8.551		8.551

		8.568		8.568

		8.585		8.585

		8.601		8.601

		8.618		8.618

		8.635		8.635

		8.651		8.651

		8.668		8.668

		8.685		8.685

		8.701		8.701

		8.718		8.718

		8.735		8.735

		8.751		8.751

		8.768		8.768

		8.785		8.785

		8.801		8.801

		8.818		8.818

		8.835		8.835

		8.851		8.851

		8.868		8.868

		8.885		8.885

		8.902		8.902

		8.918		8.918

		8.935		8.935

		8.951		8.951

		8.968		8.968

		8.985		8.985

		9.002		9.002

		9.018		9.018

		9.035		9.035

		9.052		9.052

		9.068		9.068

		9.085		9.085

		9.101		9.101

		9.118		9.118

		9.135		9.135

		9.152		9.152

		9.168		9.168

		9.185		9.185

		9.202		9.202

		9.218		9.218

		9.235		9.235

		9.252		9.252

		9.268		9.268

		9.285		9.285

		9.302		9.302

		9.318		9.318

		9.335		9.335

		9.352		9.352

		9.368		9.368

		9.385		9.385

		9.402		9.402

		9.418		9.418

		9.435		9.435

		9.452		9.452

		9.468		9.468

		9.485		9.485

		9.502		9.502

		9.518		9.518

		9.535		9.535

		9.552		9.552

		9.568		9.568

		9.585		9.585

		9.602		9.602

		9.618		9.618

		9.635		9.635

		9.652		9.652

		9.668		9.668

		9.685		9.685

		9.702		9.702

		9.718		9.718

		9.735		9.735

		9.752		9.752

		9.768		9.768

		9.785		9.785

		9.802		9.802

		9.818		9.818

		9.835		9.835

		9.852		9.852

		9.868		9.868

		9.885		9.885

		9.902		9.902

		9.918		9.918

		9.935		9.935

		9.952		9.952

		9.968		9.968

		9.985		9.985

		10.002		10.002

		10.018		10.018

		10.035		10.035

		10.052		10.052

		10.068		10.068

		10.085		10.085

		10.102		10.102

		10.118		10.118

		10.135		10.135

		10.152		10.152

		10.168		10.168

		10.185		10.185

		10.202		10.202

		10.218		10.218

		10.235		10.235

		10.252		10.252

		10.268		10.268

		10.285		10.285

		10.302		10.302

		10.318		10.318

		10.335		10.335

		10.352		10.352

		10.368		10.368

		10.385		10.385

		10.402		10.402

		10.418		10.418

		10.435		10.435

		10.452		10.452

		10.468		10.468

		10.485		10.485

		10.502		10.502

		10.519		10.519

		10.535		10.535

		10.552		10.552

		10.569		10.569

		10.585		10.585

		10.602		10.602

		10.619		10.619

		10.635		10.635

		10.652		10.652

		10.669		10.669

		10.685		10.685

		10.702		10.702

		10.719		10.719

		10.735		10.735

		10.752		10.752

		10.769		10.769

		10.785		10.785

		10.802		10.802

		10.819		10.819

		10.835		10.835

		10.852		10.852

		10.869		10.869

		10.885		10.885

		10.902		10.902

		10.919		10.919

		10.935		10.935

		10.952		10.952

		10.969		10.969

		10.985		10.985

		11.002		11.002

		11.019		11.019

		11.035		11.035

		11.052		11.052

		11.069		11.069

		11.085		11.085

		11.102		11.102

		11.119		11.119

		11.135		11.135

		11.152		11.152

		11.169		11.169

		11.185		11.185

		11.202		11.202

		11.219		11.219

		11.235		11.235

		11.252		11.252

		11.269		11.269

		11.285		11.285

		11.302		11.302

		11.319		11.319

		11.335		11.335

		11.352		11.352

		11.369		11.369

		11.385		11.385

		11.402		11.402

		11.419		11.419

		11.435		11.435

		11.452		11.452

		11.469		11.469

		11.485		11.485

		11.502		11.502

		11.519		11.519

		11.535		11.535

		11.552		11.552

		11.569		11.569

		11.585		11.585

		11.602		11.602

		11.619		11.619

		11.635		11.635

		11.652		11.652

		11.669		11.669

		11.685		11.685

		11.702		11.702

		11.719		11.719

		11.735		11.735

		11.752		11.752

		11.769		11.769

		11.785		11.785

		11.802		11.802

		11.819		11.819

		11.836		11.836

		11.852		11.852

		11.869		11.869

		11.885		11.885

		11.902		11.902

		11.919		11.919

		11.935		11.935

		11.952		11.952

		11.969		11.969

		11.986		11.986

		12.002		12.002

		12.019		12.019

		12.036		12.036

		12.052		12.052

		12.069		12.069

		12.086		12.086

		12.102		12.102

		12.119		12.119

		12.136		12.136

		12.152		12.152

		12.169		12.169

		12.186		12.186

		12.202		12.202

		12.219		12.219

		12.236		12.236

		12.252		12.252

		12.269		12.269

		12.286		12.286

		12.302		12.302

		12.319		12.319

		12.336		12.336

		12.352		12.352

		12.369		12.369

		12.386		12.386

		12.402		12.402

		12.419		12.419

		12.436		12.436

		12.452		12.452

		12.469		12.469

		12.486		12.486

		12.502		12.502

		12.519		12.519

		12.536		12.536

		12.552		12.552

		12.569		12.569

		12.586		12.586

		12.602		12.602

		12.619		12.619

		12.636		12.636

		12.652		12.652

		12.669		12.669

		12.686		12.686

		12.702		12.702

		12.719		12.719

		12.736		12.736

		12.752		12.752

		12.769		12.769

		12.786		12.786

		12.802		12.802

		12.819		12.819

		12.836		12.836

		12.852		12.852

		12.869		12.869

		12.886		12.886

		12.902		12.902

		12.919		12.919

		12.936		12.936

		12.952		12.952

		12.969		12.969

		12.986		12.986

		13.002		13.002

		13.019		13.019

		13.036		13.036

		13.052		13.052

		13.069		13.069

		13.086		13.086

		13.102		13.102

		13.119		13.119

		13.136		13.136

		13.152		13.152

		13.169		13.169

		13.186		13.186

		13.202		13.202

		13.219		13.219

		13.236		13.236

		13.252		13.252

		13.269		13.269

		13.286		13.286

		13.303		13.303

		13.319		13.319

		13.336		13.336

		13.353		13.353

		13.369		13.369

		13.386		13.386

		13.403		13.403

		13.419		13.419

		13.436		13.436

		13.453		13.453

		13.469		13.469

		13.486		13.486

		13.503		13.503

		13.519		13.519

		13.536		13.536

		13.553		13.553

		13.569		13.569

		13.586		13.586

		13.603		13.603

		13.619		13.619

		13.636		13.636

		13.653		13.653

		13.669		13.669

		13.686		13.686

		13.703		13.703

		13.719		13.719

		13.736		13.736

		13.753		13.753

		13.769		13.769

		13.786		13.786

		13.803		13.803

		13.819		13.819

		13.836		13.836

		13.853		13.853

		13.869		13.869

		13.886		13.886

		13.903		13.903

		13.919		13.919

		13.936		13.936

		13.953		13.953

		13.969		13.969

		13.986		13.986

		14.003		14.003

		14.019		14.019

		14.036		14.036

		14.053		14.053

		14.069		14.069

		14.086		14.086

		14.103		14.103

		14.119		14.119

		14.136		14.136

		14.153		14.153

		14.169		14.169

		14.186		14.186

		14.203		14.203

		14.219		14.219

		14.236		14.236

		14.253		14.253

		14.269		14.269

		14.286		14.286

		14.303		14.303

		14.319		14.319

		14.336		14.336

		14.353		14.353

		14.369		14.369

		14.386		14.386

		14.403		14.403

		14.419		14.419

		14.436		14.436

		14.453		14.453

		14.469		14.469

		14.486		14.486

		14.503		14.503

		14.519		14.519

		14.536		14.536

		14.553		14.553

		14.569		14.569

		14.586		14.586

		14.603		14.603

		14.619		14.619

		14.636		14.636

		14.653		14.653

		14.669		14.669

		14.686		14.686

		14.703		14.703

		14.719		14.719

		14.736		14.736

		14.753		14.753

		14.77		14.77

		14.786		14.786

		14.803		14.803

		14.82		14.82

		14.836		14.836

		14.853		14.853

		14.87		14.87

		14.886		14.886

		14.903		14.903

		14.919		14.919

		14.936		14.936

		14.953		14.953

		14.97		14.97

		14.986		14.986

		15.003		15.003

		15.02		15.02

		15.036		15.036

		15.053		15.053

		15.07		15.07

		15.086		15.086

		15.103		15.103

		15.12		15.12

		15.136		15.136

		15.153		15.153

		15.17		15.17

		15.186		15.186

		15.203		15.203

		15.22		15.22

		15.236		15.236

		15.253		15.253

		15.27		15.27

		15.286		15.286

		15.303		15.303

		15.32		15.32

		15.336		15.336

		15.353		15.353

		15.37		15.37

		15.386		15.386

		15.403		15.403

		15.42		15.42

		15.436		15.436

		15.453		15.453

		15.47		15.47

		15.486		15.486

		15.503		15.503

		15.52		15.52

		15.536		15.536

		15.553		15.553

		15.57		15.57

		15.586		15.586

		15.603		15.603

		15.62		15.62

		15.636		15.636

		15.653		15.653

		15.67		15.67

		15.686		15.686

		15.703		15.703

		15.72		15.72

		15.736		15.736

		15.753		15.753

		15.77		15.77

		15.786		15.786

		15.803		15.803

		15.82		15.82

		15.836		15.836

		15.853		15.853

		15.87		15.87

		15.886		15.886

		15.903		15.903

		15.92		15.92

		15.936		15.936

		15.953		15.953

		15.97		15.97

		15.986		15.986

		16.003		16.003

		16.02		16.02

		16.036		16.036

		16.053		16.053

		16.07		16.07

		16.086		16.086

		16.103		16.103

		16.12		16.12

		16.136		16.136

		16.153		16.153

		16.17		16.17

		16.186		16.186

		16.203		16.203

		16.22		16.22

		16.236		16.236

		16.253		16.253

		16.27		16.27

		16.286		16.286

		16.303		16.303

		16.32		16.32

		16.336		16.336

		16.353		16.353

		16.37		16.37

		16.386		16.386

		16.403		16.403

		16.42		16.42

		16.436		16.436

		16.453		16.453

		16.47		16.47

		16.486		16.486

		16.503		16.503

		16.52		16.52

		16.536		16.536

		16.553		16.553

		16.57		16.57

		16.586		16.586

		16.603		16.603

		16.62		16.62

		16.636		16.636

		16.653		16.653

		16.67		16.67

		16.686		16.686

		16.703		16.703

		16.72		16.72

		16.737		16.737

		16.753		16.753

		16.77		16.77

		16.787		16.787

		16.803		16.803

		16.82		16.82

		16.837		16.837

		16.853		16.853

		16.87		16.87

		16.887		16.887

		16.903		16.903

		16.92		16.92

		16.937		16.937

		16.953		16.953

		16.97		16.97

		16.987		16.987

		17.003		17.003

		17.02		17.02

		17.037		17.037

		17.053		17.053

		17.07		17.07

		17.087		17.087

		17.103		17.103

		17.12		17.12

		17.137		17.137

		17.153		17.153

		17.17		17.17

		17.187		17.187

		17.203		17.203

		17.22		17.22

		17.237		17.237

		17.253		17.253

		17.27		17.27

		17.287		17.287

		17.303		17.303

		17.32		17.32

		17.337		17.337

		17.353		17.353

		17.37		17.37

		17.387		17.387

		17.403		17.403

		17.42		17.42

		17.437		17.437

		17.453		17.453

		17.47		17.47

		17.487		17.487

		17.503		17.503

		17.52		17.52

		17.537		17.537

		17.553		17.553

		17.57		17.57

		17.587		17.587

		17.603		17.603

		17.62		17.62

		17.637		17.637

		17.653		17.653

		17.67		17.67

		17.687		17.687

		17.703		17.703

		17.72		17.72

		17.737		17.737

		17.753		17.753

		17.77		17.77

		17.787		17.787

		17.803		17.803

		17.82		17.82

		17.837		17.837

		17.853		17.853

		17.87		17.87

		17.887		17.887

		17.903		17.903

		17.92		17.92

		17.937		17.937

		17.953		17.953

		17.97		17.97

		17.987		17.987

		18.003		18.003

		18.02		18.02

		18.037		18.037

		18.053		18.053

		18.07		18.07

		18.087		18.087

		18.103		18.103

		18.12		18.12

		18.137		18.137

		18.153		18.153

		18.17		18.17

		18.187		18.187

		18.203		18.203

		18.22		18.22

		18.237		18.237

		18.254		18.254

		18.27		18.27

		18.287		18.287

		18.303		18.303

		18.32		18.32

		18.337		18.337

		18.354		18.354

		18.37		18.37

		18.387		18.387

		18.404		18.404

		18.42		18.42

		18.437		18.437

		18.454		18.454

		18.47		18.47

		18.487		18.487

		18.504		18.504

		18.52		18.52

		18.537		18.537

		18.554		18.554

		18.57		18.57

		18.587		18.587

		18.604		18.604

		18.62		18.62

		18.637		18.637

		18.654		18.654

		18.67		18.67

		18.687		18.687

		18.704		18.704

		18.72		18.72

		18.737		18.737

		18.754		18.754

		18.77		18.77

		18.787		18.787

		18.804		18.804

		18.82		18.82

		18.837		18.837

		18.854		18.854

		18.87		18.87

		18.887		18.887

		18.904		18.904

		18.92		18.92

		18.937		18.937

		18.954		18.954

		18.97		18.97

		18.987		18.987

		19.004		19.004

		19.02		19.02

		19.037		19.037

		19.054		19.054

		19.07		19.07

		19.087		19.087

		19.104		19.104

		19.12		19.12

		19.137		19.137

		19.154		19.154

		19.17		19.17

		19.187		19.187

		19.204		19.204

		19.22		19.22

		19.237		19.237

		19.254		19.254

		19.27		19.27

		19.287		19.287

		19.304		19.304

		19.32		19.32

		19.337		19.337

		19.354		19.354

		19.37		19.37

		19.387		19.387

		19.404		19.404

		19.42		19.42

		19.437		19.437

		19.454		19.454

		19.47		19.47

		19.487		19.487

		19.504		19.504

		19.521		19.521

		19.537		19.537

		19.554		19.554

		19.571		19.571

		19.587		19.587

		19.604		19.604

		19.62		19.62

		19.637		19.637

		19.654		19.654

		19.671		19.671

		19.687		19.687

		19.704		19.704

		19.72		19.72

		19.737		19.737

		19.754		19.754

		19.771		19.771

		19.787		19.787

		19.804		19.804

		19.821		19.821

		19.837		19.837

		19.854		19.854

		19.871		19.871

		19.887		19.887

		19.904		19.904

		19.921		19.921

		19.937		19.937

		19.954		19.954

		19.971		19.971

		19.987		19.987

		20.004		20.004

		20.021		20.021

		20.037		20.037

		20.054		20.054

		20.071		20.071

		20.087		20.087

		20.104		20.104

		20.121		20.121

		20.137		20.137

		20.154		20.154

		20.171		20.171

		20.187		20.187

		20.204		20.204

		20.221		20.221

		20.237		20.237

		20.254		20.254

		20.271		20.271

		20.287		20.287

		20.304		20.304

		20.321		20.321

		20.337		20.337

		20.354		20.354

		20.371		20.371

		20.387		20.387

		20.404		20.404

		20.421		20.421

		20.437		20.437

		20.454		20.454

		20.471		20.471

		20.487		20.487

		20.504		20.504

		20.521		20.521

		20.537		20.537

		20.554		20.554

		20.571		20.571

		20.587		20.587

		20.604		20.604

		20.621		20.621

		20.637		20.637

		20.654		20.654

		20.671		20.671

		20.687		20.687

		20.704		20.704

		20.721		20.721

		20.737		20.737

		20.754		20.754

		20.771		20.771

		20.787		20.787

		20.804		20.804

		20.821		20.821

		20.837		20.837

		20.854		20.854

		20.871		20.871

		20.887		20.887

		20.904		20.904

		20.921		20.921

		20.937		20.937

		20.954		20.954

		20.971		20.971

		20.987		20.987

		21.004		21.004

		21.021		21.021

		21.037		21.037

		21.054		21.054

		21.071		21.071

		21.087		21.087

		21.104		21.104

		21.121		21.121

		21.138		21.138

		21.154		21.154

		21.171		21.171

		21.188		21.188

		21.204		21.204

		21.221		21.221

		21.238		21.238

		21.254		21.254

		21.271		21.271

		21.288		21.288

		21.304		21.304

		21.321		21.321

		21.338		21.338

		21.354		21.354

		21.371		21.371

		21.388		21.388

		21.404		21.404

		21.421		21.421

		21.438		21.438

		21.454		21.454

		21.471		21.471

		21.488		21.488

		21.504		21.504

		21.521		21.521

		21.538		21.538

		21.554		21.554

		21.571		21.571

		21.588		21.588

		21.604		21.604

		21.621		21.621

		21.638		21.638

		21.654		21.654

		21.671		21.671

		21.688		21.688

		21.704		21.704

		21.721		21.721

		21.738		21.738

		21.754		21.754

		21.771		21.771

		21.788		21.788

		21.804		21.804

		21.821		21.821

		21.838		21.838

		21.854		21.854

		21.871		21.871

		21.888		21.888

		21.904		21.904

		21.921		21.921

		21.938		21.938

		21.954		21.954

		21.971		21.971

		21.988		21.988

		22.004		22.004

		22.021		22.021

		22.038		22.038

		22.054		22.054

		22.071		22.071

		22.088		22.088

		22.104		22.104

		22.121		22.121

		22.138		22.138

		22.154		22.154

		22.171		22.171

		22.188		22.188

		22.204		22.204

		22.221		22.221

		22.238		22.238

		22.254		22.254

		22.271		22.271

		22.288		22.288

		22.304		22.304

		22.321		22.321

		22.338		22.338

		22.355		22.355

		22.371		22.371

		22.388		22.388

		22.405		22.405

		22.421		22.421

		22.438		22.438

		22.455		22.455

		22.471		22.471

		22.488		22.488

		22.505		22.505

		22.521		22.521

		22.538		22.538

		22.555		22.555

		22.571		22.571

		22.588		22.588

		22.605		22.605

		22.621		22.621

		22.638		22.638

		22.655		22.655

		22.671		22.671

		22.688		22.688

		22.705		22.705

		22.721		22.721

		22.738		22.738

		22.755		22.755

		22.771		22.771

		22.788		22.788

		22.805		22.805

		22.821		22.821

		22.838		22.838

		22.855		22.855

		22.871		22.871

		22.888		22.888

		22.905		22.905

		22.921		22.921

		22.938		22.938

		22.955		22.955

		22.971		22.971

		22.988		22.988

		23.005		23.005

		23.021		23.021

		23.038		23.038

		23.055		23.055

		23.071		23.071

		23.088		23.088

		23.105		23.105

		23.121		23.121

		23.138		23.138

		23.155		23.155

		23.171		23.171

		23.188		23.188

		23.205		23.205

		23.221		23.221

		23.238		23.238

		23.255		23.255

		23.271		23.271

		23.288		23.288

		23.305		23.305

		23.321		23.321

		23.338		23.338

		23.355		23.355

		23.371		23.371

		23.388		23.388

		23.405		23.405

		23.421		23.421

		23.438		23.438

		23.455		23.455

		23.471		23.471

		23.488		23.488

		23.505		23.505

		23.521		23.521

		23.538		23.538

		23.555		23.555

		23.571		23.571

		23.588		23.588

		23.605		23.605

		23.621		23.621

		23.638		23.638

		23.655		23.655

		23.672		23.672

		23.688		23.688

		23.705		23.705

		23.722		23.722

		23.738		23.738

		23.755		23.755

		23.772		23.772

		23.788		23.788

		23.805		23.805

		23.822		23.822

		23.838		23.838

		23.855		23.855

		23.872		23.872

		23.888		23.888

		23.905		23.905

		23.922		23.922

		23.938		23.938

		23.955		23.955

		23.972		23.972

		23.988		23.988

		24.005		24.005

		24.022		24.022

		24.038		24.038

		24.055		24.055

		24.072		24.072

		24.088		24.088

		24.105		24.105

		24.122		24.122

		24.138		24.138

		24.155		24.155

		24.172		24.172

		24.188		24.188

		24.205		24.205

		24.222		24.222

		24.238		24.238

		24.255		24.255

		24.272		24.272

		24.288		24.288

		24.305		24.305

		24.322		24.322

		24.338		24.338

		24.355		24.355

		24.372		24.372

		24.388		24.388

		24.405		24.405

		24.422		24.422

		24.438		24.438

		24.455		24.455

		24.472		24.472

		24.488		24.488

		24.505		24.505

		24.522		24.522

		24.538		24.538

		24.555		24.555

		24.572		24.572

		24.588		24.588

		24.605		24.605

		24.622		24.622

		24.638		24.638

		24.655		24.655

		24.672		24.672

		24.688		24.688

		24.705		24.705

		24.722		24.722

		24.738		24.738

		24.755		24.755

		24.772		24.772

		24.788		24.788

		24.805		24.805

		24.822		24.822

		24.838		24.838

		24.855		24.855

		24.872		24.872

		24.888		24.888

		24.905		24.905

		24.922		24.922

		24.939		24.939

		24.955		24.955

		24.972		24.972

		24.989		24.989

		25.005		25.005

		25.022		25.022

		25.039		25.039

		25.055		25.055

		25.072		25.072

		25.089		25.089

		25.105		25.105

		25.122		25.122

		25.139		25.139

		25.155		25.155

		25.172		25.172

		25.189		25.189

		25.205		25.205

		25.222		25.222

		25.239		25.239

		25.255		25.255

		25.272		25.272

		25.289		25.289

		25.305		25.305

		25.322		25.322

		25.339		25.339

		25.355		25.355

		25.372		25.372

		25.389		25.389

		25.405		25.405

		25.422		25.422

		25.439		25.439

		25.455		25.455

		25.472		25.472

		25.489		25.489

		25.505		25.505

		25.522		25.522

		25.539		25.539

		25.555		25.555

		25.572		25.572

		25.589		25.589

		25.605		25.605

		25.622		25.622

		25.639		25.639

		25.655		25.655

		25.672		25.672

		25.689		25.689

		25.706		25.706

		25.722		25.722

		25.739		25.739

		25.756		25.756

		25.772		25.772

		25.789		25.789

		25.806		25.806

		25.822		25.822

		25.839		25.839

		25.855		25.855

		25.872		25.872

		25.889		25.889

		25.906		25.906

		25.922		25.922

		25.939		25.939

		25.956		25.956

		25.972		25.972

		25.989		25.989

		26.006		26.006

		26.022		26.022

		26.039		26.039

		26.056		26.056

		26.072		26.072

		26.089		26.089

		26.106		26.106

		26.122		26.122

		26.139		26.139

		26.156		26.156

		26.172		26.172

		26.189		26.189

		26.206		26.206

		26.222		26.222

		26.239		26.239

		26.256		26.256

		26.272		26.272

		26.289		26.289

		26.306		26.306

		26.322		26.322

		26.339		26.339

		26.356		26.356

		26.372		26.372

		26.389		26.389

		26.406		26.406

		26.422		26.422

		26.439		26.439

		26.456		26.456

		26.472		26.472

		26.489		26.489

		26.506		26.506

		26.522		26.522

		26.539		26.539

		26.556		26.556

		26.572		26.572

		26.589		26.589

		26.606		26.606

		26.622		26.622

		26.639		26.639

		26.656		26.656

		26.672		26.672

		26.689		26.689

		26.706		26.706

		26.722		26.722

		26.739		26.739

		26.756		26.756

		26.772		26.772

		26.789		26.789

		26.806		26.806

		26.822		26.822

		26.839		26.839

		26.856		26.856

		26.872		26.872

		26.889		26.889

		26.906		26.906

		26.922		26.922

		26.939		26.939

		26.956		26.956

		26.972		26.972

		26.989		26.989

		27.006		27.006

		27.023		27.023

		27.039		27.039

		27.056		27.056

		27.072		27.072

		27.089		27.089

		27.106		27.106

		27.122		27.122

		27.139		27.139

		27.156		27.156

		27.173		27.173

		27.189		27.189

		27.206		27.206

		27.223		27.223

		27.239		27.239

		27.256		27.256

		27.273		27.273

		27.289		27.289

		27.306		27.306

		27.323		27.323

		27.339		27.339

		27.356		27.356

		27.373		27.373

		27.389		27.389

		27.406		27.406

		27.423		27.423

		27.439		27.439

		27.456		27.456

		27.473		27.473

		27.489		27.489

		27.506		27.506

		27.523		27.523

		27.539		27.539

		27.556		27.556

		27.573		27.573

		27.589		27.589

		27.606		27.606

		27.623		27.623

		27.639		27.639

		27.656		27.656

		27.673		27.673

		27.689		27.689

		27.706		27.706

		27.723		27.723

		27.739		27.739

		27.756		27.756

		27.773		27.773

		27.789		27.789

		27.806		27.806

		27.823		27.823

		27.839		27.839

		27.856		27.856

		27.873		27.873

		27.889		27.889

		27.906		27.906

		27.923		27.923

		27.939		27.939

		27.956		27.956

		27.973		27.973

		27.989		27.989

		28.006		28.006

		28.023		28.023

		28.04		28.04

		28.056		28.056

		28.073		28.073

		28.09		28.09

		28.106		28.106

		28.123		28.123

		28.14		28.14

		28.156		28.156

		28.173		28.173

		28.189		28.189

		28.206		28.206

		28.223		28.223

		28.24		28.24

		28.256		28.256

		28.273		28.273

		28.29		28.29

		28.306		28.306

		28.323		28.323

		28.34		28.34

		28.356		28.356

		28.373		28.373

		28.39		28.39

		28.406		28.406

		28.423		28.423

		28.44		28.44

		28.456		28.456

		28.473		28.473

		28.49		28.49

		28.506		28.506

		28.523		28.523

		28.54		28.54

		28.556		28.556

		28.573		28.573

		28.59		28.59

		28.606		28.606

		28.623		28.623

		28.64		28.64

		28.656		28.656

		28.673		28.673

		28.69		28.69

		28.706		28.706

		28.723		28.723

		28.74		28.74

		28.756		28.756

		28.773		28.773

		28.79		28.79

		28.806		28.806

		28.823		28.823

		28.84		28.84

		28.856		28.856

		28.873		28.873

		28.89		28.89

		28.906		28.906

		28.923		28.923

		28.94		28.94

		28.956		28.956

		28.973		28.973

		28.99		28.99

		29.006		29.006

		29.023		29.023

		29.04		29.04

		29.056		29.056

		29.073		29.073

		29.09		29.09

		29.106		29.106

		29.123		29.123

		29.14		29.14

		29.156		29.156

		29.173		29.173

		29.19		29.19

		29.206		29.206

		29.223		29.223

		29.24		29.24

		29.256		29.256

		29.273		29.273

		29.29		29.29

		29.306		29.306

		29.323		29.323

		29.34		29.34

		29.357		29.357

		29.373		29.373

		29.39		29.39

		29.407		29.407

		29.423		29.423

		29.44		29.44

		29.457		29.457

		29.473		29.473

		29.49		29.49

		29.507		29.507

		29.523		29.523

		29.54		29.54

		29.557		29.557

		29.573		29.573

		29.59		29.59

		29.607		29.607

		29.623		29.623

		29.64		29.64

		29.657		29.657

		29.673		29.673

		29.69		29.69

		29.707		29.707

		29.723		29.723

		29.74		29.74

		29.757		29.757

		29.773		29.773

		29.79		29.79

		29.807		29.807

		29.823		29.823

		29.84		29.84

		29.857		29.857

		29.873		29.873

		29.89		29.89

		29.907		29.907

		29.923		29.923

		29.94		29.94

		29.957		29.957

		29.973		29.973

		29.99		29.99

		30.007		30.007

		30.023		30.023

		30.04		30.04

		30.057		30.057

		30.073		30.073

		30.09		30.09

		30.107		30.107

		30.123		30.123

		30.14		30.14

		30.157		30.157

		30.174		30.174

		30.19		30.19

		30.207		30.207

		30.224		30.224

		30.24		30.24

		30.257		30.257

		30.274		30.274

		30.29		30.29

		30.307		30.307

		30.324		30.324

		30.34		30.34

		30.357		30.357

		30.374		30.374

		30.39		30.39

		30.407		30.407

		30.424		30.424

		30.44		30.44

		30.457		30.457

		30.474		30.474

		30.49		30.49

		30.507		30.507

		30.524		30.524

		30.54		30.54

		30.557		30.557

		30.574		30.574

		30.59		30.59

		30.607		30.607

		30.624		30.624

		30.64		30.64

		30.657		30.657

		30.674		30.674

		30.69		30.69

		30.707		30.707

		30.724		30.724

		30.74		30.74

		30.757		30.757

		30.774		30.774

		30.79		30.79

		30.807		30.807

		30.824		30.824

		30.84		30.84

		30.857		30.857

		30.874		30.874

		30.89		30.89

		30.907		30.907

		30.924		30.924

		30.94		30.94

		30.957		30.957

		30.974		30.974

		30.99		30.99

		31.007		31.007

		31.024		31.024

		31.04		31.04

		31.057		31.057

		31.074		31.074

		31.091		31.091

		31.107		31.107

		31.124		31.124

		31.141		31.141

		31.157		31.157

		31.174		31.174

		31.191		31.191

		31.207		31.207

		31.224		31.224

		31.241		31.241

		31.257		31.257

		31.274		31.274

		31.291		31.291

		31.307		31.307

		31.324		31.324

		31.341		31.341

		31.357		31.357

		31.374		31.374

		31.391		31.391

		31.407		31.407

		31.424		31.424

		31.441		31.441

		31.457		31.457

		31.474		31.474

		31.491		31.491

		31.507		31.507

		31.524		31.524

		31.541		31.541

		31.557		31.557

		31.574		31.574

		31.591		31.591

		31.607		31.607

		31.624		31.624

		31.641		31.641

		31.657		31.657

		31.674		31.674

		31.691		31.691

		31.707		31.707

		31.724		31.724

		31.741		31.741

		31.757		31.757

		31.774		31.774

		31.791		31.791

		31.807		31.807

		31.824		31.824

		31.841		31.841

		31.857		31.857

		31.874		31.874

		31.891		31.891

		31.907		31.907

		31.924		31.924

		31.941		31.941

		31.957		31.957

		31.974		31.974

		31.991		31.991

		32.007		32.007

		32.024		32.024

		32.041		32.041

		32.058		32.058

		32.074		32.074

		32.091		32.091

		32.108		32.108

		32.124		32.124

		32.141		32.141

		32.158		32.158

		32.174		32.174

		32.191		32.191

		32.207		32.207

		32.224		32.224

		32.241		32.241

		32.258		32.258

		32.274		32.274

		32.291		32.291

		32.307		32.307

		32.324		32.324

		32.341		32.341

		32.358		32.358

		32.374		32.374

		32.391		32.391

		32.408		32.408

		32.424		32.424

		32.441		32.441

		32.458		32.458

		32.474		32.474

		32.491		32.491

		32.508		32.508

		32.524		32.524

		32.541		32.541

		32.558		32.558

		32.574		32.574

		32.591		32.591

		32.608		32.608

		32.624		32.624

		32.641		32.641

		32.658		32.658

		32.674		32.674

		32.691		32.691

		32.708		32.708

		32.724		32.724

		32.741		32.741

		32.758		32.758

		32.774		32.774

		32.791		32.791

		32.808		32.808

		32.824		32.824

		32.841		32.841

		32.858		32.858

		32.874		32.874

		32.891		32.891

		32.908		32.908

		32.924		32.924

		32.941		32.941

		32.958		32.958

		32.974		32.974

		32.991		32.991

		33.008		33.008

		33.024		33.024

		33.041		33.041

		33.058		33.058

		33.074		33.074

		33.091		33.091

		33.108		33.108

		33.124		33.124

		33.141		33.141

		33.158		33.158

		33.174		33.174

		33.191		33.191

		33.208		33.208

		33.224		33.224

		33.241		33.241

		33.258		33.258

		33.274		33.274

		33.291		33.291

		33.308		33.308

		33.324		33.324

		33.341		33.341

		33.358		33.358

		33.374		33.374

		33.391		33.391

		33.408		33.408

		33.424		33.424

		33.441		33.441

		33.458		33.458

		33.474		33.474

		33.491		33.491

		33.508		33.508

		33.524		33.524

		33.541		33.541

		33.558		33.558

		33.574		33.574

		33.591		33.591

		33.608		33.608

		33.624		33.624

		33.641		33.641

		33.658		33.658

		33.674		33.674

		33.691		33.691

		33.708		33.708

		33.724		33.724

		33.741		33.741

		33.758		33.758

		33.774		33.774

		33.791		33.791

		33.808		33.808

		33.825		33.825

		33.841		33.841

		33.858		33.858

		33.874		33.874

		33.891		33.891

		33.908		33.908

		33.925		33.925

		33.941		33.941

		33.958		33.958

		33.975		33.975

		33.991		33.991

		34.008		34.008

		34.025		34.025

		34.041		34.041

		34.058		34.058

		34.075		34.075

		34.091		34.091

		34.108		34.108

		34.125		34.125

		34.141		34.141

		34.158		34.158

		34.175		34.175

		34.191		34.191

		34.208		34.208

		34.225		34.225

		34.241		34.241

		34.258		34.258

		34.275		34.275

		34.291		34.291

		34.308		34.308

		34.325		34.325

		34.341		34.341

		34.358		34.358

		34.375		34.375

		34.391		34.391

		34.408		34.408

		34.425		34.425

		34.441		34.441

		34.458		34.458

		34.475		34.475

		34.491		34.491

		34.508		34.508

		34.525		34.525

		34.541		34.541

		34.558		34.558

		34.575		34.575

		34.591		34.591

		34.608		34.608

		34.625		34.625

		34.641		34.641

		34.658		34.658

		34.675		34.675

		34.691		34.691

		34.708		34.708

		34.725		34.725

		34.741		34.741

		34.758		34.758

		34.775		34.775

		34.791		34.791

		34.808		34.808

		34.825		34.825

		34.841		34.841

		34.858		34.858

		34.875		34.875

		34.891		34.891

		34.908		34.908

		34.925		34.925

		34.941		34.941

		34.958		34.958

		34.975		34.975

		34.991		34.991

		35.008		35.008

		35.025		35.025

		35.041		35.041

		35.058		35.058

		35.075		35.075

		35.092		35.092

		35.108		35.108

		35.125		35.125

		35.142		35.142

		35.158		35.158

		35.175		35.175

		35.192		35.192

		35.208		35.208

		35.225		35.225

		35.242		35.242

		35.258		35.258

		35.275		35.275

		35.292		35.292

		35.308		35.308

		35.325		35.325

		35.342		35.342

		35.358		35.358

		35.375		35.375

		35.392		35.392

		35.408		35.408

		35.425		35.425

		35.442		35.442

		35.458		35.458

		35.475		35.475

		35.492		35.492

		35.508		35.508

		35.525		35.525

		35.542		35.542

		35.558		35.558

		35.575		35.575

		35.592		35.592

		35.608		35.608

		35.625		35.625

		35.642		35.642

		35.658		35.658

		35.675		35.675

		35.692		35.692

		35.708		35.708

		35.725		35.725

		35.742		35.742

		35.758		35.758

		35.775		35.775

		35.792		35.792

		35.808		35.808

		35.825		35.825

		35.842		35.842

		35.858		35.858

		35.875		35.875

		35.892		35.892

		35.908		35.908

		35.925		35.925

		35.942		35.942

		35.958		35.958

		35.975		35.975

		35.992		35.992

		36.008		36.008

		36.025		36.025

		36.042		36.042

		36.058		36.058

		36.075		36.075

		36.092		36.092

		36.108		36.108

		36.125		36.125

		36.142		36.142

		36.158		36.158

		36.175		36.175

		36.192		36.192

		36.208		36.208

		36.225		36.225

		36.242		36.242

		36.258		36.258

		36.275		36.275

		36.292		36.292

		36.308		36.308

		36.325		36.325

		36.342		36.342

		36.358		36.358

		36.375		36.375

		36.392		36.392

		36.408		36.408

		36.425		36.425

		36.442		36.442

		36.458		36.458

		36.475		36.475

		36.492		36.492

		36.508		36.508

		36.525		36.525

		36.542		36.542

		36.558		36.558

		36.575		36.575

		36.592		36.592

		36.609		36.609

		36.625		36.625

		36.642		36.642

		36.659		36.659

		36.675		36.675

		36.692		36.692

		36.709		36.709

		36.725		36.725

		36.742		36.742

		36.759		36.759

		36.775		36.775

		36.792		36.792

		36.809		36.809

		36.825		36.825

		36.842		36.842

		36.859		36.859

		36.875		36.875

		36.892		36.892

		36.909		36.909

		36.925		36.925

		36.942		36.942

		36.959		36.959

		36.975		36.975

		36.992		36.992

		37.009		37.009

		37.025		37.025

		37.042		37.042

		37.059		37.059

		37.075		37.075

		37.092		37.092

		37.109		37.109

		37.125		37.125

		37.142		37.142

		37.159		37.159

		37.175		37.175

		37.192		37.192

		37.209		37.209

		37.225		37.225

		37.242		37.242

		37.259		37.259

		37.275		37.275

		37.292		37.292

		37.309		37.309

		37.325		37.325

		37.342		37.342

		37.359		37.359

		37.375		37.375

		37.392		37.392

		37.409		37.409

		37.425		37.425

		37.442		37.442

		37.459		37.459

		37.476		37.476

		37.492		37.492

		37.509		37.509

		37.526		37.526

		37.542		37.542

		37.559		37.559

		37.576		37.576

		37.592		37.592

		37.609		37.609

		37.626		37.626

		37.642		37.642

		37.659		37.659

		37.676		37.676

		37.692		37.692

		37.709		37.709

		37.726		37.726

		37.742		37.742

		37.759		37.759

		37.776		37.776

		37.792		37.792

		37.809		37.809

		37.826		37.826

		37.842		37.842

		37.859		37.859

		37.876		37.876

		37.892		37.892

		37.909		37.909

		37.926		37.926

		37.942		37.942

		37.959		37.959

		37.976		37.976

		37.992		37.992

		38.009		38.009

		38.026		38.026

		38.042		38.042

		38.059		38.059

		38.076		38.076

		38.092		38.092

		38.109		38.109

		38.126		38.126

		38.142		38.142

		38.159		38.159

		38.176		38.176

		38.192		38.192

		38.209		38.209

		38.226		38.226

		38.242		38.242

		38.259		38.259

		38.276		38.276

		38.292		38.292

		38.309		38.309

		38.326		38.326

		38.342		38.342

		38.359		38.359

		38.376		38.376

		38.392		38.392

		38.409		38.409

		38.426		38.426

		38.442		38.442

		38.459		38.459

		38.476		38.476

		38.492		38.492

		38.509		38.509

		38.526		38.526

		38.542		38.542

		38.559		38.559

		38.576		38.576

		38.593		38.593

		38.609		38.609

		38.626		38.626

		38.642		38.642

		38.659		38.659

		38.676		38.676

		38.693		38.693

		38.709		38.709

		38.726		38.726

		38.742		38.742

		38.759		38.759

		38.776		38.776

		38.793		38.793

		38.809		38.809

		38.826		38.826

		38.843		38.843

		38.859		38.859

		38.876		38.876

		38.893		38.893

		38.909		38.909

		38.926		38.926

		38.943		38.943

		38.959		38.959

		38.976		38.976

		38.993		38.993

		39.009		39.009

		39.026		39.026

		39.043		39.043

		39.059		39.059

		39.076		39.076

		39.093		39.093

		39.109		39.109

		39.126		39.126

		39.143		39.143

		39.159		39.159

		39.176		39.176

		39.193		39.193

		39.209		39.209

		39.226		39.226

		39.243		39.243

		39.259		39.259

		39.276		39.276

		39.293		39.293

		39.309		39.309

		39.326		39.326

		39.343		39.343

		39.359		39.359

		39.376		39.376

		39.393		39.393

		39.409		39.409

		39.426		39.426

		39.443		39.443

		39.459		39.459

		39.476		39.476

		39.493		39.493

		39.509		39.509

		39.526		39.526

		39.543		39.543

		39.559		39.559

		39.576		39.576

		39.593		39.593

		39.609		39.609

		39.626		39.626

		39.643		39.643

		39.659		39.659

		39.676		39.676

		39.693		39.693

		39.709		39.709

		39.726		39.726

		39.743		39.743

		39.759		39.759

		39.776		39.776

		39.793		39.793

		39.809		39.809

		39.826		39.826

		39.843		39.843

		39.859		39.859

		39.876		39.876

		39.893		39.893

		39.909		39.909

		39.926		39.926

		39.943		39.943

		39.959		39.959

		39.976		39.976

		39.993		39.993

		40.01		40.01

		40.026		40.026

		40.043		40.043

		40.06		40.06

		40.076		40.076

		40.093		40.093

		40.11		40.11

		40.126		40.126

		40.143		40.143

		40.16		40.16

		40.176		40.176

		40.193		40.193

		40.21		40.21

		40.226		40.226

		40.243		40.243

		40.26		40.26

		40.276		40.276

		40.293		40.293

		40.31		40.31

		40.326		40.326

		40.343		40.343

		40.36		40.36

		40.376		40.376

		40.393		40.393

		40.41		40.41

		40.426		40.426

		40.443		40.443

		40.46		40.46

		40.476		40.476

		40.493		40.493

		40.51		40.51

		40.526		40.526

		40.543		40.543

		40.56		40.56

		40.576		40.576

		40.593		40.593

		40.61		40.61

		40.626		40.626

		40.643		40.643

		40.66		40.66

		40.676		40.676

		40.693		40.693

		40.71		40.71

		40.726		40.726

		40.743		40.743

		40.76		40.76

		40.776		40.776

		40.793		40.793

		40.81		40.81

		40.826		40.826

		40.843		40.843

		40.86		40.86

		40.876		40.876

		40.893		40.893

		40.91		40.91

		40.926		40.926

		40.943		40.943

		40.96		40.96

		40.976		40.976

		40.993		40.993

		41.01		41.01

		41.026		41.026

		41.043		41.043

		41.06		41.06

		41.076		41.076

		41.093		41.093

		41.11		41.11

		41.127		41.127

		41.143		41.143

		41.16		41.16

		41.177		41.177

		41.193		41.193

		41.21		41.21

		41.227		41.227

		41.243		41.243

		41.26		41.26

		41.277		41.277

		41.293		41.293

		41.31		41.31

		41.327		41.327

		41.343		41.343

		41.36		41.36

		41.377		41.377

		41.393		41.393

		41.41		41.41

		41.427		41.427

		41.443		41.443

		41.46		41.46

		41.477		41.477

		41.493		41.493

		41.51		41.51

		41.527		41.527

		41.543		41.543

		41.56		41.56

		41.577		41.577

		41.593		41.593

		41.61		41.61

		41.627		41.627

		41.643		41.643

		41.66		41.66

		41.677		41.677

		41.693		41.693

		41.71		41.71

		41.727		41.727

		41.743		41.743

		41.76		41.76

		41.777		41.777

		41.793		41.793

		41.81		41.81

		41.827		41.827

		41.843		41.843

		41.86		41.86

		41.877		41.877

		41.893		41.893

		41.91		41.91

		41.927		41.927

		41.943		41.943

		41.96		41.96

		41.977		41.977

		41.993		41.993

		42.01		42.01

		42.027		42.027

		42.043		42.043

		42.06		42.06

		42.077		42.077

		42.093		42.093

		42.11		42.11

		42.127		42.127

		42.143		42.143

		42.16		42.16

		42.177		42.177

		42.194		42.194

		42.21		42.21

		42.227		42.227

		42.244		42.244

		42.26		42.26

		42.277		42.277

		42.294		42.294

		42.31		42.31

		42.327		42.327

		42.344		42.344

		42.36		42.36

		42.377		42.377

		42.394		42.394

		42.41		42.41

		42.427		42.427

		42.444		42.444

		42.46		42.46

		42.477		42.477

		42.494		42.494

		42.51		42.51

		42.527		42.527

		42.544		42.544

		42.56		42.56

		42.577		42.577

		42.594		42.594

		42.61		42.61

		42.627		42.627

		42.644		42.644

		42.66		42.66

		42.677		42.677

		42.694		42.694

		42.71		42.71

		42.727		42.727

		42.744		42.744

		42.76		42.76

		42.777		42.777

		42.794		42.794

		42.81		42.81

		42.827		42.827

		42.844		42.844

		42.86		42.86

		42.877		42.877

		42.894		42.894

		42.91		42.91

		42.927		42.927

		42.944		42.944

		42.96		42.96

		42.977		42.977

		42.994		42.994

		43.01		43.01

		43.027		43.027

		43.044		43.044

		43.06		43.06

		43.077		43.077

		43.094		43.094

		43.11		43.11

		43.127		43.127

		43.144		43.144

		43.16		43.16

		43.177		43.177

		43.194		43.194

		43.21		43.21

		43.227		43.227

		43.244		43.244

		43.26		43.26

		43.277		43.277

		43.294		43.294

		43.31		43.31

		43.327		43.327

		43.344		43.344

		43.361		43.361

		43.377		43.377

		43.394		43.394

		43.411		43.411

		43.427		43.427

		43.444		43.444

		43.461		43.461

		43.477		43.477

		43.494		43.494

		43.511		43.511

		43.527		43.527

		43.544		43.544

		43.561		43.561

		43.577		43.577

		43.594		43.594

		43.611		43.611

		43.627		43.627

		43.644		43.644

		43.661		43.661

		43.677		43.677

		43.694		43.694

		43.711		43.711

		43.727		43.727

		43.744		43.744

		43.761		43.761

		43.777		43.777

		43.794		43.794

		43.811		43.811

		43.827		43.827

		43.844		43.844

		43.861		43.861

		43.877		43.877

		43.894		43.894

		43.911		43.911

		43.927		43.927

		43.944		43.944

		43.961		43.961

		43.977		43.977

		43.994		43.994

		44.011		44.011

		44.027		44.027

		44.044		44.044

		44.061		44.061

		44.077		44.077

		44.094		44.094

		44.111		44.111

		44.127		44.127

		44.144		44.144

		44.161		44.161

		44.177		44.177

		44.194		44.194

		44.211		44.211

		44.227		44.227

		44.244		44.244

		44.261		44.261

		44.277		44.277

		44.294		44.294

		44.311		44.311

		44.327		44.327

		44.344		44.344

		44.361		44.361

		44.377		44.377

		44.394		44.394

		44.411		44.411

		44.428		44.428

		44.444		44.444

		44.461		44.461

		44.477		44.477

		44.494		44.494

		44.511		44.511

		44.528		44.528

		44.544		44.544

		44.561		44.561

		44.578		44.578

		44.594		44.594

		44.611		44.611

		44.628		44.628

		44.644		44.644

		44.661		44.661

		44.678		44.678

		44.694		44.694

		44.711		44.711

		44.728		44.728

		44.744		44.744

		44.761		44.761

		44.778		44.778

		44.794		44.794

		44.811		44.811

		44.828		44.828

		44.844		44.844

		44.861		44.861

		44.878		44.878

		44.894		44.894

		44.911		44.911

		44.928		44.928

		44.944		44.944

		44.961		44.961

		44.978		44.978

		44.994		44.994

		45.011		45.011

		45.028		45.028

		45.044		45.044

		45.061		45.061

		45.078		45.078

		45.094		45.094

		45.111		45.111

		45.128		45.128

		45.144		45.144

		45.161		45.161

		45.178		45.178

		45.194		45.194

		45.211		45.211

		45.228		45.228

		45.244		45.244

		45.261		45.261

		45.278		45.278

		45.294		45.294

		45.311		45.311

		45.328		45.328

		45.344		45.344

		45.361		45.361

		45.378		45.378

		45.395		45.395

		45.411		45.411

		45.428		45.428

		45.444		45.444

		45.461		45.461

		45.478		45.478

		45.494		45.494

		45.511		45.511

		45.528		45.528

		45.544		45.544

		45.561		45.561

		45.578		45.578

		45.595		45.595

		45.611		45.611

		45.628		45.628

		45.645		45.645

		45.661		45.661

		45.678		45.678

		45.695		45.695

		45.711		45.711

		45.728		45.728

		45.745		45.745

		45.761		45.761

		45.778		45.778

		45.795		45.795

		45.811		45.811

		45.828		45.828

		45.845		45.845

		45.861		45.861

		45.878		45.878

		45.895		45.895

		45.911		45.911

		45.928		45.928

		45.945		45.945

		45.961		45.961

		45.978		45.978

		45.995		45.995

		46.011		46.011

		46.028		46.028

		46.045		46.045

		46.061		46.061

		46.078		46.078

		46.095		46.095

		46.111		46.111

		46.128		46.128

		46.145		46.145

		46.161		46.161

		46.178		46.178

		46.195		46.195

		46.211		46.211

		46.228		46.228

		46.245		46.245

		46.261		46.261

		46.278		46.278

		46.295		46.295

		46.311		46.311

		46.328		46.328

		46.345		46.345

		46.361		46.361

		46.378		46.378

		46.395		46.395

		46.411		46.411

		46.428		46.428

		46.445		46.445

		46.461		46.461

		46.478		46.478

		46.495		46.495

		46.511		46.511

		46.528		46.528

		46.545		46.545

		46.562		46.562

		46.578		46.578

		46.595		46.595

		46.612		46.612

		46.628		46.628

		46.645		46.645

		46.662		46.662

		46.678		46.678

		46.695		46.695

		46.712		46.712

		46.728		46.728

		46.745		46.745

		46.762		46.762

		46.778		46.778

		46.795		46.795

		46.812		46.812

		46.828		46.828

		46.845		46.845

		46.862		46.862

		46.878		46.878

		46.895		46.895

		46.912		46.912

		46.928		46.928

		46.945		46.945

		46.962		46.962

		46.978		46.978

		46.995		46.995

		47.012		47.012

		47.028		47.028

		47.045		47.045

		47.062		47.062

		47.078		47.078

		47.095		47.095

		47.112		47.112

		47.128		47.128

		47.145		47.145

		47.162		47.162

		47.178		47.178

		47.195		47.195

		47.212		47.212

		47.228		47.228

		47.245		47.245

		47.262		47.262

		47.278		47.278

		47.295		47.295

		47.312		47.312

		47.328		47.328

		47.345		47.345

		47.362		47.362

		47.379		47.379

		47.395		47.395

		47.412		47.412

		47.428		47.428

		47.445		47.445

		47.462		47.462

		47.479		47.479

		47.495		47.495

		47.512		47.512

		47.529		47.529

		47.545		47.545

		47.562		47.562

		47.579		47.579

		47.595		47.595

		47.612		47.612

		47.629		47.629

		47.645		47.645

		47.662		47.662

		47.679		47.679

		47.695		47.695

		47.712		47.712

		47.729		47.729

		47.745		47.745

		47.762		47.762

		47.779		47.779

		47.795		47.795

		47.812		47.812

		47.829		47.829

		47.845		47.845

		47.862		47.862

		47.879		47.879

		47.895		47.895

		47.912		47.912

		47.929		47.929

		47.945		47.945

		47.962		47.962

		47.979		47.979

		47.995		47.995

		48.012		48.012

		48.029		48.029

		48.045		48.045

		48.062		48.062

		48.079		48.079

		48.095		48.095

		48.112		48.112

		48.129		48.129

		48.145		48.145

		48.162		48.162

		48.179		48.179

		48.195		48.195

		48.212		48.212

		48.229		48.229

		48.245		48.245

		48.262		48.262

		48.279		48.279

		48.296		48.296

		48.312		48.312

		48.329		48.329

		48.346		48.346

		48.362		48.362

		48.379		48.379

		48.396		48.396

		48.412		48.412

		48.429		48.429

		48.446		48.446

		48.462		48.462

		48.479		48.479

		48.496		48.496

		48.512		48.512

		48.529		48.529

		48.546		48.546

		48.562		48.562

		48.579		48.579

		48.596		48.596

		48.612		48.612

		48.629		48.629

		48.646		48.646

		48.662		48.662

		48.679		48.679

		48.696		48.696

		48.712		48.712

		48.729		48.729

		48.746		48.746

		48.762		48.762

		48.779		48.779

		48.796		48.796

		48.812		48.812

		48.829		48.829

		48.846		48.846

		48.862		48.862

		48.879		48.879

		48.896		48.896

		48.912		48.912

		48.929		48.929

		48.946		48.946

		48.963		48.963

		48.979		48.979

		48.996		48.996

		49.013		49.013

		49.029		49.029

		49.046		49.046

		49.063		49.063

		49.079		49.079

		49.096		49.096

		49.113		49.113

		49.129		49.129

		49.146		49.146

		49.163		49.163

		49.179		49.179

		49.196		49.196

		49.213		49.213

		49.229		49.229

		49.246		49.246

		49.263		49.263

		49.279		49.279

		49.296		49.296

		49.313		49.313

		49.329		49.329

		49.346		49.346

		49.363		49.363

		49.379		49.379

		49.396		49.396

		49.413		49.413

		49.429		49.429

		49.446		49.446

		49.463		49.463

		49.479		49.479

		49.496		49.496

		49.513		49.513

		49.529		49.529

		49.546		49.546

		49.563		49.563

		49.579		49.579

		49.596		49.596

		49.613		49.613

		49.629		49.629

		49.646		49.646

		49.663		49.663

		49.68		49.68

		49.696		49.696

		49.713		49.713

		49.73		49.73

		49.746		49.746

		49.763		49.763

		49.78		49.78

		49.796		49.796

		49.813		49.813

		49.83		49.83

		49.846		49.846

		49.863		49.863

		49.88		49.88

		49.896		49.896

		49.913		49.913

		49.93		49.93

		49.946		49.946

		49.963		49.963

		49.98		49.98

		49.996		49.996

		50.013		50.013

		50.03		50.03

		50.046		50.046

		50.063		50.063

		50.08		50.08

		50.096		50.096

		50.113		50.113

		50.13		50.13

		50.146		50.146

		50.163		50.163

		50.18		50.18

		50.196		50.196

		50.213		50.213

		50.23		50.23

		50.246		50.246

		50.263		50.263

		50.28		50.28

		50.296		50.296

		50.313		50.313

		50.33		50.33

		50.346		50.346

		50.363		50.363

		50.38		50.38

		50.396		50.396

		50.413		50.413

		50.43		50.43

		50.446		50.446

		50.463		50.463

		50.48		50.48

		50.497		50.497

		50.513		50.513

		50.53		50.53

		50.547		50.547

		50.563		50.563

		50.58		50.58

		50.597		50.597

		50.613		50.613

		50.63		50.63

		50.647		50.647

		50.663		50.663

		50.68		50.68

		50.697		50.697

		50.713		50.713

		50.73		50.73

		50.747		50.747

		50.763		50.763

		50.78		50.78

		50.797		50.797

		50.813		50.813

		50.83		50.83

		50.847		50.847

		50.863		50.863

		50.88		50.88

		50.897		50.897

		50.913		50.913

		50.93		50.93

		50.947		50.947

		50.963		50.963

		50.98		50.98

		50.997		50.997

		51.013		51.013

		51.03		51.03

		51.047		51.047

		51.063		51.063

		51.08		51.08

		51.097		51.097

		51.113		51.113

		51.13		51.13

		51.147		51.147

		51.163		51.163

		51.18		51.18

		51.197		51.197

		51.213		51.213

		51.23		51.23

		51.247		51.247

		51.264		51.264

		51.28		51.28

		51.297		51.297

		51.314		51.314

		51.33		51.33

		51.347		51.347

		51.364		51.364

		51.38		51.38

		51.397		51.397

		51.414		51.414

		51.43		51.43

		51.447		51.447

		51.464		51.464

		51.48		51.48

		51.497		51.497

		51.514		51.514

		51.53		51.53

		51.547		51.547

		51.564		51.564

		51.58		51.58

		51.597		51.597

		51.614		51.614

		51.63		51.63

		51.647		51.647

		51.664		51.664

		51.68		51.68

		51.697		51.697

		51.714		51.714

		51.73		51.73

		51.747		51.747

		51.764		51.764

		51.78		51.78

		51.797		51.797

		51.814		51.814

		51.83		51.83

		51.847		51.847

		51.864		51.864

		51.88		51.88

		51.897		51.897

		51.914		51.914

		51.93		51.93

		51.947		51.947

		51.964		51.964

		51.981		51.981

		51.997		51.997

		52.014		52.014

		52.031		52.031

		52.047		52.047

		52.064		52.064

		52.081		52.081

		52.097		52.097

		52.114		52.114

		52.131		52.131

		52.147		52.147

		52.164		52.164

		52.181		52.181

		52.197		52.197

		52.214		52.214

		52.231		52.231

		52.247		52.247

		52.264		52.264

		52.281		52.281

		52.297		52.297

		52.314		52.314

		52.331		52.331

		52.347		52.347

		52.364		52.364

		52.381		52.381

		52.397		52.397

		52.414		52.414

		52.431		52.431

		52.447		52.447

		52.464		52.464

		52.481		52.481

		52.497		52.497

		52.514		52.514

		52.531		52.531

		52.547		52.547

		52.564		52.564

		52.581		52.581

		52.597		52.597

		52.614		52.614

		52.631		52.631

		52.648		52.648

		52.664		52.664

		52.681		52.681

		52.698		52.698

		52.714		52.714

		52.731		52.731

		52.748		52.748

		52.764		52.764

		52.781		52.781

		52.798		52.798

		52.814		52.814

		52.831		52.831

		52.848		52.848

		52.864		52.864

		52.881		52.881

		52.898		52.898

		52.914		52.914

		52.931		52.931

		52.948		52.948

		52.964		52.964

		52.981		52.981

		52.998		52.998

		53.014		53.014

		53.031		53.031

		53.048		53.048

		53.064		53.064

		53.081		53.081

		53.098		53.098

		53.114		53.114

		53.131		53.131

		53.148		53.148

		53.164		53.164

		53.181		53.181

		53.198		53.198

		53.215		53.215

		53.231		53.231

		53.248		53.248

		53.265		53.265

		53.281		53.281

		53.298		53.298

		53.315		53.315

		53.331		53.331

		53.348		53.348

		53.365		53.365

		53.381		53.381

		53.398		53.398

		53.415		53.415

		53.431		53.431

		53.448		53.448

		53.465		53.465

		53.481		53.481

		53.498		53.498

		53.515		53.515

		53.531		53.531

		53.548		53.548

		53.565		53.565

		53.581		53.581

		53.598		53.598

		53.615		53.615

		53.631		53.631

		53.648		53.648

		53.665		53.665

		53.681		53.681

		53.698		53.698

		53.715		53.715

		53.731		53.731

		53.748		53.748

		53.765		53.765

		53.781		53.781

		53.798		53.798

		53.815		53.815

		53.831		53.831

		53.848		53.848

		53.865		53.865

		53.882		53.882

		53.898		53.898

		53.915		53.915

		53.932		53.932

		53.948		53.948

		53.965		53.965

		53.982		53.982

		53.998		53.998

		54.015		54.015

		54.032		54.032

		54.048		54.048

		54.065		54.065

		54.082		54.082

		54.098		54.098

		54.115		54.115

		54.132		54.132

		54.148		54.148

		54.165		54.165

		54.182		54.182

		54.198		54.198

		54.215		54.215

		54.232		54.232

		54.248		54.248

		54.265		54.265

		54.282		54.282

		54.298		54.298

		54.315		54.315

		54.332		54.332

		54.348		54.348

		54.365		54.365

		54.382		54.382

		54.398		54.398

		54.415		54.415

		54.432		54.432

		54.448		54.448

		54.465		54.465

		54.482		54.482

		54.499		54.499

		54.515		54.515

		54.532		54.532

		54.549		54.549

		54.565		54.565

		54.582		54.582

		54.599		54.599

		54.615		54.615

		54.632		54.632

		54.649		54.649

		54.665		54.665

		54.682		54.682

		54.699		54.699

		54.715		54.715

		54.732		54.732

		54.749		54.749

		54.765		54.765

		54.782		54.782

		54.799		54.799

		54.815		54.815

		54.832		54.832

		54.849		54.849

		54.865		54.865

		54.882		54.882

		54.899		54.899

		54.915		54.915

		54.932		54.932

		54.949		54.949

		54.965		54.965

		54.982		54.982

		54.999		54.999

		55.016		55.016

		55.032		55.032

		55.049		55.049

		55.066		55.066

		55.082		55.082

		55.099		55.099

		55.116		55.116

		55.132		55.132

		55.149		55.149

		55.166		55.166

		55.182		55.182

		55.199		55.199

		55.216		55.216

		55.232		55.232

		55.249		55.249

		55.266		55.266

		55.282		55.282

		55.299		55.299

		55.316		55.316

		55.332		55.332

		55.349		55.349

		55.366		55.366

		55.382		55.382

		55.399		55.399

		55.416		55.416

		55.432		55.432

		55.449		55.449

		55.466		55.466

		55.482		55.482

		55.499		55.499

		55.516		55.516

		55.533		55.533

		55.549		55.549

		55.566		55.566

		55.583		55.583

		55.599		55.599

		55.616		55.616

		55.633		55.633

		55.649		55.649

		55.666		55.666

		55.683		55.683

		55.699		55.699

		55.716		55.716

		55.733		55.733

		55.749		55.749

		55.766		55.766

		55.783		55.783

		55.799		55.799

		55.816		55.816

		55.833		55.833

		55.849		55.849

		55.866		55.866

		55.883		55.883

		55.899		55.899

		55.916		55.916

		55.933		55.933

		55.949		55.949

		55.966		55.966

		55.983		55.983

		55.999		55.999

		56.016		56.016

		56.033		56.033

		56.049		56.049

		56.066		56.066

		56.083		56.083

		56.099		56.099

		56.116		56.116

		56.133		56.133

		56.15		56.15

		56.166		56.166

		56.183		56.183

		56.2		56.2

		56.216		56.216

		56.233		56.233

		56.25		56.25

		56.266		56.266

		56.283		56.283

		56.3		56.3

		56.316		56.316

		56.333		56.333

		56.35		56.35

		56.366		56.366

		56.383		56.383

		56.4		56.4

		56.416		56.416

		56.433		56.433

		56.45		56.45

		56.466		56.466

		56.483		56.483

		56.5		56.5

		56.516		56.516

		56.533		56.533

		56.55		56.55

		56.566		56.566

		56.583		56.583

		56.6		56.6

		56.616		56.616

		56.633		56.633

		56.65		56.65

		56.666		56.666

		56.683		56.683

		56.7		56.7

		56.716		56.716

		56.733		56.733

		56.75		56.75

		56.767		56.767

		56.783		56.783

		56.8		56.8

		56.817		56.817

		56.833		56.833

		56.85		56.85

		56.867		56.867

		56.883		56.883

		56.9		56.9

		56.917		56.917

		56.933		56.933

		56.95		56.95

		56.967		56.967

		56.983		56.983

		57		57

		57.017		57.017

		57.033		57.033

		57.05		57.05

		57.067		57.067

		57.083		57.083

		57.1		57.1

		57.117		57.117

		57.133		57.133

		57.15		57.15

		57.167		57.167

		57.183		57.183

		57.2		57.2

		57.217		57.217

		57.233		57.233

		57.25		57.25

		57.267		57.267

		57.284		57.284

		57.3		57.3

		57.317		57.317

		57.334		57.334

		57.35		57.35

		57.367		57.367

		57.384		57.384

		57.4		57.4

		57.417		57.417

		57.434		57.434

		57.45		57.45

		57.467		57.467

		57.484		57.484

		57.5		57.5

		57.517		57.517

		57.534		57.534

		57.55		57.55

		57.567		57.567

		57.584		57.584

		57.6		57.6

		57.617		57.617

		57.634		57.634

		57.65		57.65

		57.667		57.667

		57.684		57.684

		57.7		57.7

		57.717		57.717

		57.734		57.734

		57.75		57.75

		57.767		57.767

		57.784		57.784

		57.8		57.8

		57.817		57.817

		57.834		57.834

		57.851		57.851

		57.867		57.867

		57.884		57.884

		57.901		57.901

		57.917		57.917

		57.934		57.934

		57.951		57.951

		57.968		57.968

		57.984		57.984

		58.001		58.001

		58.017		58.017

		58.034		58.034

		58.051		58.051

		58.067		58.067

		58.084		58.084

		58.101		58.101

		58.117		58.117

		58.134		58.134

		58.151		58.151

		58.167		58.167

		58.184		58.184

		58.201		58.201

		58.217		58.217

		58.234		58.234

		58.251		58.251

		58.267		58.267

		58.284		58.284

		58.301		58.301

		58.317		58.317

		58.334		58.334

		58.351		58.351

		58.367		58.367

		58.384		58.384

		58.401		58.401

		58.417		58.417

		58.434		58.434

		58.451		58.451

		58.467		58.467

		58.484		58.484

		58.501		58.501

		58.517		58.517

		58.534		58.534

		58.551		58.551

		58.567		58.567

		58.584		58.584

		58.601		58.601

		58.618		58.618

		58.634		58.634

		58.651		58.651

		58.667		58.667

		58.684		58.684

		58.701		58.701

		58.718		58.718

		58.734		58.734

		58.751		58.751

		58.768		58.768

		58.784		58.784

		58.801		58.801

		58.818		58.818

		58.834		58.834

		58.851		58.851

		58.868		58.868

		58.884		58.884

		58.901		58.901

		58.918		58.918

		58.934		58.934

		58.951		58.951

		58.968		58.968

		58.984		58.984

		59.001		59.001

		59.018		59.018

		59.034		59.034

		59.051		59.051

		59.068		59.068

		59.084		59.084

		59.101		59.101

		59.118		59.118

		59.134		59.134

		59.151		59.151

		59.168		59.168

		59.184		59.184

		59.201		59.201

		59.218		59.218

		59.234		59.234

		59.251		59.251

		59.268		59.268

		59.285		59.285

		59.301		59.301

		59.318		59.318

		59.335		59.335

		59.351		59.351

		59.368		59.368

		59.385		59.385

		59.401		59.401

		59.418		59.418

		59.435		59.435

		59.451		59.451

		59.468		59.468

		59.485		59.485

		59.501		59.501

		59.518		59.518

		59.535		59.535

		59.551		59.551

		59.568		59.568

		59.585		59.585

		59.601		59.601

		59.618		59.618

		59.635		59.635

		59.651		59.651

		59.668		59.668

		59.685		59.685

		59.701		59.701

		59.718		59.718

		59.735		59.735

		59.751		59.751

		59.768		59.768

		59.785		59.785

		59.801		59.801

		59.818		59.818

		59.835		59.835

		59.851		59.851

		59.868		59.868

		59.885		59.885

		59.902		59.902

		59.918		59.918

		59.935		59.935

		59.952		59.952

		59.968		59.968

		59.985		59.985

		60.002		60.002

		60.018		60.018

		60.035		60.035

		60.052		60.052

		60.068		60.068

		60.085		60.085

		60.102		60.102

		60.118		60.118

		60.135		60.135

		60.152		60.152

		60.168		60.168

		60.185		60.185

		60.202		60.202

		60.218		60.218

		60.235		60.235

		60.252		60.252

		60.268		60.268

		60.285		60.285

		60.302		60.302

		60.318		60.318

		60.335		60.335

		60.352		60.352

		60.369		60.369

		60.385		60.385

		60.402		60.402

		60.419		60.419

		60.435		60.435

		60.452		60.452

		60.469		60.469

		60.485		60.485

		60.502		60.502

		60.519		60.519

		60.535		60.535

		60.552		60.552

		60.569		60.569

		60.585		60.585

		60.602		60.602

		60.619		60.619

		60.635		60.635

		60.652		60.652

		60.669		60.669

		60.685		60.685

		60.702		60.702

		60.719		60.719

		60.735		60.735

		60.752		60.752

		60.769		60.769

		60.785		60.785

		60.802		60.802

		60.819		60.819

		60.835		60.835

		60.852		60.852

		60.869		60.869

		60.885		60.885

		60.902		60.902

		60.919		60.919

		60.935		60.935

		60.952		60.952

		60.969		60.969

		60.985		60.985

		61.002		61.002

		61.019		61.019

		61.035		61.035

		61.052		61.052

		61.069		61.069

		61.085		61.085

		61.102		61.102

		61.119		61.119

		61.136		61.136

		61.152		61.152

		61.169		61.169

		61.186		61.186

		61.202		61.202

		61.219		61.219

		61.236		61.236

		61.252		61.252

		61.269		61.269

		61.286		61.286

		61.302		61.302

		61.319		61.319

		61.336		61.336

		61.352		61.352

		61.369		61.369

		61.386		61.386

		61.402		61.402

		61.419		61.419

		61.436		61.436

		61.452		61.452

		61.469		61.469

		61.486		61.486

		61.502		61.502

		61.519		61.519

		61.536		61.536

		61.552		61.552

		61.569		61.569

		61.586		61.586

		61.602		61.602

		61.619		61.619

		61.636		61.636

		61.652		61.652

		61.669		61.669

		61.686		61.686

		61.702		61.702

		61.719		61.719

		61.736		61.736

		61.753		61.753

		61.769		61.769

		61.786		61.786

		61.802		61.802

		61.819		61.819

		61.836		61.836

		61.852		61.852

		61.869		61.869

		61.886		61.886

		61.903		61.903

		61.919		61.919

		61.936		61.936

		61.953		61.953

		61.969		61.969

		61.986		61.986

		62.003		62.003

		62.019		62.019

		62.036		62.036

		62.053		62.053

		62.069		62.069

		62.086		62.086

		62.103		62.103

		62.119		62.119

		62.136		62.136

		62.153		62.153

		62.169		62.169

		62.186		62.186

		62.203		62.203

		62.219		62.219

		62.236		62.236

		62.253		62.253

		62.269		62.269

		62.286		62.286

		62.303		62.303

		62.319		62.319

		62.336		62.336

		62.353		62.353

		62.37		62.37

		62.386		62.386

		62.403		62.403

		62.42		62.42

		62.436		62.436

		62.453		62.453

		62.47		62.47

		62.486		62.486

		62.503		62.503

		62.52		62.52

		62.536		62.536

		62.553		62.553

		62.57		62.57

		62.586		62.586

		62.603		62.603

		62.62		62.62

		62.636		62.636

		62.653		62.653

		62.67		62.67

		62.686		62.686

		62.703		62.703

		62.72		62.72

		62.736		62.736

		62.753		62.753

		62.77		62.77

		62.786		62.786

		62.803		62.803

		62.82		62.82

		62.836		62.836

		62.853		62.853

		62.87		62.87

		62.886		62.886

		62.903		62.903

		62.92		62.92

		62.936		62.936

		62.953		62.953

		62.97		62.97

		62.986		62.986

		63.003		63.003

		63.02		63.02

		63.036		63.036

		63.053		63.053

		63.07		63.07

		63.086		63.086

		63.103		63.103

		63.12		63.12

		63.137		63.137

		63.153		63.153

		63.17		63.17

		63.187		63.187

		63.203		63.203

		63.22		63.22

		63.237		63.237

		63.253		63.253

		63.27		63.27

		63.287		63.287

		63.303		63.303

		63.32		63.32

		63.337		63.337

		63.353		63.353

		63.37		63.37

		63.387		63.387

		63.403		63.403

		63.42		63.42

		63.437		63.437

		63.453		63.453

		63.47		63.47

		63.487		63.487

		63.503		63.503

		63.52		63.52

		63.537		63.537

		63.553		63.553

		63.57		63.57

		63.587		63.587

		63.603		63.603

		63.62		63.62

		63.637		63.637

		63.653		63.653

		63.67		63.67

		63.687		63.687

		63.703		63.703

		63.72		63.72

		63.737		63.737

		63.753		63.753

		63.77		63.77

		63.787		63.787

		63.803		63.803

		63.82		63.82

		63.837		63.837

		63.853		63.853

		63.87		63.87

		63.887		63.887

		63.903		63.903

		63.92		63.92

		63.937		63.937

		63.953		63.953

		63.97		63.97

		63.987		63.987

		64.003		64.003

		64.02		64.02

		64.037		64.037

		64.054		64.054

		64.07		64.07

		64.087		64.087

		64.104		64.104

		64.12		64.12

		64.137		64.137

		64.153		64.153

		64.17		64.17

		64.187		64.187

		64.204		64.204

		64.22		64.22

		64.237		64.237

		64.254		64.254

		64.27		64.27

		64.287		64.287

		64.304		64.304

		64.32		64.32

		64.337		64.337

		64.354		64.354

		64.37		64.37

		64.387		64.387

		64.404		64.404

		64.42		64.42

		64.437		64.437

		64.454		64.454

		64.47		64.47

		64.487		64.487

		64.504		64.504

		64.52		64.52

		64.537		64.537

		64.554		64.554

		64.57		64.57

		64.587		64.587

		64.604		64.604

		64.62		64.62

		64.637		64.637

		64.654		64.654

		64.67		64.67

		64.687		64.687

		64.704		64.704

		64.72		64.72

		64.737		64.737

		64.754		64.754

		64.77		64.77

		64.787		64.787

		64.804		64.804

		64.82		64.82

		64.837		64.837

		64.854		64.854

		64.87		64.87

		64.887		64.887

		64.904		64.904

		64.921		64.921

		64.937		64.937

		64.954		64.954

		64.971		64.971

		64.987		64.987

		65.004		65.004

		65.021		65.021

		65.037		65.037

		65.054		65.054

		65.071		65.071

		65.087		65.087

		65.104		65.104

		65.121		65.121

		65.137		65.137

		65.154		65.154

		65.171		65.171

		65.187		65.187

		65.204		65.204

		65.221		65.221

		65.237		65.237

		65.254		65.254

		65.271		65.271

		65.287		65.287

		65.304		65.304

		65.321		65.321

		65.337		65.337

		65.354		65.354

		65.371		65.371

		65.387		65.387

		65.404		65.404

		65.421		65.421

		65.437		65.437

		65.454		65.454

		65.471		65.471

		65.488		65.488

		65.504		65.504

		65.521		65.521

		65.537		65.537

		65.554		65.554

		65.571		65.571

		65.588		65.588

		65.604		65.604

		65.621		65.621

		65.638		65.638

		65.654		65.654

		65.671		65.671

		65.688		65.688

		65.704		65.704

		65.721		65.721

		65.738		65.738

		65.754		65.754

		65.771		65.771

		65.788		65.788

		65.804		65.804

		65.821		65.821

		65.838		65.838

		65.854		65.854

		65.871		65.871

		65.888		65.888

		65.904		65.904

		65.921		65.921

		65.938		65.938

		65.954		65.954

		65.971		65.971

		65.988		65.988

		66.004		66.004

		66.021		66.021

		66.038		66.038

		66.054		66.054

		66.071		66.071

		66.088		66.088

		66.104		66.104

		66.121		66.121

		66.138		66.138

		66.154		66.154

		66.171		66.171

		66.188		66.188

		66.204		66.204

		66.221		66.221

		66.238		66.238

		66.255		66.255

		66.271		66.271

		66.288		66.288

		66.305		66.305

		66.321		66.321

		66.338		66.338

		66.355		66.355

		66.371		66.371

		66.388		66.388

		66.405		66.405

		66.421		66.421

		66.438		66.438

		66.455		66.455

		66.471		66.471

		66.488		66.488

		66.505		66.505

		66.521		66.521

		66.538		66.538

		66.555		66.555

		66.571		66.571

		66.588		66.588

		66.605		66.605

		66.621		66.621

		66.638		66.638

		66.655		66.655

		66.671		66.671

		66.688		66.688

		66.705		66.705

		66.721		66.721

		66.738		66.738

		66.755		66.755

		66.771		66.771

		66.788		66.788

		66.805		66.805

		66.822		66.822

		66.838		66.838

		66.855		66.855

		66.872		66.872

		66.888		66.888

		66.905		66.905

		66.922		66.922

		66.938		66.938

		66.955		66.955

		66.972		66.972

		66.988		66.988

		67.005		67.005

		67.022		67.022

		67.038		67.038

		67.055		67.055

		67.072		67.072

		67.088		67.088

		67.105		67.105

		67.122		67.122

		67.138		67.138

		67.155		67.155

		67.172		67.172

		67.188		67.188

		67.205		67.205

		67.222		67.222

		67.238		67.238

		67.255		67.255

		67.272		67.272

		67.288		67.288

		67.305		67.305

		67.322		67.322

		67.338		67.338

		67.355		67.355

		67.372		67.372

		67.388		67.388

		67.405		67.405

		67.422		67.422

		67.438		67.438

		67.455		67.455

		67.472		67.472

		67.488		67.488

		67.505		67.505

		67.522		67.522

		67.538		67.538

		67.555		67.555

		67.572		67.572

		67.589		67.589

		67.605		67.605

		67.622		67.622

		67.639		67.639

		67.655		67.655

		67.672		67.672

		67.688		67.688

		67.705		67.705

		67.722		67.722

		67.739		67.739

		67.755		67.755

		67.772		67.772

		67.789		67.789

		67.805		67.805

		67.822		67.822

		67.839		67.839

		67.855		67.855

		67.872		67.872

		67.889		67.889

		67.905		67.905

		67.922		67.922

		67.939		67.939

		67.955		67.955

		67.972		67.972

		67.989		67.989

		68.005		68.005

		68.022		68.022

		68.039		68.039

		68.055		68.055

		68.072		68.072

		68.089		68.089

		68.105		68.105

		68.122		68.122

		68.139		68.139

		68.155		68.155

		68.172		68.172

		68.189		68.189

		68.205		68.205

		68.222		68.222

		68.239		68.239

		68.255		68.255

		68.272		68.272

		68.289		68.289

		68.305		68.305

		68.322		68.322

		68.339		68.339

		68.356		68.356

		68.372		68.372

		68.389		68.389

		68.406		68.406

		68.422		68.422

		68.439		68.439

		68.456		68.456

		68.472		68.472

		68.489		68.489

		68.506		68.506

		68.522		68.522

		68.539		68.539

		68.556		68.556

		68.572		68.572

		68.589		68.589

		68.606		68.606

		68.622		68.622

		68.639		68.639

		68.656		68.656

		68.672		68.672

		68.689		68.689

		68.706		68.706

		68.722		68.722

		68.739		68.739

		68.756		68.756

		68.772		68.772

		68.789		68.789

		68.806		68.806

		68.822		68.822

		68.839		68.839

		68.856		68.856

		68.872		68.872

		68.889		68.889

		68.906		68.906

		68.922		68.922

		68.939		68.939

		68.956		68.956

		68.972		68.972

		68.989		68.989

		69.006		69.006

		69.022		69.022

		69.039		69.039

		69.056		69.056

		69.072		69.072

		69.089		69.089

		69.106		69.106

		69.122		69.122

		69.139		69.139

		69.156		69.156

		69.172		69.172

		69.189		69.189

		69.206		69.206

		69.222		69.222

		69.239		69.239

		69.256		69.256

		69.272		69.272

		69.289		69.289

		69.306		69.306

		69.323		69.323

		69.339		69.339

		69.356		69.356

		69.372		69.372

		69.389		69.389

		69.406		69.406

		69.423		69.423

		69.439		69.439

		69.456		69.456

		69.473		69.473

		69.489		69.489

		69.506		69.506

		69.523		69.523

		69.539		69.539

		69.556		69.556

		69.573		69.573

		69.589		69.589

		69.606		69.606

		69.623		69.623

		69.639		69.639

		69.656		69.656

		69.673		69.673

		69.689		69.689

		69.706		69.706

		69.723		69.723

		69.739		69.739

		69.756		69.756

		69.773		69.773

		69.789		69.789

		69.806		69.806

		69.823		69.823

		69.839		69.839

		69.856		69.856

		69.873		69.873

		69.889		69.889

		69.906		69.906

		69.923		69.923

		69.94		69.94

		69.956		69.956

		69.973		69.973

		69.99		69.99

		70.006		70.006

		70.023		70.023

		70.04		70.04

		70.056		70.056

		70.073		70.073

		70.09		70.09

		70.106		70.106

		70.123		70.123

		70.14		70.14

		70.156		70.156

		70.173		70.173

		70.19		70.19

		70.206		70.206

		70.223		70.223

		70.24		70.24

		70.256		70.256

		70.273		70.273

		70.29		70.29

		70.306		70.306

		70.323		70.323

		70.34		70.34

		70.356		70.356

		70.373		70.373

		70.39		70.39

		70.406		70.406

		70.423		70.423

		70.44		70.44

		70.456		70.456

		70.473		70.473

		70.49		70.49

		70.506		70.506

		70.523		70.523

		70.54		70.54

		70.556		70.556

		70.573		70.573

		70.59		70.59

		70.606		70.606

		70.623		70.623

		70.64		70.64

		70.657		70.657

		70.673		70.673

		70.69		70.69

		70.707		70.707

		70.723		70.723

		70.74		70.74

		70.757		70.757

		70.773		70.773

		70.79		70.79

		70.807		70.807

		70.823		70.823

		70.84		70.84

		70.857		70.857

		70.873		70.873

		70.89		70.89

		70.907		70.907

		70.923		70.923

		70.94		70.94

		70.957		70.957

		70.973		70.973

		70.99		70.99

		71.007		71.007

		71.023		71.023

		71.04		71.04

		71.057		71.057

		71.073		71.073

		71.09		71.09

		71.107		71.107

		71.123		71.123

		71.14		71.14

		71.157		71.157

		71.173		71.173

		71.19		71.19

		71.207		71.207

		71.223		71.223

		71.24		71.24

		71.257		71.257

		71.273		71.273

		71.29		71.29

		71.307		71.307

		71.323		71.323

		71.34		71.34

		71.357		71.357

		71.373		71.373

		71.39		71.39

		71.407		71.407

		71.424		71.424

		71.44		71.44

		71.457		71.457

		71.474		71.474

		71.49		71.49

		71.507		71.507

		71.524		71.524

		71.54		71.54

		71.557		71.557

		71.574		71.574

		71.59		71.59

		71.607		71.607

		71.624		71.624

		71.64		71.64

		71.657		71.657

		71.674		71.674

		71.69		71.69

		71.707		71.707

		71.724		71.724

		71.74		71.74

		71.757		71.757

		71.774		71.774

		71.79		71.79

		71.807		71.807

		71.824		71.824

		71.84		71.84

		71.857		71.857

		71.874		71.874

		71.89		71.89

		71.907		71.907

		71.924		71.924

		71.94		71.94

		71.957		71.957

		71.974		71.974

		71.99		71.99

		72.007		72.007

		72.024		72.024

		72.04		72.04

		72.057		72.057

		72.074		72.074

		72.09		72.09

		72.107		72.107

		72.124		72.124

		72.14		72.14

		72.157		72.157

		72.174		72.174

		72.19		72.19

		72.207		72.207

		72.224		72.224

		72.24		72.24

		72.257		72.257

		72.274		72.274

		72.29		72.29

		72.307		72.307

		72.324		72.324

		72.34		72.34

		72.357		72.357

		72.374		72.374

		72.39		72.39

		72.407		72.407

		72.424		72.424

		72.44		72.44

		72.457		72.457

		72.474		72.474

		72.49		72.49

		72.507		72.507

		72.524		72.524

		72.541		72.541

		72.557		72.557

		72.574		72.574

		72.591		72.591

		72.607		72.607

		72.624		72.624

		72.641		72.641

		72.657		72.657

		72.674		72.674

		72.691		72.691

		72.707		72.707

		72.724		72.724

		72.741		72.741

		72.757		72.757

		72.774		72.774

		72.791		72.791



C12

`

SF3(arom)

std

Retention time (min)

Intensity

98122

161583

92370

156481

87854

152168

83570

148030

85630

151760

82332

141661

82228

141183

84417

138061

85783

137468

86746

137521

85482

133741

82933

135145

80529

134495

91073

132292

122321

133098

109537

130255

92566

131739

84483

136947

80669

154232

81184

148801

88455

140276

88680

134897

82916

132855

82123

132038

89043

130189

88636

131497

86210

130525

105946

131788

91580

128271

81883

128924

82171

127564

86309

128107

94808

129671

94655

129644

88776

124212

85446

128898

82664

127265

82162

127063

86316

129865

80300

127549

82195

127408

92534

125190

84830

126148

83781

127574

82784

127286

85322

127492

88702

129641

81806

127911

80698

120305

81021

126374

87404

125435

84356

125256

83357

122782

84661

125964

84078

124866

91442

124173

90064

125687

89614

124401

85656

125221

84166

123886

94323

123531

88986

123754

86165

124525

83994

125809

167452

126275

2673931

126073

4721342

122961

964900

122204

267932

131216

183037

212423

155759

220034

151111

161585

141412

143502

123353

136101

118403

134376

146796

131393

122797

128862

105019

127513

98748

125220

99485

128401

100825

128132

102011

126737

102124

125258

102590

126267

110588

122522

98659

125045

90825

126157

89390

125595

92003

126418

94725

125431

123418

122870

154563

125973

125443

122574

142557

123073

125860

124269

105947

128143

109612

128383

111819

126862

154911

124071

173896

124627

131215

126319

110546

127837

127016

129405

131517

131950

116477

128350

117080

125619

147903

131146

139092

127848

131429

124948

131233

127622

135421

131092

133481

127393

142543

148769

160916

159783

147281

138871

144056

133591

151759

137221

157071

139288

163766

133123

177911

135910

249007

134972

259078

136816

229241

139475

175135

144420

192910

144883

294354

147837

218613

146086

162626

142873

195932

146297

411175

146989

401216

142193

270531

143182

207821

151993

183788

800819

188260

8161493

234754

15872514

387538

15205078

266356

12120594

203796

10111309

201965

8960719

176922

7955324

168867

6521576

196274

4307274

261721

3167973

297293

2530835

294196

2152259

279961

1867853

236642

1676864

219328

1551217

214562

1398202

282447

1317087

343062

1212402

365348

1134531

331169

1065784

336514

971385

374035

943383

316988

896470

236196

846456

227186

820135

232275

772638

222385

740669

300067

695727

337550

676077

661050

640308

11837768

613379

36970788

585065

57635356

567381

71926720

990313

80215280

9377610

86636336

19014172

92328504

14753255

37745736

9577086

7997328

7126570

6741353

5049091

5576255

3136166

4771533

2257480

4231814

1846469

3788033

1598006

3550126

1449664

3045506

1312850

3076927

1210687

3570726

1137601

2600114

1040827

2179690

989328

2082061

939011

1924798

884734

1863248

845897

1717346

801642

1685888

752900

1596688

712988

1503878

669046

1277110

638876

1220962

617456

1137743

582450

1119594

556030

1055512

528066

999612

515929

964111

498210

905628

481328

841251

472202

841553

458079

823993

440678

818310

430530

793803

410871

697963

403485

695166

397502

720118

384912

658226

380464

615436

378410

560570

362413

530214

364156

509018

355412

485828

350580

474891

342270

473930

335079

445637

327443

439434

319529

430887

313980

426332

316154

402912

308654

396462

308716

390972

300631

359174

295987

349922

294168

350478

287851

340295

288915

320156

283839

310721

278472

300763

280816

303104

271850

298894

273591

279055

262485

270350

267078

269302

260145

256534

259641

261634

254584

257139

253718

254644

255614

241887

250241

240159

249189

238917

246359

232459

249189

231790

243779

228023

240061

221814

240770

207726

237176

213748

242689

219949

256005

234743

255302

216292

242612

209185

236766

202069

232743

195738

227764

189792

227576

184997

226071

193486

223321

189965

219371

188548

219844

182043

216789

182639

217845

180648

218180

184272

225249

187995

236424

220021

220716

517644

217394

1090802

213521

1286919

211446

843898

208855

511783

210534

376929

237134

307358

253694

271243

225939

248473

214197

228475

211399

212213

210827

199315

208441

190242

199193

185041

199953

182411

198879

178768

199028

177513

196965

167477

194445

163882

194218

163610

195441

157589

192560

156100

194310

151678

193003

148060

192384

148418

190811

145285

190605

144068

187864

146674

189669

148231

187758

148856

191623

149763

191132

149763

188416

151837

187500

151856

189854

148879

188564

148430

188202

142779

187125

139276

186040

139334

188186

137418

185476

140799

183702

138846

188320

137697

185906

136061

188908

143048

183913

146732

184396

141388

186691

138315

187034

138200

185176

133250

178751

134295

183172

132424

182884

136357

183615

136386

179714

131689

178013

136175

179093

136093

177447

130311

178565

134804

181078

136321

180245

138228

177696

138194

182787

139757

189822

139390

191181

139205

189197

139130

191692

141973

193286

138715

189882

138083

186397

137317

177298

137644

178928

137072

177151

136935

174975

135400

173882

131645

170959

136266

170904

136705

169734

147207

166477

151535

172112

151895

171890

153250

171851

151930

174225

146091

166756

143374

168199

141480

168371

141881

165548

139254

168902

142087

164817

146725

163323

152907

164642

157644

166800

155395

166763

155664

168522

151482

168237

149393

164919

151798

165186

150001

164683

152313

161813

168828

162185

194087

160888

199166

162432

186632

165245

180548

168070

177892

168067

176059

165844

176793

164526

168894

163777

167181

163246

169874

161428

172601

158177

170695

158146

166222

159464

161221

161355

160030

157043

156697

159838

153126

158973

151115

158518

150677

156583

153805

157374

153172

159908

154938

161499

151987

174523

152021

1346764

155849

11587770

155769

23996432

157923

22751678

153429

15822216

162104

11477640

158778

8961173

156905

6257860

165127

4250571

167061

3261545

167092

2467778

159601

2014568

156938

1768915

155166

1605466

151968

1422992

152926

1251917

149688

1152452

147740

1053248

149299

939514

152053

817231

156417

714663

159353

647697

158375

581063

157714

529714

159736

496669

159094

475293

158696

439542

157764

409965

160985

402625

161836

377440

164312

362981

167110

344352

163912

352159

167268

1532735

193178

13263942

225960

26728916

249230

28856410

249027

23613544

241090

17231600

225373

10504003

214950

6591353

208409

4447988

200242

3235162

207777

2685363

204066

2326126

203415

1972580

204320

1683602

208914

1520747

209206

1319157

202445

1157407

198731

976996

201191

856154

201739

771079

203723

674928

214596

630997

213768

586169

212455

548597

208202

499760

213059

483652

221030

461241

231321

428997

235680

411173

239853

393352

234991

379115

227896

360835

224461

347553

226841

332281

224990

320499

222278

320289

220909

309063

222681

299068

244984

289761

274836

287917

275403

278051

260993

271254

263294

273232

251522

271782

242909

263347

241679

252482

244821

246948

248429

245767

254861

238454

255081

233545

245182

230816

242356

227261

253367

222167

270206

219419

271532

217170

265294

214377

254413

211738

253256

208260

251546

206940

248726

204477

253546

199232

254870

199221

251892

198158

255104

197743

257538

193798

257942

193223

257328

194922

271371

194068

289691

187937

290478

190050

283600

186708

279261

190300

281125

187699

288315

188181

287405

190244

288563

187334

282747

182916

283567

183387

290099

180814

293305

180398

286635

181489

283202

179680

281360

181966

295197

176264

311418

178873

309445

177301

308527

173521

314457

176397

315865

174972

317153

175479

319339

175952

320116

173846

301159

175016

289079

175058

281851

173840

274821

169758

270338

171859

268935

170253

265410

169948

265556

179213

276473

353996

312371

2623493

339550

11319528

340701

18631816

340819

20550004

337587

18876012

333422

16798940

329807

15019299

321637

14064379

314607

12032529

320733

7699341

357661

4825762

415302

3242069

417273

2489973

375913

2049361

334465

1711762

311809

1519312

302689

1314246

294664

1162171

283967

1034980

288377

923617

301327

846339

316584

775655

328553

719551

353325

688792

356806

652380

347641

602644

337377

576713

346812

548103

356971

510601

357021

496822

358951

493878

361675

497449

366451

517210

361097

502542

362750

475258

363818

459656

368077

440891

372751

412799

371847

382841

361618

362249

359786

343463

353549

321340

354320

308057

368695

289810

425735

284489

479978

282255

492647

271399

469290

279708

430156

295333

399808

310450

368852

325367

357782

315477

362917

293964

376540

276160

391075

270347

413847

261105

434483

258234

446088

254550

447633

254623

428067

250264

413899

248541

389167

249544

358613

248007

347120

248629

352820

245362

343884

250386

321933

247167

329077

253255

335419

258844

343301

258510

345781

255363

349658

255016

346933

264512

347257

260979

344502

251808

346768

244114

362614

232955

384298

229236

399104

225597

410555

223557

426706

221315

427138

221174

426441

221894

414302

223182

401026

224368

389125

223253

396963

221599

409692

220972

406972

220068

395185

220407

387868

222989

381325

220500

378617

220013

380780

219524

386070

225417

389969

221419

392896

223486

411721

222395

422556

223530

442116

220470

446655

217223

461799

210107

492248

214053

521560

215246

520340

217745

505510

239039

496829

277876

500205

306678

484413

280669

463541

252947

444245

245846

446358

235872

461681

230930

461697

224753

455037

222288

465289

217578

477457

214877

488326

213579

511823

208902

529951

207660

533998

211865

516499

235428

534379

265777

609288

317727

712577

358998

731717

356166

716562

323965

710177

285463

724894

252710

737872

229043

696459

216018

622482

207948

559724

207506

536467

211222

538341

214498

554995

217999

616223

227998

734422

236448

910267

226826

980364

209199

923276

199479

818487

196472

744098

205018

680413

208261

634302

201799

621271

191553

658983

183005

686829

180960

712408

177264

724981

177076

774338

177763

808088

170802

810884

169570

762765

172366

750976

169195

804970

173317

811768

177976

783043

174335

771362

173235

820601

172913

904461

175987

963612

174609

1009362

168185

975434

167802

906551

171342

875499

170784

864823

171022

875724

173066

924385

179353

972989

201825

996080

203921

975040

196169

939019

180699

938909

174827

932401

177709

924819

179598

901827

176717

858999

176071

859083

180043

864314

192890

875050

198609

865371

193717

862936

185651

859260

177475

908202

169485

912065

168759

872124

165255

866053

166694

905158

165604

937476

181338

945341

214285

904654

269050

871940

377684

862150

588356

876817

764487

918904

719188

938834

562693

972602

446333

950711

359741

908253

316508

896896

282755

879234

257485

894921

239285

916334

226102

927372

213448

897182

213323

859768

207521

852030

200532

867555

195703

913610

190590

934425

184924

970046

181125

1037957

174417

1128961

173641

1192800

171897

1187861

171616

1159716

163988

1145142

166945

1133392

166179

1158884

165671

1175833

165434

1128092

173871

1107937

196552

1128828

244503

1188783

495355

1321604

2217714

1451021

8140612

1582249

14690807

1631364

19769656

1614017

20230796

1543972

16870372

1513610

13911498

1428549

11529756

1393536

9418387

1413656

7495134

1461222

5858263

1466346

5015058

1404576

4409301

1324568

4757280

1244826

7197604

1186407

11928763

1168521

16047229

1178712

18015992

1186290

17528794

1205741

15508506

1180298

13643158

1156369

11658004

1167374

10050268

1168319

8579235

1177346

7396090

1179886

6317429

1182235

5899410

1199556

5551253

1177113

5343675

1170380

4823666

1166940

3837861

1210568

2931913

1265777

2261663

1294652

1902133

1316415

1656541

1324666

1499205

1285020

1346182

1246748

1245583

1246852

1146280

1254877

1065882

1282870

983594

1319221

911159

1335589

880120

1350926

830660

1379132

796718

1407449

740279

1391418

722141

1387838

680962

1362322

655895

1326410

631325

1325210

607608

1338986

592833

1421701

573372

1541405

552024

1594883

543634

1572815

526230

1503359

500353

1409899

483315

1385263

489696

1403099

469433

1451811

454999

1553354

449173

1589318

460573

1591307

455733

1558581

445015

1500867

433818

1462485

430976

1437178

415919

1492963

396836

1514326

388879

1556062

393772

1710940

378525

1822084

375796

1820570

379119

1730369

389744

1651263

412137

1646780

417946

1651906

409490

1728807

387982

1727538

372964

1704265

363577

1609286

357031

1564067

353118

1593696

347440

1727374

341284

1973757

335417

2198269

328216

2262998

330357

2259067

336202

2215075

348107

2055192

358198

1899236

372408

1800461

363227

1730750

355099

1701311

334393

1644593

320998

1592096

314467

1573317

309589

1540866

301374

1589470

291118

1633578

280408

1621748

274895

1677633

265229

1761016

267234

1926493

265107

2015778

251493

2067533

254869

2034053

250311

1973041

245861

1937663

244393

1908492

240673

1879033

239549

1817472

237129

1798984

232810

1752297

234797

1733262

231210

1755199

231807

1802841

230510

1842251

226529

1836767

225311

1922214

226216

1949593

226682

1924699

232585

1866461

230474

1912363

230530

2035325

227856

2166944

227089

2196834

226850

2196325

223406

2160205

224019

2150071

222977

2099022

221871

2065560

217799

2078650

223766

2085897

221090

2070989

219863

2012944

219871

1982091

216865

1937313

218329

1987844

212572

1958275

209432

2001843

211415

2033511

212374

2158927

210970

2238041

205496

2298973

203868

2269711

204643

2207799

203907

2148983

204084

2098469

203728

1979272

202901

1972286

203944

2019375

199892

2077131

200727

2110883

202077

2148003

199700

2189575

206138

2266340

199979

2233583

203433

2253772

201957

2204045

200200

2127353

201894

2173629

203692

2205385

199795

2241400

198710

2274641

200771

2357666

199885

2431377

200382

2461251

201394

2432705

200460

2431739

200985

2499023

198463

2631159

199682

2696327

195876

2621256

198935

2530610

195473

2468109

196381

2414188

198148

2453609

196255

2489102

197042

2503972

195643

2520460

200752

2538192

202848

2512472

214060

2499844

218956

2474023

229282

2530828

231072

2518004

222471

2561106

210171

2507257

206862

2522148

208225

2535139

212213

2611602

209123

2646703

203849

2633252

199810

2615598

197363

2519766

198707

2520425

197038

2474010

202648

2432416

198645

2488896

195556

2557107

190737

2603200

191431

2620158

192202

2622917

189502

2579086

191263

2493467

195221

2534760

193197

2565280

194795

2615557

194105

2663454

192035

2685140

191367

2701566

190696

2759036

190637

2745015

197723

2787889

204491

2857370

212783

2867471

213081

2954859

207780

2895520

200773

2798877

196809

2743438

196097

2763408

193731

2840150

196531

2893441

191708

2946062

193718

2993378

194322

2988386

191309

2985095

189701

2953976

188390

2954364

189444

2857189

187262

2809469

189497

2771480

190240

2802936

193723

2808297

188895

2853222

193682

2931202

187522

3075554

186171

3219160

187897

3296606

190937

3272852

192756

3232440

192033

3211612

192519

3128276

188749

3014998

191678

2958246

187338

2908379

188520

2930203

188636

2898627

187199

2872173

187161

2856894

186291

2879083

189469

2941343

190121

3029163

188655

3153151

188838

3229393

189910

3330864

194818

3313604

191733

3200029

191229

3141759

193639

3093405

191874

3052710

194545

3067165

194091

3118737

195136

3068368

194006

3116686

198602

3149279

197049

3217312

195258

3225060

199280

3231682

199205

3239950

205123

3193452

205294

3127332

210229

3080794

212408

3038417

211351

3026143

218253

3060310

223342

3061554

227808

3092143

226931

3083289

222696

3086652

220216

3108258

225145

3075746

225521

3047021

229003

3020584

226429

2989338

229676

2964506

240301

2978301

248883

3053643

257831

3110451

271940

3257177

286701

3423313

294410

3564682

285571

3690223

282023

3894016

275757

4071942

265388

4259519

257159

4385653

243762

4611137

242745

5052586

235924

5540615

232639

6033836

232227

6543360

233090

7015551

234665

7442760

240288

7641786

243256

7873376

240575

7799193

240056

7249132

240966

6507320

235582

5767676

228806

5081207

225234

4567848

220058

4321455

221922

4094437

217997

4006271

219023

4008644

223491

4057034

224253

4030157

223698

4075107

221296

3968401

216163

3914377

216433

3889396

222187

3889347

214627

3867335

219651

3828765

221358

3773471

220143

3799606

217990

3771387

216457

3693312

222062

3680940

218484

3644700

217295

3628987

217234

3618801

218065

3711399

215812

3690778

212823

3728380

218062

3663288

213391

3665928

212888

3670878

213501

3729711

215149

3821012

214557

3846654

216516

3902092

216686

3968531

221953

4111043

221558

4140401

220752

4081030

221703

4078224

221929

4094600

219344

4197101

219464

4390754

213823

4481215

214275

4397006

226037

4264375

249516

4215761

296874

4223664

356310

4141610

392033

4166992

392398

4193198

381580

4235512

358225

4230172

326046

4234980

284485

4188660

262696

4159536

256851

4160828

247613

4162730

242084

4127743

240607

4090223

304766

4260927

741153

4541346

2609424

4880709

7309798

5258077

12930131

5352994

18048918

5337908

21019448

5215951

20323688

4975550

16375268

4801085

12478936

4605263

10015496

4522958

8092589

4352253

6436155

4278780

5355515

4209527

4428777

4060834

3959017

3986299

3361541

3902055

2905257

3908947

2493724

3948607

2245335

3903977

2046430

3946959

1831545

3933168

1587107

4035263

1429295

4014808

1356740

4199388

1264566

4253471

1209749

4335428

1187571

4387164

1164427

4381711

1136656

4403017

1173733

4376165

1156429

4358206

1138796

4338525

1053658

4310657

952886

4197585

790968

4276931

677404

4258866

599593

4345622

542214

4322169

497839

4243144

480709

4176074

445466

4116410

430442

4110956

413173

4093549

409680

4160611

422686

4186332

486236

4300343

591618

4337973

672392

4515553

679590

4640035

637949

4770686

581203

4831698

514461

4780072

469557

4777296

438389

4733090

404515

4734918

380952

4792006

365325

4711793

360443

4766024

336996

4636905

327663

4549977

313449

4419188

308654

4293696

300282

4372427

292523

4434482

295812

4540708

309130

4609755

466889

4837849

1271767

5077783

3551912

5242706

8086484

5507455

12816690

5768458

16807612

6003155

18088128

6104346

18069928

6053293

16416264

5739400

14043817

5393465

11718427

5031604

9998144

4747098

8204972

4567649

6806879

4539637

5789748

4432063

4897297

4483723

4367390

4535917

3756772

4679825

3384493

4712256

3103749

4686598

2811373

4761160

2554747

4810331

2347134

4774332

2239619

4705724

2161562

4761509

2118589

4856523

2017435

4951854

1875152

5055403

1672848

5137919

1398636

5222831

1124694

5261424

917226

5259732

811659

5279262

736306

5210709

682931

5148414

628728

5014909

591320

5005021

564353

4930120

538006

4886350

514007

4858739

488629

4910931

460523

5022271

442265

5098003

420694

5178532

401054

5202550

397813

5141153

384444

5061774

376462

4968100

361742

4831519

356421

4892050

344742

4781570

333414

4733777

325896

4685680

326117

4707576

319852

4718633

312493

4602819

303919

4728657

303304

4868695

298372

5020524

296178

5090582

294166

5041295

290416

5125087

298379

5148763

292262

5109497

293678

5144957

284279

5111965

281941

5269549

278999

5197000

269133

5164118

273494

5107904

267485

5159420

259738

5056712

260978

4980818

259677

4999448

259900

5081060

256134

5233932

255920

5501506

257048

5757232

248997

5901275

246814

5942279

245520

5967976

248996

5832917

268901

5775885

301157

5708585

339730

5654084

355262

5553475

337467

5477278

299375

5374185

281734

5299769

271174

5237371

260800

5217723

255785

5169587

250151

5293729

244412

5326874

246894

5405328

242162

5310494

232239

5307434

233972

5294179

233603

5278529

229360

5308315

227701

5396373

228064

5408546

226661

5287504

226636

5257799

224331

5339441

226948

5305992

226845

5315935

224651

5303849

231253

5267401

230003

5287322

235317

5281920

243185

5211201

241793

5321921

239633

5164589

234673

5080173

225566

5121380

228066

5074192

225373

5170750

220918

5272698

221032

5371373

222958

5495321

217635

5640573

220400

5756784

218663

5700243

219973

5738808

217033

5764483

218586

5841937

217318

5857294

211347

5930697

214238

5927021

211655

5821588

211441

5717033

212026

5581980

209729

5463299

212838

5373555

207779

5393874

210616

5432653

210844

5454581

212232

5505448

210609

5611055

209947

5556199

210716

5543162

208315

5554434

210927

5476831

211949

5429407

211940

5495097

213060

5505367

213140

5769671

212073

5791569

211842

5717877

208110

5755346

213943

5694149

224084

5571286

235197

5511381

247162

5547693

244658

5411542

233469

5524196

222637

5351409

214959

5384727

212551

5374043

206638

5311686

208102

5330284

206316

5355701

207925

5467613

206042

5592089

205384

5596097

206547

5648544

205889

5709810

202636

5761070

202862

5755138

205663

5809171

199609

5892724

199194

6013898

199879

6070692

204923

6211696

207872

6408860

230518

6634431

266706

6720021

293178

6701121

283527

6574901

259588

6313691

234835

6183864

224963

6118464

214560

6111136

211671

6123411

214115

6259400

213969

6234855

211253

6221139

207227

6191755

205562

6125891

202268

5971215

201799

5813542

202942

5808402

196932

5771742

197866

5810628

197061

5755034

199105

5740958

196079

5774094

196643

5726757

195615

5880368

193101

6117420

195647

6337187

198713

6638275

198285

6890500

203661

7049547

198800

7243161

204759

7368171

199691

7296860

200260

7275907

200027

7103380

197290

6850321

194906

6603286

195039

6576091

191417

6450449

191071

6514177

190238

6620327

190855

6571295

188859

6735649

188220

6703677

187359

6590575

187657

6555666

187889

6513771

186845

6527429

193474

6415153

188581

6452087

188454

6414202

184735

6371018

186216

6408022

187519

6232700

189486

6208622

187818

6144556

185193

6014592

181854

5903429

183634

5774951

184869

5807210

181913

5703512

184153

5809453

181360

5875343

183026

5842765

184600

5962991

179706

5983130

181723

5889361

178556

5943048

183443

5974611

178526

6005771

180437

6033362

182087

6156403

178814

6232011

179471

6271753

181375

6236490

178593

6207937

178431

6029348

178244

6007517

181282

5984958

180124

5888586

181811

5821701

185583

5865879

190406

5797339

197402

5855160

202870

5681838

211176

5793014

209922

5732887

202331

5770171

198888

5837371

194603

5829614

190564

5711398

187564

5774818

189725

5792018

187725

5787081

186567

5796387

184459

5913211

185715

5901792

185653

5994824

184460

5900860

180073

5900846

180589

5845091

180367

5740947

184636

5736195

181184

5784954

181243

5838286

180821

5973039

179662

6034154

177413

6150520

178170

6309914

186109

6431796

191525

6559543

205726

6598087

209786

6633609

208640

6521220

197242

6360564

191702

6189568

189478

6005160

188752

6031626

185236

5980150

181689

5991695

182363

5973430

184049

6054065

180520

6026373

181073

6142364

178950

6119945

180558

6047711

180340

6107270

180672

5975889

180071

6085128

177579

6139531

179438

6163029

177847

6024853

178723

6272079

178236

6401840

176833

6301775

183423

6508987

195717

6573019

217325

6564215

249269

6627350

256769

6799372

243136

6754969

217751

6834972

202589

6856935

194239

6715555

190182

6557465

184982

6582007

184214

6454262

181874

6405021

182394

6254251

179579

6306682

180863

6261171

179961

6189926

179902

6316928

179376

6340298

179349

6260518

178571

6155285

178168

6106926

175863

6217592

180209

6370529

177264

6430804

174024

6548357

179447

6705920

176550

6758990

176700

6806370

176473

6799215

184060

6822389

185842

6873484

188389

6856582

190744

6923907

186967

6887433

183414

6881594

182558

6861269

178312

6813462

181606

6590892

176732

6650868

180060

6695876

180708

6472540

178777

6471720

178468

6473936

173461

6527222

178866

6551706

176218

6560094

175566

6632381

177516

6691706

175518

6839108

186564

6902625

215678

7092301

279720

7140548

371159

7422551

417870

7467657

389532

7655515

332160

7670591

276575

7740316

244332

7719277

222408

7551903

210392

7464924

203219

7389629

199257

7307376

192563

7385660

190231

7417220

191509

7334029

185991

7464079

186243

7437647

182500

7445566

181019

7234588

182221

7132088

181240

7218970

177669

7240733

179923

7156565

179962

7228761

174826

7092337

177502

6936754

175181

6754755

177608

6524668

179873

6394858

175849

6449957

178033

6294520

178399

6283078

177188

6391163

173424

6414033

174798

6465061

177990

6531308

177391

6529830

175062

6632298

170974

6550974

173545

6707152

172233

6877711

173543

7022851

175643

7207458

172491

7365768

172508

7471546

174593

7516156

172554

7426239

170569

7314219

173991

7328168

172116

7214837

175136

7175972

171653

7228426

172521

7258170

171619

7212543

172423

7267480

172448

7267116

173110

7194149

174368

7052388

173894

6933154

174998

6946360

181949

6696550

189223

6734210

195482

6711665

192279

6616641

191046

6647454

185881

6692674

181002

6549396

176294

6565513

176707

6363047

175638

6380644

176338

6391033

177569

6479488

175477

6351055

177161

6461118

174708

6524100

179843

6526027

183283

6600230

178912

6677472

177328

6737432

173422

6840450

173618

6808377

174130

6961799

173395

7014718

171924

6952865

177555

6993969

174725

6997269

194138

6964906

307202

6846092

854959

6741747

2801899

6692779

6710741

6757085

11739928

6661419

15926063

6607009

18709034

6608097

18720196

6727543

17331668

6607359

14401681

6595917

12239328

6514830

10431108

6576134

9091052

6636238

9843003

6681875

12666314

6574145

16039361

6656041

19218250

6800533

20985996

7000438

20782864

7122375

19176924

7209355

15916654

7285083

13505208

7348385

11718587

7257312

10432311

7155553

9003739

7185293

7776622

7115602

6785465

7080756

5554604

6980590

4627140

6974356

3931651

6835147

3460414

6756602

3302439

6661940

3378174

6759901

3340672

6828015

3339824

6942830

3133359

7018808

2665650

7154916

2115349

7280599

1584224

7254152

1297456

7222296

1121709

7231839

1022218

7246945

925175

7125529

854763

7121337

806419

7198394

756784

7159111

730971

7192844

693888

7282591

667150

7275777

640648

7280309

624945

7217010

601336

7270777

591530

7206601

565392

7158752

543795

7093958

531302

7045406

521802

7173646

500649

7123089

480838

7109221

480291

7132468

469457

7041366

457629

6950666

457165

6908782

446725

6841002

445063

6847812

437410

6734485

442615

6741985

428487

6793363

403008

6642571

403752

6674612

391172

6799744

382935

6872909

377617

6931605

363931

7099955

364384

7327823

365403

7361505

355962

7522964

348612

7596579

348170

7695773

344381

7638975

340837

7539642

335347

7365968

333228

7270421

327421

7161602

329454

6872532

326216

6744108

319118

6771234

319383

6663333

315408

6593872

314843

6683617

313740

6651810

308048

6701159

307645

6749509

303462

6768470

305845

6754464

301790

6701005

299773

6712032

300440

6747768

295499

6778837

294172

6856981

296891

6830778

294347

6876533

290506

6934372

287881

7008384

288063

7065888

284527

7246714

282971

7309455

280188

7524276

281208

7579050

278446

7634521

272182

7926443

276163

7721615

272200

7790819

266068

7620350

261185

7566281

263127

7477056

259755

7414171

257473

7424672

256941

7555786

257836

7564730

257323

7432352

251695

7439870

248003

7442308

249567

7429142

248332

7222593

246773

7208577

247745

7315659

243014

7221424

247290

7097023

244420

7169454

243637

7106236

245800

7015504

241501

6986044

239092

6811396

239788

6727706

240929

6815828

237570

6770507

235099

6582529

241164

6548788

238899

6606663

236731

6553541

239541

6609027

240584

6573831

237521

6668941

237300

6793377

236366

6875231

238870

7125096

232121

7238848

238675

7413161

239338

7493003

235570

7507930

243121

7645281

249515

7490981

253186

7313518

251785

7191582

244999

7245608

244313

7119807

239674

7162029

238723

7213408

238040

7174123

237493

7115405

236988

7080881

238330

6978069

244222

6924549

248149

6816164

246350

6770732

244628

6929019

245633

7033502

239643

7120223

241391

7345218

243051

7602663

244021

7803058

249702

8075878

244846

8246996

243727

8367813

240007

8478192

237486

8394104

235947

8172871

234414

8096811

234154

7646082

234850

7475351

235654

7426917

238453

7413427

235484

7180556

233426

7002286

233073

6957983

231319

6880067

233429

6776129

232500

6866299

230707

6984167

232255

7014114

232586

7246266

232911

7321688

228399

7358247

233559

7315276

232698

7386427

230733

7281066

237816

7153049

227411

7098176

231377

7152610

231409

7014411

229808

7056210

230378

7059919

228106

7143675

229404

7275393

227789

7347562

229073

7480173

231871

7532986

227859

7576037

228172

7699117

225681

7665991

223804

7714655

228486

7678511

226686

7561448

225951

7583764

225909

7632860

224922

7404060

231885

7318142

239464

7518977

258594

7402004

286991

7249172

318392

7242909

318373

7217120

301330

7144664

276711

7114587

258159

7066477

249857

7130947

247155

7130116

241299

7095025

239208

7204208

235337

7058996

233868

7047796

237748

7082863

233609

7043658

229127

6974626

231297

6946711

232294

6928667

231848

6995799

225934

6987298

228494

6925393

229389

7121036

233565

7207879

230460

7346420

226793

7452072

229343

7566465

231052

7708034

232095

7630893

227904

7593173

229698

7449581

228639

7439781

228638

7482091

228501

7498896

229733

7427672

230014

7408723

228586

7526268

229640

7526924

229309

7604972

227337

7638521

227384

7687456

232937

7597662

231459

7571815

228562

7513060

227358

7334158

228565

7245510

228240

7205639

230866

7169287

226436

7211804

229044

7252552

231352

7227041

227818

7266868

226294

7350514

227754

7375261

230053

7355587

230337

7420149

230857

7466342

234225

7587747

242463

7623026

246888

7651271

249065

7560171

249666

7614459

246915

7449059

241889

7387381

240188

7464132

235336

7343346

233914

7286581

235472

7401226

232085

7335289

233501

7333255

234904

7222488

235393

7170656

232629

7345546

232658

7254759

232544

7145222

229983

7253326

233600

7344620

230375

7338461

229922

7513613

231553

7413262

233549

7260531

233776

7230022

235267

7141232

231053

6890140

233708

6910109

233783

6942532

235362

6952068

233691

6885231

230432

6890374

233778

6987177

231879

6925864

233959

7082985

234951

7116688

235455

7061506

233140

7085605

232930

7169702

231941

7347024

236258

7329339

236822

7397699

242459

7486028

242334

7546346

239948

7691675

239090

7886898

236102

7898966

238083

8018840

236192

7943419

238508

7856150

235572

7963330

236328

7825715

235969

7840695

236801

7715947

235289

7701419

235980

7714611

238525

7854286

232128

7854886

234149

7744225

236271

7828804

235647

7885344

236755

7801701

236547

7673783

239954

7572638

236633

7645550

238481

7772010

235992

7792143

238430

7912119

237157

8096737

239127

8173121

240972

8039615

238271

7958891

240315

7794388

236567

7751847

243837

7697254

241532

7561623

243435

7475189

242476

7381855

240693

7344912

243480

7387862

246924

7359393

237637

7385020

240776

7479286

241131

7575947

240331

7548981

241841

7755293

242800

7718309

245969

7639900

239776

7694407

242198

7856786

244995

7716119

245739

7739245

244998

7788305

242287

7936710

243223

7973849

248601

7978857

244559

7982853

244225

7940490

243336

7929018

246224

7811547

242696

7803642

244485

7661884

248401

7577226

240117

7457666

240834

7400378

244432

7319081

249617

7308253

256707

7346994

262212

7320267

286440

7349441

314795

7281522

422130

7358521

856910

7354629

2267277

7374860

5157998

7498230

9638842

7703754

13971513

7850693

17118428

8064045

19442012

8208962

20665988

8373159

19340960

8360879

17943324

8264411

17414232

8171481

18721012

8113286

20771518

7932068

23369184

7905532

25104576

7811683

26213908

7889557

23566828

7783688

19725244

7667403

15984857

7742269

12435966

7639376

9412356

7488604

7104770

7615160

5738620

7647847

4893294

7641953

4082863

7608158

3516803

7787727

2955497

7697153

2668650

7746992

2404017

7690990

2046583

7720834

1827457

7801001

1652671

7916210

1530407

8104376

1445650

8236898

1372879

8336771

1303333

8265583

1243480

8282384

1210189

8167165

1187592

8002172

1139061

7933672

1096953

7790763

1041210

7753749

997821

7686557

970643

7670838

970702

7737748

940398

7701822

886716

7677847

827581

7608554

749233

7577564

668689

7763672

622646

7871728

587440

7830669

550622

7875515

534502

7859917

521530

7852907

506472

7961836

503262

7782603

488429

7773780

469314

7694828

465507

7723289

454514

7690423

447467

7744401

437365

7833111

424301

7788905

419241

7831845

414432

7782185

414738

7770272

425370

7649649

430242

7618887

441327

7549020

451573

7562117

456554

7586360

471448

7545831

464140

7644489

453121

7682924

443357

7846877

429938

7896946

419573

8059734

412760

8035616

402475

8168792

392155

8142597

388706

8022722

385108

8009056

378007

7862087

385468

7850859

372785

7900184

373091

7827383

369987

7935083

367208

8018235

360349

7992103

366974

8006094

360255

7992448

362901

7993496

363892

8032622

385005

8035444

462769

7919258

716596

7891851

1367662

7806512

2663317

7713361

4817987

7806197

7374590

7835067

10731502

7921798

12961900

8069673

14369895

8064824

15272740

8096382

14849698

8095795

14334985

8112494

13293844

8051084

11557560

8038223

10028643

8094363

8895535

8042587

7545823

8008735

6951113

8054963

5939652

8045444

5296325

7984602

4688331

8085437

4205419

8070319

3775008

8061136

3385278

7951807

3269669

7845147

3041725

7893243

2927216

7806947

2948818

7704119

3050039

7761085

3063985

7816100

2764926

7907119

2350299

7929254

1836392

7847399

1428630

7783226

1143962

7872389

994943

7846725

879611

7785943

795422

7681985

753977

7763322

714822

7922077

670893

7895184

641115

7876391

630637

7950782

614265

7868837

603304

7768140

584688

7904131

573804

7842490

557733

7752366

535489

7784515

527440

7789220

512409

7798651

507417

7796759

499400

7725372

486267

7639998

481205

7697029

471833

7755313

470364

7735971

459903

7680109

461150

7700526

452301

7655546

445656

7627347

449614

7614092

441923

7608981

440665

7687922

431826

7688959

431490

7629566

429561

7662858

428488

7787264

419690

7778890

417834

7837957

423656

7812231

421218

7857398

407203

7782143

413330

7723515

408814

7664522

406805

7736090

406007

7602248

402341

7618583

401517

7566789

402777

7542831

407922

7512061

398747

7495917

397955

7531679

396097

7530085

389526

7520709

397488

7580321

393653

7651831

394121

7721418

391086

7811521

388161

7865016

394277

7860777

392033

7852344

387004

7877484

392673

8032348

386648

8105334

384161

8358121

384407

8662039

390633

9018814

384655

9086932

384750

8985596

388348

8671360

383017

8388972

384016

8175752

381500

7971956

381008

7886240

377906

7839783

382307

7862672

380180

7861964

381795

7862263

383504

7715035

383293

7844816

385399

7688659

383997

7706543

390010

7678132

393310

7796925

391540

7683770

402108

7676079

402889

7806897

404722

7714602

402411

7596167

398552

7581730

403420

7583853

396257

7410665

406884

7472986

414957

7482782

430927

7404663

446984

7498613

436568

7388377

431954

7442511

415402

7477459

405465

7461592

400525

7486580

396494

7629230

392877

7693993

391538

7691883

389583

7677480

386021

7672739

388341

7736131

391150

7796162

387388

7797343

390793

7768743

385282

7712129

383274

7816810

385889

7820957

394059

7909652

401683

7773192

404007

7872106

395803

7861360

399593

7799652

391021

7813340

388601

7702342

389560

7642176

389639

7655781

387594

7576412

387901

7555079

390449

7563158

381187

7555837

384056

7612356

386911

7679744

387906

7728136

388494

7779984

390443

7733915

387621

7669748

398395

7683287

391042

7602390

401027

7632816

405632

7643505

406935

7666625

427537

7613278

456817

7490199

500927

7604174

511006

7590202

501992

7570480

474456

7619286

444654

7641534

424473

7747173

417249

7808641

406478

7838588

407255

7758523

405264

7837671

402789

7826083

404764

7840070

398198

7915744

396569

8125245

400559

8101391

398443

8092365

404762

7864529

404962

7873437

402392

7822694

406963

7675546

412730

7683513

420751

7679951

420094

7689971

415561

7872177

410312

7844373

420329

7911076

424939

7995553

428037

8069418

433736

7938448

430333

7806214

422141

7662577

431311

7606290

436741

7552382

464250

7490779

480160

7539996

486575

7515175

481854

7507820

466029

7498387

445152

7385189

431127

7451835

433020

7503095

427627

7435287

415346

7380177

414094

7399578

416016

7324272

414661

7421923

417436

7323335

413171

7365909

414538

7467880

411631

7343365

411107

7445238

408465

7408669

410622

7361614

409847

7284255

410334

7314744

415369

7429087

415026

7345530

413457

7409861

415716

7489779

410780

7521800

410202

7667420

410040

7610656

416411

7681443

417520

7597684

413801

7617836

424238

7527266

426876

7434198

433352

7472526

426523

7435238

435616

7373628

439672

7403428

469660

7417693

509040

7265616

525098

7289291

522487

7295508

497737

7348116

472227

7270509

459083

7356631

443514

7390829

440306

7527297

434838

7447200

437400

7467942

437110

7476134

434348

7465837

440093

7416156

440163

7340436

448019

7441184

439215

7300988

438758

7122145

435517

7203883

434185

7196885

435153

7190448

435487

7066699

438680

7072453

436026

7109517

435182

7207285

434133

7285276

436142

7300499

433225

7373253

437963

7521527

437075

7557638

442626

7615630

446261

7524797

439906

7462672

445967

7566502

448193

7486291

444613

7396964

445491

7488705

443397

7534838

443123

7498041

447709

7574858

445504

7511805

447067

7421827

448372

7444733

444779

7507222

445018

7486664

444192

7482156

449338

7387240

453277

7405089

465080

7252032

475746

7241957

498592

7234616

531955

7108971

545245

7116480

553354

7118980

541905

7156206

512266

7172334

496427

7281555

487085

7277234

474818

7272331

474816

7355058

473215

7446301

465550

7436333

469488

7387583

470416

7478064

467559

7406419

466244

7436349

474930

7368672

471384

7329397

468713

7322956

474494

7340241

464861

7417152

469247

7397082

468332

7442786

471255

7529658

469113

7481300

471719

7526868

468830

7562927

468848

7563650

475329

7458993

479125

7530647

480328

7528576

479009

7508830

474381

7508086

476926

7447542

476961

7442747

473585

7386455

480558

7311949

485485

7311924

484943

7252443

476525

7169149

483777

7345062

482254

7234206

483820

7215317

485636

7180482

488360

7263056

487613

7211707

485079

7187929

491767

7232926

505138

7206030

510608

7232135

520706

7287205

524590

7330731

527606

7214140

523575

7256913

527998

7346744

559155

7371504

688017

7241326

1182307

7273880

2503543

7386384

5132296

7360653

8814944

7273890

12674669

7285825

15399823

7287401

17444310

7224369

17938944

7321617

17070128

7378432

14917417

7362986

13066694

7390074

11358675

7406445

9906750

7495104

9129319

7559840

9026432

7666189

11268331

7648545

14857460

7624100

18265434

7598700

20794700

7630606

21693432

7580139

21028748

7481032

19041516

7348645

16545500

7369283

14077735

7379843

12228376

7236798

10425767

7244354

9108205

7249075

8026517

7218877

7122471

7171281

6328943

7188018

5595812

7113943

5128205

7140137

4621711

7129687

4144893

7065319

3760825

7102669

3467958

7044219

3136610

7167389

2954116

7090972

2777853

7093888

2621253

7069573

2445883

7078179

2217979

7067551

2074620

6992346

2000393

7053868

1879029

7107644

1826653

7123967

1758666

7183659

1670282

7169590

1604622

7304816

1566449

7263175

1504293

7300649

1447964

7263280

1385404

7273545

1364314

7260199

1309067

7272800

1308562

7214605

1271970

7240769

1231534

7263242

1203222

7179069

1160063

7246392

1137727

7243896

1130457

7167811

1128520

7162852

1272807

7210104

1716804

7058662

2822042

7084788

4741152

7144257

7093805

7123656

9801493

7162392

12135482

7141632

14056152

7059761

15207339

7114405

15775802

7244447

16008524

7200089

14804729

7172428

13655936

7217969

12648560

7368495

11543144

7288631

10191341

7216377

9094296

7304293

8342328

7333243

7166685

7355280

6317440

7273035

5833973

7304760

5407677

7330366

4884064

7235850

4353623

7212846

4006473

7210591

3735146

7105532

3429343

7109112

3084438

7111582

2851662

7088254

2652368

7093173

2513283

7044274

2330113

7081869

2224902

7075235

2069864

7201060

1964173

7187240

1851356

7173018

1756613

7259202

1668106

7278408

1599988

7278409

1531413

7252565

1470257

7204827

1439533

7162603

1393198

7272740

1325927

7287415

1283949

7210837

1251760

7268197

1215050

7280528

1190994

7256385

1187183

7195134

1147094

7149812

1121088

7216280

1098871

7148085

1069022

7022359

1068450

7109707

1057074

7074469

1041480

7003595

1025591

7067344

1011208

7041977

995390

7047836

986509

7070084

967915

6931691

950869

6900238

943395

6911343

939883

6883697

929412

6846207

930989

6836025

918019

6840127

912283

6872707

909399

6900824

900703

6909374

890000

6963990

888800

6998758

886025

7056016

884144

7043635

884443

6925425

877526

6979044

880638

7106794

872198

7045762

864681

6997952

875089

7027508

865925

7073944

861118

7047247

857242

7073026

862390

6984845

860055

7039964

850331

7102081

848226

7122880

854035

7054112

853143

7032574

845693

7080782

846860

7117301

853838

7040929

845614

7034144

848843

7001794

850252

7141678

851235

7044229

850834

7022520

839653

7027591

839330

7061992

848553

7032927

846440

7023472

853747

6927889

844820

6873957

839232

6892661

843759

6798941

839913

6750008

841365

6706129

842153

6775134

843215

6823760

849057

6801378

839741

6741211

846088

6694977

857630

6844039

849049

6921112

853041

6847710

856959

6977090

849250

6997895

849576

7044197

861650

7008034

847674

7036318

854506

7034016

863193

6992455

853539

6858534

863426

6961542

864494

6948366

861049

6831135

863663

6867383

865310

6845422

866071

6840710

869076

6764605

867588

6752963

866359

6767408

879281

6794899

879624

6846453

885621

6876781

890838

6907140

883433

6925465

887563

6948699

885933

7024952

890728

6958244

901171

6935373

895057

6913391

897246

6955238

895682

7001711

901100

6946900

898160

6930257

903111

6889689

905084

6844377

896567

6765156

908590

6862272

907710

6775844

912884

6740001

915449

6717471

928585

6700971

925272

6696188

926202

6746025

920890

6627052

923578

6677984

913280

6666990

920924

6647459

929455

6771406

920754

6653224

925301

6672534

921719

6707132

923952

6608199

933123

6584632

935465

6644758

939701

6624033

938134

6617208

935507

6630991

937988

6612911

937520

6649622

935894

6615027

942269

6653617

940264

6724725

954860

6747116

950858

6650459

954171

6740446

955875

6670513

949394

6648235

965660

6734149

963001

6746815

961497

6713465

973026

6787596

984397

6906143

984133

6948620

988000

6905216

1000653

6959052

993298

7089540

1008752

7020908

1003856

6896080

1014893

6930125

1008463

6899240

1011429

6885648

1018552

6796201

1019516

6851745

1019416

6718634

1019764

6725907

1024710

6748561

1033326

6719137

1028576

6627081

1035256

6651181

1044204

6658315

1040402

6652054

1041155

6678607

1049866

6618692

1052962

6621231

1055183

6733293

1047197

6721648

1049722

6703337

1055217

6714271

1061068

6807247

1063842

6700286

1058912

6690340

1068366

6813330

1062492

6724397

1072870

6710986

1065006

6726065

1070413

6758687

1075289

6785579

1076766

6642996

1078666

6717358

1081643

6804933

1082673

6738028

1079807

6754460

1093296

6673572

1097509

6824824

1090516

6822219

1096707

6724172

1099746

6676340

1089422

6708508

1105266

6712400

1104564

6673664

1105646

6665815

1102394

6694600

1112703

6614049

1115938

6675382

1108417

6738723

1108674

6670621

1125487

6704504

1116974

6739442

1126626

6700323

1131690

6738859

1137678

6718037

1131836

6686622

1133260

6691815

1140087

6717870

1147171

6740760

1145884

6758742

1156757

6691202

1157799

6616230

1161711

6661597

1161805

6626626

1168845

6656007

1149122

6584827

1144709

6622910

1159717

6624988

1151949

6704911

1151280

6703093

1161828

6670718

1157150

6714736

1165715

6720073

1168484

6704941

1161868

6762703

1163763

6717848

1174118

6696488

1171476

6739702

1174711

6676144

1179284

6794799

1192990

6798453

1179602

6701296

1190869

6754836

1191461

6796990

1184349

6814302

1189142

6753213

1200737

6697543

1203916

6725689

1205897

6715365

1210512

6673629

1215478

6650203

1221069

6662429

1219920

6667450

1229593

6743303

1234762

6598362

1230085

6630847

1228789

6676617

1244121

6669163

1241334

6651923

1242169

6631494

1252007

6622147

1250224

6674823

1265307

6636380

1257167

6590621

1269268

6631769

1262024

6595769

1275079

6666385

1280873

6685145

1279635

6667624

1283124

6723596

1287163

6688549

1289255

6686822

1283336

6703396

1304776

6716374

1299849

6754687

1308269

6744135

1314582

6720604

1308421

6786324

1328635

6748930

1325491

6660310

1326005

6715245

1324340

6738472

1334470

6760810

1339711

6716251

1340537

6750300

1349326

6772019

1337221

6734577

1355780

6757089

1350108

6684668

1349915

6773600

1362518

6719059

1359762

6779926

1379279

6806439

1369112

6851631

1378490

6935178

1377667

6996476

1387807

7053517

1394296

7006624

1392372

7099336

1395541

7037407

1402206

6961821

1397551

6865300

1405780

6835377

1403882

6814372

1410647

6780385

1410688

6755451

1417476

6738852

1422417

6705071

1436310

6746783

1429071

6750609

1431024

6760602

1441986

6721159

1446497

6824005

1459894

6809301

1463291

6794469

1457718

6736549

1467793

6680343

1467680

6703475

1481255

6706837

1481160

6686666

1485083

6658572

1494138

6713293

1499108

6648626

1488332

6666297

1499908

6590403

1503863

6651450

1516160

6648745

1510205

6668728

1511846

6641397

1505702

6590760

1525155

6625253

1527916

6722081

1530363

6598887

1535511

6635222

1538164

6674187

1537601

6638370

1546795

6657391

1554856

6747161

1552621

6713109

1565192

6708344

1567322

6682224

1577152

6646786

1571595

6681126

1585553

6603360

1584478

6596883

1587892

6638300

1602312

6586982

1604749

6633819

1610618

6629075

1621399

6623470

1628236

6611866

1625172

6663230

1631107

6671027

1634217

6626630

1638649

6550119

1638620

6634735

1657912

6611697

1658502

6542355

1665517

6587857

1670366

6589540

1671507

6605382

1662427

6627983

1687511

6625165

1684322

6669228

1687374

6657161

1692436

6578634

1692919

6656663

1690543

6630046

1707379

6698675

1709204

6800826

1729346

7015250

1724220

7233414

1721586

7337399

1733340

7470526

1737652

7613411

1739290

7553837

1758652

7529004

1758062

7406963

1756030

7271896

1765360

7112598

1764221

7092071

1781034

6970795

1782846

6768415

1786322

6767761

1794390

6757586

1797838

6616964

1812378

6651768

1809237

6677117

1824797

6597116

1819907

6553113

1835663

6616472

1829647

6626643

1838257

6625535

1852145

6506664

1851333

6600862

1859070

6584628

1856782

6596589

1859515

6592333

1871917

6513663

1877148

6563752

1875680

6624720

1882510

6619816

1885489

6578800

1897317

6629574

1908330

6716668

1904608

6642920

1904318

6640640

1923736

6667248

1936375

6638834

1941378

6615267

1940195

6611382

1940034

6624592

1945789

6514856

1951956

6592484

1956870

6527261

1965891

6574787

1977886

6567155

1973855

6549579

1991375

6535846

1981424

6539648

1982793

6542019

1998073

6495036

2007077

6521999

2012259

6533434

2012424

6559392

2023068

6542790

2023235

6539588

2025669

6662171

2042802

6612520

2043150

6743200

2049573

6862466

2055199

6799638

2060966

6888559

2072191

6890593

2071746

6871109

2092968

6783259

2092426

6664013

2100107

6607964

2108412

6507824

2104646

6541582

2111603

6464918

2101052

6472310

2116073

6436508

2130275

6507216

2124225

6413403

2128094

6393747

2154891

6461896

2132678

6372654

2150345

6392665

2147851

6338043

2150770

6321041

2166373

6332857

2167987

6310582

2165987

6291429

2165240

6326144

2168464

6223420

2169496

6291510

2164049

6178973

2164015

6219487

2168092

6215504

2199040

6177828

2185684

6197364

2190496

6113593

2181040

6130640

2187676

6159016

2184259

6148528

2203345

6104874

2188159

6083334

2199717

6061877

2198922

6110879

2189828

6099776

2215298

6038090

2207578

5998662

2211252

6041367

2204630

6042947

2207196

6000619

2215703

5960436

2219285

5938378

2216420

5937917

2225999

5930540

2232944

5945399

2226023

5946213

2225264

5889097

2227403

5928837

2229796

5909149

2229366

5903750

2225343

5875646

2225223

5911509

2233709

5864307

2233422

5858665

2242270

5905971

2247025

5881144

2234353

5872582

2229016

5859759

2246995

5889129

2236054

5955967

2251648

5935181

2239762

5937748

2252266

6038809

2240351

6069468

2255843

6067699

2247343

6114016

2234083

6111098

2246883

6145904

2248537

6170306

2245246

6076042

2235372

5931320

2241063

5917753

2242958

5847667

2250301

5802728

2245167

5766908

2250260

5719147

2243939

5681675

2233432

5687760

2237600

5677667

2247542

5652736

2241533

5662389

2239879

5632082

2238159

5604204

2231649

5530730

2234273

5606070

2238597

5604015

2252654

5609379

2241218

5517734

2222459

5469841

2242739

5551639

2233839

5572888

2232736

5543778

2230524

5494938

2237400

5500848

2226675

5481585

2228856

5515836

2241045

5488651

2239365

5447164

2240428

5438772

2230317

5484020

2247004

5466485

2241953

5472806

2230518

5454331

2247171

5400926

2237735

5426118

2240241

5414884

2233580

5468463

2231277

5393658

2248429

5362783

2246669

5375503

2243354

5361138

2246075

5381519

2252190

5408681

2254762

5325764

2231961

5301979

2243434

5336308

2256866

5329937

2245930

5349198

2241964

5308148

2253460

5311407

2246940

5265131

2259663

5270445

2247927

5302314

2253690

5259556

2244704

5289234

2233944

5219965

2245428

5219345

2253805

5206210

2249116

5206997

2268929

5240466

2252710

5250729

2248506

5181436

2263156

5169311

2253064

5212902

2269460

5258701

2252200

5141832

2263537

5126792

2263274

5174340

2243085

5148721

2253440

5105798

2256214

5093459

2254986

5122192

2249720

5067142

2257070

5062249

2258734

5072302

2260885

5045830

2261977

5064476

2255694

5022655

2260089

4993944

2261451

5001406

2261729

5009532

2245474

5013570

2264607

5004508

2259399

5006421

2258115

4967000

2271085

4980606

2269156

4997802

2262462

4951037

2275079

4962815

2265092

4892219

2252706

4920529

2270380

4912545

2270736

4958099

2266105

4918520

2270457

4950693

2270058

4869395

2269167

4909298

2273308

4926868

2274110

4964799

2272440

4918662

2265849

4882874

2265225

4889627

2261388

4841655

2273958

4826975

2276241

4852916

2269178

4785495

2258231

4834117

2262257

4775724

2266399

4793017

2269949

4751816

2257059

4752463

2271900

4768739

2263394

4763529

2269071

4728359

2266692

4723078

2259387

4763115

2254312

4690724

2256584

4713015

2247231

4684808

2262340

4720949

2258987

4698453

2267447

4697863

2263163

4690565

2266696

4673993

2259300

4673749

2254321

4639337

2265972

4652179

2275304

4690749

2262790

4663575

2266876

4620022

2268933

4637801

2267411

4585822

2282432

4617713

2254885

4605823

2263668

4602964

2270588

4656400

2261904

4627424

2270299

4570613

2277018

4548952

2278400

4627625

2280370

4632933

2272200

4542833

2257560

4562850

2273438

4590101

2279501

4599940

2271127

4572303

2275444

4521282

2270587

4555535

2279662

4535105

2272023

4562373

2265468

4526143

2266012

4554365

2265099

4545859

2271956

4524190

2274563

4503835

2270461

4520861

2283098

4501242

2271347

4448923

2282964

4469166

2284437

4455235

2271935

4427318

2273473

4479263

2281508

4462218

2292807

4409371

2269265

4415225

2280438

4409920

2291509

4414285

2295247

4382645

2286335

4391949

2279504

4369466

2281944

4400656

2277468

4383809

2280879

4372538

2275670

4371724

2275689

4367225

2285151

4384380

2284507

4376846

2273899

4328601

2256799

4339450

2273271

4373606

2263224

4327118

2274482

4300399

2271144

4343430

2265616

4290817

2282882

4308774

2254445

4305361

2260676

4284343

2258066

4294262

2270155

4296778

2263867

4298086

2259761

4310982

2278002

4308120

2275183

4290055

2267930

4236701

2281985

4246433

2276430

4280105

2287307

4258810

2273642

4261041

2270413

4247512

2273412

4287592

2274523

4285518

2262333

4285099

2258031

4250081

2267170

4203946

2263608

4221475

2273188

4223961

2278136

4231367

2277655

4273309

2264059

4266438

2268218

4328793

2263617

4249042

2270378

4222918

2277012

4215794

2271601

4198140

2264316

4196921

2262117

4236143

2273220

4232197

2260084

4217066

2280295

4185489

2275633

4187658

2277118

4257042

2276241

4224646

2283634

4179870

2276244

4227750

2285022

4197782

2297073

4228851

2289092

4200683

2280471

4188688

2283650

4136284

2276055

4135955

2293311

4124242

2282270

4086273

2292618

4123437

2279264

4092402

2277257

4079738

2291159

4073509

2280467

4063318

2283455

4053541

2274746

4063692

2278657

4048376

2296254

4008735

2277001

4011324

2284007

4044216

2287919

4049027

2289373

4019113

2281324

4050158

2272740

4060646

2279144

4023948

2285091

3978861

2272852

3990673

2286759

3985641

2276230

3968894

2273403

3976349

2267220

3929177

2273909

3982511

2269369

3944043

2272780

3983706

2276973

3979903

2265166

3958046

2263569

3923164

2272387

3930886

2290420

3906470

2279509

3887262

2293849

3934606

2295277

3971859

2288029

3944114

2295229

3900724

2282582

3916861

2284488

3878192

2272467

3899860

2271532

3902606

2290842

3860817

2271149

3905962

2281803

3924888

2265959

3857474

2279373

3840843

2275964

3843912

2290318

3811451

2271869

3903242

2274447

3841945

2277439

3862006

2272685

3878919

2269217

3871094

2265696

3862715

2262165

3849134

2275664

3825155

2275666

3861011

2268236

3844304

2267849

3810111

2256137

3811976

2265288

3800258

2267507

3833535

2256530

3828998

2274014

3818283

2258550

3803440

2265003

3814385

2274848

3838816

2258127

3815885

2266571

3749413

2270132

3770150

2273009

3769976

2260281

3779618

2274378

3778645

2263955

3771755

2266691

3775038

2280037

3743640

2260992

3701273

2272644

3729922

2280603

3725759

2277897

3695431

2280841

3744328

2282039

3718049

2276704

3676648

2264377

3678043

2274814

3715607

2276530

3710987

2272616

3674282

2264771

3702074

2270154

3709814

2284492

3687399

2261457

3644284

2276621

3660949

2260538

3650549

2271965

3701437

2270487

3645481

2262249

3614240

2268476

3637146

2275311

3606487

2277739

3625320

2279438

3617180

2275036

3604786

2285770

3605754

2271766

3620953

2274591

3611701

2272261

3623935

2266762

3625613

2283743

3604470

2271604

3632251

2274778

3689779

2276576

3604900

2266384

3595921

2275359

3597134

2269094

3570733

2268285

3572941

2268950

3560810

2265232

3584367

2265746

3538778

2282061

3562136

2289939

3598938

2273612

3602125

2278902

3587272

2263868

3545129

2273613

3527822

2272234

3537928

2256930

3549869

2273460

3576690

2273129

3541513

2275214

3538644

2264748

3541946

2262021

3562709

2261117

3494475

2267251

3533988

2263416

3534042

2280189

3533790

2266444

3529836

2260296

3514530

2262336

3490142

2261507

3511787

2257159

3540954

2263686

3581927

2260511

3599582

2260319

3630094

2271043

3618771

2270771

3620636

2276939

3577801

2271256

3596219

2266514

3552683

2275807

3522186

2258220

3555732

2262724

3537912

2265150

3504167

2268187

3466616

2243065

3470956

2258127

3449984

2268305

3457157

2265961

3413138

2261988

3413566

2265239

3430452

2260549

3463182

2277230

3454240

2270339

3442209

2270723

3461667

2267192

3451305

2274096

3403427

2268083

3399486

2268994

3414900

2271852

3455796

2273487

3414793

2274843

3444439

2266874

3411313

2263291

3377840

2257067

3378928

2261578

3408761

2272788

3421769

2262188

3441830

2277212

3422799

2272873

3452285

2273932

3428276

2279413

3448007

2268650

3417483

2274318

3440080

2264444

3416818

2265612

3399502

2267849

3411591

2265834

3394529

2260399

3413042

2268851

3402079

2257592

3407127

2265401

3418424

2272757

3387750

2274421

3344665

2273652

3345075

2271297

3332033

2269885

3362831

2270213

3379671

2265175

3343454

2268560

3387623

2271107

3322138

2260537

3321130

2267601

3318105

2267095

3298255

2276432

3309895

2268653

3311626

2252830

3327767

2256744

3315002

2269977

3279984

2253484

3323861

2277857

3311854

2261675

3271346

2261227

3277393

2254895

3283408

2264316

3258980

2243989

3294557

2259128

3277311

2255956

3256254

2272834

3274460

2258265

3257846

2264814

3308919

2252216

3263154

2267999

3243210

2257549

3199804

2256976

3216509

2267803

3238383

2241600

3237994

2269240

3215167

2252103

3217725

2266115

3222666

2258852

3273250

2255530

3269472

2268910

3215915

2264528

3179127

2272038

3190604

2269945

3219232

2269324

3234115

2276001

3225346

2268651

3198441

2272941

3208576

2269435

3172321

2262620

3142443

2255159

3196762

2267886

3182958

2256519

3147329

2250440

3160429

2255276

3175472

2261926

3205919

2262727

3200415

2264071

3180169

2255833

3146425

2273896

3166026

2267367

3204639

2257100

3185416

2262501

3209258

2262057

3200881

2252614

3244065

2259949

3223284

2255153

3181373

2263757

3199691

2262444

3197570

2252197

3136520

2255178

3130578

2249043

3154558

2243266

3178283

2252299

3187815

2257592

3186680

2259848

3178010

2263509

3125285

2265187

3131838

2265789

3141171

2250748

3123696

2260311

3117616

2257821

3118724

2261043

3112434

2250932

3108170

2251183

3112605

2260089

3105209

2266530

3049076

2255956

3077916

2250304

3079653

2259352

3063716

2251357

3086231

2247233

3086506

2255408

3074648

2252042

3055495

2253819

3059318

2254397

3063232

2249105

3080341

2245532

3083155

2261491

3057747

2249475

3064653

2255285

3048742

2252838

3065645

2256028

3003086

2241873

3004182

2248573

3040398

2261386

3038682

2248119

3065590

2254335

3073465

2264376

3022571

2254766

3019671

2248955

3004447

2251712

3032759

2259329

3028613

2252060

3019554

2254331

3029808

2257463

3034891

2253374

3004162

2252752

3024760

2249803

3011670

2256898

2999622

2260777

3015399

2266466

3047739

2263336

3017940

2251983

3031756

2252956

3053858

2257217

3073135

2254382

3065465

2258042

3073194

2254134

3081168

2255872

3105111

2250020

3161492

2258356

3128278

2239307

3136387

2247851

3111238

2263329

3085994

2264322

3103604

2257142

3104439

2261335

3053434

2259265

3053484

2261328

3031828

2262124

3005921

2260367

3015909

2274397

3009153

2260215

2985457

2252415

2943151

2257551

2966717

2272636

2941638

2273501

2929511

2270579

2925358

2276257

2926201

2272405

2942041

2267305

2933422

2268547

2955123

2259293

2944051

2270665

2943127

2269856

2921856

2260609

2906964

2269864

2943494

2255450

2916499

2256572

2898372

2251444

2935578

2257023

2944373

2263242

2920128

2248963

2920769

2247308

2891119

2267522

2888743

2256186

2904021

2252836

2892043

2258152

2885671

2259152

2907329

2251584

2907154

2250119

2903249

2251007

2906643

2254421

2892511

2269703

2914386

2257788

2914088

2266448

2892896

2256678

2867220

2258980

2884281

2247588

2881124

2265044

2885684

2252845

2881133

2251926

2893652

2254306

2871974

2253529

2861610

2258695

2839378

2268271

2838251

2249801

2856386

2243721

2899617

2258832

2875978

2250612

2868513

2249823

2870623

2260978

2869475

2258844

2859295

2252218

2882875

2257866

2864237

2260500

2834217

2244885

2845369

2237211

2813980

2255968

2846171

2253015

2846949

2249672

2864137

2250639

2862959

2249771

2855271

2260068

2876806

2235676

2853297

2254991

2850699

2247653

2882947

2248238

2864685

2257922

2849314

2255586

2859279

2256688

2797453

2256621

2791250

2268375

2833336

2243630

2825503

2246980

2829060

2272580

2851965

2254706

2827926

2252169

2812218

2250989

2827984

2254922

2809913

2263451

2792042

2259335

2816841

2260620

2833305

2256946

2851420

2252542

2837039

2253846

2822600

2271143

2831928

2257916

2828121

2263842

2799717

2259524

2774874

2263200

2799435

2260947

2800971

2255242

2761653

2259347

2756091

2262296

2776791

2262803

2780583

2247074

2777531

2245917

2802190

2246557

2790401

2246320

2828308

2251827

2797912

2255594

2790243

2258823

2792246

2261977

2783893

2257717

2799451

2250198

2762861

2264786

2748730

2265796

2716819

2270554

2733544

2255433

2731938

2256950

2750226

2254580

2748087

2258175

2755806

2246066

2757760

2265969

2703162

2246924

2728555

2255106

2736042

2249234

2744814

2265352

2749190

2261526

2754242

2255637

2752250

2259186

2722603

2262139

2688397

2250771

2701278

2268715

2694714

2253553

2708801

2257767

2711583

2260789

2739140

2263533

2725926

2269370

2728093

2260623

2711549

2252780

2699620

2247010

2699133

2245446

2714522

2247887

2697016

2246833

2690266

2249385

2702949

2245991

2686183

2254063

2670129

2248334

2672505

2259296

2696068

2235210

2678541

2248636

2689682

2237361

2708684

2245043

2672374

2248759

2680364

2231544

2667029

2235230

2655964

2244900

2642775

2240040

2699366

2227313

2692744

2218523

2656070

2243751

2671342

2223997

2661726

2232798

2687093

2239160

2684474

2226097

2684559

2239249

2673903

2243059

2666422

2234663

2646653

2225897

2622429

2242260

2640020

2234530

2670446

2226579

2662202

2238121

2675358

2227695

2676618

2228900

2662434

2234475

2640009

2230880

2629165

2232346

2636859

2240765

2634566

2233253

2593557

2229049

2633836

2224940

2635067

2223075

2637803

2231977

2641696

2233542

2640125

2235379

2657156

2247940

2635377

2228945

2637627

2233852

2646449

2226918

2641539

2231871

2638170

2229622

2637893

2237591

2650214

2240035

2625788

2236283

2607440

2232460

2612726

2248205

2625131

2241614

2654877

2238847

2631269

2241390

2623473

2241961

2623209

2240851

2639458

2241294

2702251

2235417

2730682

2244638

2734503

2241804

2730778

2246067

2763331

2232505

2775898

2235238

2806744

2235290

2824608

2234175

2812687

2242818

2828843

2238341

2793627

2234910

2794277

2242073

2773195

2250907

2715388

2232132

2680458

2234447

2685144

2240841

2697858

2244220

2696818

2235847

2674765

2244052

2644785

2248132

2626506

2248186

2595714

2226296

2600334

2240339

2590204

2238911

2556164

2237280

2586678

2242624

2576625

2246018

2557976

2248749

2583338

2243153

2570310

2242480

2565585

2238833

2570516

2234136

2576596

2235344

2573529

2242106

2543294

2243955

2551233

2231854

2564370

2241009

2569626

2233177

2544572

2243580

2511540

2253212

2519526

2234013

2546370

2235509

2528489

2242143

2557678

2223622

2542369

2225666

2552756

2224576

2558131

2225789

2549570

2210469

2505349

2215244

2501230

2222711

2532077

2235801

2502894

2213986

2498556

2228597

2534219

2223048

2535844

2233766

2526084

2234539

2507476

2227234

2509847

2216433

2502348

2238902

2513883

2219345

2534019

2219597

2513085

2230974

2505074

2218729

2468837

2226048

2464057

2229122

2466443

2210096

2508594

2217115

2520822

2226972

2546959

2220065

2548982

2210314

2527241

2221994

2502053

2225905

2519440

2205614

2506421

2213089

2495505

2219725

2503242

2211405

2462986

2216989

2458596

2211066

2445437

2209689

2448432

2223223

2486707

2216277

2464400

2205358

2473898

2214979

2463573

2210876

2474134

2219482

2457361

2218786

2465366

2221017

2474220

2214762

2491003

2202688

2490095

2224654

2462512

2199575

2443998

2214624

2464625

2210113

2464374

2202968

2467742

2208977

2467976

2215135

2469162

2215702

2482626

2217853

2454062

2203701

2445174

2219135

2452348

2222219

2480769

2219179

2478492

2205312

2481511

2220263

2461007

2208772

2475750

2235949

2462834

2223381

2434962

2213212

2455619

2219711

2450566

2215575

2434518

2214362

2446654

2207404

2437587

2214886

2447026

2230640

2438103

2205769

2433687

2212576

2441947

2219608

2438079

2217588

2450434

2218545

2456951

2214657

2447875

2221317

2447699

2201751

2421564

2221322

2454221

2217239

2440902

2222466

2437454

2214197

2425521

2215818

2416551

2228621

2402142

2218580

2411717

2224798

2420434

2212683

2416204

2215556

2422115

2226046

2407465

2215244

2406081

2217706

2424293

2210694

2428612

2216292

2432819

2220647

2417701

2204671

2409684

2219456

2433258

2216644

2451276

2219901

2451066

2222295

2436821

2211895

2428181

2220275

2421904

2219258

2401526

2232024

2409894

2212658

2397455

2225392

2402434

2203049

2379789

2229228

2369657

2219886

2371997

2216066

2401290

2206015

2399958

2222100

2407670

2215318

2424761

2202446

2381052

2221172

2392616

2222874

2385312

2213260

2372899

2210996

2402219

2209997

2394872

2214314

2393318

2212009

2402028

2216412

2395341

2210887

2390146

2216371

2388624

2201437

2374440

2201901

2374327

2216578

2378588

2216764

2376648

2203529

2377683

2212028

2407331

2210595

2396253

2215969

2388581

2211036

2365817

2223036

2352303

2200848

2351127

2217608

2361210

2207404

2349123

2213916

2357177

2213977

2395183

2208302

2379357

2211572

2354685

2203508

2344478

2199953

2354530

2194629

2349888

2206908

2335742

2202968

2356480

2195568

2336173

2203037

2343950

2205160

2361374

2185075

2347455

2201454

2331830

2196961

2347353

2204162

2345667

2192178

2337258

2205067

2340338

2188120

2361537

2198931

2348974

2187954

2361728

2192343

2341316

2188905

2357954

2187214

2358310

2206481

2342876

2181083

2340557

2188928

2330267

2175313

2319856

2189062

2312348

2193020

2326166

2171655

2341083

2204312

2297429

2185131

2305370

2186265

2331432

2197501

2350022

2191765

2332752

2197790

2329781

2188616

2342265

2193085

2322655

2189353

2308854

2189379

2314768

2192644

2323430

2195822

2306808

2198200

2317085

2188514

2332916

2179262

2318713

2194610

2326146

2183550

2328007

2194264

2321034

2196524

2317659

2205181

2304097

2195363

2304556

2202370

2311206

2206181

2314830

2188764

2313074

2196385

2309073

2193299

2337122

2197285

2315309

2193429

2302606

2187939

2313169

2199487

2299894

2182416

2282088

2191515

2288361

2202749

2298603

2199103

2310742

2188699

2310912

2186132

2322908

2200055

2301461

2189165

2304606

2189256

2334752

2200618

2377544

2200104



Sheet1

		Time		SF3(arom)		std

		5.05		98122		161583		5.05		50631

		5.067		92370		156481		5.067		47855

		5.084		87854		152168		5.084		45703

		5.1		83570		148030		5.1		45133

		5.117		85630		151760		5.117		45086

		5.134		82332		141661		5.134		44552

		5.151		82228		141183		5.15		42940

		5.167		84417		138061		5.167		43731

		5.184		85783		137468		5.184		43314

		5.201		86746		137521		5.2		41745

		5.217		85482		133741		5.217		42828

		5.234		82933		135145		5.234		44058

		5.251		80529		134495		5.25		42087

		5.267		91073		132292		5.267		43177

		5.284		122321		133098		5.284		42834

		5.301		109537		130255		5.3		42788

		5.317		92566		131739		5.317		42552

		5.334		84483		136947		5.334		42764

		5.351		80669		154232		5.35		44645

		5.367		81184		148801		5.367		43785

		5.384		88455		140276		5.384		45950

		5.401		88680		134897		5.4		44456

		5.417		82916		132855		5.417		44643

		5.434		82123		132038		5.434		44013

		5.451		89043		130189		5.45		44716

		5.467		88636		131497		5.467		44584

		5.484		86210		130525		5.484		43979

		5.501		105946		131788		5.5		45451

		5.517		91580		128271		5.517		45079

		5.534		81883		128924		5.534		45778

		5.551		82171		127564		5.551		45932

		5.567		86309		128107		5.567		45603

		5.584		94808		129671		5.584		44679

		5.601		94655		129644		5.6		46199

		5.617		88776		124212		5.617		46621

		5.634		85446		128898		5.634		46617

		5.651		82664		127265		5.651		45898

		5.667		82162		127063		5.667		45885

		5.684		86316		129865		5.684		47824

		5.701		80300		127549		5.701		46979

		5.717		82195		127408		5.717		48489

		5.734		92534		125190		5.734		47392

		5.751		84830		126148		5.75		46936

		5.767		83781		127574		5.767		48570

		5.784		82784		127286		5.784		47003

		5.801		85322		127492		5.8		47968

		5.817		88702		129641		5.817		48035

		5.834		81806		127911		5.834		47940

		5.851		80698		120305		5.851		47048

		5.867		81021		126374		5.867		47566

		5.884		87404		125435		5.884		49303

		5.901		84356		125256		5.901		49075

		5.917		83357		122782		5.917		49440

		5.934		84661		125964		5.934		48427

		5.951		84078		124866		5.951		48691

		5.967		91442		124173		5.967		47639

		5.984		90064		125687		5.984		48185

		6.001		89614		124401		6.001		47394

		6.017		85656		125221		6.017		49006

		6.034		84166		123886		6.034		47412

		6.051		94323		123531		6.051		48634

		6.067		88986		123754		6.067		47209

		6.084		86165		124525		6.084		47822

		6.101		83994		125809		6.101		47648

		6.117		167452		126275		6.117		46569

		6.134		2673931		126073		6.134		47402

		6.151		4721342		122961		6.151		47810

		6.167		964900		122204		6.167		47465

		6.184		267932		131216		6.184		48796

		6.201		183037		212423		6.201		48123

		6.217		155759		220034		6.217		49148

		6.234		151111		161585		6.234		48427

		6.251		141412		143502		6.251		47892

		6.267		123353		136101		6.267		49206

		6.284		118403		134376		6.284		47421

		6.301		146796		131393		6.301		48535

		6.317		122797		128862		6.317		47532

		6.334		105019		127513		6.334		48816

		6.351		98748		125220		6.351		49326

		6.368		99485		128401		6.367		49635

		6.384		100825		128132		6.384		47150

		6.401		102011		126737		6.401		48400

		6.418		102124		125258		6.417		48250

		6.434		102590		126267		6.434		48092

		6.451		110588		122522		6.451		48995

		6.468		98659		125045		6.467		48256

		6.484		90825		126157		6.484		49056

		6.501		89390		125595		6.501		50159

		6.517		92003		126418		6.517		49745

		6.534		94725		125431		6.534		48753

		6.551		123418		122870		6.551		49464

		6.568		154563		125973		6.567		48679

		6.584		125443		122574		6.584		47773

		6.601		142557		123073		6.601		49546

		6.618		125860		124269		6.617		50268

		6.634		105947		128143		6.634		49293

		6.651		109612		128383		6.651		48708

		6.668		111819		126862		6.667		48553

		6.684		154911		124071		6.684		51099

		6.701		173896		124627		6.701		49274

		6.718		131215		126319		6.717		50045

		6.734		110546		127837		6.734		49313

		6.751		127016		129405		6.751		49516

		6.768		131517		131950		6.767		50624

		6.784		116477		128350		6.784		49431

		6.801		117080		125619		6.801		49358

		6.818		147903		131146		6.817		48043

		6.834		139092		127848		6.834		50269

		6.851		131429		124948		6.851		49790

		6.868		131233		127622		6.867		50652

		6.884		135421		131092		6.884		50402

		6.901		133481		127393		6.901		49834

		6.918		142543		148769		6.917		49460

		6.934		160916		159783		6.934		50130

		6.951		147281		138871		6.951		50163

		6.968		144056		133591		6.967		49818

		6.984		151759		137221		6.984		50678

		7.001		157071		139288		7.001		49338

		7.018		163766		133123		7.017		51450

		7.034		177911		135910		7.034		49930

		7.051		249007		134972		7.051		50966

		7.068		259078		136816		7.067		51063

		7.084		229241		139475		7.084		50987

		7.101		175135		144420		7.101		50693

		7.118		192910		144883		7.117		51488

		7.134		294354		147837		7.134		52936

		7.151		218613		146086		7.151		52141

		7.168		162626		142873		7.168		52645

		7.184		195932		146297		7.184		54078

		7.201		411175		146989		7.201		52875

		7.218		401216		142193		7.218		53907

		7.234		270531		143182		7.234		53599

		7.251		207821		151993		7.251		51372

		7.268		183788		800819		7.268		54752

		7.284		188260		8161493		7.284		53413

		7.301		234754		15872514		7.301		55331

		7.318		387538		15205078		7.318		55415

		7.334		266356		12120594		7.334		55486

		7.351		203796		10111309		7.351		55073

		7.368		201965		8960719		7.368		54858

		7.384		176922		7955324		7.384		55777

		7.401		168867		6521576		7.401		55780

		7.418		196274		4307274		7.418		57266

		7.434		261721		3167973		7.434		57623

		7.451		297293		2530835		7.451		57635

		7.468		294196		2152259		7.468		58859

		7.484		279961		1867853		7.484		56690

		7.501		236642		1676864		7.501		57295

		7.518		219328		1551217		7.518		60012

		7.534		214562		1398202		7.534		60217

		7.551		282447		1317087		7.551		58927

		7.568		343062		1212402		7.568		58377

		7.584		365348		1134531		7.584		60691

		7.601		331169		1065784		7.601		59949

		7.618		336514		971385		7.618		60107

		7.634		374035		943383		7.634		60488

		7.651		316988		896470		7.651		59598

		7.668		236196		846456		7.668		61587

		7.684		227186		820135		7.684		61968

		7.701		232275		772638		7.701		62524

		7.718		222385		740669		7.718		60980

		7.735		300067		695727		7.734		62279

		7.751		337550		676077		7.751		61958

		7.768		661050		640308		7.768		62444

		7.785		11837768		613379		7.784		61517

		7.801		36970788		585065		7.801		63311

		7.818		57635356		567381		7.818		60806

		7.835		71926720		990313		7.834		62053

		7.851		80215280		9377610		7.851		62568

		7.868		86636336		19014172		7.868		63589

		7.885		92328504		14753255		7.884		62379

		7.901		37745736		9577086		7.901		64250

		7.918		7997328		7126570		7.918		65191

		7.935		6741353		5049091		7.934		61879

		7.951		5576255		3136166		7.951		62986

		7.968		4771533		2257480		7.968		64484

		7.985		4231814		1846469		7.984		64363

		8.001		3788033		1598006		8.001		66478

		8.018		3550126		1449664		8.018		65147

		8.035		3045506		1312850		8.034		66351

		8.051		3076927		1210687		8.051		64575

		8.068		3570726		1137601		8.068		65113

		8.085		2600114		1040827		8.084		65891

		8.101		2179690		989328		8.101		64492

		8.118		2082061		939011		8.118		65504

		8.135		1924798		884734		8.134		65739

		8.151		1863248		845897		8.151		65407

		8.168		1717346		801642		8.168		67232

		8.185		1685888		752900		8.184		65887

		8.201		1596688		712988		8.201		66874

		8.218		1503878		669046		8.218		64484

		8.235		1277110		638876		8.234		64146

		8.251		1220962		617456		8.251		65545

		8.268		1137743		582450		8.268		65642

		8.285		1119594		556030		8.284		67183

		8.301		1055512		528066		8.301		66146

		8.318		999612		515929		8.318		64293

		8.335		964111		498210		8.334		64584

		8.351		905628		481328		8.351		63801

		8.368		841251		472202		8.368		65474

		8.385		841553		458079		8.384		63801

		8.401		823993		440678		8.401		62830

		8.418		818310		430530		8.418		65495

		8.435		793803		410871		8.434		62363

		8.451		697963		403485		8.451		64523

		8.468		695166		397502		8.468		64193

		8.485		720118		384912		8.484		64252

		8.501		658226		380464		8.501		63995

		8.518		615436		378410		8.518		63150

		8.535		560570		362413		8.534		64689

		8.551		530214		364156		8.551		63545

		8.568		509018		355412		8.568		64583

		8.585		485828		350580		8.584		63182

		8.601		474891		342270		8.601		61928

		8.618		473930		335079		8.618		62915

		8.635		445637		327443		8.635		62586

		8.651		439434		319529		8.651		62352

		8.668		430887		313980		8.668		63297

		8.685		426332		316154		8.685		64241

		8.701		402912		308654		8.701		64044

		8.718		396462		308716		8.718		62067

		8.735		390972		300631		8.735		63237

		8.751		359174		295987		8.751		63888

		8.768		349922		294168		8.768		61950

		8.785		350478		287851		8.785		62418

		8.801		340295		288915		8.801		64011

		8.818		320156		283839		8.818		64242

		8.835		310721		278472		8.835		64347

		8.851		300763		280816		8.851		63028

		8.868		303104		271850		8.868		63165

		8.885		298894		273591		8.885		62833

		8.902		279055		262485		8.901		62657

		8.918		270350		267078		8.918		63349

		8.935		269302		260145		8.935		64469

		8.951		256534		259641		8.951		63878

		8.968		261634		254584		8.968		64597

		8.985		257139		253718		8.985		63225

		9.002		254644		255614		9.001		64251

		9.018		241887		250241		9.018		63625

		9.035		240159		249189		9.035		64617

		9.052		238917		246359		9.051		62794

		9.068		232459		249189		9.068		64010

		9.085		231790		243779		9.085		62770

		9.101		228023		240061		9.101		63996

		9.118		221814		240770		9.118		65209

		9.135		207726		237176		9.135		65030

		9.152		213748		242689		9.151		64654

		9.168		219949		256005		9.168		65034

		9.185		234743		255302		9.185		64167

		9.202		216292		242612		9.201		66034

		9.218		209185		236766		9.218		64202

		9.235		202069		232743		9.235		64967

		9.252		195738		227764		9.251		63908

		9.268		189792		227576		9.268		64125

		9.285		184997		226071		9.285		64059

		9.302		193486		223321		9.301		65992

		9.318		189965		219371		9.318		67048

		9.335		188548		219844		9.335		66495

		9.352		182043		216789		9.351		63410

		9.368		182639		217845		9.368		66211

		9.385		180648		218180		9.385		65050

		9.402		184272		225249		9.401		66185

		9.418		187995		236424		9.418		67029

		9.435		220021		220716		9.435		67033

		9.452		517644		217394		9.451		67093

		9.468		1090802		213521		9.468		67699

		9.485		1286919		211446		9.485		67093

		9.502		843898		208855		9.501		66160

		9.518		511783		210534		9.518		66679

		9.535		376929		237134		9.535		68211

		9.552		307358		253694		9.551		67216

		9.568		271243		225939		9.568		68113

		9.585		248473		214197		9.585		68129

		9.602		228475		211399		9.601		67690

		9.618		212213		210827		9.618		67824

		9.635		199315		208441		9.635		67352

		9.652		190242		199193		9.651		69106

		9.668		185041		199953		9.668		68543

		9.685		182411		198879		9.685		70094

		9.702		178768		199028		9.701		70327

		9.718		177513		196965		9.718		68636

		9.735		167477		194445		9.735		69139

		9.752		163882		194218		9.751		70653

		9.768		163610		195441		9.768		71156

		9.785		157589		192560		9.785		69379

		9.802		156100		194310		9.801		70100

		9.818		151678		193003		9.818		69916

		9.835		148060		192384		9.835		70430

		9.852		148418		190811		9.851		71187

		9.868		145285		190605		9.868		70210

		9.885		144068		187864		9.885		71393

		9.902		146674		189669		9.901		72148

		9.918		148231		187758		9.918		71428

		9.935		148856		191623		9.935		73890

		9.952		149763		191132		9.951		70986

		9.968		149763		188416		9.968		72108

		9.985		151837		187500		9.985		73523

		10.002		151856		189854		10.001		72071

		10.018		148879		188564		10.018		73340

		10.035		148430		188202		10.035		71993

		10.052		142779		187125		10.051		74820

		10.068		139276		186040		10.068		72854

		10.085		139334		188186		10.085		73826

		10.102		137418		185476		10.101		74115

		10.118		140799		183702		10.118		75557

		10.135		138846		188320		10.135		74965

		10.152		137697		185906		10.151		75420

		10.168		136061		188908		10.168		75591

		10.185		143048		183913		10.185		77837

		10.202		146732		184396		10.202		78381

		10.218		141388		186691		10.218		76079

		10.235		138315		187034		10.235		76664

		10.252		138200		185176		10.252		79164

		10.268		133250		178751		10.268		78195

		10.285		134295		183172		10.285		76318

		10.302		132424		182884		10.302		76710

		10.318		136357		183615		10.318		79025

		10.335		136386		179714		10.335		78104

		10.352		131689		178013		10.352		78667

		10.368		136175		179093		10.368		79284

		10.385		136093		177447		10.385		80818

		10.402		130311		178565		10.402		78061

		10.418		134804		181078		10.418		80959

		10.435		136321		180245		10.435		80141

		10.452		138228		177696		10.452		81051

		10.468		138194		182787		10.468		77225

		10.485		139757		189822		10.485		81069

		10.502		139390		191181		10.502		79565

		10.519		139205		189197		10.518		81618

		10.535		139130		191692		10.535		80583

		10.552		141973		193286		10.552		82489

		10.569		138715		189882		10.568		80980

		10.585		138083		186397		10.585		81347

		10.602		137317		177298		10.602		82826

		10.619		137644		178928		10.618		82720

		10.635		137072		177151		10.635		82638

		10.652		136935		174975		10.652		85916

		10.669		135400		173882		10.668		84389

		10.685		131645		170959		10.685		83680

		10.702		136266		170904		10.702		83871

		10.719		136705		169734		10.718		80570

		10.735		147207		166477		10.735		82109

		10.752		151535		172112		10.752		79453

		10.769		151895		171890		10.768		80765

		10.785		153250		171851		10.785		81472

		10.802		151930		174225		10.802		79623

		10.819		146091		166756		10.818		79557

		10.835		143374		168199		10.835		79155

		10.852		141480		168371		10.852		78502

		10.869		141881		165548		10.868		78379

		10.885		139254		168902		10.885		78020

		10.902		142087		164817		10.902		75602

		10.919		146725		163323		10.918		76852

		10.935		152907		164642		10.935		79157

		10.952		157644		166800		10.952		77727

		10.969		155395		166763		10.968		77997

		10.985		155664		168522		10.985		78410

		11.002		151482		168237		11.002		76610

		11.019		149393		164919		11.018		77822

		11.035		151798		165186		11.035		76887

		11.052		150001		164683		11.052		79640

		11.069		152313		161813		11.068		78943

		11.085		168828		162185		11.085		79109

		11.102		194087		160888		11.102		80374

		11.119		199166		162432		11.118		78211

		11.135		186632		165245		11.135		79961

		11.152		180548		168070		11.152		77844

		11.169		177892		168067		11.168		77557

		11.185		176059		165844		11.185		80813

		11.202		176793		164526		11.202		78386

		11.219		168894		163777		11.218		78855

		11.235		167181		163246		11.235		78589

		11.252		169874		161428		11.252		77591

		11.269		172601		158177		11.268		77902

		11.285		170695		158146		11.285		77314

		11.302		166222		159464		11.302		76024

		11.319		161221		161355		11.318		78140

		11.335		160030		157043		11.335		75733

		11.352		156697		159838		11.352		77099

		11.369		153126		158973		11.368		77050

		11.385		151115		158518		11.385		76530

		11.402		150677		156583		11.402		77307

		11.419		153805		157374		11.418		76587

		11.435		153172		159908		11.435		77324

		11.452		154938		161499		11.452		76254

		11.469		151987		174523		11.468		75721

		11.485		152021		1346764		11.485		74960

		11.502		155849		11587770		11.502		77590

		11.519		155769		23996432		11.518		75081

		11.535		157923		22751678		11.535		76739

		11.552		153429		15822216		11.552		77315

		11.569		162104		11477640		11.568		77161

		11.585		158778		8961173		11.585		76027

		11.602		156905		6257860		11.602		75259

		11.619		165127		4250571		11.619		77467

		11.635		167061		3261545		11.635		75581

		11.652		167092		2467778		11.652		79025

		11.669		159601		2014568		11.669		75495

		11.685		156938		1768915		11.685		77667

		11.702		155166		1605466		11.702		77048

		11.719		151968		1422992		11.719		76260

		11.735		152926		1251917		11.735		78004

		11.752		149688		1152452		11.752		76537

		11.769		147740		1053248		11.769		75961

		11.785		149299		939514		11.785		76211

		11.802		152053		817231		11.802		77548

		11.819		156417		714663		11.819		79011

		11.836		159353		647697		11.835		74874

		11.852		158375		581063		11.852		76610

		11.869		157714		529714		11.869		75905

		11.885		159736		496669		11.885		77774

		11.902		159094		475293		11.902		77300

		11.919		158696		439542		11.919		76990

		11.935		157764		409965		11.935		77057

		11.952		160985		402625		11.952		76306

		11.969		161836		377440		11.969		78137

		11.986		164312		362981		11.985		77044

		12.002		167110		344352		12.002		75679

		12.019		163912		352159		12.019		77658

		12.036		167268		1532735		12.035		77606

		12.052		193178		13263942		12.052		76284

		12.069		225960		26728916		12.069		77022

		12.086		249230		28856410		12.085		78138

		12.102		249027		23613544		12.102		77672

		12.119		241090		17231600		12.119		75714

		12.136		225373		10504003		12.135		76098

		12.152		214950		6591353		12.152		76821

		12.169		208409		4447988		12.169		77992

		12.186		200242		3235162		12.185		78523

		12.202		207777		2685363		12.202		77440

		12.219		204066		2326126		12.219		80146

		12.236		203415		1972580		12.235		75312

		12.252		204320		1683602		12.252		76549

		12.269		208914		1520747		12.269		77749

		12.286		209206		1319157		12.285		77146

		12.302		202445		1157407		12.302		76734

		12.319		198731		976996		12.319		74120

		12.336		201191		856154		12.335		77475

		12.352		201739		771079		12.352		75709

		12.369		203723		674928		12.369		73938

		12.386		214596		630997		12.385		75473

		12.402		213768		586169		12.402		76837

		12.419		212455		548597		12.419		77282

		12.436		208202		499760		12.435		75357

		12.452		213059		483652		12.452		75334

		12.469		221030		461241		12.469		76062

		12.486		231321		428997		12.485		75086

		12.502		235680		411173		12.502		78677

		12.519		239853		393352		12.519		75525

		12.536		234991		379115		12.535		75918

		12.552		227896		360835		12.552		76233

		12.569		224461		347553		12.569		74810

		12.586		226841		332281		12.585		78455

		12.602		224990		320499		12.602		76776

		12.619		222278		320289		12.619		76420

		12.636		220909		309063		12.635		78762

		12.652		222681		299068		12.652		76937

		12.669		244984		289761		12.669		76735

		12.686		274836		287917		12.685		77899

		12.702		275403		278051		12.702		76272

		12.719		260993		271254		12.719		78159

		12.736		263294		273232		12.735		76479

		12.752		251522		271782		12.752		77177

		12.769		242909		263347		12.769		76481

		12.786		241679		252482		12.785		77035

		12.802		244821		246948		12.802		78671

		12.819		248429		245767		12.819		77599

		12.836		254861		238454		12.835		77847

		12.852		255081		233545		12.852		76682

		12.869		245182		230816		12.869		78880

		12.886		242356		227261		12.885		79565

		12.902		253367		222167		12.902		78020

		12.919		270206		219419		12.919		78691

		12.936		271532		217170		12.935		78732

		12.952		265294		214377		12.952		78091

		12.969		254413		211738		12.969		77659

		12.986		253256		208260		12.985		79125

		13.002		251546		206940		13.002		76138

		13.019		248726		204477		13.019		78140

		13.036		253546		199232		13.036		78905

		13.052		254870		199221		13.052		80268

		13.069		251892		198158		13.069		78466

		13.086		255104		197743		13.086		79495

		13.102		257538		193798		13.102		81928

		13.119		257942		193223		13.119		80962

		13.136		257328		194922		13.135		82227

		13.152		271371		194068		13.152		81357

		13.169		289691		187937		13.169		81833

		13.186		290478		190050		13.185		81876

		13.202		283600		186708		13.202		82189

		13.219		279261		190300		13.219		80099

		13.236		281125		187699		13.235		81720

		13.252		288315		188181		13.252		81139

		13.269		287405		190244		13.269		80929

		13.286		288563		187334		13.286		83542

		13.303		282747		182916		13.302		81418

		13.319		283567		183387		13.319		80876

		13.336		290099		180814		13.336		82232

		13.353		293305		180398		13.352		80747

		13.369		286635		181489		13.369		81662

		13.386		283202		179680		13.386		81927

		13.403		281360		181966		13.402		80959

		13.419		295197		176264		13.419		80723

		13.436		311418		178873		13.436		80760

		13.453		309445		177301		13.452		82543

		13.469		308527		173521		13.469		79586

		13.486		314457		176397		13.486		79455

		13.503		315865		174972		13.502		80338

		13.519		317153		175479		13.519		81820

		13.536		319339		175952		13.536		81774

		13.553		320116		173846		13.552		80545

		13.569		301159		175016		13.569		81428

		13.586		289079		175058		13.586		82439

		13.603		281851		173840		13.602		79425

		13.619		274821		169758		13.619		81993

		13.636		270338		171859		13.636		82078

		13.653		268935		170253		13.652		82120

		13.669		265410		169948		13.669		81057

		13.686		265556		179213		13.686		83204

		13.703		276473		353996		13.702		79140

		13.719		312371		2623493		13.719		80579

		13.736		339550		11319528		13.736		81782

		13.753		340701		18631816		13.752		83555

		13.769		340819		20550004		13.769		85102

		13.786		337587		18876012		13.786		84342

		13.803		333422		16798940		13.802		85058

		13.819		329807		15019299		13.819		84994

		13.836		321637		14064379		13.836		86458

		13.853		314607		12032529		13.852		83573

		13.869		320733		7699341		13.869		83995

		13.886		357661		4825762		13.886		83774

		13.903		415302		3242069		13.902		82739

		13.919		417273		2489973		13.919		86619

		13.936		375913		2049361		13.936		83166

		13.953		334465		1711762		13.952		86556

		13.969		311809		1519312		13.969		86605

		13.986		302689		1314246		13.986		84419

		14.003		294664		1162171		14.002		83884

		14.019		283967		1034980		14.019		82027

		14.036		288377		923617		14.036		83678

		14.053		301327		846339		14.052		82611

		14.069		316584		775655		14.069		81471

		14.086		328553		719551		14.086		81475

		14.103		353325		688792		14.102		79091

		14.119		356806		652380		14.119		79071

		14.136		347641		602644		14.136		80797

		14.153		337377		576713		14.152		79543

		14.169		346812		548103		14.169		80280

		14.186		356971		510601		14.186		80513

		14.203		357021		496822		14.202		81255

		14.219		358951		493878		14.219		80861

		14.236		361675		497449		14.236		82763

		14.253		366451		517210		14.252		83763

		14.269		361097		502542		14.269		81611

		14.286		362750		475258		14.286		79519

		14.303		363818		459656		14.302		82792

		14.319		368077		440891		14.319		84705

		14.336		372751		412799		14.336		86522

		14.353		371847		382841		14.352		84486

		14.369		361618		362249		14.369		82968

		14.386		359786		343463		14.386		83247

		14.403		353549		321340		14.402		81649

		14.419		354320		308057		14.419		80139

		14.436		368695		289810		14.436		81658

		14.453		425735		284489		14.452		82237

		14.469		479978		282255		14.469		79305

		14.486		492647		271399		14.486		78967

		14.503		469290		279708		14.503		80001

		14.519		430156		295333		14.519		77613

		14.536		399808		310450		14.536		77758

		14.553		368852		325367		14.553		80704

		14.569		357782		315477		14.569		78628

		14.586		362917		293964		14.586		79855

		14.603		376540		276160		14.603		79519

		14.619		391075		270347		14.619		81817

		14.636		413847		261105		14.636		81947

		14.653		434483		258234		14.653		81943

		14.669		446088		254550		14.669		81255

		14.686		447633		254623		14.686		81721

		14.703		428067		250264		14.703		82673

		14.719		413899		248541		14.719		84988

		14.736		389167		249544		14.736		87626

		14.753		358613		248007		14.753		92967

		14.77		347120		248629		14.769		90917

		14.786		352820		245362		14.786		96353

		14.803		343884		250386		14.803		100929

		14.82		321933		247167		14.819		98352

		14.836		329077		253255		14.836		99641

		14.853		335419		258844		14.853		100972

		14.87		343301		258510		14.869		105327

		14.886		345781		255363		14.886		103751

		14.903		349658		255016		14.903		104814

		14.919		346933		264512		14.919		102377

		14.936		347257		260979		14.936		103868

		14.953		344502		251808		14.953		106276

		14.97		346768		244114		14.969		110410

		14.986		362614		232955		14.986		110660

		15.003		384298		229236		15.003		109006

		15.02		399104		225597		15.019		106029

		15.036		410555		223557		15.036		104019

		15.053		426706		221315		15.053		105307

		15.07		427138		221174		15.069		104418

		15.086		426441		221894		15.086		102773

		15.103		414302		223182		15.103		101874

		15.12		401026		224368		15.119		104581

		15.136		389125		223253		15.136		102764

		15.153		396963		221599		15.153		103086

		15.17		409692		220972		15.169		101892

		15.186		406972		220068		15.186		100886

		15.203		395185		220407		15.203		100719

		15.22		387868		222989		15.219		100148

		15.236		381325		220500		15.236		99820

		15.253		378617		220013		15.253		100876

		15.27		380780		219524		15.269		100413

		15.286		386070		225417		15.286		97571

		15.303		389969		221419		15.303		98708

		15.32		392896		223486		15.319		99756

		15.336		411721		222395		15.336		99524

		15.353		422556		223530		15.353		98391

		15.37		442116		220470		15.369		99424

		15.386		446655		217223		15.386		97603

		15.403		461799		210107		15.403		98798

		15.42		492248		214053		15.419		98146

		15.436		521560		215246		15.436		97364

		15.453		520340		217745		15.453		96317

		15.47		505510		239039		15.469		98805

		15.486		496829		277876		15.486		98935

		15.503		500205		306678		15.503		94487

		15.52		484413		280669		15.519		95114

		15.536		463541		252947		15.536		97039

		15.553		444245		245846		15.553		96041

		15.57		446358		235872		15.569		97713

		15.586		461681		230930		15.586		98921

		15.603		461697		224753		15.603		100739

		15.62		455037		222288		15.619		99986

		15.636		465289		217578		15.636		102550

		15.653		477457		214877		15.653		104132

		15.67		488326		213579		15.669		105869

		15.686		511823		208902		15.686		102530

		15.703		529951		207660		15.703		101723

		15.72		533998		211865		15.719		100327

		15.736		516499		235428		15.736		102727

		15.753		534379		265777		15.753		103540

		15.77		609288		317727		15.769		113645

		15.786		712577		358998		15.786		131232

		15.803		731717		356166		15.803		160516

		15.82		716562		323965		15.819		183449

		15.836		710177		285463		15.836		182923

		15.853		724894		252710		15.853		170936

		15.87		737872		229043		15.87		151674

		15.886		696459		216018		15.886		134643

		15.903		622482		207948		15.903		119028

		15.92		559724		207506		15.92		115652

		15.936		536467		211222		15.936		111774

		15.953		538341		214498		15.953		108425

		15.97		554995		217999		15.969		104832

		15.986		616223		227998		15.986		102674

		16.003		734422		236448		16.003		108126

		16.02		910267		226826		16.019		113666

		16.036		980364		209199		16.036		116201

		16.053		923276		199479		16.053		112645

		16.07		818487		196472		16.069		106573

		16.086		744098		205018		16.086		103307

		16.103		680413		208261		16.103		103106

		16.12		634302		201799		16.12		100148

		16.136		621271		191553		16.136		96933

		16.153		658983		183005		16.153		95813

		16.17		686829		180960		16.17		94742

		16.186		712408		177264		16.186		94793

		16.203		724981		177076		16.203		92135

		16.22		774338		177763		16.22		89838

		16.236		808088		170802		16.236		92116

		16.253		810884		169570		16.253		90412

		16.27		762765		172366		16.27		90392

		16.286		750976		169195		16.286		89800

		16.303		804970		173317		16.303		87027

		16.32		811768		177976		16.32		87476

		16.336		783043		174335		16.336		87862

		16.353		771362		173235		16.353		88369

		16.37		820601		172913		16.37		87452

		16.386		904461		175987		16.386		86255

		16.403		963612		174609		16.403		84508

		16.42		1009362		168185		16.42		87759

		16.436		975434		167802		16.436		88018

		16.453		906551		171342		16.453		88704

		16.47		875499		170784		16.47		87548

		16.486		864823		171022		16.486		86331

		16.503		875724		173066		16.503		87271

		16.52		924385		179353		16.52		87108

		16.536		972989		201825		16.536		85219

		16.553		996080		203921		16.553		86943

		16.57		975040		196169		16.57		87306

		16.586		939019		180699		16.586		86427

		16.603		938909		174827		16.603		89570

		16.62		932401		177709		16.62		87084

		16.636		924819		179598		16.636		87150

		16.653		901827		176717		16.653		85419

		16.67		858999		176071		16.67		86842

		16.686		859083		180043		16.686		87141

		16.703		864314		192890		16.703		86726

		16.72		875050		198609		16.72		85949

		16.737		865371		193717		16.736		86288

		16.753		862936		185651		16.753		86987

		16.77		859260		177475		16.77		86301

		16.787		908202		169485		16.786		87416

		16.803		912065		168759		16.803		84534

		16.82		872124		165255		16.82		86221

		16.837		866053		166694		16.836		87552

		16.853		905158		165604		16.853		85752

		16.87		937476		181338		16.87		86382

		16.887		945341		214285		16.886		85759

		16.903		904654		269050		16.903		89384

		16.92		871940		377684		16.92		84681

		16.937		862150		588356		16.936		88467

		16.953		876817		764487		16.953		86824

		16.97		918904		719188		16.97		87042

		16.987		938834		562693		16.986		85378

		17.003		972602		446333		17.003		85874

		17.02		950711		359741		17.02		86757

		17.037		908253		316508		17.036		86402

		17.053		896896		282755		17.053		86846

		17.07		879234		257485		17.07		85709

		17.087		894921		239285		17.086		85516

		17.103		916334		226102		17.103		86218

		17.12		927372		213448		17.12		87056

		17.137		897182		213323		17.136		84905

		17.153		859768		207521		17.153		86196

		17.17		852030		200532		17.17		85186

		17.187		867555		195703		17.186		86433

		17.203		913610		190590		17.203		86256

		17.22		934425		184924		17.22		84303

		17.237		970046		181125		17.236		87786

		17.253		1037957		174417		17.253		84215

		17.27		1128961		173641		17.27		86165

		17.287		1192800		171897		17.286		86089

		17.303		1187861		171616		17.303		87927

		17.32		1159716		163988		17.32		86879

		17.337		1145142		166945		17.336		85692

		17.353		1133392		166179		17.353		88260

		17.37		1158884		165671		17.37		88282

		17.387		1175833		165434		17.386		85035

		17.403		1128092		173871		17.403		86632

		17.42		1107937		196552		17.42		88631

		17.437		1128828		244503		17.437		88696

		17.453		1188783		495355		17.453		84659

		17.47		1321604		2217714		17.47		85399

		17.487		1451021		8140612		17.487		86182

		17.503		1582249		14690807		17.503		85304

		17.52		1631364		19769656		17.52		87808

		17.537		1614017		20230796		17.536		85742

		17.553		1543972		16870372		17.553		87566

		17.57		1513610		13911498		17.57		87480

		17.587		1428549		11529756		17.587		86345

		17.603		1393536		9418387		17.603		87526

		17.62		1413656		7495134		17.62		86313

		17.637		1461222		5858263		17.637		87274

		17.653		1466346		5015058		17.653		87685

		17.67		1404576		4409301		17.67		84862

		17.687		1324568		4757280		17.687		87356

		17.703		1244826		7197604		17.703		87679

		17.72		1186407		11928763		17.72		88366

		17.737		1168521		16047229		17.737		86762

		17.753		1178712		18015992		17.753		88803

		17.77		1186290		17528794		17.77		88807

		17.787		1205741		15508506		17.787		87939

		17.803		1180298		13643158		17.803		89739

		17.82		1156369		11658004		17.82		88618

		17.837		1167374		10050268		17.837		87901

		17.853		1168319		8579235		17.853		87454

		17.87		1177346		7396090		17.87		87123

		17.887		1179886		6317429		17.887		88741

		17.903		1182235		5899410		17.903		89270

		17.92		1199556		5551253		17.92		86828

		17.937		1177113		5343675		17.937		87835

		17.953		1170380		4823666		17.953		88953

		17.97		1166940		3837861		17.97		88201

		17.987		1210568		2931913		17.987		86940

		18.003		1265777		2261663		18.003		88120

		18.02		1294652		1902133		18.02		89503

		18.037		1316415		1656541		18.037		89011

		18.053		1324666		1499205		18.053		88206

		18.07		1285020		1346182		18.07		89596

		18.087		1246748		1245583		18.087		88574

		18.103		1246852		1146280		18.103		89710

		18.12		1254877		1065882		18.12		93531

		18.137		1282870		983594		18.137		89229

		18.153		1319221		911159		18.153		89238

		18.17		1335589		880120		18.17		89458

		18.187		1350926		830660		18.187		90262

		18.203		1379132		796718		18.203		90868

		18.22		1407449		740279		18.22		91807

		18.237		1391418		722141		18.237		91983

		18.254		1387838		680962		18.253		91381

		18.27		1362322		655895		18.27		92846

		18.287		1326410		631325		18.287		93576

		18.303		1325210		607608		18.303		91905

		18.32		1338986		592833		18.32		93040

		18.337		1421701		573372		18.337		91436

		18.354		1541405		552024		18.353		93982

		18.37		1594883		543634		18.37		91497

		18.387		1572815		526230		18.387		92778

		18.404		1503359		500353		18.403		93984

		18.42		1409899		483315		18.42		93070

		18.437		1385263		489696		18.437		95100

		18.454		1403099		469433		18.453		95747

		18.47		1451811		454999		18.47		94697

		18.487		1553354		449173		18.487		94446

		18.504		1589318		460573		18.503		94051

		18.52		1591307		455733		18.52		95334

		18.537		1558581		445015		18.537		93990

		18.554		1500867		433818		18.553		96470

		18.57		1462485		430976		18.57		95119

		18.587		1437178		415919		18.587		93924

		18.604		1492963		396836		18.603		98365

		18.62		1514326		388879		18.62		97873

		18.637		1556062		393772		18.637		99208

		18.654		1710940		378525		18.653		97985

		18.67		1822084		375796		18.67		97731

		18.687		1820570		379119		18.687		98212

		18.704		1730369		389744		18.703		96381

		18.72		1651263		412137		18.72		98532

		18.737		1646780		417946		18.737		99461

		18.754		1651906		409490		18.753		99996

		18.77		1728807		387982		18.77		103348

		18.787		1727538		372964		18.787		102571

		18.804		1704265		363577		18.803		104597

		18.82		1609286		357031		18.82		104442

		18.837		1564067		353118		18.837		107345

		18.854		1593696		347440		18.854		107424

		18.87		1727374		341284		18.87		107667

		18.887		1973757		335417		18.887		106928

		18.904		2198269		328216		18.904		106715

		18.92		2262998		330357		18.92		106097

		18.937		2259067		336202		18.937		111329

		18.954		2215075		348107		18.954		113935

		18.97		2055192		358198		18.97		116830

		18.987		1899236		372408		18.987		119721

		19.004		1800461		363227		19.004		120150

		19.02		1730750		355099		19.02		119225

		19.037		1701311		334393		19.037		118211

		19.054		1644593		320998		19.054		116113

		19.07		1592096		314467		19.07		116715

		19.087		1573317		309589		19.087		119975

		19.104		1540866		301374		19.104		118558

		19.12		1589470		291118		19.12		119789

		19.137		1633578		280408		19.137		121452

		19.154		1621748		274895		19.154		123460

		19.17		1677633		265229		19.17		118318

		19.187		1761016		267234		19.187		124280

		19.204		1926493		265107		19.204		121031

		19.22		2015778		251493		19.22		119249

		19.237		2067533		254869		19.237		116819

		19.254		2034053		250311		19.254		114996

		19.27		1973041		245861		19.27		111910

		19.287		1937663		244393		19.287		108929

		19.304		1908492		240673		19.304		106532

		19.32		1879033		239549		19.32		106993

		19.337		1817472		237129		19.337		105699

		19.354		1798984		232810		19.354		105749

		19.37		1752297		234797		19.37		106669

		19.387		1733262		231210		19.387		105057

		19.404		1755199		231807		19.404		106154

		19.42		1802841		230510		19.42		106689

		19.437		1842251		226529		19.437		107528

		19.454		1836767		225311		19.454		108678

		19.47		1922214		226216		19.47		109549

		19.487		1949593		226682		19.487		112541

		19.504		1924699		232585		19.504		118107

		19.521		1866461		230474		19.52		122571

		19.537		1912363		230530		19.537		127537

		19.554		2035325		227856		19.554		135617

		19.571		2166944		227089		19.57		143107

		19.587		2196834		226850		19.587		149809

		19.604		2196325		223406		19.604		156471

		19.62		2160205		224019		19.62		154239

		19.637		2150071		222977		19.637		156139

		19.654		2099022		221871		19.654		157687

		19.671		2065560		217799		19.67		158839

		19.687		2078650		223766		19.687		158678

		19.704		2085897		221090		19.704		156718

		19.72		2070989		219863		19.72		154138

		19.737		2012944		219871		19.737		154663

		19.754		1982091		216865		19.754		154942

		19.771		1937313		218329		19.77		152081

		19.787		1987844		212572		19.787		152522

		19.804		1958275		209432		19.804		150386

		19.821		2001843		211415		19.82		148924

		19.837		2033511		212374		19.837		147475

		19.854		2158927		210970		19.854		150916

		19.871		2238041		205496		19.87		148724

		19.887		2298973		203868		19.887		146741

		19.904		2269711		204643		19.904		141762

		19.921		2207799		203907		19.92		141518

		19.937		2148983		204084		19.937		136420

		19.954		2098469		203728		19.954		134170

		19.971		1979272		202901		19.97		131747

		19.987		1972286		203944		19.987		131902

		20.004		2019375		199892		20.004		133216

		20.021		2077131		200727		20.02		130646

		20.037		2110883		202077		20.037		131715

		20.054		2148003		199700		20.054		131236

		20.071		2189575		206138		20.07		129283

		20.087		2266340		199979		20.087		129502

		20.104		2233583		203433		20.104		125547

		20.121		2253772		201957		20.12		125716

		20.137		2204045		200200		20.137		123730

		20.154		2127353		201894		20.154		125140

		20.171		2173629		203692		20.17		126109

		20.187		2205385		199795		20.187		124226

		20.204		2241400		198710		20.204		123897

		20.221		2274641		200771		20.22		123926

		20.237		2357666		199885		20.237		124613

		20.254		2431377		200382		20.254		126855

		20.271		2461251		201394		20.27		125941

		20.287		2432705		200460		20.287		125077

		20.304		2431739		200985		20.304		126400

		20.321		2499023		198463		20.32		125663

		20.337		2631159		199682		20.337		127219

		20.354		2696327		195876		20.354		127280

		20.371		2621256		198935		20.371		124889

		20.387		2530610		195473		20.387		125843

		20.404		2468109		196381		20.404		126720

		20.421		2414188		198148		20.421		128003

		20.437		2453609		196255		20.437		123521

		20.454		2489102		197042		20.454		126681

		20.471		2503972		195643		20.471		126755

		20.487		2520460		200752		20.487		124803

		20.504		2538192		202848		20.504		126674

		20.521		2512472		214060		20.521		127083

		20.537		2499844		218956		20.537		127604

		20.554		2474023		229282		20.554		125297

		20.571		2530828		231072		20.571		126776

		20.587		2518004		222471		20.587		128756

		20.604		2561106		210171		20.604		128711

		20.621		2507257		206862		20.621		128643

		20.637		2522148		208225		20.637		130308

		20.654		2535139		212213		20.654		130620

		20.671		2611602		209123		20.671		128579

		20.687		2646703		203849		20.687		129257

		20.704		2633252		199810		20.704		131013

		20.721		2615598		197363		20.721		131760

		20.737		2519766		198707		20.737		130155

		20.754		2520425		197038		20.754		128915

		20.771		2474010		202648		20.771		133395

		20.787		2432416		198645		20.787		129029

		20.804		2488896		195556		20.804		131205

		20.821		2557107		190737		20.821		130293

		20.837		2603200		191431		20.837		131848

		20.854		2620158		192202		20.854		131199

		20.871		2622917		189502		20.871		134207

		20.887		2579086		191263		20.887		134672

		20.904		2493467		195221		20.904		130092

		20.921		2534760		193197		20.921		131407

		20.937		2565280		194795		20.937		131429

		20.954		2615557		194105		20.954		133836

		20.971		2663454		192035		20.971		133386

		20.987		2685140		191367		20.987		135052

		21.004		2701566		190696		21.004		137962

		21.021		2759036		190637		21.021		137822

		21.037		2745015		197723		21.037		137424

		21.054		2787889		204491		21.054		138912

		21.071		2857370		212783		21.071		136781

		21.087		2867471		213081		21.087		140415

		21.104		2954859		207780		21.104		141228

		21.121		2895520		200773		21.121		137293

		21.138		2798877		196809		21.137		141668

		21.154		2743438		196097		21.154		144395

		21.171		2763408		193731		21.171		145822

		21.188		2840150		196531		21.187		144106

		21.204		2893441		191708		21.204		147801

		21.221		2946062		193718		21.221		150423

		21.238		2993378		194322		21.237		148609

		21.254		2988386		191309		21.254		151943

		21.271		2985095		189701		21.271		150758

		21.288		2953976		188390		21.287		153188

		21.304		2954364		189444		21.304		152120

		21.321		2857189		187262		21.321		154853

		21.338		2809469		189497		21.337		153251

		21.354		2771480		190240		21.354		153598

		21.371		2802936		193723		21.371		156058

		21.388		2808297		188895		21.387		151745

		21.404		2853222		193682		21.404		158333

		21.421		2931202		187522		21.421		157866

		21.438		3075554		186171		21.437		155954

		21.454		3219160		187897		21.454		157317

		21.471		3296606		190937		21.471		159220

		21.488		3272852		192756		21.487		157230

		21.504		3232440		192033		21.504		155468

		21.521		3211612		192519		21.521		156985

		21.538		3128276		188749		21.537		157038

		21.554		3014998		191678		21.554		155321

		21.571		2958246		187338		21.571		157119

		21.588		2908379		188520		21.587		156935

		21.604		2930203		188636		21.604		154624

		21.621		2898627		187199		21.621		157959

		21.638		2872173		187161		21.637		158794

		21.654		2856894		186291		21.654		157959

		21.671		2879083		189469		21.671		155844

		21.688		2941343		190121		21.687		159306

		21.704		3029163		188655		21.704		157417

		21.721		3153151		188838		21.721		161101

		21.738		3229393		189910		21.737		159972

		21.754		3330864		194818		21.754		162377

		21.771		3313604		191733		21.771		159780

		21.788		3200029		191229		21.787		165178

		21.804		3141759		193639		21.804		164625

		21.821		3093405		191874		21.821		164163

		21.838		3052710		194545		21.837		168497

		21.854		3067165		194091		21.854		164762

		21.871		3118737		195136		21.871		170323

		21.888		3068368		194006		21.887		168770

		21.904		3116686		198602		21.904		171553

		21.921		3149279		197049		21.921		174607

		21.938		3217312		195258		21.937		170551

		21.954		3225060		199280		21.954		175073

		21.971		3231682		199205		21.971		175721

		21.988		3239950		205123		21.987		177861

		22.004		3193452		205294		22.004		180681

		22.021		3127332		210229		22.021		178827

		22.038		3080794		212408		22.037		184326

		22.054		3038417		211351		22.054		186809

		22.071		3026143		218253		22.071		194886

		22.088		3060310		223342		22.087		197165

		22.104		3061554		227808		22.104		203635

		22.121		3092143		226931		22.121		207501

		22.138		3083289		222696		22.137		207352

		22.154		3086652		220216		22.154		215580

		22.171		3108258		225145		22.171		220587

		22.188		3075746		225521		22.188		224073

		22.204		3047021		229003		22.204		232641

		22.221		3020584		226429		22.221		240255

		22.238		2989338		229676		22.238		247067

		22.254		2964506		240301		22.254		256495

		22.271		2978301		248883		22.271		273598

		22.288		3053643		257831		22.288		293766

		22.304		3110451		271940		22.304		307951

		22.321		3257177		286701		22.321		352824

		22.338		3423313		294410		22.338		403827

		22.355		3564682		285571		22.354		467306

		22.371		3690223		282023		22.371		510370

		22.388		3894016		275757		22.388		515070

		22.405		4071942		265388		22.404		520774

		22.421		4259519		257159		22.421		494871

		22.438		4385653		243762		22.438		442758

		22.455		4611137		242745		22.454		392745

		22.471		5052586		235924		22.471		352504

		22.488		5540615		232639		22.488		312198

		22.505		6033836		232227		22.504		288118

		22.521		6543360		233090		22.521		263794

		22.538		7015551		234665		22.538		256198

		22.555		7442760		240288		22.554		242674

		22.571		7641786		243256		22.571		248158

		22.588		7873376		240575		22.588		260752

		22.605		7799193		240056		22.604		276959

		22.621		7249132		240966		22.621		274117

		22.638		6507320		235582		22.638		274493

		22.655		5767676		228806		22.654		269115

		22.671		5081207		225234		22.671		256831

		22.688		4567848		220058		22.688		240931

		22.705		4321455		221922		22.704		225340

		22.721		4094437		217997		22.721		208246

		22.738		4006271		219023		22.738		197101

		22.755		4008644		223491		22.754		189190

		22.771		4057034		224253		22.771		188367

		22.788		4030157		223698		22.788		180537

		22.805		4075107		221296		22.804		181107

		22.821		3968401		216163		22.821		178805

		22.838		3914377		216433		22.838		174567

		22.855		3889396		222187		22.854		173955

		22.871		3889347		214627		22.871		171411

		22.888		3867335		219651		22.888		168764

		22.905		3828765		221358		22.904		167695

		22.921		3773471		220143		22.921		162929

		22.938		3799606		217990		22.938		166982

		22.955		3771387		216457		22.954		163753

		22.971		3693312		222062		22.971		162744

		22.988		3680940		218484		22.988		163391

		23.005		3644700		217295		23.004		163309

		23.021		3628987		217234		23.021		161170

		23.038		3618801		218065		23.038		160969

		23.055		3711399		215812		23.054		165703

		23.071		3690778		212823		23.071		161576

		23.088		3728380		218062		23.088		159491

		23.105		3663288		213391		23.104		161454

		23.121		3665928		212888		23.121		160752

		23.138		3670878		213501		23.138		158999

		23.155		3729711		215149		23.154		161598

		23.171		3821012		214557		23.171		161083

		23.188		3846654		216516		23.188		162397

		23.205		3902092		216686		23.204		159094

		23.221		3968531		221953		23.221		158478

		23.238		4111043		221558		23.238		161530

		23.255		4140401		220752		23.254		160259

		23.271		4081030		221703		23.271		162185

		23.288		4078224		221929		23.288		162494

		23.305		4094600		219344		23.304		158427

		23.321		4197101		219464		23.321		159271

		23.338		4390754		213823		23.338		158910

		23.355		4481215		214275		23.354		159575

		23.371		4397006		226037		23.371		157141

		23.388		4264375		249516		23.388		161201

		23.405		4215761		296874		23.404		162242

		23.421		4223664		356310		23.421		161233

		23.438		4141610		392033		23.438		160712

		23.455		4166992		392398		23.454		163484

		23.471		4193198		381580		23.471		160792

		23.488		4235512		358225		23.488		165286

		23.505		4230172		326046		23.504		163430

		23.521		4234980		284485		23.521		160084

		23.538		4188660		262696		23.538		162338

		23.555		4159536		256851		23.554		166270

		23.571		4160828		247613		23.571		163127

		23.588		4162730		242084		23.588		163402

		23.605		4127743		240607		23.604		166220

		23.621		4090223		304766		23.621		168164

		23.638		4260927		741153		23.638		169866

		23.655		4541346		2609424		23.654		168968

		23.672		4880709		7309798		23.671		170765

		23.688		5258077		12930131		23.688		171843

		23.705		5352994		18048918		23.704		170971

		23.722		5337908		21019448		23.721		172207

		23.738		5215951		20323688		23.738		172230

		23.755		4975550		16375268		23.754		170364

		23.772		4801085		12478936		23.771		171640

		23.788		4605263		10015496		23.788		174338

		23.805		4522958		8092589		23.804		171062

		23.822		4352253		6436155		23.821		169764

		23.838		4278780		5355515		23.838		168097

		23.855		4209527		4428777		23.854		166406

		23.872		4060834		3959017		23.871		169372

		23.888		3986299		3361541		23.888		171024

		23.905		3902055		2905257		23.904		167046

		23.922		3908947		2493724		23.921		168374

		23.938		3948607		2245335		23.938		166045

		23.955		3903977		2046430		23.954		165785

		23.972		3946959		1831545		23.971		165861

		23.988		3933168		1587107		23.988		166701

		24.005		4035263		1429295		24.004		165469

		24.022		4014808		1356740		24.021		164577

		24.038		4199388		1264566		24.038		165426

		24.055		4253471		1209749		24.055		165680

		24.072		4335428		1187571		24.071		161503

		24.088		4387164		1164427		24.088		162364

		24.105		4381711		1136656		24.105		163852

		24.122		4403017		1173733		24.121		162716

		24.138		4376165		1156429		24.138		162117

		24.155		4358206		1138796		24.155		162730

		24.172		4338525		1053658		24.171		163164

		24.188		4310657		952886		24.188		164605

		24.205		4197585		790968		24.205		157854

		24.222		4276931		677404		24.221		161295

		24.238		4258866		599593		24.238		158697

		24.255		4345622		542214		24.255		161146

		24.272		4322169		497839		24.271		162139

		24.288		4243144		480709		24.288		159998

		24.305		4176074		445466		24.305		156045

		24.322		4116410		430442		24.321		159562

		24.338		4110956		413173		24.338		158264

		24.355		4093549		409680		24.355		159330

		24.372		4160611		422686		24.371		158672

		24.388		4186332		486236		24.388		159134

		24.405		4300343		591618		24.405		158905

		24.422		4337973		672392		24.421		159105

		24.438		4515553		679590		24.438		159300

		24.455		4640035		637949		24.455		159060

		24.472		4770686		581203		24.471		160813

		24.488		4831698		514461		24.488		157784

		24.505		4780072		469557		24.505		155508

		24.522		4777296		438389		24.521		157068

		24.538		4733090		404515		24.538		157395

		24.555		4734918		380952		24.555		160132

		24.572		4792006		365325		24.571		160427

		24.588		4711793		360443		24.588		159517

		24.605		4766024		336996		24.605		158855

		24.622		4636905		327663		24.621		156736

		24.638		4549977		313449		24.638		156890

		24.655		4419188		308654		24.655		156819

		24.672		4293696		300282		24.671		156255

		24.688		4372427		292523		24.688		158140

		24.705		4434482		295812		24.705		157240

		24.722		4540708		309130		24.721		156424

		24.738		4609755		466889		24.738		157545

		24.755		4837849		1271767		24.755		158448

		24.772		5077783		3551912		24.771		156906

		24.788		5242706		8086484		24.788		155638

		24.805		5507455		12816690		24.805		156109

		24.822		5768458		16807612		24.821		155564

		24.838		6003155		18088128		24.838		159066

		24.855		6104346		18069928		24.855		159260

		24.872		6053293		16416264		24.871		157621

		24.888		5739400		14043817		24.888		156694

		24.905		5393465		11718427		24.905		156204

		24.922		5031604		9998144		24.921		157194

		24.939		4747098		8204972		24.938		153710

		24.955		4567649		6806879		24.955		157058

		24.972		4539637		5789748		24.971		156320

		24.989		4432063		4897297		24.988		152767

		25.005		4483723		4367390		25.005		155276

		25.022		4535917		3756772		25.021		153163

		25.039		4679825		3384493		25.038		156504

		25.055		4712256		3103749		25.055		156032

		25.072		4686598		2811373		25.071		155411

		25.089		4761160		2554747		25.088		153641

		25.105		4810331		2347134		25.105		153352

		25.122		4774332		2239619		25.121		151968

		25.139		4705724		2161562		25.138		154637

		25.155		4761509		2118589		25.155		156890

		25.172		4856523		2017435		25.171		152802

		25.189		4951854		1875152		25.188		153302

		25.205		5055403		1672848		25.205		153806

		25.222		5137919		1398636		25.221		150602

		25.239		5222831		1124694		25.238		149394

		25.255		5261424		917226		25.255		152128

		25.272		5259732		811659		25.271		150843

		25.289		5279262		736306		25.288		152380

		25.305		5210709		682931		25.305		150948

		25.322		5148414		628728		25.321		148918

		25.339		5014909		591320		25.338		153067

		25.355		5005021		564353		25.355		150018

		25.372		4930120		538006		25.371		148008

		25.389		4886350		514007		25.388		151405

		25.405		4858739		488629		25.405		151179

		25.422		4910931		460523		25.421		148675

		25.439		5022271		442265		25.438		149592

		25.455		5098003		420694		25.455		148304

		25.472		5178532		401054		25.471		149621

		25.489		5202550		397813		25.488		148195

		25.505		5141153		384444		25.505		150979

		25.522		5061774		376462		25.521		147654

		25.539		4968100		361742		25.538		147252

		25.555		4831519		356421		25.555		145526

		25.572		4892050		344742		25.572		146696

		25.589		4781570		333414		25.588		146126

		25.605		4733777		325896		25.605		146219

		25.622		4685680		326117		25.621		146935

		25.639		4707576		319852		25.638		144922

		25.655		4718633		312493		25.655		146645

		25.672		4602819		303919		25.672		143399

		25.689		4728657		303304		25.688		143755

		25.706		4868695		298372		25.705		144549

		25.722		5020524		296178		25.722		146383

		25.739		5090582		294166		25.738		143796

		25.756		5041295		290416		25.755		147825

		25.772		5125087		298379		25.772		144167

		25.789		5148763		292262		25.788		144734

		25.806		5109497		293678		25.805		145485

		25.822		5144957		284279		25.822		143284

		25.839		5111965		281941		25.838		142632

		25.855		5269549		278999		25.855		145350

		25.872		5197000		269133		25.872		142929

		25.889		5164118		273494		25.888		141529

		25.906		5107904		267485		25.905		139092

		25.922		5159420		259738		25.922		141966

		25.939		5056712		260978		25.938		141637

		25.956		4980818		259677		25.955		137849

		25.972		4999448		259900		25.972		139596

		25.989		5081060		256134		25.988		137435

		26.006		5233932		255920		26.005		138767

		26.022		5501506		257048		26.022		136783

		26.039		5757232		248997		26.038		140650

		26.056		5901275		246814		26.055		139425

		26.072		5942279		245520		26.072		138980

		26.089		5967976		248996		26.088		140223

		26.106		5832917		268901		26.105		136588

		26.122		5775885		301157		26.122		135569

		26.139		5708585		339730		26.138		137692

		26.156		5654084		355262		26.155		137526

		26.172		5553475		337467		26.172		133845

		26.189		5477278		299375		26.188		134622

		26.206		5374185		281734		26.205		135675

		26.222		5299769		271174		26.222		135123

		26.239		5237371		260800		26.238		135940

		26.256		5217723		255785		26.255		133460

		26.272		5169587		250151		26.272		136771

		26.289		5293729		244412		26.288		136258

		26.306		5326874		246894		26.305		135459

		26.322		5405328		242162		26.322		134789

		26.339		5310494		232239		26.338		133420

		26.356		5307434		233972		26.355		133994

		26.372		5294179		233603		26.372		136452

		26.389		5278529		229360		26.388		136022

		26.406		5308315		227701		26.405		132097

		26.422		5396373		228064		26.422		132110

		26.439		5408546		226661		26.438		130479

		26.456		5287504		226636		26.455		131460

		26.472		5257799		224331		26.472		134012

		26.489		5339441		226948		26.488		133675

		26.506		5305992		226845		26.505		130998

		26.522		5315935		224651		26.522		132776

		26.539		5303849		231253		26.538		131111

		26.556		5267401		230003		26.555		129975

		26.572		5287322		235317		26.572		128914

		26.589		5281920		243185		26.588		130482

		26.606		5211201		241793		26.605		128023

		26.622		5321921		239633		26.622		127906

		26.639		5164589		234673		26.638		129254

		26.656		5080173		225566		26.655		127611

		26.672		5121380		228066		26.672		131720

		26.689		5074192		225373		26.688		125892

		26.706		5170750		220918		26.705		128402

		26.722		5272698		221032		26.722		129217

		26.739		5371373		222958		26.738		127892

		26.756		5495321		217635		26.755		130737

		26.772		5640573		220400		26.772		128869

		26.789		5756784		218663		26.788		128609

		26.806		5700243		219973		26.805		127039

		26.822		5738808		217033		26.822		126732

		26.839		5764483		218586		26.838		127009

		26.856		5841937		217318		26.855		128318

		26.872		5857294		211347		26.872		125909

		26.889		5930697		214238		26.888		129152

		26.906		5927021		211655		26.905		128855

		26.922		5821588		211441		26.922		127219

		26.939		5717033		212026		26.938		126309

		26.956		5581980		209729		26.955		125828

		26.972		5463299		212838		26.972		126252

		26.989		5373555		207779		26.988		127159

		27.006		5393874		210616		27.005		126093

		27.023		5432653		210844		27.022		124220

		27.039		5454581		212232		27.038		128156

		27.056		5505448		210609		27.055		124103

		27.072		5611055		209947		27.072		125555

		27.089		5556199		210716		27.089		125078

		27.106		5543162		208315		27.105		124682

		27.122		5554434		210927		27.122		128550

		27.139		5476831		211949		27.138		123905

		27.156		5429407		211940		27.155		125042

		27.173		5495097		213060		27.172		123353

		27.189		5505367		213140		27.189		125712

		27.206		5769671		212073		27.205		125839

		27.223		5791569		211842		27.222		123706

		27.239		5717877		208110		27.238		127837

		27.256		5755346		213943		27.255		124972

		27.273		5694149		224084		27.272		125068

		27.289		5571286		235197		27.289		123932

		27.306		5511381		247162		27.305		124272

		27.323		5547693		244658		27.322		121419

		27.339		5411542		233469		27.339		123601

		27.356		5524196		222637		27.355		124106

		27.373		5351409		214959		27.372		123773

		27.389		5384727		212551		27.389		122446

		27.406		5374043		206638		27.405		126244

		27.423		5311686		208102		27.422		122601

		27.439		5330284		206316		27.439		123117

		27.456		5355701		207925		27.455		122946

		27.473		5467613		206042		27.472		123288

		27.489		5592089		205384		27.489		125236

		27.506		5596097		206547		27.505		123215

		27.523		5648544		205889		27.522		122668

		27.539		5709810		202636		27.539		122597

		27.556		5761070		202862		27.555		123205

		27.573		5755138		205663		27.572		124445

		27.589		5809171		199609		27.589		120406

		27.606		5892724		199194		27.605		121284

		27.623		6013898		199879		27.622		121867

		27.639		6070692		204923		27.639		124611

		27.656		6211696		207872		27.655		123520

		27.673		6408860		230518		27.672		122236

		27.689		6634431		266706		27.689		121098

		27.706		6720021		293178		27.705		121229

		27.723		6701121		283527		27.722		120595

		27.739		6574901		259588		27.739		119060

		27.756		6313691		234835		27.755		120341

		27.773		6183864		224963		27.772		122404

		27.789		6118464		214560		27.789		118187

		27.806		6111136		211671		27.805		120170

		27.823		6123411		214115		27.822		119776

		27.839		6259400		213969		27.839		118992

		27.856		6234855		211253		27.855		117779

		27.873		6221139		207227		27.872		119467

		27.889		6191755		205562		27.889		122298

		27.906		6125891		202268		27.905		119821

		27.923		5971215		201799		27.922		118070

		27.939		5813542		202942		27.939		120404

		27.956		5808402		196932		27.955		120714

		27.973		5771742		197866		27.972		117900

		27.989		5810628		197061		27.989		118732

		28.006		5755034		199105		28.005		118182

		28.023		5740958		196079		28.022		116802

		28.04		5774094		196643		28.039		119460

		28.056		5726757		195615		28.055		120399

		28.073		5880368		193101		28.072		119795

		28.09		6117420		195647		28.089		116336

		28.106		6337187		198713		28.105		114979

		28.123		6638275		198285		28.122		118332

		28.14		6890500		203661		28.139		114480

		28.156		7049547		198800		28.155		116912

		28.173		7243161		204759		28.172		116645

		28.189		7368171		199691		28.189		120287

		28.206		7296860		200260		28.205		118442

		28.223		7275907		200027		28.222		117390

		28.24		7103380		197290		28.239		118534

		28.256		6850321		194906		28.255		115114

		28.273		6603286		195039		28.272		117643

		28.29		6576091		191417		28.289		115146

		28.306		6450449		191071		28.305		116701

		28.323		6514177		190238		28.322		112880

		28.34		6620327		190855		28.339		113326

		28.356		6571295		188859		28.355		116168

		28.373		6735649		188220		28.372		114637

		28.39		6703677		187359		28.389		115521

		28.406		6590575		187657		28.405		115000

		28.423		6555666		187889		28.422		115916

		28.44		6513771		186845		28.439		114976

		28.456		6527429		193474		28.455		114487

		28.473		6415153		188581		28.472		114950

		28.49		6452087		188454		28.489		112833

		28.506		6414202		184735		28.505		115624

		28.523		6371018		186216		28.522		115152

		28.54		6408022		187519		28.539		114847

		28.556		6232700		189486		28.555		114679

		28.573		6208622		187818		28.572		115651

		28.59		6144556		185193		28.589		113567

		28.606		6014592		181854		28.605		111730

		28.623		5903429		183634		28.622		111865

		28.64		5774951		184869		28.639		114732

		28.656		5807210		181913		28.655		112884

		28.673		5703512		184153		28.672		110624

		28.69		5809453		181360		28.689		114683

		28.706		5875343		183026		28.705		115205

		28.723		5842765		184600		28.722		113978

		28.74		5962991		179706		28.739		110996

		28.756		5983130		181723		28.755		112941

		28.773		5889361		178556		28.772		113134

		28.79		5943048		183443		28.789		112766

		28.806		5974611		178526		28.805		112824

		28.823		6005771		180437		28.822		111736

		28.84		6033362		182087		28.839		113809

		28.856		6156403		178814		28.855		113508

		28.873		6232011		179471		28.872		113238

		28.89		6271753		181375		28.889		113350

		28.906		6236490		178593		28.905		112590

		28.923		6207937		178431		28.922		111746

		28.94		6029348		178244		28.939		112409

		28.956		6007517		181282		28.955		112401

		28.973		5984958		180124		28.972		113195

		28.99		5888586		181811		28.989		110309

		29.006		5821701		185583		29.005		113229

		29.023		5865879		190406		29.022		111327

		29.04		5797339		197402		29.039		111684

		29.056		5855160		202870		29.055		112819

		29.073		5681838		211176		29.072		112845

		29.09		5793014		209922		29.089		109380

		29.106		5732887		202331		29.106		111711

		29.123		5770171		198888		29.122		111701

		29.14		5837371		194603		29.139		112380

		29.156		5829614		190564		29.155		112361

		29.173		5711398		187564		29.172		112716

		29.19		5774818		189725		29.189		112641

		29.206		5792018		187725		29.206		112185

		29.223		5787081		186567		29.222		111915

		29.24		5796387		184459		29.239		108891

		29.256		5913211		185715		29.256		111169

		29.273		5901792		185653		29.272		111990

		29.29		5994824		184460		29.289		111259

		29.306		5900860		180073		29.306		112754

		29.323		5900846		180589		29.322		113237

		29.34		5845091		180367		29.339		108443

		29.357		5740947		184636		29.356		113061

		29.373		5736195		181184		29.372		108070

		29.39		5784954		181243		29.389		110525

		29.407		5838286		180821		29.406		112205

		29.423		5973039		179662		29.422		111965

		29.44		6034154		177413		29.439		112430

		29.457		6150520		178170		29.456		111769

		29.473		6309914		186109		29.472		110214

		29.49		6431796		191525		29.489		108920

		29.507		6559543		205726		29.506		111880

		29.523		6598087		209786		29.522		108148

		29.54		6633609		208640		29.539		109610

		29.557		6521220		197242		29.556		108988

		29.573		6360564		191702		29.572		109032

		29.59		6189568		189478		29.589		109148

		29.607		6005160		188752		29.606		110406

		29.623		6031626		185236		29.622		111269

		29.64		5980150		181689		29.639		112408

		29.657		5991695		182363		29.656		109583

		29.673		5973430		184049		29.672		108588

		29.69		6054065		180520		29.689		109995

		29.707		6026373		181073		29.706		109149

		29.723		6142364		178950		29.722		110959

		29.74		6119945		180558		29.739		110068

		29.757		6047711		180340		29.756		109072

		29.773		6107270		180672		29.772		110813

		29.79		5975889		180071		29.789		110378

		29.807		6085128		177579		29.806		112010

		29.823		6139531		179438		29.822		109637

		29.84		6163029		177847		29.839		110146

		29.857		6024853		178723		29.856		108474

		29.873		6272079		178236		29.872		108614

		29.89		6401840		176833		29.889		112090

		29.907		6301775		183423		29.906		108076

		29.923		6508987		195717		29.922		107652

		29.94		6573019		217325		29.939		107738

		29.957		6564215		249269		29.956		109218

		29.973		6627350		256769		29.972		109666

		29.99		6799372		243136		29.989		109214

		30.007		6754969		217751		30.006		111715

		30.023		6834972		202589		30.022		109068

		30.04		6856935		194239		30.039		110682

		30.057		6715555		190182		30.056		108716

		30.073		6557465		184982		30.073		108804

		30.09		6582007		184214		30.089		109571

		30.107		6454262		181874		30.106		109136

		30.123		6405021		182394		30.122		109262

		30.14		6254251		179579		30.139		109861

		30.157		6306682		180863		30.156		110899

		30.174		6261171		179961		30.172		111108

		30.19		6189926		179902		30.189		110823

		30.207		6316928		179376		30.206		110926

		30.224		6340298		179349		30.223		109933

		30.24		6260518		178571		30.239		110487

		30.257		6155285		178168		30.256		109491

		30.274		6106926		175863		30.272		109236

		30.29		6217592		180209		30.289		110001

		30.307		6370529		177264		30.306		108223

		30.324		6430804		174024		30.323		107564

		30.34		6548357		179447		30.339		109636

		30.357		6705920		176550		30.356		108707

		30.374		6758990		176700		30.373		110590

		30.39		6806370		176473		30.389		108858

		30.407		6799215		184060		30.406		106643

		30.424		6822389		185842		30.423		110597

		30.44		6873484		188389		30.439		109040

		30.457		6856582		190744		30.456		109588

		30.474		6923907		186967		30.473		108263

		30.49		6887433		183414		30.489		108678

		30.507		6881594		182558		30.506		110734

		30.524		6861269		178312		30.523		106948

		30.54		6813462		181606		30.539		109095

		30.557		6590892		176732		30.556		111767

		30.574		6650868		180060		30.573		111062

		30.59		6695876		180708		30.589		108861

		30.607		6472540		178777		30.606		109496

		30.624		6471720		178468		30.623		110374

		30.64		6473936		173461		30.639		108975

		30.657		6527222		178866		30.656		107439

		30.674		6551706		176218		30.673		108504

		30.69		6560094		175566		30.689		110754

		30.707		6632381		177516		30.706		111206

		30.724		6691706		175518		30.723		108653

		30.74		6839108		186564		30.739		109154

		30.757		6902625		215678		30.756		107436

		30.774		7092301		279720		30.773		107386

		30.79		7140548		371159		30.789		108029

		30.807		7422551		417870		30.806		109354

		30.824		7467657		389532		30.823		108765

		30.84		7655515		332160		30.839		107041

		30.857		7670591		276575		30.856		110422

		30.874		7740316		244332		30.873		110172

		30.89		7719277		222408		30.889		108866

		30.907		7551903		210392		30.906		110251

		30.924		7464924		203219		30.923		110117

		30.94		7389629		199257		30.939		107073

		30.957		7307376		192563		30.956		109188

		30.974		7385660		190231		30.973		107784

		30.99		7417220		191509		30.989		108236

		31.007		7334029		185991		31.006		112438

		31.024		7464079		186243		31.023		111466

		31.04		7437647		182500		31.039		109949

		31.057		7445566		181019		31.056		110118

		31.074		7234588		182221		31.073		108678

		31.091		7132088		181240		31.089		109159

		31.107		7218970		177669		31.106		108357

		31.124		7240733		179923		31.123		107910

		31.141		7156565		179962		31.139		107560

		31.157		7228761		174826		31.156		109665

		31.174		7092337		177502		31.173		108295

		31.191		6936754		175181		31.189		108456

		31.207		6754755		177608		31.206		108731

		31.224		6524668		179873		31.223		109162

		31.241		6394858		175849		31.239		109128

		31.257		6449957		178033		31.256		109603

		31.274		6294520		178399		31.273		107432

		31.291		6283078		177188		31.289		107560

		31.307		6391163		173424		31.306		109460

		31.324		6414033		174798		31.323		107163

		31.341		6465061		177990		31.339		108095

		31.357		6531308		177391		31.356		108629

		31.374		6529830		175062		31.373		109852

		31.391		6632298		170974		31.389		110946

		31.407		6550974		173545		31.406		106834

		31.424		6707152		172233		31.423		109776

		31.441		6877711		173543		31.439		108958

		31.457		7022851		175643		31.456		107943

		31.474		7207458		172491		31.473		109796

		31.491		7365768		172508		31.489		106572

		31.507		7471546		174593		31.506		107202

		31.524		7516156		172554		31.523		106543

		31.541		7426239		170569		31.539		110367

		31.557		7314219		173991		31.556		108824

		31.574		7328168		172116		31.573		107165

		31.591		7214837		175136		31.589		110640

		31.607		7175972		171653		31.606		108915

		31.624		7228426		172521		31.623		109662

		31.641		7258170		171619		31.64		108637

		31.657		7212543		172423		31.656		106122

		31.674		7267480		172448		31.673		110669

		31.691		7267116		173110		31.689		110430

		31.707		7194149		174368		31.706		109968

		31.724		7052388		173894		31.723		108927

		31.741		6933154		174998		31.74		108059

		31.757		6946360		181949		31.756		110224

		31.774		6696550		189223		31.773		109908

		31.791		6734210		195482		31.79		110108

		31.807		6711665		192279		31.806		108789

		31.824		6616641		191046		31.823		108553

		31.841		6647454		185881		31.84		110955

		31.857		6692674		181002		31.856		108434

		31.874		6549396		176294		31.873		108879

		31.891		6565513		176707		31.89		109658

		31.907		6363047		175638		31.906		108970

		31.924		6380644		176338		31.923		107997

		31.941		6391033		177569		31.94		110247

		31.957		6479488		175477		31.956		109716

		31.974		6351055		177161		31.973		110887

		31.991		6461118		174708		31.99		110281

		32.007		6524100		179843		32.006		110057

		32.024		6526027		183283		32.023		110270

		32.041		6600230		178912		32.04		110987

		32.058		6677472		177328		32.056		109025

		32.074		6737432		173422		32.073		109759

		32.091		6840450		173618		32.09		112153

		32.108		6808377		174130		32.106		107853

		32.124		6961799		173395		32.123		110295

		32.141		7014718		171924		32.14		111245

		32.158		6952865		177555		32.156		109855

		32.174		6993969		174725		32.173		109929

		32.191		6997269		194138		32.19		108746

		32.207		6964906		307202		32.206		110477

		32.224		6846092		854959		32.223		110388

		32.241		6741747		2801899		32.24		108182

		32.258		6692779		6710741		32.256		110525

		32.274		6757085		11739928		32.273		111162

		32.291		6661419		15926063		32.29		109455

		32.307		6607009		18709034		32.306		109613

		32.324		6608097		18720196		32.323		109486

		32.341		6727543		17331668		32.34		111202

		32.358		6607359		14401681		32.356		109446

		32.374		6595917		12239328		32.373		110034

		32.391		6514830		10431108		32.39		108972

		32.408		6576134		9091052		32.406		110511

		32.424		6636238		9843003		32.423		110113

		32.441		6681875		12666314		32.44		108599

		32.458		6574145		16039361		32.456		109755

		32.474		6656041		19218250		32.473		111246

		32.491		6800533		20985996		32.49		108864

		32.508		7000438		20782864		32.506		109292

		32.524		7122375		19176924		32.523		111710

		32.541		7209355		15916654		32.54		111810

		32.558		7285083		13505208		32.556		110703

		32.574		7348385		11718587		32.573		109200

		32.591		7257312		10432311		32.59		112382

		32.608		7155553		9003739		32.606		109660

		32.624		7185293		7776622		32.623		111164

		32.641		7115602		6785465		32.64		112547

		32.658		7080756		5554604		32.656		111064

		32.674		6980590		4627140		32.673		113086

		32.691		6974356		3931651		32.69		111205

		32.708		6835147		3460414		32.706		111082

		32.724		6756602		3302439		32.723		112025

		32.741		6661940		3378174		32.74		111130

		32.758		6759901		3340672		32.756		112480

		32.774		6828015		3339824		32.773		110771

		32.791		6942830		3133359		32.79		110586

		32.808		7018808		2665650		32.806		109422

		32.824		7154916		2115349		32.823		112017

		32.841		7280599		1584224		32.84		112896

		32.858		7254152		1297456		32.856		110993

		32.874		7222296		1121709		32.873		113131

		32.891		7231839		1022218		32.89		112064

		32.908		7246945		925175		32.906		113660

		32.924		7125529		854763		32.923		109634

		32.941		7121337		806419		32.94		109708

		32.958		7198394		756784		32.956		111480

		32.974		7159111		730971		32.973		113602

		32.991		7192844		693888		32.99		112545

		33.008		7282591		667150		33.006		111432

		33.024		7275777		640648		33.023		112308

		33.041		7280309		624945		33.04		111745

		33.058		7217010		601336		33.056		115098

		33.074		7270777		591530		33.073		110306

		33.091		7206601		565392		33.09		111825

		33.108		7158752		543795		33.106		109841

		33.124		7093958		531302		33.123		112988

		33.141		7045406		521802		33.14		110925

		33.158		7173646		500649		33.157		113952

		33.174		7123089		480838		33.173		112850

		33.191		7109221		480291		33.19		111714

		33.208		7132468		469457		33.207		113946

		33.224		7041366		457629		33.223		111600

		33.241		6950666		457165		33.24		112115

		33.258		6908782		446725		33.257		109106

		33.274		6841002		445063		33.273		113246

		33.291		6847812		437410		33.29		114237

		33.308		6734485		442615		33.307		113773

		33.324		6741985		428487		33.323		114210

		33.341		6793363		403008		33.34		114645

		33.358		6642571		403752		33.357		111070

		33.374		6674612		391172		33.373		113811

		33.391		6799744		382935		33.39		112175

		33.408		6872909		377617		33.407		112496

		33.424		6931605		363931		33.423		115223

		33.441		7099955		364384		33.44		110034

		33.458		7327823		365403		33.457		114683

		33.474		7361505		355962		33.473		111701

		33.491		7522964		348612		33.49		114671

		33.508		7596579		348170		33.507		113016

		33.524		7695773		344381		33.523		112593

		33.541		7638975		340837		33.54		112319

		33.558		7539642		335347		33.557		114391

		33.574		7365968		333228		33.573		114942

		33.591		7270421		327421		33.59		114395

		33.608		7161602		329454		33.607		112626

		33.624		6872532		326216		33.623		115184

		33.641		6744108		319118		33.64		113630

		33.658		6771234		319383		33.657		113025

		33.674		6663333		315408		33.673		115237

		33.691		6593872		314843		33.69		116308

		33.708		6683617		313740		33.707		115500

		33.724		6651810		308048		33.723		113836

		33.741		6701159		307645		33.74		115140

		33.758		6749509		303462		33.757		112893

		33.774		6768470		305845		33.773		115699

		33.791		6754464		301790		33.79		114585

		33.808		6701005		299773		33.807		115479

		33.825		6712032		300440		33.823		117105

		33.841		6747768		295499		33.84		117337

		33.858		6778837		294172		33.857		115337

		33.874		6856981		296891		33.873		116454

		33.891		6830778		294347		33.89		114224

		33.908		6876533		290506		33.907		115707

		33.925		6934372		287881		33.923		113984

		33.941		7008384		288063		33.94		116525

		33.958		7065888		284527		33.957		113899

		33.975		7246714		282971		33.973		114102

		33.991		7309455		280188		33.99		117013

		34.008		7524276		281208		34.007		115991

		34.025		7579050		278446		34.023		117196

		34.041		7634521		272182		34.04		113135

		34.058		7926443		276163		34.057		115446

		34.075		7721615		272200		34.073		112541

		34.091		7790819		266068		34.09		117752

		34.108		7620350		261185		34.107		115560

		34.125		7566281		263127		34.123		118535

		34.141		7477056		259755		34.14		117978

		34.158		7414171		257473		34.157		119982

		34.175		7424672		256941		34.173		116120

		34.191		7555786		257836		34.19		115648

		34.208		7564730		257323		34.207		116761

		34.225		7432352		251695		34.223		116413

		34.241		7439870		248003		34.24		116061

		34.258		7442308		249567		34.257		115464

		34.275		7429142		248332		34.273		120684

		34.291		7222593		246773		34.29		117388

		34.308		7208577		247745		34.307		113779

		34.325		7315659		243014		34.323		116960

		34.341		7221424		247290		34.34		115220

		34.358		7097023		244420		34.357		118124

		34.375		7169454		243637		34.373		118204

		34.391		7106236		245800		34.39		117846

		34.408		7015504		241501		34.407		117157

		34.425		6986044		239092		34.423		116574

		34.441		6811396		239788		34.44		117631

		34.458		6727706		240929		34.457		119196

		34.475		6815828		237570		34.473		117195

		34.491		6770507		235099		34.49		118311

		34.508		6582529		241164		34.507		117479

		34.525		6548788		238899		34.523		119358

		34.541		6606663		236731		34.54		119512

		34.558		6553541		239541		34.557		120981

		34.575		6609027		240584		34.573		121382

		34.591		6573831		237521		34.59		116272

		34.608		6668941		237300		34.607		117265

		34.625		6793377		236366		34.623		117675

		34.641		6875231		238870		34.64		117460

		34.658		7125096		232121		34.657		117952

		34.675		7238848		238675		34.673		120081

		34.691		7413161		239338		34.69		120262

		34.708		7493003		235570		34.707		118051

		34.725		7507930		243121		34.723		116247

		34.741		7645281		249515		34.74		118797

		34.758		7490981		253186		34.757		119652

		34.775		7313518		251785		34.773		120476

		34.791		7191582		244999		34.79		119931

		34.808		7245608		244313		34.807		120814

		34.825		7119807		239674		34.824		118992

		34.841		7162029		238723		34.84		118990

		34.858		7213408		238040		34.857		119656

		34.875		7174123		237493		34.874		119823

		34.891		7115405		236988		34.89		120553

		34.908		7080881		238330		34.907		120820

		34.925		6978069		244222		34.924		119446

		34.941		6924549		248149		34.94		118957

		34.958		6816164		246350		34.957		119325

		34.975		6770732		244628		34.974		120057

		34.991		6929019		245633		34.99		120221

		35.008		7033502		239643		35.007		121044

		35.025		7120223		241391		35.024		123378

		35.041		7345218		243051		35.04		122862

		35.058		7602663		244021		35.057		121654

		35.075		7803058		249702		35.074		123645

		35.092		8075878		244846		35.09		124325

		35.108		8246996		243727		35.107		120502

		35.125		8367813		240007		35.124		120379

		35.142		8478192		237486		35.14		120820

		35.158		8394104		235947		35.157		123655

		35.175		8172871		234414		35.174		120676

		35.192		8096811		234154		35.19		123114

		35.208		7646082		234850		35.207		121496

		35.225		7475351		235654		35.224		122912

		35.242		7426917		238453		35.24		123048

		35.258		7413427		235484		35.257		123147

		35.275		7180556		233426		35.274		123390

		35.292		7002286		233073		35.29		122195

		35.308		6957983		231319		35.307		124345

		35.325		6880067		233429		35.324		123312

		35.342		6776129		232500		35.34		123483

		35.358		6866299		230707		35.357		124840

		35.375		6984167		232255		35.374		124945

		35.392		7014114		232586		35.39		125360

		35.408		7246266		232911		35.407		123395

		35.425		7321688		228399		35.424		124317

		35.442		7358247		233559		35.44		126030

		35.458		7315276		232698		35.457		123864

		35.475		7386427		230733		35.474		124301

		35.492		7281066		237816		35.49		123964

		35.508		7153049		227411		35.507		125846

		35.525		7098176		231377		35.524		123710

		35.542		7152610		231409		35.54		125028

		35.558		7014411		229808		35.557		125745

		35.575		7056210		230378		35.574		123182

		35.592		7059919		228106		35.59		126463

		35.608		7143675		229404		35.607		124859

		35.625		7275393		227789		35.624		126539

		35.642		7347562		229073		35.64		124789

		35.658		7480173		231871		35.657		126365

		35.675		7532986		227859		35.674		128548

		35.692		7576037		228172		35.69		124725

		35.708		7699117		225681		35.707		126741

		35.725		7665991		223804		35.724		129330

		35.742		7714655		228486		35.74		125814

		35.758		7678511		226686		35.757		127913

		35.775		7561448		225951		35.774		125297

		35.792		7583764		225909		35.79		125506

		35.808		7632860		224922		35.807		127616

		35.825		7404060		231885		35.824		128137

		35.842		7318142		239464		35.84		128746

		35.858		7518977		258594		35.857		124762

		35.875		7402004		286991		35.874		130722

		35.892		7249172		318392		35.89		127638

		35.908		7242909		318373		35.907		126073

		35.925		7217120		301330		35.924		127596

		35.942		7144664		276711		35.94		128903

		35.958		7114587		258159		35.957		127851

		35.975		7066477		249857		35.974		125254

		35.992		7130947		247155		35.99		127284

		36.008		7130116		241299		36.007		128088

		36.025		7095025		239208		36.024		126654

		36.042		7204208		235337		36.04		125829

		36.058		7058996		233868		36.057		125076

		36.075		7047796		237748		36.074		129686

		36.092		7082863		233609		36.091		129368

		36.108		7043658		229127		36.107		128024

		36.125		6974626		231297		36.124		125196

		36.142		6946711		232294		36.14		129350

		36.158		6928667		231848		36.157		128916

		36.175		6995799		225934		36.174		129583

		36.192		6987298		228494		36.191		130832

		36.208		6925393		229389		36.207		128597

		36.225		7121036		233565		36.224		130674

		36.242		7207879		230460		36.241		130239

		36.258		7346420		226793		36.257		130771

		36.275		7452072		229343		36.274		129469

		36.292		7566465		231052		36.29		129218

		36.308		7708034		232095		36.307		129290

		36.325		7630893		227904		36.324		129582

		36.342		7593173		229698		36.341		131643

		36.358		7449581		228639		36.357		129358

		36.375		7439781		228638		36.374		128219

		36.392		7482091		228501		36.391		131664

		36.408		7498896		229733		36.407		131437

		36.425		7427672		230014		36.424		132360

		36.442		7408723		228586		36.441		128929

		36.458		7526268		229640		36.457		130161

		36.475		7526924		229309		36.474		130988

		36.492		7604972		227337		36.491		131451

		36.508		7638521		227384		36.507		131124

		36.525		7687456		232937		36.524		131523

		36.542		7597662		231459		36.541		132108

		36.558		7571815		228562		36.557		129958

		36.575		7513060		227358		36.574		135248

		36.592		7334158		228565		36.591		134381

		36.609		7245510		228240		36.607		130580

		36.625		7205639		230866		36.624		133182

		36.642		7169287		226436		36.641		133195

		36.659		7211804		229044		36.657		133904

		36.675		7252552		231352		36.674		130774

		36.692		7227041		227818		36.691		131763

		36.709		7266868		226294		36.707		132026

		36.725		7350514		227754		36.724		133545

		36.742		7375261		230053		36.741		131967

		36.759		7355587		230337		36.757		133620

		36.775		7420149		230857		36.774		133742

		36.792		7466342		234225		36.791		133315

		36.809		7587747		242463		36.807		132396

		36.825		7623026		246888		36.824		135533

		36.842		7651271		249065		36.841		134619

		36.859		7560171		249666		36.857		135334

		36.875		7614459		246915		36.874		134715

		36.892		7449059		241889		36.891		135156

		36.909		7387381		240188		36.907		134928

		36.925		7464132		235336		36.924		137493

		36.942		7343346		233914		36.941		136216

		36.959		7286581		235472		36.957		136715

		36.975		7401226		232085		36.974		136629

		36.992		7335289		233501		36.991		135318

		37.009		7333255		234904		37.007		138551

		37.025		7222488		235393		37.024		136767

		37.042		7170656		232629		37.041		138129

		37.059		7345546		232658		37.057		141043

		37.075		7254759		232544		37.074		137608

		37.092		7145222		229983		37.091		138260

		37.109		7253326		233600		37.107		137686

		37.125		7344620		230375		37.124		136619

		37.142		7338461		229922		37.141		139402

		37.159		7513613		231553		37.157		138537

		37.175		7413262		233549		37.174		139488

		37.192		7260531		233776		37.191		140503

		37.209		7230022		235267		37.207		139289

		37.225		7141232		231053		37.224		139380

		37.242		6890140		233708		37.241		140323

		37.259		6910109		233783		37.257		139144

		37.275		6942532		235362		37.274		139960

		37.292		6952068		233691		37.291		139934

		37.309		6885231		230432		37.307		141629

		37.325		6890374		233778		37.324		142106

		37.342		6987177		231879		37.341		140931

		37.359		6925864		233959		37.357		139752

		37.375		7082985		234951		37.374		142017

		37.392		7116688		235455		37.391		139699

		37.409		7061506		233140		37.407		142533

		37.425		7085605		232930		37.424		139480

		37.442		7169702		231941		37.441		142746

		37.459		7347024		236258		37.457		141413

		37.476		7329339		236822		37.474		143363

		37.492		7397699		242459		37.491		142252

		37.509		7486028		242334		37.507		143305

		37.526		7546346		239948		37.524		141826

		37.542		7691675		239090		37.541		142994

		37.559		7886898		236102		37.557		143786

		37.576		7898966		238083		37.574		142837

		37.592		8018840		236192		37.591		144193

		37.609		7943419		238508		37.607		141087

		37.626		7856150		235572		37.624		145991

		37.642		7963330		236328		37.641		145052

		37.659		7825715		235969		37.657		146032

		37.676		7840695		236801		37.674		147965

		37.692		7715947		235289		37.691		142980

		37.709		7701419		235980		37.707		145802

		37.726		7714611		238525		37.724		145513

		37.742		7854286		232128		37.741		144301

		37.759		7854886		234149		37.757		145562

		37.776		7744225		236271		37.774		145176

		37.792		7828804		235647		37.791		147128

		37.809		7885344		236755		37.807		147355

		37.826		7801701		236547		37.824		145553

		37.842		7673783		239954		37.841		146184

		37.859		7572638		236633		37.857		146818

		37.876		7645550		238481		37.874		148638

		37.892		7772010		235992		37.891		147089

		37.909		7792143		238430		37.908		147758

		37.926		7912119		237157		37.924		147321

		37.942		8096737		239127		37.941		145859

		37.959		8173121		240972		37.958		146713

		37.976		8039615		238271		37.974		149698

		37.992		7958891		240315		37.991		148288

		38.009		7794388		236567		38.008		151435

		38.026		7751847		243837		38.024		148078

		38.042		7697254		241532		38.041		148755

		38.059		7561623		243435		38.058		148739

		38.076		7475189		242476		38.074		148120

		38.092		7381855		240693		38.091		150434

		38.109		7344912		243480		38.108		150328

		38.126		7387862		246924		38.124		147921

		38.142		7359393		237637		38.141		150491

		38.159		7385020		240776		38.157		149770

		38.176		7479286		241131		38.174		152153

		38.192		7575947		240331		38.191		149204

		38.209		7548981		241841		38.208		150013

		38.226		7755293		242800		38.224		150528

		38.242		7718309		245969		38.241		147860

		38.259		7639900		239776		38.258		152186

		38.276		7694407		242198		38.274		150528

		38.292		7856786		244995		38.291		151842

		38.309		7716119		245739		38.308		149821

		38.326		7739245		244998		38.324		148225

		38.342		7788305		242287		38.341		152824

		38.359		7936710		243223		38.358		150671

		38.376		7973849		248601		38.374		152070

		38.392		7978857		244559		38.391		152958

		38.409		7982853		244225		38.408		152935

		38.426		7940490		243336		38.424		150607

		38.442		7929018		246224		38.441		153931

		38.459		7811547		242696		38.458		153402

		38.476		7803642		244485		38.474		150856

		38.492		7661884		248401		38.491		151455

		38.509		7577226		240117		38.508		151957

		38.526		7457666		240834		38.524		152554

		38.542		7400378		244432		38.541		153654

		38.559		7319081		249617		38.558		154520

		38.576		7308253		256707		38.574		154729

		38.593		7346994		262212		38.591		153239

		38.609		7320267		286440		38.608		154997

		38.626		7349441		314795		38.624		153327

		38.642		7281522		422130		38.641		150684

		38.659		7358521		856910		38.658		153266

		38.676		7354629		2267277		38.674		153953

		38.693		7374860		5157998		38.691		152513

		38.709		7498230		9638842		38.708		157592

		38.726		7703754		13971513		38.724		155103

		38.742		7850693		17118428		38.741		154918

		38.759		8064045		19442012		38.758		156969

		38.776		8208962		20665988		38.774		154231

		38.793		8373159		19340960		38.791		155877

		38.809		8360879		17943324		38.808		154026

		38.826		8264411		17414232		38.824		154585

		38.843		8171481		18721012		38.841		154977

		38.859		8113286		20771518		38.858		157534

		38.876		7932068		23369184		38.874		153698

		38.893		7905532		25104576		38.891		156530

		38.909		7811683		26213908		38.908		155770

		38.926		7889557		23566828		38.924		157216

		38.943		7783688		19725244		38.941		156861

		38.959		7667403		15984857		38.958		157134

		38.976		7742269		12435966		38.974		157996

		38.993		7639376		9412356		38.991		158384

		39.009		7488604		7104770		39.008		162412

		39.026		7615160		5738620		39.024		158094

		39.043		7647847		4893294		39.041		159972

		39.059		7641953		4082863		39.058		157013

		39.076		7608158		3516803		39.074		156342

		39.093		7787727		2955497		39.091		158681

		39.109		7697153		2668650		39.108		156964

		39.126		7746992		2404017		39.124		159308

		39.143		7690990		2046583		39.141		156251

		39.159		7720834		1827457		39.158		159377

		39.176		7801001		1652671		39.174		159942

		39.193		7916210		1530407		39.191		159216

		39.209		8104376		1445650		39.208		159331

		39.226		8236898		1372879		39.224		160579

		39.243		8336771		1303333		39.241		158007

		39.259		8265583		1243480		39.258		161092

		39.276		8282384		1210189		39.274		159287

		39.293		8167165		1187592		39.291		159114

		39.309		8002172		1139061		39.308		159485

		39.326		7933672		1096953		39.324		158415

		39.343		7790763		1041210		39.341		160981

		39.359		7753749		997821		39.358		159843

		39.376		7686557		970643		39.375		162888

		39.393		7670838		970702		39.391		160796

		39.409		7737748		940398		39.408		160904

		39.426		7701822		886716		39.425		161628

		39.443		7677847		827581		39.441		159742

		39.459		7608554		749233		39.458		159065

		39.476		7577564		668689		39.475		160462

		39.493		7763672		622646		39.491		164375

		39.509		7871728		587440		39.508		161040

		39.526		7830669		550622		39.524		160480

		39.543		7875515		534502		39.541		163034

		39.559		7859917		521530		39.558		158941

		39.576		7852907		506472		39.575		161807

		39.593		7961836		503262		39.591		162461

		39.609		7782603		488429		39.608		162100

		39.626		7773780		469314		39.625		163790

		39.643		7694828		465507		39.641		157244

		39.659		7723289		454514		39.658		163299

		39.676		7690423		447467		39.675		163270

		39.693		7744401		437365		39.691		162210

		39.709		7833111		424301		39.708		161118

		39.726		7788905		419241		39.725		163163

		39.743		7831845		414432		39.741		165166

		39.759		7782185		414738		39.758		166180

		39.776		7770272		425370		39.775		163824

		39.793		7649649		430242		39.791		162205

		39.809		7618887		441327		39.808		163807

		39.826		7549020		451573		39.825		165485

		39.843		7562117		456554		39.841		164358

		39.859		7586360		471448		39.858		162936

		39.876		7545831		464140		39.875		167616

		39.893		7644489		453121		39.891		167798

		39.909		7682924		443357		39.908		164335

		39.926		7846877		429938		39.925		164053

		39.943		7896946		419573		39.941		167943

		39.959		8059734		412760		39.958		161945

		39.976		8035616		402475		39.975		163851

		39.993		8168792		392155		39.991		164467

		40.01		8142597		388706		40.008		165940

		40.026		8022722		385108		40.025		168915

		40.043		8009056		378007		40.041		165489

		40.06		7862087		385468		40.058		165275

		40.076		7850859		372785		40.075		165234

		40.093		7900184		373091		40.091		162884

		40.11		7827383		369987		40.108		167833

		40.126		7935083		367208		40.125		166370

		40.143		8018235		360349		40.141		164157

		40.16		7992103		366974		40.158		166529

		40.176		8006094		360255		40.175		167414

		40.193		7992448		362901		40.191		167868

		40.21		7993496		363892		40.208		168833

		40.226		8032622		385005		40.225		166815

		40.243		8035444		462769		40.241		166821

		40.26		7919258		716596		40.258		166959

		40.276		7891851		1367662		40.275		168443

		40.293		7806512		2663317		40.291		169376

		40.31		7713361		4817987		40.308		165531

		40.326		7806197		7374590		40.325		168956

		40.343		7835067		10731502		40.341		164137

		40.36		7921798		12961900		40.358		169187

		40.376		8069673		14369895		40.375		169973

		40.393		8064824		15272740		40.391		169927

		40.41		8096382		14849698		40.408		167133

		40.426		8095795		14334985		40.425		171493

		40.443		8112494		13293844		40.441		168450

		40.46		8051084		11557560		40.458		168658

		40.476		8038223		10028643		40.475		168861

		40.493		8094363		8895535		40.491		170924

		40.51		8042587		7545823		40.508		167210

		40.526		8008735		6951113		40.525		169049

		40.543		8054963		5939652		40.541		167890

		40.56		8045444		5296325		40.558		167358

		40.576		7984602		4688331		40.575		170624

		40.593		8085437		4205419		40.591		170605

		40.61		8070319		3775008		40.608		172942

		40.626		8061136		3385278		40.625		169149

		40.643		7951807		3269669		40.641		172608

		40.66		7845147		3041725		40.658		172245

		40.676		7893243		2927216		40.675		172068

		40.693		7806947		2948818		40.691		170417

		40.71		7704119		3050039		40.708		171604

		40.726		7761085		3063985		40.725		171318

		40.743		7816100		2764926		40.741		172375

		40.76		7907119		2350299		40.758		171045

		40.776		7929254		1836392		40.775		174155

		40.793		7847399		1428630		40.791		170797

		40.81		7783226		1143962		40.808		172981

		40.826		7872389		994943		40.825		174360

		40.843		7846725		879611		40.842		171411

		40.86		7785943		795422		40.858		173968

		40.876		7681985		753977		40.875		173263

		40.893		7763322		714822		40.891		170841

		40.91		7922077		670893		40.908		171835

		40.926		7895184		641115		40.925		174772

		40.943		7876391		630637		40.942		173829

		40.96		7950782		614265		40.958		174409

		40.976		7868837		603304		40.975		172363

		40.993		7768140		584688		40.992		174681

		41.01		7904131		573804		41.008		174544

		41.026		7842490		557733		41.025		172046

		41.043		7752366		535489		41.042		175888

		41.06		7784515		527440		41.058		169452

		41.076		7789220		512409		41.075		176060

		41.093		7798651		507417		41.091		173849

		41.11		7796759		499400		41.108		175817

		41.127		7725372		486267		41.125		176988

		41.143		7639998		481205		41.142		176022

		41.16		7697029		471833		41.158		175593

		41.177		7755313		470364		41.175		174940

		41.193		7735971		459903		41.192		176001

		41.21		7680109		461150		41.208		175349

		41.227		7700526		452301		41.225		172407

		41.243		7655546		445656		41.242		175842

		41.26		7627347		449614		41.258		176235

		41.277		7614092		441923		41.275		181143

		41.293		7608981		440665		41.292		180170

		41.31		7687922		431826		41.308		179177

		41.327		7688959		431490		41.325		180672

		41.343		7629566		429561		41.342		178966

		41.36		7662858		428488		41.358		181419

		41.377		7787264		419690		41.375		178956

		41.393		7778890		417834		41.392		181040

		41.41		7837957		423656		41.408		178846

		41.427		7812231		421218		41.425		179531

		41.443		7857398		407203		41.442		179878

		41.46		7782143		413330		41.458		182191

		41.477		7723515		408814		41.475		180576

		41.493		7664522		406805		41.492		180491

		41.51		7736090		406007		41.508		179322

		41.527		7602248		402341		41.525		182596

		41.543		7618583		401517		41.542		181654

		41.56		7566789		402777		41.558		182421

		41.577		7542831		407922		41.575		180354

		41.593		7512061		398747		41.592		183221

		41.61		7495917		397955		41.608		181641

		41.627		7531679		396097		41.625		183144

		41.643		7530085		389526		41.642		179915

		41.66		7520709		397488		41.658		181972

		41.677		7580321		393653		41.675		180973

		41.693		7651831		394121		41.692		183669

		41.71		7721418		391086		41.708		183173

		41.727		7811521		388161		41.725		183735

		41.743		7865016		394277		41.742		182914

		41.76		7860777		392033		41.758		183289

		41.777		7852344		387004		41.775		183368

		41.793		7877484		392673		41.792		183102

		41.81		8032348		386648		41.808		184077

		41.827		8105334		384161		41.825		184779

		41.843		8358121		384407		41.842		183922

		41.86		8662039		390633		41.858		185413

		41.877		9018814		384655		41.875		185588

		41.893		9086932		384750		41.892		184780

		41.91		8985596		388348		41.908		186104

		41.927		8671360		383017		41.925		184480

		41.943		8388972		384016		41.942		183670

		41.96		8175752		381500		41.958		184261

		41.977		7971956		381008		41.975		185508

		41.993		7886240		377906		41.992		186601

		42.01		7839783		382307		42.008		187502

		42.027		7862672		380180		42.025		186381

		42.043		7861964		381795		42.042		185634

		42.06		7862263		383504		42.058		185754

		42.077		7715035		383293		42.075		186862

		42.093		7844816		385399		42.092		188112

		42.11		7688659		383997		42.108		188621

		42.127		7706543		390010		42.125		187553

		42.143		7678132		393310		42.142		189005

		42.16		7796925		391540		42.158		188489

		42.177		7683770		402108		42.175		188451

		42.194		7676079		402889		42.192		188268

		42.21		7806897		404722		42.208		188704

		42.227		7714602		402411		42.225		190744

		42.244		7596167		398552		42.242		191029

		42.26		7581730		403420		42.258		189149

		42.277		7583853		396257		42.275		189256

		42.294		7410665		406884		42.292		191326

		42.31		7472986		414957		42.308		190239

		42.327		7482782		430927		42.325		191003

		42.344		7404663		446984		42.342		190992

		42.36		7498613		436568		42.359		191327

		42.377		7388377		431954		42.375		193617

		42.394		7442511		415402		42.392		189809

		42.41		7477459		405465		42.408		193552

		42.427		7461592		400525		42.425		192396

		42.444		7486580		396494		42.442		194555

		42.46		7629230		392877		42.459		192184

		42.477		7693993		391538		42.475		193084

		42.494		7691883		389583		42.492		193294

		42.51		7677480		386021		42.509		195169

		42.527		7672739		388341		42.525		193461

		42.544		7736131		391150		42.542		196306

		42.56		7796162		387388		42.559		197268

		42.577		7797343		390793		42.575		195780

		42.594		7768743		385282		42.592		194287

		42.61		7712129		383274		42.609		194376

		42.627		7816810		385889		42.625		196112

		42.644		7820957		394059		42.642		196563

		42.66		7909652		401683		42.659		192236

		42.677		7773192		404007		42.675		194050

		42.694		7872106		395803		42.692		196201

		42.71		7861360		399593		42.709		197495

		42.727		7799652		391021		42.725		194536

		42.744		7813340		388601		42.742		198079

		42.76		7702342		389560		42.759		196108

		42.777		7642176		389639		42.775		194228

		42.794		7655781		387594		42.792		197079

		42.81		7576412		387901		42.809		199232

		42.827		7555079		390449		42.825		196345

		42.844		7563158		381187		42.842		196544

		42.86		7555837		384056		42.859		197574

		42.877		7612356		386911		42.875		199353

		42.894		7679744		387906		42.892		201033

		42.91		7728136		388494		42.909		199568

		42.927		7779984		390443		42.925		201334

		42.944		7733915		387621		42.942		201018

		42.96		7669748		398395		42.959		200140

		42.977		7683287		391042		42.975		202022

		42.994		7602390		401027		42.992		202273

		43.01		7632816		405632		43.009		200030

		43.027		7643505		406935		43.025		202184

		43.044		7666625		427537		43.042		200028

		43.06		7613278		456817		43.059		204817

		43.077		7490199		500927		43.075		202777

		43.094		7604174		511006		43.092		203707

		43.11		7590202		501992		43.109		206520

		43.127		7570480		474456		43.125		203290

		43.144		7619286		444654		43.142		202091

		43.16		7641534		424473		43.159		203486

		43.177		7747173		417249		43.175		204844

		43.194		7808641		406478		43.192		208331

		43.21		7838588		407255		43.209		204769

		43.227		7758523		405264		43.225		203757

		43.244		7837671		402789		43.242		203386

		43.26		7826083		404764		43.259		205851

		43.277		7840070		398198		43.275		208764

		43.294		7915744		396569		43.292		204992

		43.31		8125245		400559		43.309		203432

		43.327		8101391		398443		43.325		209040

		43.344		8092365		404762		43.342		207850

		43.361		7864529		404962		43.359		208682

		43.377		7873437		402392		43.375		211172

		43.394		7822694		406963		43.392		209448

		43.411		7675546		412730		43.409		210384

		43.427		7683513		420751		43.425		210213

		43.444		7679951		420094		43.442		209588

		43.461		7689971		415561		43.459		209961

		43.477		7872177		410312		43.475		212101

		43.494		7844373		420329		43.492		210195

		43.511		7911076		424939		43.509		211977

		43.527		7995553		428037		43.525		213368

		43.544		8069418		433736		43.542		207262

		43.561		7938448		430333		43.559		212314

		43.577		7806214		422141		43.575		209739

		43.594		7662577		431311		43.592		211995

		43.611		7606290		436741		43.609		212571

		43.627		7552382		464250		43.625		211450

		43.644		7490779		480160		43.642		215468

		43.661		7539996		486575		43.659		209901

		43.677		7515175		481854		43.675		215773

		43.694		7507820		466029		43.692		213599

		43.711		7498387		445152		43.709		213996

		43.727		7385189		431127		43.725		218434

		43.744		7451835		433020		43.742		216637

		43.761		7503095		427627		43.759		217696

		43.777		7435287		415346		43.775		214499

		43.794		7380177		414094		43.792		212759

		43.811		7399578		416016		43.809		214629

		43.827		7324272		414661		43.825		219255

		43.844		7421923		417436		43.842		216349

		43.861		7323335		413171		43.859		213559

		43.877		7365909		414538		43.875		217762

		43.894		7467880		411631		43.892		216077

		43.911		7343365		411107		43.909		216839

		43.927		7445238		408465		43.925		218196

		43.944		7408669		410622		43.942		217466

		43.961		7361614		409847		43.959		217653

		43.977		7284255		410334		43.975		216934

		43.994		7314744		415369		43.992		218277

		44.011		7429087		415026		44.009		220930

		44.027		7345530		413457		44.025		220112

		44.044		7409861		415716		44.042		220012

		44.061		7489779		410780		44.059		224427

		44.077		7521800		410202		44.075		223342

		44.094		7667420		410040		44.092		223132

		44.111		7610656		416411		44.109		220504

		44.127		7681443		417520		44.126		224888

		44.144		7597684		413801		44.142		224261

		44.161		7617836		424238		44.159		223538

		44.177		7527266		426876		44.176		221770

		44.194		7434198		433352		44.192		222347

		44.211		7472526		426523		44.209		220945

		44.227		7435238		435616		44.226		223760

		44.244		7373628		439672		44.242		224775

		44.261		7403428		469660		44.259		225372

		44.277		7417693		509040		44.276		224631

		44.294		7265616		525098		44.292		227162

		44.311		7289291		522487		44.309		227719

		44.327		7295508		497737		44.326		228715

		44.344		7348116		472227		44.342		226772

		44.361		7270509		459083		44.359		226116

		44.377		7356631		443514		44.376		227782

		44.394		7390829		440306		44.392		226294

		44.411		7527297		434838		44.409		229817

		44.428		7447200		437400		44.426		231159

		44.444		7467942		437110		44.442		229146

		44.461		7476134		434348		44.459		232455

		44.477		7465837		440093		44.476		229136

		44.494		7416156		440163		44.492		233340

		44.511		7340436		448019		44.509		229511

		44.528		7441184		439215		44.526		232011

		44.544		7300988		438758		44.542		231402

		44.561		7122145		435517		44.559		232446

		44.578		7203883		434185		44.576		231241

		44.594		7196885		435153		44.592		232853

		44.611		7190448		435487		44.609		232029

		44.628		7066699		438680		44.626		231780

		44.644		7072453		436026		44.642		237379

		44.661		7109517		435182		44.659		232002

		44.678		7207285		434133		44.676		235297

		44.694		7285276		436142		44.692		233580

		44.711		7300499		433225		44.709		233209

		44.728		7373253		437963		44.726		239042

		44.744		7521527		437075		44.742		237748

		44.761		7557638		442626		44.759		233791

		44.778		7615630		446261		44.776		235613

		44.794		7524797		439906		44.792		233385

		44.811		7462672		445967		44.809		235738

		44.828		7566502		448193		44.826		238777

		44.844		7486291		444613		44.842		236049

		44.861		7396964		445491		44.859		240187

		44.878		7488705		443397		44.876		239436

		44.894		7534838		443123		44.892		240241

		44.911		7498041		447709		44.909		237252

		44.928		7574858		445504		44.926		241331

		44.944		7511805		447067		44.942		242888

		44.961		7421827		448372		44.959		237940

		44.978		7444733		444779		44.976		241702

		44.994		7507222		445018		44.992		240871

		45.011		7486664		444192		45.009		243088

		45.028		7482156		449338		45.026		243891

		45.044		7387240		453277		45.042		245069

		45.061		7405089		465080		45.059		243631

		45.078		7252032		475746		45.076		239711

		45.094		7241957		498592		45.092		244061

		45.111		7234616		531955		45.109		244815

		45.128		7108971		545245		45.126		243783

		45.144		7116480		553354		45.142		243290

		45.161		7118980		541905		45.159		241184

		45.178		7156206		512266		45.176		244075

		45.194		7172334		496427		45.192		249310

		45.211		7281555		487085		45.209		246833

		45.228		7277234		474818		45.226		243246

		45.244		7272331		474816		45.242		245997

		45.261		7355058		473215		45.259		246996

		45.278		7446301		465550		45.276		245218

		45.294		7436333		469488		45.292		247320

		45.311		7387583		470416		45.309		248784

		45.328		7478064		467559		45.326		250021

		45.344		7406419		466244		45.342		248058

		45.361		7436349		474930		45.359		251593

		45.378		7368672		471384		45.376		250851

		45.395		7329397		468713		45.392		249206

		45.411		7322956		474494		45.409		250407

		45.428		7340241		464861		45.426		256656

		45.444		7417152		469247		45.442		252174

		45.461		7397082		468332		45.459		254721

		45.478		7442786		471255		45.476		256527

		45.494		7529658		469113		45.492		257863

		45.511		7481300		471719		45.509		255838

		45.528		7526868		468830		45.526		253674

		45.544		7562927		468848		45.543		254845

		45.561		7563650		475329		45.559		257968

		45.578		7458993		479125		45.576		258877

		45.595		7530647		480328		45.592		255997

		45.611		7528576		479009		45.609		259149

		45.628		7508830		474381		45.626		258178

		45.645		7508086		476926		45.643		260740

		45.661		7447542		476961		45.659		259474

		45.678		7442747		473585		45.676		260037

		45.695		7386455		480558		45.693		259044

		45.711		7311949		485485		45.709		260315

		45.728		7311924		484943		45.726		260645

		45.745		7252443		476525		45.743		258462

		45.761		7169149		483777		45.759		257576

		45.778		7345062		482254		45.776		261913

		45.795		7234206		483820		45.793		263804

		45.811		7215317		485636		45.809		262619

		45.828		7180482		488360		45.826		260019

		45.845		7263056		487613		45.843		262898

		45.861		7211707		485079		45.859		266388

		45.878		7187929		491767		45.876		261889

		45.895		7232926		505138		45.893		266908

		45.911		7206030		510608		45.909		265053

		45.928		7232135		520706		45.926		267906

		45.945		7287205		524590		45.943		266536

		45.961		7330731		527606		45.959		270108

		45.978		7214140		523575		45.976		270971

		45.995		7256913		527998		45.993		269430

		46.011		7346744		559155		46.009		270664

		46.028		7371504		688017		46.026		271913

		46.045		7241326		1182307		46.043		269813

		46.061		7273880		2503543		46.059		272649

		46.078		7386384		5132296		46.076		267944

		46.095		7360653		8814944		46.093		274240

		46.111		7273890		12674669		46.109		273893

		46.128		7285825		15399823		46.126		272893

		46.145		7287401		17444310		46.143		270712

		46.161		7224369		17938944		46.159		274592

		46.178		7321617		17070128		46.176		275959

		46.195		7378432		14917417		46.193		276438

		46.211		7362986		13066694		46.209		276074

		46.228		7390074		11358675		46.226		271813

		46.245		7406445		9906750		46.243		278894

		46.261		7495104		9129319		46.259		275262

		46.278		7559840		9026432		46.276		275368

		46.295		7666189		11268331		46.293		281458

		46.311		7648545		14857460		46.309		281228

		46.328		7624100		18265434		46.326		276955

		46.345		7598700		20794700		46.343		277814

		46.361		7630606		21693432		46.359		281481

		46.378		7580139		21028748		46.376		276436

		46.395		7481032		19041516		46.393		277841

		46.411		7348645		16545500		46.409		279692

		46.428		7369283		14077735		46.426		282465

		46.445		7379843		12228376		46.443		280934

		46.461		7236798		10425767		46.459		282234

		46.478		7244354		9108205		46.476		279579

		46.495		7249075		8026517		46.493		283603

		46.511		7218877		7122471		46.509		285997

		46.528		7171281		6328943		46.526		285862

		46.545		7188018		5595812		46.543		283372

		46.562		7113943		5128205		46.559		286331

		46.578		7140137		4621711		46.576		287354

		46.595		7129687		4144893		46.593		285391

		46.612		7065319		3760825		46.609		291167

		46.628		7102669		3467958		46.626		291013

		46.645		7044219		3136610		46.643		289934

		46.662		7167389		2954116		46.659		291107

		46.678		7090972		2777853		46.676		291266

		46.695		7093888		2621253		46.693		290689

		46.712		7069573		2445883		46.709		287400

		46.728		7078179		2217979		46.726		292401

		46.745		7067551		2074620		46.743		289478

		46.762		6992346		2000393		46.759		293475

		46.778		7053868		1879029		46.776		292691

		46.795		7107644		1826653		46.793		295041

		46.812		7123967		1758666		46.809		295225

		46.828		7183659		1670282		46.826		299050

		46.845		7169590		1604622		46.843		293352

		46.862		7304816		1566449		46.86		297120

		46.878		7263175		1504293		46.876		296596

		46.895		7300649		1447964		46.893		297469

		46.912		7263280		1385404		46.909		296896

		46.928		7273545		1364314		46.926		298279

		46.945		7260199		1309067		46.943		297849

		46.962		7272800		1308562		46.959		299880

		46.978		7214605		1271970		46.976		301084

		46.995		7240769		1231534		46.993		301612

		47.012		7263242		1203222		47.009		302648

		47.028		7179069		1160063		47.026		306805

		47.045		7246392		1137727		47.043		300146

		47.062		7243896		1130457		47.059		304824

		47.078		7167811		1128520		47.076		303205

		47.095		7162852		1272807		47.093		303562

		47.112		7210104		1716804		47.11		307221

		47.128		7058662		2822042		47.126		303504

		47.145		7084788		4741152		47.143		306512

		47.162		7144257		7093805		47.16		307739

		47.178		7123656		9801493		47.176		308882

		47.195		7162392		12135482		47.193		310462

		47.212		7141632		14056152		47.21		308251

		47.228		7059761		15207339		47.226		309844

		47.245		7114405		15775802		47.243		311093

		47.262		7244447		16008524		47.26		312482

		47.278		7200089		14804729		47.276		310119

		47.295		7172428		13655936		47.293		312333

		47.312		7217969		12648560		47.31		317982

		47.328		7368495		11543144		47.326		312889

		47.345		7288631		10191341		47.343		314666

		47.362		7216377		9094296		47.36		313571

		47.379		7304293		8342328		47.376		317827

		47.395		7333243		7166685		47.393		320459

		47.412		7355280		6317440		47.41		317306

		47.428		7273035		5833973		47.426		318359

		47.445		7304760		5407677		47.443		320902

		47.462		7330366		4884064		47.46		317703

		47.479		7235850		4353623		47.476		319621

		47.495		7212846		4006473		47.493		320301

		47.512		7210591		3735146		47.51		323560

		47.529		7105532		3429343		47.526		317888

		47.545		7109112		3084438		47.543		322648

		47.562		7111582		2851662		47.56		325062

		47.579		7088254		2652368		47.576		327263

		47.595		7093173		2513283		47.593		332775

		47.612		7044274		2330113		47.61		326685

		47.629		7081869		2224902		47.626		327324

		47.645		7075235		2069864		47.643		328054

		47.662		7201060		1964173		47.66		328687

		47.679		7187240		1851356		47.676		328140

		47.695		7173018		1756613		47.693		328474

		47.712		7259202		1668106		47.71		331893

		47.729		7278408		1599988		47.726		327412

		47.745		7278409		1531413		47.743		328466

		47.762		7252565		1470257		47.76		326918

		47.779		7204827		1439533		47.776		329879

		47.795		7162603		1393198		47.793		327329

		47.812		7272740		1325927		47.81		333287

		47.829		7287415		1283949		47.826		329047

		47.845		7210837		1251760		47.843		333646

		47.862		7268197		1215050		47.86		332992

		47.879		7280528		1190994		47.876		331269

		47.895		7256385		1187183		47.893		335891

		47.912		7195134		1147094		47.91		333370

		47.929		7149812		1121088		47.926		333978

		47.945		7216280		1098871		47.943		335772

		47.962		7148085		1069022		47.96		333316

		47.979		7022359		1068450		47.976		336284

		47.995		7109707		1057074		47.993		335924

		48.012		7074469		1041480		48.01		336864

		48.029		7003595		1025591		48.026		338271

		48.045		7067344		1011208		48.043		339806

		48.062		7041977		995390		48.06		342784

		48.079		7047836		986509		48.076		341160

		48.095		7070084		967915		48.093		343541

		48.112		6931691		950869		48.11		342335

		48.129		6900238		943395		48.126		345218

		48.145		6911343		939883		48.143		342395

		48.162		6883697		929412		48.16		346309

		48.179		6846207		930989		48.176		343112

		48.195		6836025		918019		48.193		343135

		48.212		6840127		912283		48.21		344619

		48.229		6872707		909399		48.226		345900

		48.245		6900824		900703		48.243		352149

		48.262		6909374		890000		48.26		351444

		48.279		6963990		888800		48.276		354927

		48.296		6998758		886025		48.293		350172

		48.312		7056016		884144		48.31		351423

		48.329		7043635		884443		48.326		350036

		48.346		6925425		877526		48.343		353326

		48.362		6979044		880638		48.36		356730

		48.379		7106794		872198		48.376		356157

		48.396		7045762		864681		48.393		358796

		48.412		6997952		875089		48.41		353299

		48.429		7027508		865925		48.426		363845

		48.446		7073944		861118		48.443		361521

		48.462		7047247		857242		48.46		361190

		48.479		7073026		862390		48.477		362181

		48.496		6984845		860055		48.493		360316

		48.512		7039964		850331		48.51		360014

		48.529		7102081		848226		48.526		357462

		48.546		7122880		854035		48.543		360044

		48.562		7054112		853143		48.56		362751

		48.579		7032574		845693		48.577		361923

		48.596		7080782		846860		48.593		364256

		48.612		7117301		853838		48.61		366880

		48.629		7040929		845614		48.627		365823

		48.646		7034144		848843		48.643		363644

		48.662		7001794		850252		48.66		369772

		48.679		7141678		851235		48.677		370743

		48.696		7044229		850834		48.693		373409

		48.712		7022520		839653		48.71		368651

		48.729		7027591		839330		48.727		370925

		48.746		7061992		848553		48.743		373032

		48.762		7032927		846440		48.76		376221

		48.779		7023472		853747		48.777		372153

		48.796		6927889		844820		48.793		370006

		48.812		6873957		839232		48.81		374311

		48.829		6892661		843759		48.827		378421

		48.846		6798941		839913		48.843		377485

		48.862		6750008		841365		48.86		377183

		48.879		6706129		842153		48.877		377533

		48.896		6775134		843215		48.893		378848

		48.912		6823760		849057		48.91		376551

		48.929		6801378		839741		48.927		379487

		48.946		6741211		846088		48.943		384067

		48.963		6694977		857630		48.96		381961

		48.979		6844039		849049		48.977		383831

		48.996		6921112		853041		48.993		385576

		49.013		6847710		856959		49.01		387559

		49.029		6977090		849250		49.027		386257

		49.046		6997895		849576		49.043		384686

		49.063		7044197		861650		49.06		388962

		49.079		7008034		847674		49.077		389262

		49.096		7036318		854506		49.093		392654

		49.113		7034016		863193		49.11		393447

		49.129		6992455		853539		49.127		393262

		49.146		6858534		863426		49.143		393003

		49.163		6961542		864494		49.16		393112

		49.179		6948366		861049		49.177		395311

		49.196		6831135		863663		49.193		397681

		49.213		6867383		865310		49.21		393099

		49.229		6845422		866071		49.227		398030

		49.246		6840710		869076		49.243		395899

		49.263		6764605		867588		49.26		397179

		49.279		6752963		866359		49.277		400021

		49.296		6767408		879281		49.293		402844

		49.313		6794899		879624		49.31		406874

		49.329		6846453		885621		49.327		402951

		49.346		6876781		890838		49.343		404750

		49.363		6907140		883433		49.36		406167

		49.379		6925465		887563		49.377		406817

		49.396		6948699		885933		49.393		406893

		49.413		7024952		890728		49.41		406980

		49.429		6958244		901171		49.427		407672

		49.446		6935373		895057		49.443		408911

		49.463		6913391		897246		49.46		411099

		49.479		6955238		895682		49.477		411468

		49.496		7001711		901100		49.493		407876

		49.513		6946900		898160		49.51		410550

		49.529		6930257		903111		49.527		413303

		49.546		6889689		905084		49.543		412099

		49.563		6844377		896567		49.56		415069

		49.579		6765156		908590		49.577		414614

		49.596		6862272		907710		49.593		418452

		49.613		6775844		912884		49.61		418166

		49.629		6740001		915449		49.627		418444

		49.646		6717471		928585		49.643		421414

		49.663		6700971		925272		49.66		425332

		49.68		6696188		926202		49.677		423979

		49.696		6746025		920890		49.693		426804

		49.713		6627052		923578		49.71		423344

		49.73		6677984		913280		49.727		425411

		49.746		6666990		920924		49.743		428411

		49.763		6647459		929455		49.76		424405

		49.78		6771406		920754		49.777		425219

		49.796		6653224		925301		49.793		427354

		49.813		6672534		921719		49.81		429738

		49.83		6707132		923952		49.827		437154

		49.846		6608199		933123		49.843		428362

		49.863		6584632		935465		49.86		436733

		49.88		6644758		939701		49.877		437052

		49.896		6624033		938134		49.893		433452

		49.913		6617208		935507		49.91		439428

		49.93		6630991		937988		49.927		436954

		49.946		6612911		937520		49.943		441307

		49.963		6649622		935894		49.96		443597

		49.98		6615027		942269		49.977		442400

		49.996		6653617		940264		49.993		440200

		50.013		6724725		954860		50.01		446729

		50.03		6747116		950858		50.027		447393

		50.046		6650459		954171		50.043		446903

		50.063		6740446		955875		50.06		443968

		50.08		6670513		949394		50.077		446257

		50.096		6648235		965660		50.094		447981

		50.113		6734149		963001		50.11		449550

		50.13		6746815		961497		50.127		453642

		50.146		6713465		973026		50.144		452507

		50.163		6787596		984397		50.16		452963

		50.18		6906143		984133		50.177		452188

		50.196		6948620		988000		50.194		451246

		50.213		6905216		1000653		50.21		458307

		50.23		6959052		993298		50.227		458183

		50.246		7089540		1008752		50.243		462476

		50.263		7020908		1003856		50.26		458565

		50.28		6896080		1014893		50.277		460515

		50.296		6930125		1008463		50.293		463301

		50.313		6899240		1011429		50.31		462755

		50.33		6885648		1018552		50.327		460878

		50.346		6796201		1019516		50.344		468651

		50.363		6851745		1019416		50.36		462316

		50.38		6718634		1019764		50.377		465403

		50.396		6725907		1024710		50.394		466912

		50.413		6748561		1033326		50.41		468901

		50.43		6719137		1028576		50.427		471356

		50.446		6627081		1035256		50.444		470683

		50.463		6651181		1044204		50.46		475245

		50.48		6658315		1040402		50.477		475919

		50.497		6652054		1041155		50.494		470064

		50.513		6678607		1049866		50.51		476725

		50.53		6618692		1052962		50.527		477251

		50.547		6621231		1055183		50.544		482036

		50.563		6733293		1047197		50.56		480706

		50.58		6721648		1049722		50.577		477318

		50.597		6703337		1055217		50.594		477263

		50.613		6714271		1061068		50.61		483072

		50.63		6807247		1063842		50.627		486933

		50.647		6700286		1058912		50.644		482425

		50.663		6690340		1068366		50.66		485839

		50.68		6813330		1062492		50.677		483808

		50.697		6724397		1072870		50.694		486446

		50.713		6710986		1065006		50.71		492001

		50.73		6726065		1070413		50.727		485296

		50.747		6758687		1075289		50.744		496985

		50.763		6785579		1076766		50.76		495666

		50.78		6642996		1078666		50.777		494893

		50.797		6717358		1081643		50.794		492038

		50.813		6804933		1082673		50.81		493653

		50.83		6738028		1079807		50.827		491841

		50.847		6754460		1093296		50.844		502862

		50.863		6673572		1097509		50.86		496163

		50.88		6824824		1090516		50.877		498775

		50.897		6822219		1096707		50.894		507471

		50.913		6724172		1099746		50.91		510006

		50.93		6676340		1089422		50.927		502872

		50.947		6708508		1105266		50.944		508623

		50.963		6712400		1104564		50.96		508081

		50.98		6673664		1105646		50.977		509950

		50.997		6665815		1102394		50.994		510434

		51.013		6694600		1112703		51.01		513936

		51.03		6614049		1115938		51.027		512573

		51.047		6675382		1108417		51.044		513524

		51.063		6738723		1108674		51.06		510779

		51.08		6670621		1125487		51.077		513040

		51.097		6704504		1116974		51.094		520981

		51.113		6739442		1126626		51.11		521757

		51.13		6700323		1131690		51.127		516334

		51.147		6738859		1137678		51.144		522589

		51.163		6718037		1131836		51.16		522643

		51.18		6686622		1133260		51.177		523844

		51.197		6691815		1140087		51.194		522302

		51.213		6717870		1147171		51.21		526494

		51.23		6740760		1145884		51.227		532741

		51.247		6758742		1156757		51.244		531137

		51.264		6691202		1157799		51.26		533930

		51.28		6616230		1161711		51.277		527189

		51.297		6661597		1161805		51.294		536906

		51.314		6626626		1168845		51.31		533534

		51.33		6656007		1149122		51.327		537172

		51.347		6584827		1144709		51.344		535415

		51.364		6622910		1159717		51.36		536256

		51.38		6624988		1151949		51.377		535336

		51.397		6704911		1151280		51.394		539942

		51.414		6703093		1161828		51.41		540598

		51.43		6670718		1157150		51.427		544970

		51.447		6714736		1165715		51.444		545976

		51.464		6720073		1168484		51.46		551154

		51.48		6704941		1161868		51.477		542590

		51.497		6762703		1163763		51.494		548755

		51.514		6717848		1174118		51.51		554987

		51.53		6696488		1171476		51.527		551380

		51.547		6739702		1174711		51.544		555295

		51.564		6676144		1179284		51.56		554692

		51.58		6794799		1192990		51.577		558427

		51.597		6798453		1179602		51.594		555307

		51.614		6701296		1190869		51.61		560401

		51.63		6754836		1191461		51.627		551897

		51.647		6796990		1184349		51.644		564481

		51.664		6814302		1189142		51.66		563120

		51.68		6753213		1200737		51.677		563899

		51.697		6697543		1203916		51.694		568234

		51.714		6725689		1205897		51.71		566048

		51.73		6715365		1210512		51.727		566127

		51.747		6673629		1215478		51.744		573326

		51.764		6650203		1221069		51.76		573149

		51.78		6662429		1219920		51.777		573504

		51.797		6667450		1229593		51.794		570666

		51.814		6743303		1234762		51.81		578148

		51.83		6598362		1230085		51.827		576375

		51.847		6630847		1228789		51.844		581608

		51.864		6676617		1244121		51.86		581022

		51.88		6669163		1241334		51.877		579392

		51.897		6651923		1242169		51.894		585921

		51.914		6631494		1252007		51.91		587438

		51.93		6622147		1250224		51.927		588622

		51.947		6674823		1265307		51.944		587119

		51.964		6636380		1257167		51.96		591696

		51.981		6590621		1269268		51.977		591774

		51.997		6631769		1262024		51.994		588006

		52.014		6595769		1275079		52.01		593589

		52.031		6666385		1280873		52.027		597113

		52.047		6685145		1279635		52.044		598892

		52.064		6667624		1283124		52.06		597894

		52.081		6723596		1287163		52.077		608040

		52.097		6688549		1289255		52.094		604813

		52.114		6686822		1283336		52.11		608016

		52.131		6703396		1304776		52.127		605379

		52.147		6716374		1299849		52.144		614985

		52.164		6754687		1308269		52.16		604409

		52.181		6744135		1314582		52.177		612973

		52.197		6720604		1308421		52.194		617078

		52.214		6786324		1328635		52.21		612973

		52.231		6748930		1325491		52.227		614626

		52.247		6660310		1326005		52.244		617216

		52.264		6715245		1324340		52.261		617374

		52.281		6738472		1334470		52.277		616615

		52.297		6760810		1339711		52.294		622596

		52.314		6716251		1340537		52.311		623475

		52.331		6750300		1349326		52.327		622784

		52.347		6772019		1337221		52.344		630565

		52.364		6734577		1355780		52.361		630086

		52.381		6757089		1350108		52.377		637396

		52.397		6684668		1349915		52.394		633833

		52.414		6773600		1362518		52.411		637337

		52.431		6719059		1359762		52.427		633862

		52.447		6779926		1379279		52.444		633101

		52.464		6806439		1369112		52.461		640162

		52.481		6851631		1378490		52.477		640792

		52.497		6935178		1377667		52.494		646032

		52.514		6996476		1387807		52.51		642169

		52.531		7053517		1394296		52.527		647040

		52.547		7006624		1392372		52.544		648965

		52.564		7099336		1395541		52.561		649723

		52.581		7037407		1402206		52.577		654941

		52.597		6961821		1397551		52.594		652479

		52.614		6865300		1405780		52.611		652831

		52.631		6835377		1403882		52.627		656095

		52.648		6814372		1410647		52.644		656124

		52.664		6780385		1410688		52.661		658614

		52.681		6755451		1417476		52.677		656147

		52.698		6738852		1422417		52.694		666155

		52.714		6705071		1436310		52.711		669109

		52.731		6746783		1429071		52.727		668599

		52.748		6750609		1431024		52.744		675902

		52.764		6760602		1441986		52.761		671204

		52.781		6721159		1446497		52.777		674478

		52.798		6824005		1459894		52.794		674079

		52.814		6809301		1463291		52.811		684332

		52.831		6794469		1457718		52.827		674862

		52.848		6736549		1467793		52.844		681321

		52.864		6680343		1467680		52.861		679850

		52.881		6703475		1481255		52.877		679723

		52.898		6706837		1481160		52.894		690379

		52.914		6686666		1485083		52.911		688743

		52.931		6658572		1494138		52.927		692051

		52.948		6713293		1499108		52.944		686053

		52.964		6648626		1488332		52.961		695408

		52.981		6666297		1499908		52.977		695217

		52.998		6590403		1503863		52.994		701256

		53.014		6651450		1516160		53.011		697684

		53.031		6648745		1510205		53.027		698310

		53.048		6668728		1511846		53.044		702795

		53.064		6641397		1505702		53.061		701114

		53.081		6590760		1525155		53.077		699440

		53.098		6625253		1527916		53.094		714272

		53.114		6722081		1530363		53.111		708971

		53.131		6598887		1535511		53.127		714560

		53.148		6635222		1538164		53.144		714123

		53.164		6674187		1537601		53.161		718357

		53.181		6638370		1546795		53.177		717567

		53.198		6657391		1554856		53.194		714558

		53.215		6747161		1552621		53.211		724017

		53.231		6713109		1565192		53.227		721967

		53.248		6708344		1567322		53.244		729675

		53.265		6682224		1577152		53.261		722244

		53.281		6646786		1571595		53.277		724504

		53.298		6681126		1585553		53.294		733335

		53.315		6603360		1584478		53.311		735843

		53.331		6596883		1587892		53.327		743775

		53.348		6638300		1602312		53.344		735459

		53.365		6586982		1604749		53.361		739614

		53.381		6633819		1610618		53.377		742864

		53.398		6629075		1621399		53.394		741902

		53.415		6623470		1628236		53.411		744372

		53.431		6611866		1625172		53.427		745110

		53.448		6663230		1631107		53.444		747394

		53.465		6671027		1634217		53.461		750910

		53.481		6626630		1638649		53.477		749436

		53.498		6550119		1638620		53.494		756314

		53.515		6634735		1657912		53.511		754096

		53.531		6611697		1658502		53.528		764497

		53.548		6542355		1665517		53.544		763245

		53.565		6587857		1670366		53.561		770595

		53.581		6589540		1671507		53.578		770295

		53.598		6605382		1662427		53.594		762077

		53.615		6627983		1687511		53.611		776842

		53.631		6625165		1684322		53.628		775894

		53.648		6669228		1687374		53.644		770657

		53.665		6657161		1692436		53.661		778827

		53.681		6578634		1692919		53.678		784617

		53.698		6656663		1690543		53.694		784210

		53.715		6630046		1707379		53.711		781377

		53.731		6698675		1709204		53.728		786547

		53.748		6800826		1729346		53.744		788777

		53.765		7015250		1724220		53.761		787632

		53.781		7233414		1721586		53.778		791875

		53.798		7337399		1733340		53.794		792005

		53.815		7470526		1737652		53.811		798925

		53.831		7613411		1739290		53.828		795401

		53.848		7553837		1758652		53.844		801510

		53.865		7529004		1758062		53.861		801289

		53.882		7406963		1756030		53.878		810505

		53.898		7271896		1765360		53.894		802022

		53.915		7112598		1764221		53.911		813584

		53.932		7092071		1781034		53.928		803686

		53.948		6970795		1782846		53.944		814804

		53.965		6768415		1786322		53.961		813642

		53.982		6767761		1794390		53.978		815574

		53.998		6757586		1797838		53.994		815634

		54.015		6616964		1812378		54.011		822309

		54.032		6651768		1809237		54.028		827063

		54.048		6677117		1824797		54.044		821361

		54.065		6597116		1819907		54.061		832026

		54.082		6553113		1835663		54.078		826645

		54.098		6616472		1829647		54.094		829059

		54.115		6626643		1838257		54.111		838007

		54.132		6625535		1852145		54.128		844793

		54.148		6506664		1851333		54.144		844551

		54.165		6600862		1859070		54.161		845153

		54.182		6584628		1856782		54.178		841036

		54.198		6596589		1859515		54.194		847123

		54.215		6592333		1871917		54.211		847177

		54.232		6513663		1877148		54.228		859103

		54.248		6563752		1875680		54.244		850167

		54.265		6624720		1882510		54.261		854674

		54.282		6619816		1885489		54.278		858880

		54.298		6578800		1897317		54.294		863424

		54.315		6629574		1908330		54.311		858317

		54.332		6716668		1904608		54.328		875526

		54.348		6642920		1904318		54.344		870402

		54.365		6640640		1923736		54.361		875299

		54.382		6667248		1936375		54.378		880574

		54.398		6638834		1941378		54.394		875200

		54.415		6615267		1940195		54.411		877355

		54.432		6611382		1940034		54.428		880753

		54.448		6624592		1945789		54.444		876783

		54.465		6514856		1951956		54.461		882566

		54.482		6592484		1956870		54.478		892347

		54.499		6527261		1965891		54.494		890612

		54.515		6574787		1977886		54.511		890306

		54.532		6567155		1973855		54.528		894334

		54.549		6549579		1991375		54.544		902504

		54.565		6535846		1981424		54.561		901322

		54.582		6539648		1982793		54.578		900909

		54.599		6542019		1998073		54.594		909440

		54.615		6495036		2007077		54.611		916283

		54.632		6521999		2012259		54.628		912297

		54.649		6533434		2012424		54.644		915290

		54.665		6559392		2023068		54.661		918763

		54.682		6542790		2023235		54.678		923040

		54.699		6539588		2025669		54.694		925978

		54.715		6662171		2042802		54.711		925914

		54.732		6612520		2043150		54.728		931491

		54.749		6743200		2049573		54.744		931600

		54.765		6862466		2055199		54.761		929401

		54.782		6799638		2060966		54.778		936825

		54.799		6888559		2072191		54.794		937356

		54.815		6890593		2071746		54.811		938215

		54.832		6871109		2092968		54.828		943336

		54.849		6783259		2092426		54.844		949344

		54.865		6664013		2100107		54.861		947613

		54.882		6607964		2108412		54.878		950832

		54.899		6507824		2104646		54.894		955147

		54.915		6541582		2111603		54.911		956899

		54.932		6464918		2101052		54.928		955673

		54.949		6472310		2116073		54.944		962443

		54.965		6436508		2130275		54.961		968696

		54.982		6507216		2124225		54.978		961830

		54.999		6413403		2128094		54.994		968986

		55.016		6393747		2154891		55.011		970667

		55.032		6461896		2132678		55.028		979425

		55.049		6372654		2150345		55.044		976535

		55.066		6392665		2147851		55.061		969287

		55.082		6338043		2150770		55.078		968730

		55.099		6321041		2166373		55.094		978313

		55.116		6332857		2167987		55.111		980952

		55.132		6310582		2165987		55.128		982721

		55.149		6291429		2165240		55.144		985294

		55.166		6326144		2168464		55.161		987549

		55.182		6223420		2169496		55.178		989337

		55.199		6291510		2164049		55.195		992093

		55.216		6178973		2164015		55.211		995636

		55.232		6219487		2168092		55.228		1001338

		55.249		6215504		2199040		55.245		991343

		55.266		6177828		2185684		55.261		1000551

		55.282		6197364		2190496		55.278		1003711

		55.299		6113593		2181040		55.295		1000921

		55.316		6130640		2187676		55.311		1000688

		55.332		6159016		2184259		55.328		1013835

		55.349		6148528		2203345		55.345		1012440

		55.366		6104874		2188159		55.361		1013545

		55.382		6083334		2199717		55.378		1019438

		55.399		6061877		2198922		55.395		1013955

		55.416		6110879		2189828		55.411		1018240

		55.432		6099776		2215298		55.428		1021719

		55.449		6038090		2207578		55.445		1012649

		55.466		5998662		2211252		55.461		1019085

		55.482		6041367		2204630		55.478		1027498

		55.499		6042947		2207196		55.495		1023437

		55.516		6000619		2215703		55.511		1026449

		55.533		5960436		2219285		55.528		1027435

		55.549		5938378		2216420		55.545		1027670

		55.566		5937917		2225999		55.561		1034514

		55.583		5930540		2232944		55.578		1033565

		55.599		5945399		2226023		55.595		1037955

		55.616		5946213		2225264		55.611		1041304

		55.633		5889097		2227403		55.628		1030730

		55.649		5928837		2229796		55.645		1041576

		55.666		5909149		2229366		55.661		1030869

		55.683		5903750		2225343		55.678		1037744

		55.699		5875646		2225223		55.695		1042944

		55.716		5911509		2233709		55.711		1037361

		55.733		5864307		2233422		55.728		1036473

		55.749		5858665		2242270		55.745		1037452

		55.766		5905971		2247025		55.761		1046530

		55.783		5881144		2234353		55.778		1044742

		55.799		5872582		2229016		55.795		1048961

		55.816		5859759		2246995		55.811		1054404

		55.833		5889129		2236054		55.828		1041409

		55.849		5955967		2251648		55.845		1043137

		55.866		5935181		2239762		55.861		1043580

		55.883		5937748		2252266		55.878		1043424

		55.899		6038809		2240351		55.895		1047754

		55.916		6069468		2255843		55.911		1049871

		55.933		6067699		2247343		55.928		1055061

		55.949		6114016		2234083		55.945		1048032

		55.966		6111098		2246883		55.961		1052061

		55.983		6145904		2248537		55.978		1040186

		55.999		6170306		2245246		55.995		1044768

		56.016		6076042		2235372		56.011		1047331

		56.033		5931320		2241063		56.028		1049470

		56.049		5917753		2242958		56.045		1051618

		56.066		5847667		2250301		56.061		1057509

		56.083		5802728		2245167		56.078		1057263

		56.099		5766908		2250260		56.095		1053835

		56.116		5719147		2243939		56.111		1051620

		56.133		5681675		2233432		56.128		1056280

		56.15		5687760		2237600		56.145		1051572

		56.166		5677667		2247542		56.161		1053794

		56.183		5652736		2241533		56.178		1046011

		56.2		5662389		2239879		56.195		1059534

		56.216		5632082		2238159		56.211		1056269

		56.233		5604204		2231649		56.228		1056211

		56.25		5530730		2234273		56.245		1054194

		56.266		5606070		2238597		56.261		1065223

		56.283		5604015		2252654		56.278		1061071

		56.3		5609379		2241218		56.295		1059460

		56.316		5517734		2222459		56.311		1059815

		56.333		5469841		2242739		56.328		1060219

		56.35		5551639		2233839		56.345		1065332

		56.366		5572888		2232736		56.361		1048830

		56.383		5543778		2230524		56.378		1060729

		56.4		5494938		2237400		56.395		1059504

		56.416		5500848		2226675		56.411		1068137

		56.433		5481585		2228856		56.428		1059093

		56.45		5515836		2241045		56.445		1068083

		56.466		5488651		2239365		56.462		1063439

		56.483		5447164		2240428		56.478		1066777

		56.5		5438772		2230317		56.495		1066047

		56.516		5484020		2247004		56.512		1074172

		56.533		5466485		2241953		56.528		1072967

		56.55		5472806		2230518		56.545		1056759

		56.566		5454331		2247171		56.562		1062105

		56.583		5400926		2237735		56.578		1074822

		56.6		5426118		2240241		56.595		1066073

		56.616		5414884		2233580		56.612		1067864

		56.633		5468463		2231277		56.628		1059061

		56.65		5393658		2248429		56.645		1064096

		56.666		5362783		2246669		56.662		1070797

		56.683		5375503		2243354		56.678		1075922

		56.7		5361138		2246075		56.695		1066993

		56.716		5381519		2252190		56.712		1068625

		56.733		5408681		2254762		56.728		1071471

		56.75		5325764		2231961		56.745		1066341

		56.767		5301979		2243434		56.762		1066966

		56.783		5336308		2256866		56.778		1077978

		56.8		5329937		2245930		56.795		1073415

		56.817		5349198		2241964		56.812		1065104

		56.833		5308148		2253460		56.828		1070390

		56.85		5311407		2246940		56.845		1078174

		56.867		5265131		2259663		56.862		1080365

		56.883		5270445		2247927		56.878		1080778

		56.9		5302314		2253690		56.895		1078010

		56.917		5259556		2244704		56.912		1076521

		56.933		5289234		2233944		56.928		1073782

		56.95		5219965		2245428		56.945		1081342

		56.967		5219345		2253805		56.962		1076845

		56.983		5206210		2249116		56.978		1077455

		57		5206997		2268929		56.995		1080499

		57.017		5240466		2252710		57.012		1081412

		57.033		5250729		2248506		57.028		1086262

		57.05		5181436		2263156		57.045		1076985

		57.067		5169311		2253064		57.062		1085001

		57.083		5212902		2269460		57.078		1068546

		57.1		5258701		2252200		57.095		1078141

		57.117		5141832		2263537		57.112		1075365

		57.133		5126792		2263274		57.128		1082752

		57.15		5174340		2243085		57.145		1081798

		57.167		5148721		2253440		57.162		1092588

		57.183		5105798		2256214		57.178		1083322

		57.2		5093459		2254986		57.195		1083545

		57.217		5122192		2249720		57.212		1084948

		57.233		5067142		2257070		57.228		1087920

		57.25		5062249		2258734		57.245		1077662

		57.267		5072302		2260885		57.262		1085691

		57.284		5045830		2261977		57.278		1087939

		57.3		5064476		2255694		57.295		1088670

		57.317		5022655		2260089		57.312		1086185

		57.334		4993944		2261451		57.328		1092645

		57.35		5001406		2261729		57.345		1088436

		57.367		5009532		2245474		57.362		1082354

		57.384		5013570		2264607		57.378		1082426

		57.4		5004508		2259399		57.395		1095524

		57.417		5006421		2258115		57.412		1097765

		57.434		4967000		2271085		57.428		1090515

		57.45		4980606		2269156		57.445		1091472

		57.467		4997802		2262462		57.462		1093371

		57.484		4951037		2275079		57.478		1094595

		57.5		4962815		2265092		57.495		1091399

		57.517		4892219		2252706		57.512		1099506

		57.534		4920529		2270380		57.528		1095567

		57.55		4912545		2270736		57.545		1096209

		57.567		4958099		2266105		57.562		1090105

		57.584		4918520		2270457		57.578		1089312

		57.6		4950693		2270058		57.595		1095248

		57.617		4869395		2269167		57.612		1099699

		57.634		4909298		2273308		57.628		1105323

		57.65		4926868		2274110		57.645		1092457

		57.667		4964799		2272440		57.662		1094315

		57.684		4918662		2265849		57.678		1100560

		57.7		4882874		2265225		57.695		1095861

		57.717		4889627		2261388		57.712		1094513

		57.734		4841655		2273958		57.728		1094726

		57.75		4826975		2276241		57.745		1095940

		57.767		4852916		2269178		57.762		1098463

		57.784		4785495		2258231		57.779		1085835

		57.8		4834117		2262257		57.795		1100403

		57.817		4775724		2266399		57.812		1099804

		57.834		4793017		2269949		57.828		1104115

		57.851		4751816		2257059		57.845		1097850

		57.867		4752463		2271900		57.862		1102583

		57.884		4768739		2263394		57.879		1097428

		57.901		4763529		2269071		57.895		1103529

		57.917		4728359		2266692		57.912		1088723

		57.934		4723078		2259387		57.929		1095535

		57.951		4763115		2254312		57.945		1097166

		57.968		4690724		2256584

		57.984		4713015		2247231

		58.001		4684808		2262340

		58.017		4720949		2258987

		58.034		4698453		2267447

		58.051		4697863		2263163

		58.067		4690565		2266696

		58.084		4673993		2259300

		58.101		4673749		2254321

		58.117		4639337		2265972

		58.134		4652179		2275304

		58.151		4690749		2262790

		58.167		4663575		2266876

		58.184		4620022		2268933

		58.201		4637801		2267411

		58.217		4585822		2282432

		58.234		4617713		2254885

		58.251		4605823		2263668

		58.267		4602964		2270588

		58.284		4656400		2261904

		58.301		4627424		2270299

		58.317		4570613		2277018

		58.334		4548952		2278400

		58.351		4627625		2280370

		58.367		4632933		2272200

		58.384		4542833		2257560

		58.401		4562850		2273438

		58.417		4590101		2279501

		58.434		4599940		2271127

		58.451		4572303		2275444

		58.467		4521282		2270587

		58.484		4555535		2279662

		58.501		4535105		2272023

		58.517		4562373		2265468

		58.534		4526143		2266012

		58.551		4554365		2265099

		58.567		4545859		2271956

		58.584		4524190		2274563

		58.601		4503835		2270461

		58.618		4520861		2283098

		58.634		4501242		2271347

		58.651		4448923		2282964

		58.667		4469166		2284437

		58.684		4455235		2271935

		58.701		4427318		2273473

		58.718		4479263		2281508

		58.734		4462218		2292807

		58.751		4409371		2269265

		58.768		4415225		2280438

		58.784		4409920		2291509

		58.801		4414285		2295247

		58.818		4382645		2286335

		58.834		4391949		2279504

		58.851		4369466		2281944

		58.868		4400656		2277468

		58.884		4383809		2280879

		58.901		4372538		2275670

		58.918		4371724		2275689

		58.934		4367225		2285151

		58.951		4384380		2284507

		58.968		4376846		2273899

		58.984		4328601		2256799

		59.001		4339450		2273271

		59.018		4373606		2263224

		59.034		4327118		2274482

		59.051		4300399		2271144

		59.068		4343430		2265616

		59.084		4290817		2282882

		59.101		4308774		2254445

		59.118		4305361		2260676

		59.134		4284343		2258066

		59.151		4294262		2270155

		59.168		4296778		2263867

		59.184		4298086		2259761

		59.201		4310982		2278002

		59.218		4308120		2275183

		59.234		4290055		2267930

		59.251		4236701		2281985

		59.268		4246433		2276430

		59.285		4280105		2287307

		59.301		4258810		2273642

		59.318		4261041		2270413

		59.335		4247512		2273412

		59.351		4287592		2274523

		59.368		4285518		2262333

		59.385		4285099		2258031

		59.401		4250081		2267170

		59.418		4203946		2263608

		59.435		4221475		2273188

		59.451		4223961		2278136

		59.468		4231367		2277655

		59.485		4273309		2264059

		59.501		4266438		2268218

		59.518		4328793		2263617

		59.535		4249042		2270378

		59.551		4222918		2277012

		59.568		4215794		2271601

		59.585		4198140		2264316

		59.601		4196921		2262117

		59.618		4236143		2273220

		59.635		4232197		2260084

		59.651		4217066		2280295

		59.668		4185489		2275633

		59.685		4187658		2277118

		59.701		4257042		2276241

		59.718		4224646		2283634

		59.735		4179870		2276244

		59.751		4227750		2285022

		59.768		4197782		2297073

		59.785		4228851		2289092

		59.801		4200683		2280471

		59.818		4188688		2283650

		59.835		4136284		2276055

		59.851		4135955		2293311

		59.868		4124242		2282270

		59.885		4086273		2292618

		59.902		4123437		2279264

		59.918		4092402		2277257

		59.935		4079738		2291159

		59.952		4073509		2280467

		59.968		4063318		2283455

		59.985		4053541		2274746

		60.002		4063692		2278657

		60.018		4048376		2296254

		60.035		4008735		2277001

		60.052		4011324		2284007

		60.068		4044216		2287919

		60.085		4049027		2289373

		60.102		4019113		2281324

		60.118		4050158		2272740

		60.135		4060646		2279144

		60.152		4023948		2285091

		60.168		3978861		2272852

		60.185		3990673		2286759

		60.202		3985641		2276230

		60.218		3968894		2273403

		60.235		3976349		2267220

		60.252		3929177		2273909

		60.268		3982511		2269369

		60.285		3944043		2272780

		60.302		3983706		2276973

		60.318		3979903		2265166

		60.335		3958046		2263569

		60.352		3923164		2272387

		60.369		3930886		2290420

		60.385		3906470		2279509

		60.402		3887262		2293849

		60.419		3934606		2295277

		60.435		3971859		2288029

		60.452		3944114		2295229

		60.469		3900724		2282582

		60.485		3916861		2284488

		60.502		3878192		2272467

		60.519		3899860		2271532

		60.535		3902606		2290842

		60.552		3860817		2271149

		60.569		3905962		2281803

		60.585		3924888		2265959

		60.602		3857474		2279373

		60.619		3840843		2275964

		60.635		3843912		2290318

		60.652		3811451		2271869

		60.669		3903242		2274447

		60.685		3841945		2277439

		60.702		3862006		2272685

		60.719		3878919		2269217

		60.735		3871094		2265696

		60.752		3862715		2262165

		60.769		3849134		2275664

		60.785		3825155		2275666

		60.802		3861011		2268236

		60.819		3844304		2267849

		60.835		3810111		2256137

		60.852		3811976		2265288

		60.869		3800258		2267507

		60.885		3833535		2256530

		60.902		3828998		2274014

		60.919		3818283		2258550

		60.935		3803440		2265003

		60.952		3814385		2274848

		60.969		3838816		2258127

		60.985		3815885		2266571

		61.002		3749413		2270132

		61.019		3770150		2273009

		61.035		3769976		2260281

		61.052		3779618		2274378

		61.069		3778645		2263955

		61.085		3771755		2266691

		61.102		3775038		2280037

		61.119		3743640		2260992

		61.136		3701273		2272644

		61.152		3729922		2280603

		61.169		3725759		2277897

		61.186		3695431		2280841

		61.202		3744328		2282039

		61.219		3718049		2276704

		61.236		3676648		2264377

		61.252		3678043		2274814

		61.269		3715607		2276530

		61.286		3710987		2272616

		61.302		3674282		2264771

		61.319		3702074		2270154

		61.336		3709814		2284492

		61.352		3687399		2261457

		61.369		3644284		2276621

		61.386		3660949		2260538

		61.402		3650549		2271965

		61.419		3701437		2270487

		61.436		3645481		2262249

		61.452		3614240		2268476

		61.469		3637146		2275311

		61.486		3606487		2277739

		61.502		3625320		2279438

		61.519		3617180		2275036

		61.536		3604786		2285770

		61.552		3605754		2271766

		61.569		3620953		2274591

		61.586		3611701		2272261

		61.602		3623935		2266762

		61.619		3625613		2283743

		61.636		3604470		2271604

		61.652		3632251		2274778

		61.669		3689779		2276576

		61.686		3604900		2266384

		61.702		3595921		2275359

		61.719		3597134		2269094

		61.736		3570733		2268285

		61.753		3572941		2268950

		61.769		3560810		2265232

		61.786		3584367		2265746

		61.802		3538778		2282061

		61.819		3562136		2289939

		61.836		3598938		2273612

		61.852		3602125		2278902

		61.869		3587272		2263868

		61.886		3545129		2273613

		61.903		3527822		2272234

		61.919		3537928		2256930

		61.936		3549869		2273460

		61.953		3576690		2273129

		61.969		3541513		2275214

		61.986		3538644		2264748

		62.003		3541946		2262021

		62.019		3562709		2261117

		62.036		3494475		2267251

		62.053		3533988		2263416

		62.069		3534042		2280189

		62.086		3533790		2266444

		62.103		3529836		2260296

		62.119		3514530		2262336

		62.136		3490142		2261507

		62.153		3511787		2257159

		62.169		3540954		2263686

		62.186		3581927		2260511

		62.203		3599582		2260319

		62.219		3630094		2271043

		62.236		3618771		2270771

		62.253		3620636		2276939

		62.269		3577801		2271256

		62.286		3596219		2266514

		62.303		3552683		2275807

		62.319		3522186		2258220

		62.336		3555732		2262724

		62.353		3537912		2265150

		62.37		3504167		2268187

		62.386		3466616		2243065

		62.403		3470956		2258127

		62.42		3449984		2268305

		62.436		3457157		2265961

		62.453		3413138		2261988

		62.47		3413566		2265239

		62.486		3430452		2260549

		62.503		3463182		2277230

		62.52		3454240		2270339

		62.536		3442209		2270723

		62.553		3461667		2267192

		62.57		3451305		2274096

		62.586		3403427		2268083

		62.603		3399486		2268994

		62.62		3414900		2271852

		62.636		3455796		2273487

		62.653		3414793		2274843

		62.67		3444439		2266874

		62.686		3411313		2263291

		62.703		3377840		2257067

		62.72		3378928		2261578

		62.736		3408761		2272788

		62.753		3421769		2262188

		62.77		3441830		2277212

		62.786		3422799		2272873

		62.803		3452285		2273932

		62.82		3428276		2279413

		62.836		3448007		2268650

		62.853		3417483		2274318

		62.87		3440080		2264444

		62.886		3416818		2265612

		62.903		3399502		2267849

		62.92		3411591		2265834

		62.936		3394529		2260399

		62.953		3413042		2268851

		62.97		3402079		2257592

		62.986		3407127		2265401

		63.003		3418424		2272757

		63.02		3387750		2274421

		63.036		3344665		2273652

		63.053		3345075		2271297

		63.07		3332033		2269885

		63.086		3362831		2270213

		63.103		3379671		2265175

		63.12		3343454		2268560

		63.137		3387623		2271107

		63.153		3322138		2260537

		63.17		3321130		2267601

		63.187		3318105		2267095

		63.203		3298255		2276432

		63.22		3309895		2268653

		63.237		3311626		2252830

		63.253		3327767		2256744

		63.27		3315002		2269977

		63.287		3279984		2253484

		63.303		3323861		2277857

		63.32		3311854		2261675

		63.337		3271346		2261227

		63.353		3277393		2254895

		63.37		3283408		2264316

		63.387		3258980		2243989

		63.403		3294557		2259128

		63.42		3277311		2255956

		63.437		3256254		2272834

		63.453		3274460		2258265

		63.47		3257846		2264814

		63.487		3308919		2252216

		63.503		3263154		2267999

		63.52		3243210		2257549

		63.537		3199804		2256976

		63.553		3216509		2267803

		63.57		3238383		2241600

		63.587		3237994		2269240

		63.603		3215167		2252103

		63.62		3217725		2266115

		63.637		3222666		2258852

		63.653		3273250		2255530

		63.67		3269472		2268910

		63.687		3215915		2264528

		63.703		3179127		2272038

		63.72		3190604		2269945

		63.737		3219232		2269324

		63.753		3234115		2276001

		63.77		3225346		2268651

		63.787		3198441		2272941

		63.803		3208576		2269435

		63.82		3172321		2262620

		63.837		3142443		2255159

		63.853		3196762		2267886

		63.87		3182958		2256519

		63.887		3147329		2250440

		63.903		3160429		2255276

		63.92		3175472		2261926

		63.937		3205919		2262727

		63.953		3200415		2264071

		63.97		3180169		2255833

		63.987		3146425		2273896

		64.003		3166026		2267367

		64.02		3204639		2257100

		64.037		3185416		2262501

		64.054		3209258		2262057

		64.07		3200881		2252614

		64.087		3244065		2259949

		64.104		3223284		2255153

		64.12		3181373		2263757

		64.137		3199691		2262444

		64.153		3197570		2252197

		64.17		3136520		2255178

		64.187		3130578		2249043

		64.204		3154558		2243266

		64.22		3178283		2252299

		64.237		3187815		2257592

		64.254		3186680		2259848

		64.27		3178010		2263509

		64.287		3125285		2265187

		64.304		3131838		2265789

		64.32		3141171		2250748

		64.337		3123696		2260311

		64.354		3117616		2257821

		64.37		3118724		2261043

		64.387		3112434		2250932

		64.404		3108170		2251183

		64.42		3112605		2260089

		64.437		3105209		2266530

		64.454		3049076		2255956

		64.47		3077916		2250304

		64.487		3079653		2259352

		64.504		3063716		2251357

		64.52		3086231		2247233

		64.537		3086506		2255408

		64.554		3074648		2252042

		64.57		3055495		2253819

		64.587		3059318		2254397

		64.604		3063232		2249105

		64.62		3080341		2245532

		64.637		3083155		2261491

		64.654		3057747		2249475

		64.67		3064653		2255285

		64.687		3048742		2252838

		64.704		3065645		2256028

		64.72		3003086		2241873

		64.737		3004182		2248573

		64.754		3040398		2261386

		64.77		3038682		2248119

		64.787		3065590		2254335

		64.804		3073465		2264376

		64.82		3022571		2254766

		64.837		3019671		2248955

		64.854		3004447		2251712

		64.87		3032759		2259329

		64.887		3028613		2252060

		64.904		3019554		2254331

		64.921		3029808		2257463

		64.937		3034891		2253374

		64.954		3004162		2252752

		64.971		3024760		2249803

		64.987		3011670		2256898

		65.004		2999622		2260777

		65.021		3015399		2266466

		65.037		3047739		2263336

		65.054		3017940		2251983

		65.071		3031756		2252956

		65.087		3053858		2257217

		65.104		3073135		2254382

		65.121		3065465		2258042

		65.137		3073194		2254134

		65.154		3081168		2255872

		65.171		3105111		2250020

		65.187		3161492		2258356

		65.204		3128278		2239307

		65.221		3136387		2247851

		65.237		3111238		2263329

		65.254		3085994		2264322

		65.271		3103604		2257142

		65.287		3104439		2261335

		65.304		3053434		2259265

		65.321		3053484		2261328

		65.337		3031828		2262124

		65.354		3005921		2260367

		65.371		3015909		2274397

		65.387		3009153		2260215

		65.404		2985457		2252415

		65.421		2943151		2257551

		65.437		2966717		2272636

		65.454		2941638		2273501

		65.471		2929511		2270579

		65.488		2925358		2276257

		65.504		2926201		2272405

		65.521		2942041		2267305

		65.537		2933422		2268547

		65.554		2955123		2259293

		65.571		2944051		2270665

		65.588		2943127		2269856

		65.604		2921856		2260609

		65.621		2906964		2269864

		65.638		2943494		2255450

		65.654		2916499		2256572

		65.671		2898372		2251444

		65.688		2935578		2257023

		65.704		2944373		2263242

		65.721		2920128		2248963

		65.738		2920769		2247308

		65.754		2891119		2267522

		65.771		2888743		2256186

		65.788		2904021		2252836

		65.804		2892043		2258152

		65.821		2885671		2259152

		65.838		2907329		2251584

		65.854		2907154		2250119

		65.871		2903249		2251007

		65.888		2906643		2254421

		65.904		2892511		2269703

		65.921		2914386		2257788

		65.938		2914088		2266448

		65.954		2892896		2256678

		65.971		2867220		2258980

		65.988		2884281		2247588

		66.004		2881124		2265044

		66.021		2885684		2252845

		66.038		2881133		2251926

		66.054		2893652		2254306

		66.071		2871974		2253529

		66.088		2861610		2258695

		66.104		2839378		2268271

		66.121		2838251		2249801

		66.138		2856386		2243721

		66.154		2899617		2258832

		66.171		2875978		2250612

		66.188		2868513		2249823

		66.204		2870623		2260978

		66.221		2869475		2258844

		66.238		2859295		2252218

		66.255		2882875		2257866

		66.271		2864237		2260500

		66.288		2834217		2244885

		66.305		2845369		2237211

		66.321		2813980		2255968

		66.338		2846171		2253015

		66.355		2846949		2249672

		66.371		2864137		2250639

		66.388		2862959		2249771

		66.405		2855271		2260068

		66.421		2876806		2235676

		66.438		2853297		2254991

		66.455		2850699		2247653

		66.471		2882947		2248238

		66.488		2864685		2257922

		66.505		2849314		2255586

		66.521		2859279		2256688

		66.538		2797453		2256621

		66.555		2791250		2268375

		66.571		2833336		2243630

		66.588		2825503		2246980

		66.605		2829060		2272580

		66.621		2851965		2254706

		66.638		2827926		2252169

		66.655		2812218		2250989

		66.671		2827984		2254922

		66.688		2809913		2263451

		66.705		2792042		2259335

		66.721		2816841		2260620

		66.738		2833305		2256946

		66.755		2851420		2252542

		66.771		2837039		2253846

		66.788		2822600		2271143

		66.805		2831928		2257916

		66.822		2828121		2263842

		66.838		2799717		2259524

		66.855		2774874		2263200

		66.872		2799435		2260947

		66.888		2800971		2255242

		66.905		2761653		2259347

		66.922		2756091		2262296

		66.938		2776791		2262803

		66.955		2780583		2247074

		66.972		2777531		2245917

		66.988		2802190		2246557

		67.005		2790401		2246320

		67.022		2828308		2251827

		67.038		2797912		2255594

		67.055		2790243		2258823

		67.072		2792246		2261977

		67.088		2783893		2257717

		67.105		2799451		2250198

		67.122		2762861		2264786

		67.138		2748730		2265796

		67.155		2716819		2270554

		67.172		2733544		2255433

		67.188		2731938		2256950

		67.205		2750226		2254580

		67.222		2748087		2258175

		67.238		2755806		2246066

		67.255		2757760		2265969

		67.272		2703162		2246924

		67.288		2728555		2255106

		67.305		2736042		2249234

		67.322		2744814		2265352

		67.338		2749190		2261526

		67.355		2754242		2255637

		67.372		2752250		2259186

		67.388		2722603		2262139

		67.405		2688397		2250771

		67.422		2701278		2268715

		67.438		2694714		2253553

		67.455		2708801		2257767

		67.472		2711583		2260789

		67.488		2739140		2263533

		67.505		2725926		2269370

		67.522		2728093		2260623

		67.538		2711549		2252780

		67.555		2699620		2247010

		67.572		2699133		2245446

		67.589		2714522		2247887

		67.605		2697016		2246833

		67.622		2690266		2249385

		67.639		2702949		2245991

		67.655		2686183		2254063

		67.672		2670129		2248334

		67.688		2672505		2259296

		67.705		2696068		2235210

		67.722		2678541		2248636

		67.739		2689682		2237361

		67.755		2708684		2245043

		67.772		2672374		2248759

		67.789		2680364		2231544

		67.805		2667029		2235230

		67.822		2655964		2244900

		67.839		2642775		2240040

		67.855		2699366		2227313

		67.872		2692744		2218523

		67.889		2656070		2243751

		67.905		2671342		2223997

		67.922		2661726		2232798

		67.939		2687093		2239160

		67.955		2684474		2226097

		67.972		2684559		2239249

		67.989		2673903		2243059

		68.005		2666422		2234663

		68.022		2646653		2225897

		68.039		2622429		2242260

		68.055		2640020		2234530

		68.072		2670446		2226579

		68.089		2662202		2238121

		68.105		2675358		2227695

		68.122		2676618		2228900

		68.139		2662434		2234475

		68.155		2640009		2230880

		68.172		2629165		2232346

		68.189		2636859		2240765

		68.205		2634566		2233253

		68.222		2593557		2229049

		68.239		2633836		2224940

		68.255		2635067		2223075

		68.272		2637803		2231977

		68.289		2641696		2233542

		68.305		2640125		2235379

		68.322		2657156		2247940

		68.339		2635377		2228945

		68.356		2637627		2233852

		68.372		2646449		2226918

		68.389		2641539		2231871

		68.406		2638170		2229622

		68.422		2637893		2237591

		68.439		2650214		2240035

		68.456		2625788		2236283

		68.472		2607440		2232460

		68.489		2612726		2248205

		68.506		2625131		2241614

		68.522		2654877		2238847

		68.539		2631269		2241390

		68.556		2623473		2241961

		68.572		2623209		2240851

		68.589		2639458		2241294

		68.606		2702251		2235417

		68.622		2730682		2244638

		68.639		2734503		2241804

		68.656		2730778		2246067

		68.672		2763331		2232505

		68.689		2775898		2235238

		68.706		2806744		2235290

		68.722		2824608		2234175

		68.739		2812687		2242818

		68.756		2828843		2238341

		68.772		2793627		2234910

		68.789		2794277		2242073

		68.806		2773195		2250907

		68.822		2715388		2232132

		68.839		2680458		2234447

		68.856		2685144		2240841

		68.872		2697858		2244220

		68.889		2696818		2235847

		68.906		2674765		2244052

		68.922		2644785		2248132

		68.939		2626506		2248186

		68.956		2595714		2226296

		68.972		2600334		2240339

		68.989		2590204		2238911

		69.006		2556164		2237280

		69.022		2586678		2242624

		69.039		2576625		2246018

		69.056		2557976		2248749

		69.072		2583338		2243153

		69.089		2570310		2242480

		69.106		2565585		2238833

		69.122		2570516		2234136

		69.139		2576596		2235344

		69.156		2573529		2242106

		69.172		2543294		2243955

		69.189		2551233		2231854

		69.206		2564370		2241009

		69.222		2569626		2233177

		69.239		2544572		2243580

		69.256		2511540		2253212

		69.272		2519526		2234013

		69.289		2546370		2235509

		69.306		2528489		2242143

		69.323		2557678		2223622

		69.339		2542369		2225666

		69.356		2552756		2224576

		69.372		2558131		2225789

		69.389		2549570		2210469

		69.406		2505349		2215244

		69.423		2501230		2222711

		69.439		2532077		2235801

		69.456		2502894		2213986

		69.473		2498556		2228597

		69.489		2534219		2223048

		69.506		2535844		2233766

		69.523		2526084		2234539

		69.539		2507476		2227234

		69.556		2509847		2216433

		69.573		2502348		2238902

		69.589		2513883		2219345

		69.606		2534019		2219597

		69.623		2513085		2230974

		69.639		2505074		2218729

		69.656		2468837		2226048

		69.673		2464057		2229122

		69.689		2466443		2210096

		69.706		2508594		2217115

		69.723		2520822		2226972

		69.739		2546959		2220065

		69.756		2548982		2210314

		69.773		2527241		2221994

		69.789		2502053		2225905

		69.806		2519440		2205614

		69.823		2506421		2213089

		69.839		2495505		2219725

		69.856		2503242		2211405

		69.873		2462986		2216989

		69.889		2458596		2211066

		69.906		2445437		2209689

		69.923		2448432		2223223

		69.94		2486707		2216277

		69.956		2464400		2205358

		69.973		2473898		2214979

		69.99		2463573		2210876

		70.006		2474134		2219482

		70.023		2457361		2218786

		70.04		2465366		2221017

		70.056		2474220		2214762

		70.073		2491003		2202688

		70.09		2490095		2224654

		70.106		2462512		2199575

		70.123		2443998		2214624

		70.14		2464625		2210113

		70.156		2464374		2202968

		70.173		2467742		2208977

		70.19		2467976		2215135

		70.206		2469162		2215702

		70.223		2482626		2217853

		70.24		2454062		2203701

		70.256		2445174		2219135

		70.273		2452348		2222219

		70.29		2480769		2219179

		70.306		2478492		2205312

		70.323		2481511		2220263

		70.34		2461007		2208772

		70.356		2475750		2235949

		70.373		2462834		2223381

		70.39		2434962		2213212

		70.406		2455619		2219711

		70.423		2450566		2215575

		70.44		2434518		2214362

		70.456		2446654		2207404

		70.473		2437587		2214886

		70.49		2447026		2230640

		70.506		2438103		2205769

		70.523		2433687		2212576

		70.54		2441947		2219608

		70.556		2438079		2217588

		70.573		2450434		2218545

		70.59		2456951		2214657

		70.606		2447875		2221317

		70.623		2447699		2201751

		70.64		2421564		2221322

		70.657		2454221		2217239

		70.673		2440902		2222466

		70.69		2437454		2214197

		70.707		2425521		2215818

		70.723		2416551		2228621

		70.74		2402142		2218580

		70.757		2411717		2224798

		70.773		2420434		2212683

		70.79		2416204		2215556

		70.807		2422115		2226046

		70.823		2407465		2215244

		70.84		2406081		2217706

		70.857		2424293		2210694

		70.873		2428612		2216292

		70.89		2432819		2220647

		70.907		2417701		2204671

		70.923		2409684		2219456

		70.94		2433258		2216644

		70.957		2451276		2219901

		70.973		2451066		2222295

		70.99		2436821		2211895

		71.007		2428181		2220275

		71.023		2421904		2219258

		71.04		2401526		2232024

		71.057		2409894		2212658

		71.073		2397455		2225392

		71.09		2402434		2203049

		71.107		2379789		2229228

		71.123		2369657		2219886

		71.14		2371997		2216066

		71.157		2401290		2206015

		71.173		2399958		2222100

		71.19		2407670		2215318

		71.207		2424761		2202446

		71.223		2381052		2221172

		71.24		2392616		2222874

		71.257		2385312		2213260

		71.273		2372899		2210996

		71.29		2402219		2209997

		71.307		2394872		2214314

		71.323		2393318		2212009

		71.34		2402028		2216412

		71.357		2395341		2210887

		71.373		2390146		2216371

		71.39		2388624		2201437

		71.407		2374440		2201901

		71.424		2374327		2216578

		71.44		2378588		2216764

		71.457		2376648		2203529

		71.474		2377683		2212028

		71.49		2407331		2210595

		71.507		2396253		2215969

		71.524		2388581		2211036

		71.54		2365817		2223036

		71.557		2352303		2200848

		71.574		2351127		2217608

		71.59		2361210		2207404

		71.607		2349123		2213916

		71.624		2357177		2213977

		71.64		2395183		2208302

		71.657		2379357		2211572

		71.674		2354685		2203508

		71.69		2344478		2199953

		71.707		2354530		2194629

		71.724		2349888		2206908

		71.74		2335742		2202968

		71.757		2356480		2195568

		71.774		2336173		2203037

		71.79		2343950		2205160

		71.807		2361374		2185075

		71.824		2347455		2201454

		71.84		2331830		2196961

		71.857		2347353		2204162

		71.874		2345667		2192178

		71.89		2337258		2205067

		71.907		2340338		2188120

		71.924		2361537		2198931

		71.94		2348974		2187954

		71.957		2361728		2192343

		71.974		2341316		2188905

		71.99		2357954		2187214

		72.007		2358310		2206481

		72.024		2342876		2181083

		72.04		2340557		2188928

		72.057		2330267		2175313

		72.074		2319856		2189062

		72.09		2312348		2193020

		72.107		2326166		2171655

		72.124		2341083		2204312

		72.14		2297429		2185131

		72.157		2305370		2186265

		72.174		2331432		2197501

		72.19		2350022		2191765

		72.207		2332752		2197790

		72.224		2329781		2188616

		72.24		2342265		2193085

		72.257		2322655		2189353

		72.274		2308854		2189379

		72.29		2314768		2192644

		72.307		2323430		2195822

		72.324		2306808		2198200

		72.34		2317085		2188514

		72.357		2332916		2179262

		72.374		2318713		2194610

		72.39		2326146		2183550

		72.407		2328007		2194264

		72.424		2321034		2196524

		72.44		2317659		2205181

		72.457		2304097		2195363

		72.474		2304556		2202370

		72.49		2311206		2206181

		72.507		2314830		2188764

		72.524		2313074		2196385

		72.541		2309073		2193299

		72.557		2337122		2197285

		72.574		2315309		2193429

		72.591		2302606		2187939

		72.607		2313169		2199487

		72.624		2299894		2182416

		72.641		2282088		2191515

		72.657		2288361		2202749

		72.674		2298603		2199103

		72.691		2310742		2188699

		72.707		2310912		2186132

		72.724		2322908		2200055

		72.741		2301461		2189165

		72.757		2304606		2189256

		72.774		2334752		2200618

		72.791		2377544		2200104





Sheet2

		





Sheet3

		






