{"text_format":"1","workbook":"xlsx","n_sheets":9,"sheets":["2.1","2.1 Graph","2.2","2.2 Graph","2.3","2.3 Graph","2.3 STC values","2.4","2.4 Graph"],"not_rendered":{"charts":8,"images":0,"macros":1,"external_links":0,"defined_names":108,"comments":0,"pivot_tables":0},"unopened":[{"sheet":"2.1 Graph","index":1,"reason":"not_a_worksheet"},{"sheet":"2.2 Graph","index":3,"reason":"not_a_worksheet"},{"sheet":"2.3 Graph","index":5,"reason":"not_a_worksheet"},{"sheet":"2.4 Graph","index":8,"reason":"not_a_worksheet"}],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"2.1","index":0,"n_rows":122,"n_cols":9,"rows_kept":122,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,"Εφαρμογή 2.1: Χαρακτηριστική καμπύλη I - V φωτοβολταικού κελιού"]
[]
[]
[null,null,"Input"]
[]
[null,null,"R_s",5.0000000000000001E-3,"Ω",null,"Set desired parameters and press CTRL + A"]
[null,null,"R_sh",6.6,"Ω"]
[null,null,"A_cell",150,"cm^2"]
[null,null,"I_o",{"$f":"10^-10","v":1E-10},"A"]
[null,null,"J_ph_stc",{"$f":"1.369*10^17","v":1.369E+17},"(1/s)*(1/cm^2)"]
[null,null,"qe",{"$f":"1.6*10^-19","v":1.6000000000000002E-19},"C"]
[null,null,"k",{"$f":"1.38*10^-23","v":1.3800000000000001E-23},"J/K"]
[null,null,"T_stc",298,"K"]
[null,null,"G_stc",1000,"W/m^2"]
[null,null,"I(J_ph)",{"$f":"D11*D12*D9","v":3.2856000000000005},"A"]
[]
[]
[null,null,"Output"]
[]
["F ",null,"V (Volts)","I (A)","P (W)",null,"V_max",{"$f":"INDEX($C$22:$C$122,MATCH(MAX($E$22:$E$122),$E$22:$E$122,0),1)","v":0.53000000000000025},"V"]
[{"$f":"$D22-($D$16-$D$10*(EXP($D$12*(($C22+$D22*$D$7)/($D$13*$D$14)))-1)-($C22+$D22*$D$7)/$D$8)","v":9.9999885749824102E-7},null,0,3.2831137924909073,{"$f":"D22*C22","v":0},null,"I_max",{"$f":"INDEX($D$22:$D$122,MATCH(MAX($E$22:$E$122),$E$22:$E$122,0),1)","v":3.0399784539251247},"A"]
[{"$f":"$D23-($D$16-$D$10*(EXP($D$12*(($C23+$D23*$D$7)/($D$13*$D$14)))-1)-($C23+$D23*$D$7)/$D$8)","v":9.9999834413111444E-7},null,{"$f":"C22+0.01","v":0.01},3.2815997878584531,{"$f":"D23*C23","v":3.2815997878584531E-2},null,"P_max",{"$f":"MAX(E22:E122)","v":1.6111885805803168},"W"]
[{"$f":"$D24-($D$16-$D$10*(EXP($D$12*(($C24+$D24*$D$7)/($D$13*$D$14)))-1)-($C24+$D24*$D$7)/$D$8)","v":9.9999760116986636E-7},null,{"$f":"C23+0.01","v":0.02},3.2800857831830386,6.560171566366077E-2,null,"η",{"$f":"H23/((D9/10^4)*D15)","v":0.10741257203868779}]
[9.9999652602988931E-7,null,0.03,3.278571778444257,{"$f":"D25*C25","v":9.8357153353327703E-2}]
[9.9999497082947642E-7,null,0.04,3.2770577736120083,{"$f":"D26*C26","v":0.13108231094448033}]
[{"$f":"$D27-($D$16-$D$10*(EXP($D$12*(($C27+$D27*$D$7)/($D$13*$D$14)))-1)-($C27+$D27*$D$7)/$D$8)","v":9.9999272151762852E-7},null,0.05,3.275543768641894,0.16377718843209471]
[9.99989469896434E-7,null,6.0000000000000005E-2,3.274029763468425,0.19644178580810551]
[9.9998477409712905E-7,null,7.0000000000000007E-2,3.2725157579950093,0.22907610305965068]
[9.9997799329898385E-7,null,0.08,3.2710017520791661,0.26168014016633329]
[9.9996820601688796E-7,null,0.09,3.269487745510737,0.29425389709596633]
[9.9995409064135288E-7,null,9.9999999999999992E-2,3.2679737379797391,0.32679737379797391]
[9.9993373847695466E-7,null,0.10999999999999999,3.2664597290289388,0.35931057019318324]
[9.9990441482233905E-7,null,0.11999999999999998,3.2649457179839172,0.39179348615807003]
[9.9986218815573125E-7,null,0.12999999999999998,3.2634317038498972,0.42424612150048657]
[9.9980142120870141E-7,null,0.13999999999999999,3.2619176851595744,0.45666847592234039]
[9.9971402933718423E-7,null,0.15,3.2604036597486594,0.48906054896229889]
[9.9958843780001416E-7,null,0.16,3.2588896244248091,0.52142233990796949]
[9.994080816255746E-7,null,0.17,3.2573755744792878,0.55375384766147895]
[9.991492810890179E-7,null,0.18000000000000002,3.2558615029666709,0.58605507053400085]
[9.9877822679061978E-7,null,0.19000000000000003,3.2543473996424015,0.61832600593205633]
[9.982466946389934E-7,null,0.20000000000000004,3.2528332493956791,0.65056664987913593]
[9.9748599113880232E-7,null,{"$f":"C42+0.01","v":0.21000000000000005},3.2513190299379615,0.68277699628697208]
[9.9639838779808088E-7,null,0.22000000000000006,3.2498047083934933,0.71495703584656867]
[9.9484505611258101E-7,null,0.23000000000000007,3.2482902362703263,0.74710675434217522]
[9.9262908426211993E-7,null,0.24000000000000007,3.2467755420425548,0.77922613009021335]
[9.894716557212746E-7,null,0.25000000000000006,3.2452605202091198,0.81131513005228018]
[9.8497871814373639E-7,null,0.26000000000000006,3.2437450151555582,0.84337370394044531]
[9.7859451830828448E-7,null,0.27000000000000007,3.2422287973501964,0.87540177528455332]
[9.6953707640068387E-7,null,0.28000000000000008,3.2407115282338168,0.90739922790546901]
[9.5670902133804248E-7,null,0.29000000000000009,3.2391927084326357,0.93936588544546462]
[9.3857511851425102E-7,null,0.3000000000000001,3.2376716013741422,0.97130148041224296]
[9.1299537441358325E-7,null,0.31000000000000011,3.2361471206243402,1.0032056073935458]
[8.7699996642598421E-7,null,0.32000000000000012,3.2346176637188702,1.0350776523900389]
[8.2649023935843502E-7,null,0.33000000000000013,3.2330808670832107,1.0669166861374599]
[7.5585022285551418E-7,null,0.34000000000000014,3.2315332445824629,1.0987213031580378]
[6.5745966804087175E-7,null,0.35000000000000014,3.2299696544754721,1.1304893790664157]
[5.2112117954195014E-7,null,{"$f":"C57+0.01","v":0.36000000000000015},3.2283825133759323,1.1622177048153362]
[3.3346992545091325E-7,null,0.37000000000000016,3.2267606372898388,1.1939014357972408]
[7.7565987854910645E-8,null,0.38000000000000017,3.225087533115496,1.2255332625838891]
[-2.6683373688385359E-7,null,0.39000000000000018,3.2233388807185941,1.2571021634802522]
[-7.2117273042238139E-7,null,0.40000000000000019,3.2214788235920051,1.2885915294368027]
[1.8646773014552309E-10,null,0.4100000000000002,3.2194558079686915,1.3199768812671642]
[4.2291148361073283E-10,null,0.42000000000000021,3.2171900475767319,1.3512198199822281]
[8.5799989335555438E-10,null,0.43000000000000022,3.2145674772207351,1.3822640152049168]
[1.5355303695230305E-9,null,0.44000000000000022,3.2114190226811696,1.4130243699797154]
[2.1721127119178618E-9,null,0.45000000000000023,3.2074958224458623,1.4433731201006388]
[1.0148721862890397E-9,null,0.46000000000000024,3.2024319590734311,1.4731187011737792]
[-9.1580622552100976E-7,null,0.47000000000000025,3.1956893251769256,1.5019739828331558]
[1.6778726852351156E-8,null,0.48000000000000026,3.1864838117756595,1.5295122296523174]
[7.5934993404302986E-8,null,0.49000000000000027,3.1736639831980615,1.5550953517670509]
[2.796973510577061E-7,null,0.50000000000000022,3.1555620392946535,1.5777810196473274]
[9.413388455392635E-7,null,0.51000000000000023,3.1297711692929817,1.5961832963394214]
[-2.9068461859793615E-8,null,0.52000000000000024,3.0928531548292089,1.6082836405111893]
[-1.2697587248311493E-7,null,0.53000000000000025,3.0399784539251247,1.6111885805803168]
[-5.2199252209561564E-7,null,0.54000000000000026,2.9644957264744676,1.6008276922962132]
[5.4180289144056815E-8,null,0.55000000000000027,2.8575284110090946,1.5716406260550029]
[2.478651577320079E-7,null,{"$f":"C77+0.01","v":0.56000000000000028},2.7077171385078742,1.5163215975644102]
[9.1400099444527427E-7,null,0.57000000000000028,2.5013540359118496,1.425771800469755]
[-1.3932838172081574E-7,null,0.58000000000000029,2.2231400349750183,1.2894212202855113]
[-1.8198253837198308E-7,null,{"$f":"C80+0.01","v":0.5900000000000003},1.8577025141389159,1.0960444833419609]
[-7.6380600955161526E-8,null,0.60000000000000031,1.3916303339831071,0.8349782003898647]
[6.4179246361817377E-8,null,0.61000000000000032,0.81545528779089282,0.49742772555244491]
[9.7226019639407024E-7,null,0.62000000000000033,0.12485750984507768,7.7411656103948207E-2]
[{"$f":"$D85-($D$16-$D$10*(EXP($D$12*(($C85+$D85*$D$7)/($D$13*$D$14)))-1)-($C85+$D85*$D$7)/$D$8)","v":1.2265129176326972},null,0.63000000000000034,0,{"$f":"D85*C85","v":0}]
[3.3286072445332846,null,0.64000000000000035,0,0]
[{"$f":"$D87-($D$16-$D$10*(EXP($D$12*(($C87+$D87*$D$7)/($D$13*$D$14)))-1)-($C87+$D87*$D$7)/$D$8)","v":6.4297448526073913},null,0.65000000000000036,0,{"$f":"D87*C87","v":0}]
[11.005074448151436,null,{"$f":"C87+0.01","v":0.66000000000000036},0,0]
[17.755727232264519,null,0.67000000000000037,0,0]
[27.716295017236867,null,0.68000000000000038,0,0]
[42.413425335483907,null,0.69000000000000039,0,0]
[64.099844973111288,null,0.7000000000000004,0,0]
[96.099685967857823,null,0.71000000000000041,0,0]
[143.31804993811272,null,0.72000000000000042,0,0]
[212.9929231051176,null,0.73000000000000043,0,0]
[315.80470490085588,null,0.74000000000000044,0,0]
[467.51343251522644,null,0.75000000000000044,0,0]
[691.37467553704494,null,0.76000000000000045,0,0]
[1021.7044390863541,null,0.77000000000000046,0,0]
[1509.1395481568952,null,0.78000000000000047,0,0]
[2228.3998903485135,null,0.79000000000000048,0,0]
[3289.74241016015,null,0.80000000000000049,0,0]
[4855.8626656384686,null,0.8100000000000005,0,0]
[7166.834828332404,null,0.82000000000000051,0,0]
[10576.913240136306,null,0.83000000000000052,0,0]
[15608.836927665372,null,0.84000000000000052,0,0]
[23033.961545970516,null,0.85000000000000053,0,0]
[33990.502373203017,null,0.86000000000000054,0,0]
[50158.01411403549,null,0.87000000000000055,0,0]
[74014.853947586467,null,0.88000000000000056,0,0]
[109218.09496007129,null,0.89000000000000057,0,0]
[161164.12782133155,null,0.90000000000000058,0,0]
[237815.88670714715,null,0.91000000000000059,0,0]
[350923.50695188751,null,0.9200000000000006,0,0]
[517825.53202813817,null,0.9300000000000006,0,0]
[764106.78127592464,null,0.94000000000000061,0,0]
[1127520.3094253831,null,0.95000000000000062,0,0]
[1663774.6646790784,null,0.96000000000000063,0,0]
[2455073.5882977038,null,0.97000000000000064,0,0]
[3622717.2271219231,null,0.98000000000000065,0,0]
[5345696.5297134966,null,0.99000000000000066,0,0]
[7888131.2065713583,null,1.0000000000000007,0,0]

{"sheet":"2.2","index":2,"n_rows":124,"n_cols":11,"rows_kept":124,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,"Εφαρμογή 2.2: Χαρακτηριστική καμπύλη φωτοβολταικού πλαισίου"]
[]
[]
[null,null,null,"Input"]
[]
[null,null,null,"R_s",5.0000000000000001E-3,"Ω"]
[null,null,null,"R_sh",6.6,"Ω"]
[null,null,null,"A_cell",150,"cm^2"]
[null,null,null,"I_o",{"$f":"10^-10","v":1E-10},"A"]
[null,null,null,"J_ph_stc",{"$f":"1.369*10^17","v":1.369E+17},"(1/s)*(1/cm^2)"]
[null,null,null,"qe",{"$f":"1.6*10^-19","v":1.6000000000000002E-19},"C"]
[null,null,null,"k",{"$f":"1.38*10^-23","v":1.3800000000000001E-23},"J/K"]
[null,null,null,"T_stc",298,"K"]
[null,null,null,"G_stc",1000,"W/m^2"]
[null,null,null,"N_s",20]
[null,null,null,"N_p",2,null,null,null,"Set desired parameters and press CTRL + B"]
[null,null,null,"I(J_ph)",{"$f":"$E$11*$E$12*$E$9","v":3.2856000000000005},"A"]
[]
[]
[null,null,null,"Output"]
[]
[null,"F",null,"V_panel (Volts)","I_panel(A)","P_panel (W)",null,null,"V_max",{"$f":"INDEX($D$24:$D$124,MATCH(MAX($F$24:$F$124),$F$24:$F$124,0),0)","v":10.599999999999994},"V"]
[{"$f":"AND(E24>0,E25=0)","v":false},{"$f":"$E24-$E$17*($E$18-$E$10*(EXP($E$12*(($D24/$E$16)+($E24/$E$17)*$E$7)/($E$13*$E$14))-1)-(($D24/$E$16)+($E24/$E$17)*$E$7)/$E$8)","v":6.5711977157434376E-6},null,0,6.5662321527214056,{"$f":"E24*D24","v":0},null,null,"I_max",{"$f":"INDEX($E$24:$E$124,MATCH(MAX($F$24:$F$124),$F$24:$F$124,0),0)","v":6.0799569086419982},"A"]
[{"$f":"AND(E25>0,E26=0)","v":false},{"$f":"$E25-$E$17*($E$18-$E$10*(EXP($E$12*(($D25/$E$16)+($E25/$E$17)*$E$7)/($E$13*$E$14))-1)-(($D25/$E$16)+($E25/$E$17)*$E$7)/$E$8)","v":6.56816638588964E-6},null,0.2,6.5632041404284882,{"$f":"E25*D25","v":1.3126408280856978},null,null,"P_max",{"$f":"MAX($F$24:$F$124)","v":64.447543231605152},"W"]
[false,6.5651345968475994E-6,null,0.4,6.5601761280496502,{"$f":"E26*D26","v":2.6240704512198603},null,null,"I_sc",{"$f":"E24","v":6.5662321527214056},"A"]
[false,6.562102141671744E-6,null,0.60000000000000009,6.5571481155440763,3.9342888693264464,null,null,"V_oc",{"$f":"IFERROR(INDEX(D24:D124,MATCH(TRUE,A24:A124,0),1),\"\")","v":12.399999999999988},"V"]
[false,6.5590687272631953E-6,null,0.8,6.5541201028515683,5.2432960822812547,null,null,"A_panel",{"$f":"$E$16*$E$17*($E$9)/10^4","v":0.6},"m^2"]
[false,6.5560339281844904E-6,null,1,6.5510920898833316,6.5510920898833316]
[false,6.5529971200462001E-6,null,1.2,6.5480640765083828,7.8576768918100592]
[false,6.5499574235516889E-6,null,1.4,6.5450360625335398,9.1630504875469558]
[false,6.5469135561713188E-6,null,1.5999999999999999,6.5420080476738409,10.467212876278145]
[false,6.5438636784875825E-6,null,1.7999999999999998,6.5389800315089701,11.770164056716146]
[false,6.5408051392878974E-6,null,1.9999999999999998,6.5359520134189584,13.071904026837915]
[false,6.5377341256223076E-6,null,2.1999999999999997,6.532923992489339,14.372432783476544]
[false,6.5346451654235693E-6,null,2.4,6.5298959673712718,15.671750321691052]
[false,6.5315303965363114E-6,null,2.6,6.5268679360752007,16.969856633795523]
[false,6.5283785390946036E-6,null,2.8000000000000003,6.523839895666514,18.266751707866241]
[false,6.5251734238103154E-6,null,3.0000000000000004,6.5208118418166272,19.562435525449885]
[false,6.5218918940956883E-6,null,3.2000000000000006,6.5177837681408475,20.856908058050717]
[false,6.5185008173429537E-6,null,3.4000000000000008,6.5147556652216947,22.150169261753767]
[false,6.5149528190033834E-6,null,3.600000000000001,6.5117275191682991,23.442219069005883]
[false,6.5111802713957445E-6,null,3.8000000000000012,6.5086993094915293,24.733057376067819]
[false,6.5070867041328029E-6,null,4.0000000000000009,6.5056710059697478,26.022684023878998]
[false,6.5025346938085704E-6,null,4.2000000000000011,6.502642564025817,27.311098768908437]
[false,6.4973287452474437E-6,null,4.4000000000000012,6.4996139179081567,28.598301238795898]
[false,6.4911911294984748E-6,null,4.6000000000000014,6.4965849706327568,29.884290864910689]
[false,6.4837279252216717E-6,null,4.8000000000000016,6.4935555791476478,31.169066779908722]
[{"$f":"AND(E49>0,E50=0)","v":false},6.4743813519285709E-6,null,5.0000000000000018,6.490525532450472,32.452627662252368]
[false,6.4623630864346637E-6,null,5.200000000000002,6.4874945193119498,33.734971500422148]
[false,6.4465613087705265E-6,null,5.4000000000000021,6.4844620806682203,35.016095235608404]
[false,6.4254115796913425E-6,null,5.6000000000000023,6.4814275394000784,36.295994220640452]
[false,6.3967184642521602E-6,null,5.8000000000000025,6.4783898967588307,37.574661401201233]
[false,6.3574104682828647E-6,null,6.0000000000000027,6.4753476795977933,38.852086077586776]
[false,6.3032060841905491E-6,null,6.2000000000000028,6.4722987150465174,40.128252033288426]
[false,6.2281634338745562E-6,null,6.400000000000003,6.4692397981726639,41.403134708305068]
[false,6.1240819020369486E-6,null,6.6000000000000032,6.4661662018218502,42.676696932024235]
[false,5.9797246780846081E-6,null,6.8000000000000034,6.4630709537163993,43.94888248527154]
[false,5.7798440762368841E-6,null,7.0000000000000036,6.4599437703623863,45.219606392536726]
[false,5.5040347035628656E-6,null,7.2000000000000037,6.4567694849700645,46.488740291784488]
[false,5.1255512323322705E-6,null,7.4000000000000039,6.4535257295261452,47.756090398493498]
[false,4.6104907394095562E-6,null,7.6000000000000041,6.4501795177899695,49.021364335203792]
[false,3.9183329318959181E-6,null,7.8000000000000043,6.4466822094379497,50.284121233616034]
[false,3.0061405498216232E-6,null,8.0000000000000036,6.4429620913747909,51.543696730998349]
[false,1.8415770464130787E-6,null,8.2000000000000028,6.4389134551813818,52.799090332487346]
[false,4.3609315536485838E-7,null,8.4000000000000021,6.4343805298738843,54.048796450940642]
[false,-1.0769531044729774E-6,null,8.6000000000000014,6.4291338773103872,55.290551344869343]
[false,-2.2654482219053307E-6,null,8.8000000000000007,6.4228357807971745,56.520954871015142]
[false,-2.0062992538427693E-6,null,9,6.4149896386921927,57.734906748229733]
[false,2.3749745805545786E-6,null,9.1999999999999993,6.404866284215438,58.924769814782024]
[false,2.5816285198487776E-6,null,9.3999999999999986,6.3913830463452426,60.079000635645272]
[false,2.4101263207398915E-8,null,9.5999999999999979,6.3729676141461189,61.180489095802727]
[false,1.3805303922254097E-7,null,9.7999999999999972,6.3473279526837008,62.20381393630025]
[false,5.3928159982064017E-7,null,9.9999999999999964,6.3111240586921289,63.111240586921269]
[false,1.8535770163197185E-6,null,10.199999999999996,6.2595423099316765,63.847331561303072]
[false,5.9556746414557438E-6,null,10.399999999999995,6.1857121913057318,64.331406789579574]
[false,-2.5313429485862571E-7,null,10.599999999999994,6.0799569086419982,64.447543231605152]
[false,-1.0423658247660228E-6,null,10.799999999999994,5.9289914544956677,64.033107708553175]
[false,-3.9586498878918519E-6,null,10.999999999999993,5.7150530118140725,62.865583129954757]
[false,4.9553686398695618E-7,null,11.199999999999992,5.4154342768393091,60.652863900600217]
[false,1.8276074529310904E-6,null,11.399999999999991,5.0027080714764747,57.030872014831772]
[false,4.7110528615945668E-6,null,11.599999999999991,4.4462842629173336,51.576897449841027]
[false,-3.6391609903319022E-7,null,11.79999999999999,3.7154050283167477,43.841779334137584]
[false,2.3296711351150634E-6,null,11.999999999999989,2.7832625050246498,33.399150060295767]
[false,1.283216288783251E-7,null,12.199999999999989,1.6309105755567139,19.897109021791891]
[{"$f":"AND(E86>0,E87=0)","v":true},-1.771561833341373E-8,null,12.399999999999988,0.24971379124712109,3.0964510114642985]
[{"$f":"AND(E87>0,E88=0)","v":false},2.4530258352650498,null,12.599999999999987,0,0]
[false,6.6572144890661065,null,12.799999999999986,0,0]
[{"$f":"AND(E89>0,E90=0)","v":false},{"$f":"$E89-$E$17*($E$18-$E$10*(EXP($E$12*(($D89/$E$16)+($E89/$E$17)*$E$7)/($E$13*$E$14))-1)-(($D89/$E$16)+($E89/$E$17)*$E$7)/$E$8)","v":12.859489705213894},null,12.999999999999986,0,{"$f":"E89*D89","v":0}]
[false,22.010148896301665,null,13.199999999999985,0,0]
[false,35.511454464527247,null,13.399999999999984,0,0]
[false,55.432590034470664,null,13.599999999999984,0,0]
[false,84.826850670963609,null,13.799999999999983,0,0]
[false,128.19968994621587,null,13.999999999999982,0,0]
[false,192.19937193570507,null,14.199999999999982,0,0]
[false,286.63609987621084,null,14.399999999999981,0,0]
[false,425.98584621021212,null,14.59999999999998,0,0]
[false,631.60940980167538,null,14.799999999999979,0,0]
[false,935.02686503039604,null,14.999999999999979,0,0]
[false,1382.749351074006,null,15.199999999999978,0,0]
[false,2043.4088781725845,null,15.399999999999977,0,0]
[false,3018.2790963135863,null,15.599999999999977,0,0]
[false,4456.799780696726,null,15.799999999999976,0,0]
[false,6579.4848203198553,null,15.999999999999975,0,0]
[false,9711.7253312762477,null,16.199999999999974,0,0]
[false,14333.669656663789,null,16.399999999999974,0,0]
[false,21153.826480270956,null,16.599999999999973,0,0]
[false,31217.673855328307,null,16.799999999999972,0,0]
[false,46067.923091937104,null,16.999999999999972,0,0]
[false,67981.004746400722,null,17.199999999999971,0,0]
[false,100316.02822806314,null,17.39999999999997,0,0]
[false,148029.7078951603,null,17.599999999999969,0,0]
[false,218436.18992012396,null,17.799999999999969,0,0]
[false,322328.25564263563,null,17.999999999999968,0,0]
[false,475631.77341425035,null,18.199999999999967,0,0]
[false,701847.01390371518,null,18.399999999999967,0,0]
[false,1035651.0640561807,null,18.599999999999966,0,0]
[false,1528213.562551708,null,18.799999999999965,0,0]
[false,2255040.6188505422,null,18.999999999999964,0,0]
[false,3327549.3293578494,null,19.199999999999964,0,0]
[false,4910147.1765949186,null,19.399999999999963,0,0]
[false,7245434.4542431245,null,19.599999999999962,0,0]
[false,10691393.05942593,null,19.799999999999962,0,0]
[false,15776262.413141036,null,19.999999999999961,0,0]

{"sheet":"2.3","index":4,"n_rows":125,"n_cols":5,"rows_kept":125,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,"Εφαρμογή 2.3: Επίδραση ηλιακής ακτινοβολίας σε φωτοβολταικό πλαίσιο"]
[]
[]
[null,null,"Input"]
[]
[null,null,"R_s",5.0000000000000001E-3,"Ω"]
[null,null,"R_sh",6.6,"Ω"]
[null,null,"A_cell",150,"cm^2"]
[null,null,"I_o",{"$f":"10^-10","v":1E-10},"A"]
[null,null,"J_ph_stc",{"$f":"1.369*10^17","v":1.369E+17},"(1/s)*(1/cm^2)"]
[null,null,"qe",{"$f":"1.6*10^-19","v":1.6000000000000002E-19},"C"]
[null,null,"k",{"$f":"1.38*10^-23","v":1.3800000000000001E-23},"J/K"]
[null,null,"T_stc",298,"K"]
[null,null,"G_stc",1000,"W/m^2"]
[null,null,"N_s",20]
[null,null,"N_p",2]
[null,null,"G",800,"W/m^2"]
[null,null,"I_i (J_ph)",{"$f":"$D$11*$D$12*$D$9","v":3.2856000000000005},"A"]
[null,null,"I_i (G)",{"$f":"$D$19*($D$18/$D$15)","v":2.6284800000000006},"A"]
[]
[null,null,"Output"]
[]
["F",null,"V_panel (Volts)","I_panel (A)","P_panel (W)"]
[{"$f":"$D25-$D$17*($D$20-$D$10*(EXP($D$12*(($C25/$D$16)+($D25/$D$17)*$D$7)/($D$13*$D$14))-1)-(($C25/$D$16)+($D25/$D$17)*$D$7)/$D$8)","v":9.9999978431242198E-7},null,0,5.2529814684509208,{"$f":"D25*C25","v":0}]
[9.9999968306008213E-7,null,{"$f":"C25+0.2","v":0.2},5.2499534592085038,{"$f":"D26*C26","v":1.0499906918417008}]
[9.999995329579292E-7,null,{"$f":"C26+0.2","v":0.4},5.246925449890826,2.0987701799563303]
[9.9999931446603796E-7,null,0.60000000000000009,5.2438974404621259,3.1463384642772758]
[9.9999899294545003E-7,null,0.8,5.2408694308696475,4.1926955446957184]
[9.9999851954635233E-7,null,1,5.2378414210355722,5.2378414210355722]
[9.999978241026497E-7,null,1.2,5.2348134108450992,6.2817760930141189]
[9.9999680269746705E-7,null,1.4,5.2317854001288815,7.3244995601804339]
[9.9999529901140249E-7,null,1.5999999999999999,5.228757388637101,8.3660118218193613]
[9.9999309099985112E-7,null,1.7999999999999998,5.2257293760012402,9.4063128768022306]
[9.9998984648408396E-7,null,1.9999999999999998,5.2227013616776699,10.445402723355338]
[9.99985078742327E-7,null,2.1999999999999997,5.2196733448644483,11.483281358701785]
[9.9997807190277399E-7,null,2.4,5.2166453243785789,12.519948778508589]
[9.9996777525035441E-7,null,2.6,5.2136172984749445,13.555404976034856]
[9.9995264513097482E-7,null,2.8000000000000003,5.2105892645792107,14.589649940821792]
[9.9993041402512972E-7,null,3.0000000000000004,5.2075612188938054,15.622683656681419]
[9.9989774771103157E-7,null,3.2000000000000006,5.2045331558166836,16.654506098613393]
[9.9984975054923098E-7,null,3.4000000000000008,5.2015050670838994,17.685117228085261]
[9.9977922918270679E-7,null,3.600000000000001,5.1984769405047633,18.714516985817152]
[9.9967561606462141E-7,null,3.8000000000000012,5.1954487580959947,19.742705280764785]
[9.9952338850073374E-7,null,4.0000000000000009,5.1924204933292799,20.769681973317123]
[9.9929974162193957E-7,null,4.2000000000000011,5.1893921070709661,21.795446849698063]
[9.9897117955549675E-7,null,4.4000000000000012,5.186363541592458,22.819999583006823]
[9.9848849810513229E-7,null,4.6000000000000014,5.1833347117345472,23.843339673978925]
[9.9777942264012154E-7,null,4.8000000000000016,5.1803054918733764,24.865466360992215]
[9.9673780251663402E-7,null,5.0000000000000018,5.1772756966931164,25.886378483465592]
[9.9520772156580506E-7,null,5.200000000000002,5.1742450528225739,26.906074274677394]
[9.9296019406835967E-7,null,5.4000000000000021,5.1712131569947193,27.924551047771494]
[9.8965891659474892E-7,null,5.6000000000000023,5.1681794143255173,28.941804720222908]
[9.8481001309380645E-7,null,5.8000000000000025,5.1651429472659984,29.957829094142802]
[9.7768822726607141E-7,null,6.0000000000000027,5.1621024612936708,30.972614767762039]
[9.6722859588282972E-7,null,6.2000000000000028,5.159056046789896,31.98614749009737]
[{"$f":"$D57-$D$17*($D$20-$D$10*(EXP($D$12*(($C57/$D$16)+($D57/$D$17)*$D$7)/($D$13*$D$14))-1)-(($C57/$D$16)+($D57/$D$17)*$D$7)/$D$8)","v":9.5186744797359779E-7},null,6.400000000000003,5.1560008867865408,32.998405675433879]
[9.2930910344790618E-7,null,6.6000000000000032,5.1529328258664338,34.00935665071848]
[8.961836366339071E-7,null,6.8000000000000034,5.1498457342690918,35.01895099302984]
[8.4754508300477482E-7,null,7.0000000000000036,5.1467305699478514,36.027113989634977]
[7.761362210700895E-7,null,7.2000000000000037,5.1435739951804482,37.033732765299249]
[6.713123479329397E-7,null,7.4000000000000039,5.1403563363443405,38.03863688894814]
[5.1746824425435989E-7,null,7.6000000000000041,5.1370485753434272,39.041569172610068]
[2.9174387972119575E-7,null,7.8000000000000043,5.1336079138480262,40.042141728014627]
[-3.9310979360607234E-8,null,8.0000000000000036,5.1299712349987505,41.039769879990025]
[-5.2456217325413945E-7,null,8.2000000000000028,5.1260454696099584,42.033572850801676]
[5.9213967062987649E-11,null,8.4000000000000021,5.1216946430796071,43.022235001868708]
[1.6062262631066915E-10,null,8.6000000000000014,5.1167151030578433,44.003749886297456]
[3.9483083469349367E-10,null,8.8000000000000007,5.1108096072342422,44.975124543661337]
[9.2075147506420763E-10,null,9,5.1035397556630189,45.931857800967173]
[2.079460159620794E-9,null,9.1999999999999993,5.0942606906899623,46.86719835434765]
[4.5930601544341698E-9,null,9.3999999999999986,5.0820251592021366,47.771036496500074]
[9.9681489729164241E-9,null,9.5999999999999979,5.0654444929309008,48.628267132136635]
[2.1256280291481744E-8,null,9.7999999999999972,5.0424888922321145,49.416391143874705]
[4.4412459487830347E-8,null,9.9999999999999964,5.0102041976364529,50.102041976364511]
[9.0247717743352496E-8,null,10.199999999999996,4.9643179872615928,50.636043470068223]
[1.7581036093616831E-7,null,10.399999999999995,4.8987078578113223,50.946561721237728]
[3.1885452322910623E-7,null,10.599999999999994,4.804716436272499,50.92999422448846]
[5.021928135562348E-7,null,10.799999999999994,4.670333885029371,50.439605958317173]
[5.3409343436783274E-7,null,10.999999999999993,4.4793471114282202,49.272818225710388]
[7.894153686294203E-7,null,11.199999999999992,4.2106895905753747,47.159723414444166]
[-9.1325666140562589E-8,null,11.399999999999991,3.8383901193050027,43.757647360077002]
[-3.1009578504992419E-7,null,11.599999999999991,3.332638691597865,38.6586088225352]
[-3.6104486866861407E-7,null,11.79999999999999,2.6623192810524539,31.415367516418929]
[2.353771688667905E-8,null,11.999999999999989,1.7988472504519615,21.586167005423519]
[-2.1984397313712378E-7,null,12.199999999999989,0.72032849951782485,8.7880076941174554]
[0.9171579065542883,null,12.399999999999988,0,0]
[3.7672658352650497,null,12.599999999999987,0,0]
[{"$f":"$D89-$D$17*($D$20-$D$10*(EXP($D$12*(($C89/$D$16)+($D89/$D$17)*$D$7)/($D$13*$D$14))-1)-(($C89/$D$16)+($D89/$D$17)*$D$7)/$D$8)","v":7.9714544890661063},null,12.799999999999986,0,0]
[14.173729705213894,null,12.999999999999986,0,{"$f":"D90*C90","v":0}]
[23.324388896301667,null,{"$f":"C90+0.2","v":13.199999999999985},0,0]
[36.825694464527253,null,13.399999999999984,0,0]
[56.746830034470662,null,13.599999999999984,0,0]
[86.141090670963607,null,13.799999999999983,0,0]
[129.51392994621588,null,13.999999999999982,0,0]
[193.51361193570509,null,14.199999999999982,0,0]
[287.95033987621082,null,14.399999999999981,0,0]
[427.3000862102121,null,14.59999999999998,0,0]
[632.92364980167531,null,14.799999999999979,0,0]
[936.34110503039597,null,14.999999999999979,0,0]
[1384.0635910740061,null,15.199999999999978,0,0]
[2044.7231181725847,null,15.399999999999977,0,0]
[3019.593336313586,null,15.599999999999977,0,0]
[4458.1140206967266,null,15.799999999999976,0,0]
[6580.7990603198559,null,15.999999999999975,0,0]
[9713.0395712762474,null,16.199999999999974,0,0]
[14334.983896663789,null,16.399999999999974,0,0]
[21155.140720270956,null,16.599999999999973,0,0]
[31218.988095328306,null,16.799999999999972,0,0]
[46069.237331937104,null,16.999999999999972,0,0]
[67982.318986400729,null,17.199999999999971,0,0]
[100317.34246806314,null,17.39999999999997,0,0]
[148031.02213516031,null,17.599999999999969,0,0]
[218437.50416012396,null,17.799999999999969,0,0]
[322329.56988263561,null,17.999999999999968,0,0]
[475633.08765425032,null,18.199999999999967,0,0]
[701848.32814371516,null,18.399999999999967,0,0]
[1035652.3782961806,null,18.599999999999966,0,0]
[1528214.8767917079,null,18.799999999999965,0,0]
[2255041.9330905424,null,18.999999999999964,0,0]
[3327550.6435978496,null,19.199999999999964,0,0]
[4910148.4908349188,null,19.399999999999963,0,0]
[7245435.7684831247,null,19.599999999999962,0,0]
[10691394.373665929,null,19.799999999999962,0,0]
[15776263.727381036,null,19.999999999999961,0,0]

{"sheet":"2.3 STC values","index":6,"n_rows":103,"n_cols":4,"rows_kept":103,"cut":false,"hidden":false,"merged":[]}
[]
[null,"V (Volts)","I (A)","P (W)"]
[null,0,6.5662255864980006,0]
[null,0.2,6.563197577234118,1.3126395154468238]
[null,0.4,6.560169567884774,2.62406782715391]
[null,0.60000000000000009,6.5571415584093602,3.9342849350456168]
[null,0.8,6.5541135487479716,5.2432908389983774]
[null,1,6.551085538812238,6.551085538812238]
[null,1.2,6.5480575284717988,7.8576690341661584]
[null,1.4,6.5450295175343509,9.1630413245480913]
[null,1.5999999999999999,6.5420015057162164,10.467202409145946]
[null,1.7999999999999998,6.5389734925989185,11.770152286678051]
[null,1.9999999999999998,6.5359454775651331,13.071890955130264]
[null,2.1999999999999997,6.5329174597042075,14.372418411349255]
[null,2.4,6.5298894376727681,15.671734650414642]
[null,2.6,6.526861409489122,16.969839664671717]
[null,2.8000000000000003,6.5238333722299213,18.26673344224378]
[null,3.0000000000000004,6.5208053215827482,19.562415964748247]
[null,3.2000000000000006,6.5177772511860503,20.856887203795367]
[null,3.4000000000000008,6.5147491516554599,22.15014711562857]
[null,3.600000000000001,6.5117210091474531,23.442195632930837]
[null,3.8000000000000012,6.50869280324049,24.73303265231387]
[null,4.0000000000000009,6.5056645038093439,26.022658015237383]
[null,4.2000000000000011,6.502636066414226,27.311071478939756]
[null,4.4000000000000012,6.4996074254989376,28.598272672195332]
[null,4.6000000000000014,6.4965784843570455,29.88426102804242]
[null,4.8000000000000016,6.4935491003300232,31.169035681584123]
[null,5.0000000000000018,6.4905190629735081,32.452595314867551]
[null,5.200000000000002,6.4874880618456032,33.734937921597151]
[null,5.4000000000000021,6.4844556389939374,35.016060450567274]
[null,5.6000000000000023,6.4814211188626594,36.295958265630908]
[null,5.8000000000000025,6.4783835048976375,37.574624328406315]
[null,6.0000000000000027,6.4753413270215505,38.852047962129319]
[null,6.2000000000000028,6.4722924166434899,40.128212983189655]
[null,6.400000000000003,6.4692335747695591,41.403094878525195]
[null,6.6000000000000032,6.4661600824405436,42.676656544107608]
[null,6.8000000000000034,6.4630649786090828,43.948841854541783]
[null,7.0000000000000036,6.4599379950169258,45.219565965118505]
[null,7.2000000000000037,6.4567639852622047,46.4887006938879]
[null,7.4000000000000039,6.4535206080463059,47.75605249954269]
[null,7.6000000000000041,6.4501749109771032,49.021329323426009]
[null,7.8000000000000043,6.4466782941526111,50.284090694390393]
[null,8.0000000000000036,6.4429590872284495,51.543672697827617]
[null,8.2000000000000028,6.438911613765117,52.799075232873975]
[null,8.4000000000000021,6.4343800906569273,54.0487927615182]
[null,8.6000000000000014,6.4291349451836757,55.290560528579618]
[null,8.8000000000000007,6.4228380265029212,56.520974633225713]
[null,9,6.4149916071961393,57.734924464765257]
[null,9.1999999999999993,6.4048638452897642,58.924747376665827]
[null,9.3999999999999986,6.3913803240941833,60.078975046485311]
[null,9.5999999999999979,6.3729672698225412,61.18048579029638]
[null,9.7999999999999972,6.3473271376393772,62.203805948865877]
[null,9.9999999999999964,6.3111221017250259,63.111221017250237]
[null,10.199999999999996,6.2595375354722158,63.847282861816574]
[null,10.399999999999995,6.1857063222064177,64.33134575094671]
[null,10.599999999999994,6.0799570303323849,64.447544521523241]
[null,10.799999999999994,5.9289921265555998,64.03311496680044]
[null,10.999999999999993,5.7150559429135361,62.865615372048858]
[null,11.199999999999992,5.4154321703998258,60.652840308478005]
[null,11.399999999999991,5.0027063683442261,57.030852599124138]
[null,11.599999999999991,4.4462801475930327,51.576849712079138]
[null,11.79999999999999,3.7154051477660079,43.841780743638857]
[null,11.999999999999989,2.7832606873359893,33.399128248031843]
[null,12.199999999999989,1.630909957023249,19.89710147568362]
[null,12.399999999999988,0.24971369881901703,3.0964498653558081]
[null,12.599999999999987,0,0]
[null,12.799999999999986,0,0]
[null,12.999999999999986,0,0]
[null,13.199999999999985,0,0]
[null,13.399999999999984,0,0]
[null,13.599999999999984,0,0]
[null,13.799999999999983,0,0]
[null,13.999999999999982,0,0]
[null,14.199999999999982,0,0]
[null,14.399999999999981,0,0]
[null,14.59999999999998,0,0]
[null,14.799999999999979,0,0]
[null,14.999999999999979,0,0]
[null,15.199999999999978,0,0]
[null,15.399999999999977,0,0]
[null,15.599999999999977,0,0]
[null,15.799999999999976,0,0]
[null,15.999999999999975,0,0]
[null,16.199999999999974,0,0]
[null,16.399999999999974,0,0]
[null,16.599999999999973,0,0]
[null,16.799999999999972,0,0]
[null,16.999999999999972,0,0]
[null,17.199999999999971,0,0]
[null,17.39999999999997,0,0]
[null,17.599999999999969,0,0]
[null,17.799999999999969,0,0]
[null,17.999999999999968,0,0]
[null,18.199999999999967,0,0]
[null,18.399999999999967,0,0]
[null,18.599999999999966,0,0]
[null,18.799999999999965,0,0]
[null,18.999999999999964,0,0]
[null,19.199999999999964,0,0]
[null,19.399999999999963,0,0]
[null,19.599999999999962,0,0]
[null,19.799999999999962,0,0]
[null,19.999999999999961,0,0]

{"sheet":"2.4","index":7,"n_rows":127,"n_cols":10,"rows_kept":127,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,"Εφαρμογή 2.4: Επίδραση θερμοκρασίας σε φωτοβολταικό πλαίσιο"]
[]
[]
[null,null,null,"Input"]
[]
[null,null,null,"R_s",5.0000000000000001E-3,"Ω"]
[null,null,null,"R_sh",6.6,"Ω"]
[null,null,null,"A_cell",150,"cm^2"]
[null,null,null,"I_o",{"$f":"10^-10","v":1E-10},"A"]
[null,null,null,"J_ph_stc",{"$f":"1.369*10^17","v":1.369E+17},"(1/s)*(1/cm^2)"]
[null,null,null,"qe",{"$f":"1.6*10^-19","v":1.6000000000000002E-19},"C"]
[null,null,null,"k",{"$f":"1.38*10^-23","v":1.3800000000000001E-23},"J/K"]
[null,null,null,"T_stc",298,"K"]
[null,null,null,"G_stc",1000,"W/m^2"]
[null,null,null,"N_s",20]
[null,null,null,"N_p",2]
[null,null,null,"T",25,"Celcius"]
[null,null,null,"a_v",-3.8E-3,"1/k"]
[null,null,null,"a_I",4.0000000000000002E-4,"1/k"]
[null,null,null,"I_i(J_ph)",{"$f":"$E$11*$E$12*$E$9","v":3.2856000000000005},"A"]
[]
[]
[null,null,null,"Output"]
[]
[null,"F",null,"V_STC (Volts)","I_STC (A)","P_STC (W)",null,"V_panel (Volts)","I_panel (A)","P_panel (W)"]
[{"$f":"AND(E27>0,E28=0)","v":false},{"$f":"$E27-$E$17*($E$21-$E$10*(EXP($E$12*(($D27/$E$16)+($E27/$E$17)*$E$7)/($E$13*$E$14))-1)-(($D27/$E$16)+($E27/$E$17)*$E$7)/$E$8)","v":6.5711977157434376E-6},null,0,6.5662321527214056,{"$f":"E27*D27","v":0},null,{"$f":"$D27*(1+$E$19*($E$18+273.15-$E$14))","v":0},{"$f":"$E27*(1+$E$20*($E$18+273.15-$E$14))","v":6.5666261266505686},{"$f":"$I27*$H27","v":0}]
[{"$f":"AND(E28>0,E29=0)","v":false},6.56816638588964E-6,null,0.2,6.5632041404284882,{"$f":"E28*D28","v":1.3126408280856978},null,{"$f":"$D28*(1+$E$19*($E$18+273.15-$E$14))","v":0.19988600000000001},{"$f":"$E28*(1+$E$20*($E$18+273.15-$E$14))","v":6.5635979326769132},{"$f":"$I28*$H28","v":1.3119713363710575}]
[false,6.5651345968475994E-6,null,0.4,6.5601761280496502,{"$f":"E29*D29","v":2.6240704512198603},null,0.39977200000000002,6.5605697386173327,2.6227320855465286]
[false,6.562102141671744E-6,null,0.60000000000000009,6.5571481155440763,3.9342888693264464,null,0.59965800000000014,6.5575415444310083,3.9322822474504107]
[false,6.5590687272631953E-6,null,0.8,6.5541201028515683,5.2432960822812547,null,0.79954400000000003,6.5545133500577393,5.2406218219585652]
[false,6.5560339281844904E-6,null,1,6.5510920898833316,6.5510920898833316,null,0.99943000000000004,6.5514851554087246,6.5477508088701422]
[false,6.5529971200462001E-6,null,1.2,6.5480640765083828,7.8576768918100592,null,1.199316,6.548456960352973,7.8536692078626862]
[false,6.5499574235516889E-6,null,1.4,6.5450360625335398,9.1630504875469558,null,1.3992020000000001,6.5454287646972915,9.1583770184219802]
[false,6.5469135561713188E-6,null,1.5999999999999999,6.5420080476738409,10.467212876278145,null,1.5990879999999998,6.542400568156701,10.461874239732561]
[false,6.5438636784875825E-6,null,1.7999999999999998,6.5389800315089701,11.770164056716146,null,1.7989739999999999,6.5393723703108604,11.76416087050761]
[false,6.5408051392878974E-6,null,1.9999999999999998,6.5359520134189584,13.071904026837915,null,1.9988599999999999,6.5363441705397634,13.06523690872511]
[false,6.5377341256223076E-6,null,2.1999999999999997,6.532923992489339,14.372432783476544,null,2.1987459999999999,6.5333159679288881,14.36510235121977]
[false,6.5346451654235693E-6,null,2.4,6.5298959673712718,15.671750321691052,null,2.3986320000000001,6.5302877611293138,15.663757193053129]
[false,6.5315303965363114E-6,null,2.6,6.5268679360752007,16.969856633795523,null,2.5985180000000003,6.5272595481513651,16.961201426543191]
[false,6.5283785390946036E-6,null,2.8000000000000003,6.523839895666514,18.266751707866241,null,2.7984040000000006,6.5242313260602538,18.257435039772322]
[false,6.5251734238103154E-6,null,3.0000000000000004,6.5208118418166272,19.562435525449885,null,2.9982900000000003,6.5212030905271359,19.552458014296608]
[false,6.5218918940956883E-6,null,3.2000000000000006,6.5177837681408475,20.856908058050717,null,3.1981760000000006,6.5181748351669357,20.846270321634854]
[false,6.5185008173429537E-6,null,3.4000000000000008,6.5147556652216947,22.150169261753767,null,3.3980620000000008,6.5151465505616075,22.138871917894484]
[false,6.5149528190033834E-6,null,3.600000000000001,6.5117275191682991,23.442219069005883,null,3.597948000000001,6.5121182228194492,23.430262735556799]
[false,6.5111802713957445E-6,null,3.8000000000000012,6.5086993094915293,24.733057376067819,null,3.7978340000000013,6.5090898314500985,24.720442670935462]
[false,6.5070867041328029E-6,null,4.0000000000000009,6.5056710059697478,26.022684023878998,null,3.9977200000000011,6.5060613462301058,26.009411565051025]
[false,6.5025346938085704E-6,null,4.2000000000000011,6.502642564025817,27.311098768908437,null,4.1976060000000013,6.5030327225796585,27.29716917449672]
[false,6.4973287452474437E-6,null,4.4000000000000012,6.4996139179081567,28.598301238795898,null,4.3974920000000015,6.500003894743231,28.583715127102209]
[false,6.4911911294984748E-6,null,4.6000000000000014,6.4965849706327568,29.884290864910689,null,4.5973780000000017,6.496974765730994,29.869048854526838]
[false,6.4837279252216717E-6,null,4.8000000000000016,6.4935555791476478,31.169066779908722,null,4.797264000000002,6.4939451924823963,31.153169489868883]
[{"$f":"AND(E52>0,E53=0)","v":false},6.4743813519285709E-6,null,5.0000000000000018,6.490525532450472,32.452627662252368,null,4.9971500000000022,6.4909149639824184,32.43607571226476]
[false,6.4623630864346637E-6,null,5.200000000000002,6.4874945193119498,33.734971500422148,null,5.1970360000000024,6.4878837689831084,33.717765511220911]
[false,6.4465613087705265E-6,null,5.4000000000000021,6.4844620806682203,35.016095235608404,null,5.3969220000000027,6.4848511483930604,34.99823582948779]
[false,6.4254115796913425E-6,null,5.6000000000000023,6.4814275394000784,36.295994220640452,null,5.5968080000000029,6.4818164250524424,36.277482022264927]
[false,6.3967184642521602E-6,null,5.8000000000000025,6.4783898967588307,37.574661401201233,null,5.7966940000000031,6.4787786001526362,37.555497038833202]
[false,6.3574104682828647E-6,null,6.0000000000000027,6.4753476795977933,38.852086077586776,null,5.9965800000000025,6.4757362004585692,38.832270184945862]
[false,6.3032060841905491E-6,null,6.2000000000000028,6.4722987150465174,40.128252033288426,null,6.1964660000000027,6.4726870529694196,40.107785252365225]
[false,{"$f":"$E59-$E$17*($E$21-$E$10*(EXP($E$12*(($D59/$E$16)+($E59/$E$17)*$E$7)/($E$13*$E$14))-1)-(($D59/$E$16)+($E59/$E$17)*$E$7)/$E$8)","v":6.2281634338745562E-6},null,6.400000000000003,6.4692397981726639,41.403134708305068,null,6.3963520000000029,6.469627952560554,41.382017693616625]
[false,6.1240819020369486E-6,null,6.6000000000000032,6.4661662018218502,42.676696932024235,null,6.5962380000000032,6.466554171793959,42.654930357045863]
[false,5.9797246780846081E-6,null,6.8000000000000034,6.4630709537163993,43.94888248527154,null,6.7961240000000034,6.4634587379736219,43.926467052152262]
[false,5.7798440762368841E-6,null,7.0000000000000036,6.4599437703623863,45.219606392536726,null,6.9960100000000036,6.4603313669886075,45.196542846765993]
[false,5.5040347035628656E-6,null,7.2000000000000037,6.4567694849700645,46.488740291784488,null,7.1958960000000038,6.4571568911391628,46.465029444320763]
[false,5.1255512323322705E-6,null,7.4000000000000039,6.4535257295261452,47.756090398493498,null,7.3957820000000041,6.4539129410699161,47.73173315913197]
[false,4.6104907394095562E-6,null,7.6000000000000041,6.4501795177899695,49.021364335203792,null,7.5956680000000043,6.450566528561037,48.996361762862179]
[false,3.9183329318959181E-6,null,7.8000000000000043,6.4466822094379497,50.284121233616034,null,7.7955540000000045,6.4470690103705159,50.258474612069946]
[false,3.0061405498216232E-6,null,8.0000000000000036,6.4429620913747909,51.543696730998349,null,7.9954400000000039,6.4433486691002733,51.517407682871116]
[false,1.8415770464130787E-6,null,8.2000000000000028,6.4389134551813818,52.799090332487346,null,8.1953260000000032,6.4392997899886923,52.772160990688889]
[false,4.3609315536485838E-7,null,8.4000000000000021,6.4343805298738843,54.048796450940642,null,8.3952120000000026,6.4347665927056763,54.021229716281823]
[false,-1.0769531044729774E-6,null,8.6000000000000014,6.4291338773103872,55.290551344869343,null,8.5950980000000019,6.4295196253430253,55.262351272746599]
[false,-2.2654482219053307E-6,null,8.8000000000000007,6.4228357807971745,56.520954871015142,null,8.7949840000000012,6.4232211509440225,56.492127251014267]
[false,-2.0062992538427693E-6,null,9,6.4149896386921927,57.734906748229733,null,8.9948700000000006,6.4153745380705143,57.705459971254328]
[false,2.3749745805545786E-6,null,9.1999999999999993,6.404866284215438,58.924769814782024,null,9.1947559999999999,6.4052505761924907,58.894716166949358]
[false,2.5816285198487776E-6,null,9.3999999999999986,6.3913830463452426,60.079000635645272,null,9.3946419999999993,6.3917665293280228,60.048358290619269]
[false,2.4101263207398915E-8,null,9.5999999999999979,6.3729676141461189,61.180489095802727,null,9.5945279999999986,6.3733499922029671,61.149284953991142]
[false,1.3805303922254097E-7,null,9.7999999999999972,6.3473279526837008,62.20381393630025,null,9.794413999999998,6.3477087923608613,62.172087863822298]
[false,5.3928159982064017E-7,null,9.9999999999999964,6.3111240586921289,63.111240586921269,null,9.9942999999999973,6.3115027261356502,63.079051695817512]
[false,1.8535770163197185E-6,null,10.199999999999996,6.2595423099316765,63.847331561303072,null,10.194185999999997,6.2599178824702717,63.814767238628065]
[false,5.9556746414557438E-6,null,10.399999999999995,6.1857121913057318,64.331406789579574,null,10.394071999999996,6.1860833340372094,64.298595571982787]
[false,-2.5313429485862571E-7,null,10.599999999999994,6.0799569086419982,64.447543231605152,null,10.593957999999995,6.080321706056516,64.414672780451042]
[false,-1.0423658247660228E-6,null,10.799999999999994,5.9289914544956677,64.033107708553175,null,10.793843999999995,5.9293471939829372,64.00044863368953]
[false,-3.9586498878918519E-6,null,10.999999999999993,5.7150530118140725,62.865583129954757,null,10.993729999999994,5.7153959149947813,62.833519532555542]
[false,4.9553686398695618E-7,null,11.199999999999992,5.4154342768393091,60.652863900600217,null,11.193615999999993,5.4157592028959192,60.621928865682968]
[false,1.8276074529310904E-6,null,11.399999999999991,5.0027080714764747,57.030872014831772,null,11.393501999999993,5.0030082339607631,57.001784319648387]
[false,4.7110528615945668E-6,null,11.599999999999991,4.4462842629173336,51.576897449841027,null,11.593387999999992,4.4465510399731087,51.550591468211721]
[false,-3.6391609903319022E-7,null,11.79999999999999,3.7154050283167477,43.841779334137584,null,11.793273999999991,3.7156279526184464,43.81941852728832]
[false,2.3296711351150634E-6,null,11.999999999999989,2.7832625050246498,33.399150060295767,null,11.993159999999991,2.7834295007749512,33.382115351514088]
[false,1.283216288783251E-7,null,12.199999999999989,1.6309105755567139,19.897109021791891,null,12.193045999999988,1.6310084301912473,19.886960815709649]
[{"$f":"AND(E89>0,E90=0)","v":true},-1.771561833341373E-8,null,12.399999999999988,0.24971379124712109,3.0964510114642985,null,12.392931999999988,0.2497287740745959,3.0948717155498269]
[{"$f":"AND(E90>0,E91=0)","v":false},2.4530258352650498,null,12.599999999999987,0,0,null,12.592817999999987,0,0]
[false,{"$f":"$E91-$E$17*($E$21-$E$10*(EXP($E$12*(($D91/$E$16)+($E91/$E$17)*$E$7)/($E$13*$E$14))-1)-(($D91/$E$16)+($E91/$E$17)*$E$7)/$E$8)","v":6.6572144890661065},null,12.799999999999986,0,0,null,12.792703999999986,0,0]
[{"$f":"AND(E92>0,E93=0)","v":false},12.859489705213894,null,12.999999999999986,0,0,null,{"$f":"$D92*(1+$E$19*($E$18+273.15-$E$14))","v":12.992589999999986},{"$f":"$E92*(1+$E$20*($E$18+273.15-$E$14))","v":0},{"$f":"$I92*$H92","v":0}]
[false,22.010148896301665,null,13.199999999999985,0,{"$f":"E93*D93","v":0},null,13.192475999999985,0,0]
[false,35.511454464527247,null,13.399999999999984,0,0,null,13.392361999999984,0,0]
[false,55.432590034470664,null,13.599999999999984,0,0,null,13.592247999999984,0,0]
[false,84.826850670963609,null,13.799999999999983,0,0,null,13.792133999999983,0,0]
[false,128.19968994621587,null,13.999999999999982,0,0,null,13.992019999999982,0,0]
[false,192.19937193570507,null,14.199999999999982,0,0,null,14.191905999999982,0,0]
[false,286.63609987621084,null,14.399999999999981,0,0,null,14.391791999999981,0,0]
[false,425.98584621021212,null,14.59999999999998,0,0,null,14.59167799999998,0,0]
[false,631.60940980167538,null,14.799999999999979,0,0,null,14.79156399999998,0,0]
[false,935.02686503039604,null,14.999999999999979,0,0,null,14.991449999999979,0,0]
[false,1382.749351074006,null,15.199999999999978,0,0,null,15.191335999999978,0,0]
[false,2043.4088781725845,null,15.399999999999977,0,0,null,15.391221999999978,0,0]
[false,3018.2790963135863,null,15.599999999999977,0,0,null,15.591107999999977,0,0]
[false,4456.799780696726,null,15.799999999999976,0,0,null,15.790993999999976,0,0]
[false,6579.4848203198553,null,15.999999999999975,0,0,null,15.990879999999976,0,0]
[false,9711.7253312762477,null,16.199999999999974,0,0,null,16.190765999999975,0,0]
[false,14333.669656663789,null,16.399999999999974,0,0,null,16.390651999999974,0,0]
[false,21153.826480270956,null,16.599999999999973,0,0,null,16.590537999999974,0,0]
[false,31217.673855328307,null,16.799999999999972,0,0,null,16.790423999999973,0,0]
[false,46067.923091937104,null,16.999999999999972,0,0,null,16.990309999999972,0,0]
[false,67981.004746400722,null,17.199999999999971,0,0,null,17.190195999999972,0,0]
[false,100316.02822806314,null,17.39999999999997,0,0,null,17.390081999999971,0,0]
[false,148029.7078951603,null,17.599999999999969,0,0,null,17.589967999999971,0,0]
[false,218436.18992012396,null,17.799999999999969,0,0,null,17.78985399999997,0,0]
[false,322328.25564263563,null,17.999999999999968,0,0,null,17.989739999999969,0,0]
[false,475631.77341425035,null,18.199999999999967,0,0,null,18.189625999999969,0,0]
[false,701847.01390371518,null,18.399999999999967,0,0,null,18.389511999999968,0,0]
[false,1035651.0640561807,null,18.599999999999966,0,0,null,18.589397999999967,0,0]
[false,1528213.562551708,null,18.799999999999965,0,0,null,18.789283999999967,0,0]
[false,2255040.6188505422,null,18.999999999999964,0,0,null,18.989169999999966,0,0]
[false,3327549.3293578494,null,19.199999999999964,0,0,null,19.189055999999965,0,0]
[false,4910147.1765949186,null,19.399999999999963,0,0,null,19.388941999999965,0,0]
[false,7245434.4542431245,null,19.599999999999962,0,0,null,19.588827999999964,0,0]
[false,10691393.05942593,null,19.799999999999962,0,0,null,19.788713999999963,0,0]
[false,15776262.413141036,null,19.999999999999961,0,0,null,19.988599999999963,0,0]